{"text_format":"1","workbook":"xlsx","n_sheets":19,"sheets":["Main","Overall cost","Total categories","BM total","AS Total","Trades","DSR","SO2SO","Energy Imbalance","Operating Reserve","STOR","Constraints","Negative Reserves","Fast Reserve","Response","Reactive","Black Start","Other Reserves","Minor components"],"not_rendered":{"charts":37,"images":0,"macros":1,"external_links":5,"defined_names":139,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Main","index":0,"n_rows":2,"n_cols":7,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,"2019-06-01",null,{"$f":"E1","v":"2019-06-01"}]
[null,null,null,null,{"$f":"EOMONTH(E1,0)","v":"2019-06-30"}]

{"sheet":"Overall cost","index":1,"n_rows":4,"n_cols":7,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
[null,"Report Month","2019-06-01","2019-06-30","2019-06-01","Balancing Cost ","Balancing Cost Jun 2019"]
[]
[null,"Balancing Mechanism","Trades","Ancillary Services","SO-to-SO","Other","Total"]
[null,37.145440433856045,22.213275619143957,31.538688323104459,0,-1.4727879480000026,89.424616428104457]

{"sheet":"Total categories","index":2,"n_rows":41,"n_cols":14,"rows_kept":41,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Cost £m","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"Energy Imbalance",-0.79641781199999961,-1.4766400000003066E-3,2.1699070340000004]
[null,"Operating Reserve",4.6577692817610918,4.8357903525902515,4.7139094405337882]
[null,"STOR",3.7095728889381299,3.8392194242746296,4.5708030839683111]
[null,"Constraints",42.035857968944377,23.526556910356263,45.694704057574334]
[null,"Negative Reserve",0.26186548994949005,0.14718536840404001,0.71097487215866995]
[null,"Fast Reserve",8.6286786552389234,7.515473819125333,7.53614317106992]
[null,"Response",9.6499283953419006,10.802686853461241,9.9963627826637627]
[null,"Other Reserve",1.4899787800000002,1.4575104299999992,1.4602066499999999]
[null,"Reactive",5.7920260299999997,6.6030735399999996,6.0010977499999996]
[null,"Black Start",3.6041535689016522,3.4395715392988784,4.4317349049643111]
[null,"Minor Components",3.2726455553988352,1.6404026406488503,2.1245133611713647]
[null,"Total",82.306058802474411,63.805994238159478,89.410357108104478,0,0,0,0,0,0,0,0,0]
[]
[]
[null,"Volume MW","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"Energy Imbalance",-92773.346999999994,-125100.10299999997,-52763.553000000007,0,0,0,0,0,0,0,0,0]
[null,"Operating Reserve",554209.84499999997,363445.21800000011,412956.97700000007,0,0,0,0,0,0,0,0,0]
[null,"STOR (BM only)",9886.9259999999995,6738.4369999999999,9459.3649999999998,0,0,0,0,0,0,0,0,0]
[null,"Constraints",743095.89599999995,592777.60800000001,1081892.0320000001,0,0,0,0,0,0,0,0,0]
[null,"Constraint Margin Replacement",859053.5,543609.34999999986,800497.62099999981,0,0,0,0,0,0,0,0,0]
[null,"Negative Reserve",-38648.421999999999,-37867.929000000004,-81145.608999999997,0,0,0,0,0,0,0,0,0]
[null,"Fast Reserve (BM only)",19453.809000000001,13208.973999999998,17709.616000000002,0,0,0,0,0,0,0,0,0]
[null,"Response (Absolute- BM only)",203635.55800000002,230511.67,213526.459,0,0,0,0,0,0,0,0,0]
[null,"Minor Components",-106132.33699999998,-136428.967,-116806.99099999999,0,0,0,0,0,0,0,0,0]
[]
[]
[]
[null,"Reporting Month"]
[null,"Energy Imbalance",2.1699070340000004]
[null,"Operating Reserve",4.7139094405337882]
[null,"STOR",4.5708030839683111]
[null,"Constraints",45.694704057574334]
[null,"Negative Reserve",0.71097487215866995]
[null,"Fast Reserve",7.53614317106992]
[null,"Response",9.9963627826637627]
[null,"Other Reserve",1.4602066499999999]
[null,"Reactive",6.0010977499999996]
[null,"Black Start",4.4317349049643111]
[null,"Minor Components",2.1245133611713647]

{"sheet":"BM total","index":3,"n_rows":29,"n_cols":14,"rows_kept":29,"cut":false,"hidden":false,"merged":[]}
[null,null,"2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"Cost £m","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Energy balancing",-0.78765238099999968,-1.4766400000003066E-3,2.1699070340000004]
[null,"BM - Operating Reserve",2.5572945414709203,3.2991433796225107,2.3469512154287506]
[null,"BM - STOR",0.44797522893812997,0.34013872427462999,0.49365315396831022]
[null,"BM - Constrained Margin",1.8743759198159893,1.1372382034088102,1.7942404164607253]
[null,"BM - Constraints E&W",8.6366907309339283,5.5139497546455409,22.523164075681908]
[null,"BM - Constraints Cheviot",17.316142621508952,0.36802323576154999,0.11945270313207999]
[null,"BM - Constraints Scotland",4.0000996515042706,5.8967742949936612,0.84935351718278007]
[null,"BM - Negative Reserve",7.3067326617479986E-2,1.861588991233E-2,4.0232647716580007E-2]
[null,"BM - Fast Reserve",0.57616306523892002,0.42702490693533002,0.54682166106992014]
[null,"BM - Response",2.4971839983419692,3.2919196696986495,3.1799149047019597]
[null,"BM - Minor Components",1.2922901223847498,1.09327809873771,1.7837124195487095]
[]
[]
[]
[]
[null,"Volume MW","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Energy balancing",-91992.42,-125100.10299999997,-52763.553000000007,0,0,0,0,0,0,0,0,0]
[null,"BM - Operating Reserve",109998.25699999998,118407.19999999997,116188.826,0,0,0,0,0,0,0,0,0]
[null,"BM - STOR",9886.9259999999995,6738.4369999999999,9459.3649999999998,0,0,0,0,0,0,0,0,0]
[null,"BM - Constrained Margin",426126.58799999987,218287.01800000007,274276.15099999995,0,0,0,0,0,0,0,0,0]
[null,"BM - Constraints E&W",469581.48800000001,523810.72100000002,1059346.845,0,0,0,0,0,0,0,0,0]
[null,"BM - Constraints Cheviot",200601.13300000003,5268.7489999999998,1602.6410000000001,0,0,0,0,0,0,0,0,0]
[null,"BM - Constraints Scotland",72913.275000000009,63698.137999999999,20942.545999999998,0,0,0,0,0,0,0,0,0]
[null,"BM - Negative Reserve",-5366.69,-2126.9290000000001,-5034.6090000000004,0,0,0,0,0,0,0,0,0]
[null,"BM - Fast Reserve",19453.809000000001,13208.973999999998,17709.616000000002,0,0,0,0,0,0,0,0,0]
[null,"BM - Response",203635.55800000002,230511.67,213526.459,0,0,0,0,0,0,0,0,0]
[null,"BM - Minor Components",-106892.64199999999,-136428.96700000003,-116806.99099999998,0,0,0,0,0,0,0,0,0]

{"sheet":"AS Total","index":4,"n_rows":42,"n_cols":14,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Cost £m","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS - Response",7.1527443969999327,7.5107671837625931,6.8164478779618038]
[null,"AS - Fast Reserves",8.0525155900000023,7.0884489121900023,6.989321509999999]
[null,"AS - STOR",3.2615976599999996,3.4990806999999995,4.07714993]
[null,"AS - Other Reserves",1.4899787800000002,1.4575104299999992,1.4602066499999999]
[null,"AS - Black Start",3.3132644499999997,3.4143978584000019,3.1336982199999994]
[null,"AS - Reactive",5.7920260299999997,6.6030735399999996,6.0010977500000005]
[null,"AS - Constraints ",3.7888536055199999,2.3588046438958687,1.2329181755200005]
[null,"AS - SO-SO Costs",1.6721039449545263,1.1486786599110053,1.6430218496226576]
[null,"AS - Other Ancillary Cost",5.6147E-4,0,0]
[null,"AS - Outstanding Liabilities",0.37922246999999998,0.14707988,0.17056704]
[]
[]
[null,"Cost £m","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS Mandatory Service",7.6632129300000003,8.7075166099999972,7.8835575799999997]
[null,"AS Commercial Service",18.718885907474455,16.502074375969471,14.532643743104463]
[null,"AS Tendered Service",8.0819954299999974,7.8711709421899991,8.9519199600000015]
[null,"AS Miscellaneous Costs",0.37978393999999993,0.14707988,0.17056704]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Graph Title"]
[null,"Ancillary Services Cost - Jun 2019"]

{"sheet":"Trades","index":5,"n_rows":10,"n_cols":16,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Volume MWh","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01",null,"Reporting Month"]
[null,"Buy Volume",55039.5,100286,236399,null,null,null,null,null,null,null,null,null,null,725433.5]
[null,"Sell Volume",241488,279075.09999999998,489034.5]
[null,"Abs value",296527.5,379361.1,725433.5,0,0,0,0,0,0,0,0,0]
[]
[]
[null,"Cost £ million","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"Buy Cost",0.82543004825302502,1.5211163568478101,4.2197449572133099]
[null,"Sell Cost",7.8835353260859993,8.4220629678534404,18.375192762815598]

{"sheet":"DSR","index":6,"n_rows":34,"n_cols":15,"rows_kept":34,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Cost £m","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"NBM - Frequency Response",3.9167993769999345,3.9482523637625935,3.6444822779618038,null,null,null,null,null,null,null,null,null,0]
[null,"NBM - Short-term operating reserve (STOR)",2.6114281199999998,2.5515016999999998,3.0773161099999995]
[null,"NBM - Fast Reserve",1.6000079300000003,1.1317905421900001,1.651886159999999]
[]
[]
[null,"Cost £m","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS - Non BM providers",8.1282354269999324,7.6315446059525938,8.3736845479618029]
[null,"AS - BM providers",24.72274508552,24.300538662295867,21.33715556552]
[null,"AS - SO-SO providers",1.6721039449545263,1.1486786599110053,1.6430218496226576]
[null,"AS - Miscellaneous",5.6147E-4,0,0]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Graph Title"]
[null,"AS Costs By Provider Type - Jun 2019"]

{"sheet":"SO2SO","index":7,"n_rows":13,"n_cols":14,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[null,null,"2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"Cost £m","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"SO-SO Energy Trades",-8.7654310000000023E-3,0,0]
[null,"SO-SO Margin",0,0,0]
[null,"SO-SO Constrained Margin",0,0,0]
[null,"SO-SO Footroom",3.7600261000000002E-7,0,0]
[null,"SO-SO Ramping",0,0,0]
[null,"SO-SO Invoked by External Parties",-6.4246349940409994E-2,0,0]
[null,"SO-SO Constraints",0,0,0]
[null,"AS - SO-SO Interconnector Capability (Commercial)",1.6721039449545263,1.1486786599110053,1.6430218496226576]
[null,null,1.5990925400167264,1.1486786599110053,1.6430218496226576,0,0,0,0,0,0,0,0,0]
[null,"Reporting Month"]
[null,1.6430218496226576]

{"sheet":"Energy Imbalance","index":8,"n_rows":7,"n_cols":14,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Cost","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"Energy Imbalance",-0.79641781199999961,-1.4766400000003066E-3,2.1699070340000004]
[]
[]
[null,"Volume MWh","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"Energy Imbalance",-92773.346999999994,-125100.10299999997,-52763.553000000007,0,0,0,0,0,0,0,0,0]

{"sheet":"Operating Reserve","index":9,"n_rows":19,"n_cols":14,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Cost","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Operating Reserve",2.5572945414709203,3.2991433796225107,2.3469512154287506]
[null,"BM - Constrained Operating Reserve",1.8743759198159893,1.1372382034088102,1.7942404164607253]
[null,"Trade - Operating Reserve",0.17115123210802999,0.26124751558671994,0.28095894543672006]
[null,"Trade - UTEV",0,0,0]
[null,"Trade - Constrained Operating Reserve",5.4947588366149998E-2,0.13816125397221002,0.29175886320758998]
[null,"SO-SO - Operating Reserve",0,0,0]
[null,"SO-SO - Constrained Operating Reserve",0,0,0]
[]
[]
[null,"Volume","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Operating Reserve",109998.25699999998,118407.19999999997,116188.826,0,0,0,0,0,0,0,0,0]
[null,"BM - Constrained Operating Reserve",426126.58799999987,218287.01800000007,274276.15099999995,0,0,0,0,0,0,0,0,0]
[null,"Trade - Operating Reserve",5938,17696.5,10848,0,0,0,0,0,0,0,0,0]
[null,"Trade - UTEV",0,0,0,0,0,0,0,0,0,0,0,0]
[null,"Trade - Constrained Operating Reserve",12147,9054.5,11644,0,0,0,0,0,0,0,0,0]
[null,"SO-SO - Operating Reserve",0,0,0,0,0,0,0,0,0,0,0,0]
[null,"SO-SO - Constrained Operating Reserve",0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"STOR","index":10,"n_rows":27,"n_cols":14,"rows_kept":27,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - STOR",0.44797522893812997,0.34013872427462999,0.49365315396831022]
[null,"AS - BM STOR (Tendered)",0.65016954000000005,0.94757899999999973,0.9998338200000001]
[null,"AS - NBM STOR availability (Tendered)",1.8470357099999997,2.1849417,2.2741213599999996]
[null,"AS - NBM STOR utilisation (Tendered)",0.76439241000000002,0.38073458000000004,0.80319474999999996]
[null,"AS - BM Season/Term Reconciliation (Tendered)",0,0,0]
[null,"AS - NBM Season/Term Reconciliation (Tendered)",0,-1.4174579999999999E-2,0]
[null,null,3.7095728889381299,3.8392194242746296,4.5708030839683103,0,0,0,0,0,0,0,0,0]
[null,null,1.0981447689381301,1.2877177242746298,1.4934869739683103,0,0,0,0,0,0,0,0,0]
[null,null,2.6114281199999998,2.5515016999999998,3.0773161099999995,0,0,0,0,0,0,0,0,0]
[]
[null,"MWh","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS - NBM STOR utilisation (Tendered)",26301.52,17062.61,30646.74]
[null,"AS - BM STOR utilisation (Tendered)",1057.8009999999999,1412.366,1918.442]
[null,null,27359.321,18474.976000000002,32565.182000000001,0,0,0,0,0,0,0,0,0]
[null,"Reporting Month"]
["Total",4.5708030839683103]
["BM",1.4934869739683103]
["Non-BM",3.0773161099999995]
["Total Vol",32565.182000000001]
[]
[]
[null,null,"2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01"]
[null,"BM STOR (July MBSS)",1523.3530000000001]
[null,"BM STOR",4612.4920000000002]
[null,"AS BM STOR",4468.8760000000002]

{"sheet":"Constraints","index":11,"n_rows":54,"n_cols":14,"rows_kept":54,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS - BM Intertrip capability (Mandatory - CAP76)",0.1147247999999999,0.1185489599999999,0.1311696]
[null,"AS - BM Intertrip capability  (Commercial)",1.6434335519999996E-2,1.6982146703999997E-2,1.6434335519999996E-2]
[null,"AS - BM Intertrip Arming  (Commercial)",0,3.8836010000000004E-2,2.7358799999999999E-2]
[null,"AS - Interconnector Intertrip Arming (Commercial)",0,0,0]
[null,"AS - BM Intertrip - trip (Mandatory and Commercial)",0,0,0]
[null,"AS - BM Constraints",0.27309146999999984,1.848477527191869,0.90548843999999973]
[]
[]
[null,"Costs (£m)","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"BM - Transmission",27.46775668839512,7.8291106254935459,16.029328375218679,0,0,0,0,0,0,0,0,0]
[null,"Trades - Transmission",0.13342646168128025,0.11217568642670067,1.0335444547511889,0,0,0,0,0,0,0,0,0]
[null,"BM - Voltage",1.1261490437286683,1.6899458428303222,5.318152099025756,0,0,0,0,0,0,0,0,0]
[null,"Trades - Voltage",0.57417592811383567,1.0594947818928282,2.7383747819468969,0,0,0,0,0,0,0,0,0]
[null,"BM - ROCOF",1.6499165557249813,2.2596908600768972,2.8383521278565915,0,0,0,0,0,0,0,0,0]
[null,"Trades - ROCOF",7.586468980682139,8.2425082006389996,17.579558468244457,0,0,0,0,0,0,0,0,0]
[null,"SO-SO - Constraints",0,0,0,0,0,0,0,0,0,0,0,0]
[null,"AS Costs",3.7888536055199999,2.3588046438958687,1.2329181755200005]
[]
[]
[null,"Absolute Volume MWh","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"BM - Transmission",349466.62199999986,90677.262000000061,151061.05299999996,0,0,0,0,0,0,0,0,0]
[null,"Trades - Transmission",2587.5,913.09999999999991,30168,0,0,0,0,0,0,0,0,0]
[null,"BM - Voltage",93269.136000000028,84034.441999999966,229847.50799999991,0,0,0,0,0,0,0,0,0]
[null,"Trades - Voltage",35114.5,67420,175935,0,0,0,0,0,0,0,0,0]
[null,"BM - ROCOF",53658.137999999999,101371.304,74192.970999999976,0,0,0,0,0,0,0,0,0]
[null,"Trades - ROCOF",209000,248361.5,420687.5,0,0,0,0,0,0,0,0,0]
[]
[]
[]
[]
[]
[null,"Reporting Month"]
[null,"AS Costs"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Graph Title"]
[null,"Constraints - Jun 2019"]

{"sheet":"Negative Reserves","index":12,"n_rows":17,"n_cols":14,"rows_kept":17,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Negative reserve",7.3067326617479986E-2,1.861588991233E-2,4.0232647716580007E-2]
[null,"Trade -  Negative reserve",0.18879778732940003,0.12856947849170999,0.67074222444208997]
[null,"SO-SO - Negative reserve",3.7600261000000002E-7,0,0]
[]
[]
[]
[null,"Volumes","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Negative Reserve",-5366.69,-2126.9290000000001,-5034.6090000000004,0,0,0,0,0,0,0,0,0]
[null,"Trade - Negative Reserve",-31740.5,-35741,-76111,0,0,0,0,0,0,0,0,0]
[null,"SO-SO - Negative Reserve",-1541.232,0,0,0,0,0,0,0,0,0,0,0]
[null,null,-38648.422000000006,-37867.929000000004,-81145.608999999997,0,0,0,0,0,0,0,0,0]
[]
[]
[null,"Reporting Month"]
[null,"Volume",-81145.608999999997]

{"sheet":"Fast Reserve","index":13,"n_rows":25,"n_cols":14,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Fast Reserves",0.57616306523892002,0.42702490693533002,0.54682166106992014]
[null,"Hydro Spin Gen No LF (Commercial)",5.9474976600000016,5.5321183699999992,4.8512493500000007]
[null,"BM Optional Fast Reserve (Commercial)",0,0,0]
[null,"NBM Optional Fast Reserve Availability (Commercial)",5.7477399999999984E-2,6.3072179999999992E-2,0.13965000000000005]
[null,"NBM Optional Fast Reserve Utilisation (Commercial)",0.75819139999999985,0.61318388218999997,1.1017013099999993]
[null,"BM Firm Fast Reserve (Tendered)",0.50500999999999985,0.42453999999999981,0.4861859999999999]
[null,"NBM Firm Fast Reserve Avail + Nom (Tendered)",0.34176000000000023,0.26609870000000002,0.24832179999999993]
[null,"NBM Firm Fast Reserve Utilisation (Tendered)",0.44257913000000026,0.18943578000000003,0.16221304999999994]
[null,"Total BM",7.0286707252389213,6.3836832769353284,5.8842570110699208,0,0,0,0,0,0,0,0,0]
[null,"Total Non-BM",1.6000079300000003,1.1317905421900001,1.651886159999999,0,0,0,0,0,0,0,0,0]
[]
[]
[]
[null,"Volume","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS - NBM Firm Fast Reserve availability + nomination (Tendered)",44160,107632,74400]
[null,"AS - BM Firm Fast Reserve availability (Tendered)",85320,93780,90990]
[null,"AS - BM Hydro Spin Gen No LF (Commercial)",229810.81,208924.51,184416.55]
[]
[]
[]
[null,"Reporting Month"]
[null,"BM",5.8842570110699208]
[null,"Non-BM",1.651886159999999]

{"sheet":"Response","index":14,"n_rows":86,"n_cols":41,"rows_kept":86,"cut":false,"hidden":false,"merged":[[34,32,34,34],[34,35,34,37],[34,17,34,19],[34,20,34,22],[34,23,34,25],[34,26,34,28],[34,29,34,31],[34,2,34,4],[34,5,34,7],[34,8,34,10],[34,11,34,13],[34,14,34,16],[20,35,20,37],[20,2,20,4],[20,5,20,7],[20,8,20,10],[20,11,20,13],[20,14,20,16],[20,17,20,19],[20,20,20,22],[20,23,20,25],[20,26,20,28],[20,29,20,31],[20,32,20,34]]}
[]
[null,"Costs","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Response",2.4971839983419692,3.2919196696986495,3.1799149047019597]
[null,"BM Generator Response (Mandatory) ",1.8889162100000003,2.0943167300000001,1.8707491900000002]
[null,"BM Generator Response (Commercial)",2.2435400000000001E-2,2.6306139999999999E-2,8.4343189999999998E-2]
[null,"BM Generator Response Energy (Mandatory) ",7.4543190000000009E-2,0.10547458999999999,0.10398314]
[null,"BM Generator Response Energy (Commercial) ",-7.8222699999999992E-3,-1.058448E-2,-2.7401780000000001E-2]
[null,"Hydro Spin Gen with LF",2.9055000000000001E-3,2.0709160000000001E-2,4.5444999999999999E-3]
[null,"Hydro Pump deload",1.3077510000000001E-2,8.6607699999999999E-3,2.7776999999999999E-4]
[null,"BM Enhanced Frequency Response (Commercial)",1.0178833799999998,0.96529648000000001,0.92671872000000011]
[null,"Interconnector Response (Commercial)",0,0,0]
[null,"NBM Enhanced Frequency Response (Commercial)",0.72576117999999989,0.76620170999999992,0.76224320000000001]
[null,"NBM Demand Side Response (Commerical)",0.63714955699993359,0.67504838376259335,0.30539002796180376]
[null,"BM Other Response (Commercial)",0,0,0]
[null,"NBM Other Response (Commercial)",6.251489999999997E-2,4.3577999999999999E-2,4.8902049999999968E-2]
[null,"BM FFR (Tendered)",0.22400609999999993,0.35233542999999989,0.20875087000000003]
[null,"BM FFR  Response Energy (Tendered)",0,0,0]
[null,"NBM FFR (Tendered)",2.4913737400000011,2.46342427,2.5279470000000002]
[]
[]
[null,null,"2019-04-01",null,null,"2019-05-01",null,null,"2019-06-01",null,null,"2019-07-01",null,null,"2019-08-01",null,null,"2019-09-01",null,null,"2019-10-01",null,null,"2019-11-01",null,null,"2019-12-01",null,null,"2020-01-01",null,null,"2020-02-01",null,null,"2020-03-01"]
[null,"Holding volumes (MWh)","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H"]
[null,"BM Generator Response (Mandatory) ",237384.39300000001,146979.766,350836.02,249983.79300000001,156969.58600000001,373954.69,226401.47399999999,137565.59700000001,351524.58399999997]
[null,"Hydro Spin Gen with LF",0,108.41,0,0,760.85,0,0,167.01,0]
[null,"Hydro Pump deload",1509.9,1869.4,null,1087.8,1346.8,null,35.700000000000003,44.2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,108.41,0]
[null,"BM Enhanced Frequency Response (Commercial)"]
[null,"Interconnector Response (Commercial)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,107712.68014748904,0,992]
[null,"NBM Enhanced Frequency Response (Commercial)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,150724.48000000001,298577.98,110899.98]
[null,"NBM Demand Side Response (Commerical)",107712.68014748904,0,992,113273.07,0,1200,51507.01,0,432]
[null,"BM Other Response (Commercial)",0,0,0,0,0,0,0,0,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1509.9,1869.4]
[null,"BM FFR (Tendered)",36789.5,36789.5,36789.5,28091.5,28091.5,28091.5,34749.5,34749.5,34749.5]
[null,"NBM FFR (Tendered)",150724.48000000001,298577.98,110899.98,150214.17000000001,292627.17,107676.17,138081.75,263793.75,82087.5]
[null,null,534120.953147489,484325.05599999998,499517.5,542650.33299999998,479795.90599999996,510922.36,450775.43400000001,436320.05700000003,468793.58399999997,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[]
[null,null,"2019-04-01",null,null,"2019-05-01",null,null,"2019-06-01",null,null,"2019-07-01",null,null,"2019-08-01",null,null,"2019-09-01",null,null,"2019-10-01",null,null,"2019-11-01",null,null,"2019-12-01",null,null,"2020-01-01",null,null,"2020-02-01",null,null,"2020-03-01"]
[null,"Holding volumes (GWh)","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H","P","S","H"]
[null,"BM Generator Response (Mandatory) ",237.38439300000002,146.97976600000001,350.83602000000002,249.98379299999999,156.96958600000002,373.95469000000003,226.40147399999998,137.565597,351.52458399999995,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"Hydro Spin Gen with LF",0,0.10840999999999999,0,0,0.76085000000000003,0,0,0.16700999999999999,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"Hydro Pump deload",1.5099,1.8694000000000002,0,1.0877999999999999,1.3468,0,3.5700000000000003E-2,4.4200000000000003E-2,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"BM Enhanced Frequency Response (Commercial)",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"Interconnector Response (Commercial)",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"NBM Enhanced Frequency Response (Commercial)",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"NBM Demand Side Response (Commerical)",107.71268014748904,0,0.99199999999999999,113.27307,0,1.2,51.507010000000001,0,0.432,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"BM Other Response (Commercial)",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"BM FFR (Tendered)",36.789499999999997,36.789499999999997,36.789499999999997,28.0915,28.0915,28.0915,34.749499999999998,34.749499999999998,34.749499999999998,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"NBM FFR (Tendered)",150.72448,298.57797999999997,110.89998,150.21417000000002,292.62716999999998,107.67617,138.08175,263.79374999999999,82.087500000000006,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,107661.71799999999,66922.085999999996,185466.53700000001,150171.685,91998.91,233097.58900000001,104561.59099999999,57607.064000000013,144299.33500000002,151506.82199999999,97958.865000000049,257625.087]

{"sheet":"Reactive","index":15,"n_rows":21,"n_cols":14,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"AS-BM Default Utilisation (Mandatory - CVA)",5.6925451199999992,6.5045053199999998,5.9050389800000014]
[null,"AS-BM Utilisation (Mandatory - SVA)",7.2084099999999967E-3,3.2199699999999986E-3,3.7862699999999991E-3]
[null,"AS-BM Reactive Utilisation (Commercial)",0,0,0]
[null,"AS-BM Syncronous Compensation ( Commercial)",9.2272500000000035E-2,9.5348250000000037E-2,9.2272500000000035E-2]
[null,"Power Potential ( Commercial)",0,0,0]
[]
[]
[null,null,"2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"BM Default Utilisation (Mandatory - CVA)",1908439.23,2329652.25,2203196.35]
[null,"BM Reactive Utilisation (Commercial)",2320.5034999999993,1112.27,1327.93]
[null,"BM Utilisation (Mandatory - SVA)",0,0,0]
[null,"Power Potential (Commercial)",0,0,0]
[null,null,1910759.7335000001,2330764.52,2204524.2800000003,0,0,0,0,0,0,0,0,0]
[]
[]
[null,"Reporting Month"]
[null,2204524.2800000003]
[]
[null,6.04]

{"sheet":"Black Start","index":16,"n_rows":9,"n_cols":14,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"BM  Black Start Availability (Commercial)",2.9400796699999989,3.0156981784000005,2.7590598199999996]
[null,"Interconnector Black Start Availability (Commercial)",4.8384780000000016E-2,5.149968000000002E-2,4.9838400000000019E-2]
[null,"BM Black Start Test (Commerical)",0,0,0]
[null,"BM Black Start Capital Contributions (Commerical)",0,0,0]
[null,"BM Black Start Feasibility (Commercial)",0,0,0]
[null,"BM Black Start Warming (Commercial)",0.32479999999999981,0.34719999999999979,0.32479999999999981]
[null,"BM Black Start Other (Commerical)",0,0,0]

{"sheet":"Other Reserves","index":17,"n_rows":19,"n_cols":14,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
[null,"BM Warming (Commercial)",0.27680216999999996,4.8703160000000002E-2,0.12620833999999997]
[null,"BM Demand Turn Up (Commercial)",0,0,0]
[null,"BM Power Potential (Commercial)",0,0,0]
[null,"NBM Demand Turn Up (Commerical)",0,0,0]
[null,"BM GT Fast Start Availability (Commerial)",0.38772203,0.39970171000000004,0.37377397000000007]
[null,"Hydro Rapid Start And GT Fast Start Utilisation (Commercial)",0,0.11373309,0.10569725000000001]
[null,"Hydro Optional Spin Pump (Commercial)",0.82545457999999994,0.89537246999999998,0.85452708999999993]
[]
[]
[null,null,"2019-04-01","2019-05-01","2019-06-01","2019-07-01","2019-08-01","2019-09-01","2019-10-01","2019-11-01","2019-12-01","2020-01-01","2020-02-01","2020-03-01"]
["availability","Hydro Optional Spin Pump availability (MWh)",51237.3,56503.1,53596.35]
[null,"Hydro Rapid Start And GT Fast Start utilisation (MWh)",0,126.045,75.605999999999995]
["sites","BM GT Fast Start Availability number of sites",20,20,20]
[null,"NBM Demand Turn Up utilisation (MWh)",0,0,0]
[null,"BM Power Potential utilisation (MWh)",0,0,0]
[null,"BM Demand Turn Up utilisation (MWh)"]
["instructions","BM Warming instructions",8,3,9]

{"sheet":"Minor components","index":18,"n_rows":21,"n_cols":14,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Costs","2019-04-30","2019-05-31","2019-06-30","2019-07-31","2019-08-31","2019-09-30","2019-10-31","2019-11-30","2019-12-31","2020-01-31","2020-02-29","2020-03-31"]
[null,"BM - Minor Components",1.2922901223847498,1.09327809873771,1.7837124195487095]
[null,"SO-SO - Minor Components",0,0,0]
[null,"AS - Minor Components",5.6147E-4,0,0]
[null,"Non-Delivery & Reconciliation",-7.2861020000305476E-3,-0.74863399799986574,-1.4727879480000026]
[null,"Non Delivery",-0.53942665000000156,-0.37191269000000016,-0.51672391999999978]
[null,"Reconcilliation",0.53214054799997101,-0.37672130799986558,-0.95606402800000279]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"\\"]