# NETS SQSS and Grid Code Industry Consultation Response Proforma

GSR018 / GC0077 Sub-Synchronous Oscillations

Industry parties are invited to respond to this consultation expressing their views and supplying the rationale for those views, particularly in respect of any specific questions detailed below.

Please send your responses by 09 May 2016 to box.SQSS@nationalgrid.com. Please note that any responses received after the deadline or sent to a different email address may not receive due consideration.

These responses will be included in the Report to the Authority which is drafted by National Grid and submitted to the Authority for a decision.

| Respondent: | Please insert your name and contact details (phone number or email address) |
| --- | --- |
| Company Name: | Please insert your Company Name |
| Does the modification proposed provide Transmission System Users with enough assurance that their Plant is not going to be subjected to unacceptable risks due to Sub-Synchronous Oscillations? If not, please clarify why. |  |
| Does the modification proposed strike the right balance between operational risks and the cost of constraints required to mitigate this risk? If not, please provide evidence. |  |
| Does the modification proposed strike the right balance between capital investment and operational expenditure? If not, please provide evidence. |  |
| The Workgroup concluded that although the System Instability criteria stipulated within the NETS SQSS apply in principle to Sub-Synchronous Oscillations, the letter of the definition is not necessarily applicable as it is almost impossible to be met. Does this constitute any operational risk to the Transmission System and/or User’s Plant? If yes, please specify these risks. |  |
| Do you agree that the definitions for Sub-Synchronous Oscillations and Unacceptable Sub-Synchronous Oscillations should be generic such that it covers all well-established phenomena that might result in Unacceptable SSO; does not restrict Transmission Licensees from investigating any other potential interactions that might arise due to new generation and transmission technologies; and applies equally to all types of generation and transmission plant? If not, please clarify your rationale. |  |
| Do the definitions proposed for both Sub-Synchronous Oscillations and Unacceptable Sub-Synchronous Oscillations meet the criteria mentioned above? If not, please clarify why. |  |
| Do you agree to the choice of word “Insufficient damping” within the definition of Unacceptable Sub-Synchronous Oscillations rather than specifying a numerical value (e.g. zero)? If not, please advise what level of damping is deemed to be sufficient taking into account the potential differences between different types of plants and between units of the same type but of different rating. |  |
| The modification proposal places the responsibility of mitigating the risks of Unacceptable Sub-Synchronous Oscillations arising because of transmission plant on Transmission Licensees. However, it allows them to partially or fully fulfil this obligation via reasonably specifying some site specific requirements on Transmission System Users. Do you agree to this approach? If no, please clarify your concerns. |  |
| In order to comply with the generic definition of Unacceptable Sub-Synchronous Oscillations, it is expected that, where necessary, Transmission Licensees will specify to a Generator an electrical damping characteristic, in case of Synchronous Generating Units, or a network impedance characteristic, in case of Power Park Modules, and require that the Generator design their plant such that it does not result in Unacceptable Sub-Synchronous Oscillations. Do you agree to that approach? If no, please propose alternatives. |  |
| Do you agree to the general outline proposed for the process of defining and/or agreeing the damping characteristics or the network impedance characteristics? Please highlight any risks that might arise from this approach. |  |
| Do you agree to the generic wording proposed for the Bilateral Agreement set out in Annex 4 of this Consultation Document? Please clarify any concerns. |  |
| Do the modifications proposed protect Transmission Access rights for all Transmission System Users? If not, please specify why. |  |
| Is there any evidence that Users will be inappropriately or adversely affected by the changes proposed? If so please provide details. |  |
| Do you believe that GC0077 better facilitates the appropriate Grid Code objectives? | For reference the applicable Grid Code objectives are: (i) to permit the development, maintenance and operation of an efficient, coordinated and economical system for the transmission of electricity; (ii) to facilitate competition in the generation and supply of electricity (and without limiting the foregoing, to facilitate the national electricity transmission system being made available to persons authorised to supply or generate electricity on terms which neither prevent nor restrict competition in the supply or generation of electricity); (iii) subject to sub-paragraphs (i) and (ii), to promote the security and efficiency of the electricity generation, transmission and distribution systems in the national electricity transmission system operator area taken as a whole; and (iv) to efficiently discharge the obligations imposed upon the licensee by this license and to comply with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency. |
| Do you believe that GSR018 better facilitates the appropriate NETS SQSS objectives? | For reference the applicable NETS SQSS objectives are: (i) facilitate the planning, development and maintenance of an efficient, coordinated and economical system of electricity transmission, and the operation of that system in an efficient, economic and coordinated manner; (ii) ensure an appropriate level of security and quality of supply and safe operation of the National Electricity Transmission System; (iii) facilitate effective competition in the generation and supply of electricity, and (so far as consistent therewith) facilitating such competition in the distribution of electricity; and (iv) facilitate electricity Transmission Licensees to comply with their obligations under EU law. |
| Do you generally support the modifications proposed by the workgroup? If not, please clarify your concerns. |  |
| Are there any further technical considerations that need to be taken into account? |  |
| Please provide any other comments you feel are relevant to the proposed changes. |  |