## Zone_Manual
Generation Zoning - Sensitivities Node Mapping
Table S7 - Mapping of nodes to alternative generation zones
For futher information on circuits, please refer to the ETYS, appendix B
https://www.nationalgrideso.com/research-publications/electricity-ten-year-statement-etys
* Node code is used where there are multiple zones for any given site/sitecode and voltage
TO Region | Site Name | Site Code (Node Code*) | Voltage (kV) | 27 Zones | 48 Zones | 14 Zones
SHETL | ABERDEEN BAY | ABBA | 132 | 1 | 8 | 1
SHETL | ABERARDER | ABED | 132 | 1 | 9 | 1
NGET | ABHAM | ABHA | 400 | 27 | 46 | 14
SHETL | ABERNETHY | ABNE | 132 | 5 | 10 | 1
NGET | ABERTHAW | ABTH | 275 | 21 | 48 | 10
SHETL | A-CHRUACH | ACHR | 132 | 7 | 15 | 1
SHETL | AIGAS | AIGA | 132 | 1 | 9 | 1
NGET | ALDWARKE | ALDW | 275 | 16 | 29 | 5
SHETL | ALNESS | ALNE | 132 | 1 | 1 | 1
NGET | ALVERDISCOTT | ALVE | 400 | 27 | 46 | 14
NGET | AMERSHAM | AMEM (AMEM4A_EPN, AMEM4B_EPN) | 400 | 25 | 42 | 9
NGET | AMERSHAM | AMEM (AMEM4A_SEP, AMEM4B_SEP) | 400 | 25 | 42 | 13
SHETL | AMULREE | AMUL | 132 | 5 | 10 | 1
SHETL | AN SUIDHE | ANSU | 132 | 7 | 15 | 1
SHETL | ARBROATH | ARBR | 132 | 5 | 10 | 1
SHETL | ARDKINGLAS | ARDK | 132 | 7 | 15 | 1
SPT | ARECLEOCH | AREC | 132 | 10 | 19 | 2
SHETL | ARDMORE | ARMO | 132 | 4 | 4 | 1
SPT | AUCHENCROSH | AUCH | 275 | 10 | 17 | 2
SPT | AUCHENWYND | AUCW | 132 | 11 | 22 | 2
NGET | AXMINSTER | AXMI (AXMI40_SEP) | 400 | 26 | 45 | 13
NGET | AXMINSTER | AXMI (AXMI40_WPD) | 400 | 26 | 45 | 14
SPT | AYR | AYR- | 275 | 10 | 18 | 2
SPT | BATHGATE RAIL | BAGA | 132 | 9 | 16 | 2
NGET | BAGLAN BAY | BAGB | 275 | 21 | 48 | 10
SPT | BAINSFORD | BAIN | 132 | 9 | 16 | 2
NGET | BARKING | BARK (BARK20_EPN) | 275 | 18 | 40 | 9
NGET | BARKING | BARK (BARK20_LPN) | 275 | 24 | 40 | 12
NGET | BARKING | BARK | 400 | 18 | 40 | 12
SHETL | BEAULY | BEAU | 132 | 1 | 6 | 1
SHETL | BEAULY | BEAU | 275 | 1 | 6 | 1
SHETL | BEAULY | BEAU | 400 | 1 | 6 | 1
NGET | BEDDINGTON | BEDD (BEDD20_LPN) | 275 | 23 | 42 | 11
NGET | BEDDINGTON | BEDD (BEDD20_SPN) | 275 | 23 | 42 | 12
NGET | BEDDINGTON | BEDD | 400 | 23 | 42 | 12
SHETL | BEINNEUN | BEIN | 132 | 3 | 7 | 1
SHETL | BERRY BURN | BERB | 275 | 1 | 6 | 1
SPT | BERWICK | BERW | 132 | 11 | 21 | 2
NGET | BERKSWELL | BESW | 275 | 18 | 33 | 7
SHETL | BHLARAIDH | BHLA | 132 | 3 | 7 | 1
NGET | BICKER FEN | BICF | 400 | 17 | 30 | 7
SHETL | BIRKHILL | BIHI | 132 | 9 | 10 | 1
NGET | BIRKENHEAD | BIRK | 275 | 16 | 29 | 6
NGET | BISHOPS WOOD | BISW | 275 | 18 | 33 | 8
SPT | BLACKHILL | BLAH | 132 | 10 | 19 | 2
SPT | BLACKCRAIG | BLCW | 132 | 10 | 19 | 2
SHETL | BLACKHILLOCK | BLHI | 132 | 1 | 2 | 1
SHETL | BLACKHILLOCK | BLHI | 275 | 1 | 2 | 1
SHETL | BLACKHILLOCK | BLHI | 400 | 1 | 2 | 1
SPT | BLACKLAW | BLKL | 132 | 11 | 22 | 2
SPT | BLACK LAW EXTENSION WIND FARM | BLKX | 132 | 11 | 22 | 2
NGET | BLYTH | BLYT | 275 | 13 | 25 | 3
NGET | BLYTH | BLYT | 400 | 13 | 25 | 3
SHETL | BOAT OF GARTEN | BOAG | 132 | 1 | 6 | 1
NGET | BODELWYDDAN | BODE | 400 | 16 | 31 | 6
NGET | BOLNEY | BOLN | 400 | 25 | 44 | 11
SPT | BONNYBRIDGE BORDER NODE | BONB | 275 | 9 | 16 | 2
SPT | BONNYBRIDGE BORDER NODE | BONB | 400 | 9 | 16 | 2
SPT | BONNYBRIDGE | BONN | 132 | 9 | 16 | 2
SPT | BONNYBRIDGE | BONN | 275 | 9 | 16 | 2
NGET | BOTLEY WOOD | BOTW | 400 | 25 | 45 | 13
SPT | BRACO | BRAC | 275 | 9 | 16 | 2
SPT | BRAEHEAD | BRAE | 132 | 9 | 16 | 2
NGET | BRAINTREE | BRAI | 400 | 18 | 38 | 9
SPT | BRAEHEAD PARK | BRAP | 132 | 11 | 22 | 2
NGET | BRADFORD WEST | BRAW | 275 | 15 | 29 | 5
NGET | BRADFORD WEST | BRAW | 400 | 15 | 29 | 5
SHETL | BRECHIN | BREC | 132 | 5 | 10 | 1
NGET | BREDBURY | BRED | 275 | 16 | 29 | 4
NGET | BRAMFORD | BRFO | 400 | 18 | 35 | 9
SHETL | BRIDGE OF DUN | BRID | 132 | 5 | 10 | 1
NGET | BRIMSDOWN | BRIM (BRIM2A_EPN, BRIM2B_EPN, BRIM2C_EPN, BRIM2D_EPN) | 275 | 24 | 38 | 9
NGET | BRIMSDOWN | BRIM (BRIM2A_LPN, BRIM2B_LPN, BRIM2C_LPN, BRIM2D_LPN) | 275 | 24 | 38 | 12
NGET | BRINSWORTH | BRIN | 275 | 16 | 29 | 5
NGET | BRINSWORTH | BRIN | 400 | 16 | 29 | 5
NGET | BRAMLEY | BRLE | 400 | 25 | 43 | 13
SPT | BRANXTON | BRNX | 400 | 11 | 21 | 2
SHETL | BROADFORD | BROA | 132 | 4 | 4 | 1
SHETL | BRORA | BROR | 132 | 1 | 1 | 1
SPT | BROXBURN | BROX | 132 | 11 | 21 | 2
NGET | BRIDGEWATER | BRWA | 275 | 26 | 45 | 14
NGET | BULLS LODGE | BULL | 400 | 23 | 40 | 9
SHETL | BURGHMUIR | BUMU | 132 | 9 | 10 | 1
NGET | BURWELL MAIN | BURW | 400 | 18 | 34 | 9
SPT | BUSBY | BUSB | 275 | 11 | 22 | 2
NGET | BUSHBURY | BUSH | 275 | 18 | 33 | 8
NGET | BUSTLEHOLME | BUST | 275 | 18 | 33 | 8
NGET | BUSTLEHOLME | BUST | 400 | 18 | 33 | 8
SHETL | CARRADALE | CAAD | 132 | 7 | 15 | 1
SPT | CARSFAD | CAFA | 132 | 10 | 18 | 2
SHETL | CAPENHURST-INCE | CAIN | 275 | 1 | 2 | 1
NGET | CANTERBURY | CANT | 400 | 24 | 39 | 11
NGET | CAPENHURST | CAPE | 275 | 16 | 29 | 6
NGET | CAPENHURST | CAPE | 400 | 16 | 29 | 6
NGET | CARDIFF EAST | CARE | 275 | 21 | 48 | 10
NGET | CARRINGTON | CARR | 275 | 16 | 29 | 4
NGET | CARRINGTON | CARR | 400 | 16 | 29 | 4
SHETL | CASSLEY | CASS | 132 | 1 | 3 | 1
SPT | CARNTYNE | CATY | 132 | 11 | 21 | 2
SHETL | CEANNACROC | CEAN | 132 | 3 | 7 | 1
NGET | CELLARHEAD | CELL (CELL40_SPM) | 400 | 18 | 32 | 6
NGET | CELLARHEAD | CELL (CELL40_WPD) | 400 | 18 | 32 | 8
SPT | CHAPELCROSS | CHAP | 132 | 12 | 23 | 2
SHETL | CHARLESTON | CHAR | 132 | 9 | 10 | 1
SPT | CHARLOTTE STREET | CHAS | 275 | 11 | 22 | 2
NGET | CHICKERELL | CHIC | 400 | 26 | 45 | 13
NGET | CHILLING | CHIL | 400 | 26 | 45 | 13
NGET | CHESSINGTON | CHSI | 275 | 23 | 42 | 11
NGET | CHESTERFIELD | CHTE | 275 | 16 | 29 | 7
NGET | CHAFFORD HUNDRED | CHUE | 400 | 24 | 40 | 9
NGET | CILFYNNYD | CILF | 275 | 21 | 36 | 10
NGET | CILFYNNYD | CILF | 400 | 21 | 36 | 10
NGET | CITY ROAD | CITR | 400 | 23 | 37 | 12
SHETL | CLACHAN | CLAC | 132 | 7 | 15 | 1
SHETL | CLAYHILLS | CLAY | 132 | 5 | 6 | 1
NGET | CLEVE HILL | CLEH | 400 | 24 | 40 | 11
SHETL | CLUNIE | CLUN | 132 | 5 | 11 | 1
SPT | CLYDE'S MILL | CLYM | 275 | 11 | 22 | 2
SPT | CLYDE NORTH | CLYN | 275 | 11 | 20 | 2
SPT | CLYDE SOUTH | CLYS | 275 | 11 | 20 | 2
SPT | COALBURN | COAL | 132 | 11 | 21 | 2
SPT | COALBURN | COAL | 400 | 11 | 21 | 2
SPT | COATBRIDGE | COAT | 275 | 11 | 22 | 2
SPT | COCKENZIE | COCK | 275 | 11 | 21 | 2
SPT | COCKENZIE | COCK | 400 | 11 | 21 | 2
SHETL | CORRIEGARTH | COGA (COGA10) | 132 | 1 | 6 | 1
SHETL | CORRIEGARTH | COGA (COGA1C) | 132 | 1 | 9 | 1
SHETL | CONNAGILL | CONN | 132 | 1 | 1 | 1
SHETL | CONNAGILL | CONN | 275 | 1 | 1 | 1
NGET | CONNAHS QUAY | CONQ | 400 | 16 | 29 | 6
SHETL | CORRIEMOILLIE | CORI | 132 | 1 | 7 | 1
NGET | CORYTON SOUTH | COSO | 400 | 24 | 40 | 9
NGET | COTTAM | COTT | 400 | 16 | 29 | 7
SHETL | COUPAR ANGUS | COUA | 132 | 5 | 10 | 1
NGET | COVENTRY | COVE | 275 | 18 | 33 | 7
NGET | COWLEY | COWL | 400 | 25 | 43 | 13
NGET | COWBRIDGE TEE | COWT | 275 | 21 | 48 | 10
SPT | COYLTON | COYL | 132 | 10 | 17 | 2
SPT | COYLTON | COYL | 275 | 10 | 18 | 2
SPT | COYLTON TEE | COYT | 132 | 10 | 17 | 2
SPT | COYLTON WEST | COYW | 275 | 11 | 22 | 2
SHETL | CRAIGIEBUCKLER | CRAI | 132 | 5 | 6 | 1
NGET | CREYKE BECK | CREB | 275 | 15 | 28 | 5
NGET | CREYKE BECK | CREB | 400 | 15 | 28 | 5
SPT | CROOKSTON | CROO | 132 | 11 | 22 | 2
SHETL | CROSSAIG | CRSS (CRSS10) | 132 | 7 | 14 | 1
SHETL | CROSSAIG | CRSS (CRSS1Q, CRSS1R) | 132 | 7 | 15 | 1
SHETL | CROSSAIG | CRSS | 275 | 7 | 15 | 1
SPT | CRUACHAN | CRUA | 275 | 8 | 14 | 2
SPT | CRYSTAL RIG | CRYR | 132 | 11 | 21 | 2
SPT | CRYSTAL RIG | CRYR | 400 | 11 | 20 | 2
NGET | CULHAM JET | CULJ | 400 | 25 | 43 | 13
SHETL | CULLIGRAN | CULL | 132 | 1 | 9 | 1
SPT | CUMBERNAULD | CUMB | 132 | 9 | 16 | 2
SPT | CUMBERHEAD | CUMH | 132 | 11 | 19 | 2
SPT | CUPAR | CUPA | 132 | 9 | 16 | 2
SPT | CURRIE | CURR | 132 | 9 | 16 | 2
SPT | CURRIE | CURR | 275 | 9 | 16 | 2
SHETL | DALLAS | DAAS | 275 | 1 | 6 | 1
NGET | DAINES | DAIN | 400 | 16 | 24 | 4
SPT | DALMALLY | DALL | 275 | 8 | 14 | 2
SPT | DALMARNOCK | DALM | 132 | 11 | 22 | 2
SPT | DALMARNOCK | DALM | 275 | 11 | 22 | 2
SHETL | DEANIE | DEAN | 132 | 1 | 9 | 1
SPT | DENNY NORTH | DENN | 132 | 9 | 16 | 2
SPT | DENNY NORTH | DENN | 275 | 9 | 16 | 2
SPT | DENNY NORTH | DENN | 400 | 9 | 16 | 2
SHETL | DENSIDE | DENS | 132 | 5 | 10 | 1
SPT | DERSALLOCH WIND FARM | DERS | 132 | 10 | 19 | 2
SPT | DEVOL MOOR | DEVM | 132 | 9 | 17 | 2
SPT | DEVOL MOOR | DEVM | 400 | 9 | 17 | 2
SPT | DEVONSIDE | DEVO | 132 | 9 | 16 | 2
SPT | DEWAR PLACE | DEWP | 275 | 11 | 21 | 2
NGET | DIDCOT | DIDC | 400 | 25 | 43 | 13
NGET | DINORWIG | DINO | 400 | 19 | 31 | 6
SHETL | DORENELL | DORE | 132 | 1 | 8 | 1
SHETL | DOUNREAY | DOUN | 132 | 1 | 1 | 1
SHETL | DOUNREAY | DOUN | 275 | 1 | 1 | 1
NGET | DRAKELOW | DRAK | 275 | 18 | 32 | 7
NGET | DRAKELOW | DRAK | 400 | 18 | 32 | 7
NGET | DRAX | DRAX | 400 | 15 | 28 | 5
SPT | DRUMCROSS | DRCR | 132 | 9 | 16 | 2
SPT | DRUMCHAPEL | DRUM | 275 | 9 | 16 | 2
SHETL | DUNBEATH | DUBE | 132 | 1 | 1 | 1
SHETL | DUNMOREE COMPOUND | DUCC | 132 | 1 | 6 | 1
SHETL | DUDHOPE | DUDH | 132 | 9 | 10 | 1
SHETL | DUNVEGAN GRID | DUGR | 132 | 4 | 4 | 1
SPT | DUMFRIES | DUMF | 132 | 12 | 23 | 2
SPT | DUNBAR | DUNB | 132 | 11 | 21 | 2
SPT | DUNLAW EXTENSION | DUNE | 132 | 11 | 20 | 2
SPT | DUNFERMLINE | DUNF | 132 | 9 | 16 | 2
NGET | DUNGENESS | DUNG | 275 | 24 | 41 | 11
NGET | DUNGENESS | DUNG | 400 | 24 | 41 | 11
SPT | DUNHILL | DUNH (DUNH10) | 132 | 10 | 17 | 2
SPT | DUNHILL | DUNH (DUNH1Q, DUNH1R) | 132 | 10 | 19 | 2
SHETL | DUNMAGLASS | DUNM (DUNM1C) | 132 | 1 | 6 | 1
SHETL | DUNMAGLASS | DUNM (DUNM10, DUNM1T) | 132 | 1 | 9 | 1
SHETL | DUNOON | DUNO | 132 | 7 | 14 | 1
SHETL | DYCE | DYCE | 132 | 1 | 6 | 1
NGET | EALING | EALI | 275 | 23 | 37 | 13
NGET | EATON SOCON | EASO | 400 | 18 | 34 | 9
SPT | EARLSTOUN | EAST | 132 | 10 | 18 | 2
SPT | ECCLEFECHAN | ECCF | 132 | 12 | 23 | 2
SPT | ECCLES | ECCL | 132 | 11 | 21 | 2
SPT | ECCLES | ECCL | 400 | 11 | 21 | 2
NGET | EAST CLAYDON | ECLA (ECLA40_EME) | 400 | 18 | 34 | 7
NGET | EAST CLAYDON | ECLA (ECLA40_WPD) | 400 | 18 | 34 | 8
NGET | EAST CLAYDON | ECLA (ECLA40_SEP) | 400 | 18 | 34 | 13
SHETL | EDINBANE | EDIN | 132 | 4 | 4 | 1
SPT | EASTERHOUSE | EERH | 275 | 9 | 16 | 2
NGET | EGGBOROUGH | EGGB | 400 | 15 | 29 | 5
SPT | EAST KILBRIDE | EKIL | 275 | 11 | 22 | 2
SPT | EAST KILBRIDE SOUTH | EKIS | 275 | 11 | 22 | 2
SPT | ELDERSLIE | ELDE | 132 | 9 | 16 | 2
SHETL | ELGIN | ELGI | 132 | 1 | 6 | 1
NGET | ELLAND | ELLA | 275 | 15 | 29 | 5
NGET | ELSTREE | ELST | 275 | 25 | 42 | 9
NGET | ELSTREE | ELST | 400 | 25 | 42 | 9
SPT | ELVANFOOT | ELVA | 275 | 11 | 21 | 2
SPT | ELVANFOOT | ELVA | 400 | 11 | 21 | 2
NGET | ENDERBY | ENDE | 400 | 18 | 34 | 7
SHETL | ERROCHTY | ERRO (ERRO10A, ERRO10B, ERRO10T) | 132 | 5 | 10 | 1
SHETL | ERROCHTY | ERRO (ERRO10) | 132 | 5 | 11 | 1
SPT | ERSKINE | ERSK | 132 | 9 | 16 | 2
SPT | ESSENSIDE | ESST | 132 | 9 | 16 | 2
SPT | EWE HILL | EWEH | 132 | 12 | 23 | 2
NGET | EXETER | EXET | 400 | 26 | 46 | 14
SHETL | FARR FARM | FAAR | 132 | 1 | 9 | 1
SPT | FALLAGO | FALL | 400 | 11 | 20 | 2
SHETL | FARIGAIG | FARI | 132 | 1 | 6 | 1
SHETL | FARIGAIG | FARI | 275 | 1 | 6 | 1
SHETL | FASNAKYLE | FASN | 275 | 3 | 6 | 1
SHETL | FORT AUGUSTUS | FAUG | 132 | 3 | 7 | 1
SHETL | FORT AUGUSTUS | FAUG | 275 | 3 | 7 | 1
SHETL | FORT AUGUSTUS | FAUG | 400 | 3 | 7 | 1
NGET | FAWLEY | FAWL | 400 | 26 | 45 | 13
NGET | FECKENHAM | FECK | 275 | 18 | 33 | 8
NGET | FECKENHAM | FECK | 400 | 18 | 33 | 8
NGET | FENWICK TEE | FENW | 400 | 15 | 29 | 5
SHETL | FERNOCH | FERO (FERO10) | 132 | 7 | 12 | 1
SHETL | FERNOCH | FERO (FERO1S) | 132 | 7 | 15 | 1
NGET | FERRYBRIDGE | FERR (FERR20_NED, FERR2A_NED, FERR2B_NED) | 275 | 15 | 28 | 3
NGET | FERRYBRIDGE | FERR (FERR20_YED, FERR2A_YED, FERR2B_YED, FERR20, FERR2A, FERR2B) | 275 | 15 | 28 | 5
NGET | FERRYBRIDGE | FERR | 400 | 15 | 28 | 5
SHETL | FETTERESSO | FETT | 132 | 5 | 10 | 1
SHETL | FETTERESSO | FETT | 275 | 9 | 10 | 1
NGET | FFESTINIOG | FFES | 275 | 16 | 31 | 6
SHETL | FIDDES | FIDD | 132 | 5 | 10 | 1
NGET | FIDDLERS FERRY | FIDF (FIDF20_ENW) | 275 | 15 | 24 | 4
NGET | FIDDLERS FERRY | FIDF (FIDF20_SPM) | 275 | 15 | 24 | 6
SPT | FIFE ENERGY | FIFE | 132 | 9 | 16 | 2
SHETL | FINLARIG | FINL | 132 | 6 | 12 | 1
SPT | FINNIESTOUN QUAY | FINQ | 132 | 9 | 16 | 2
NGET | FLEET | FLEE | 400 | 25 | 43 | 13
NGET | FLINTSHIRE BRIDGE CONVERTER STATION | FLIB | 400 | 16 | 29 | 6
SHETL | FOGGIETON | FOGG | 132 | 5 | 10 | 1
NGET | FOURSTONES | FOUR | 275 | 13 | 25 | 3
SHETL | FOYERS | FOYE | 275 | 1 | 9 | 1
SHETL | FRASERBURGH | FRAS | 132 | 2 | 5 | 1
NGET | FRODSHAM | FROD | 275 | 16 | 29 | 6
NGET | FRODSHAM | FROD | 400 | 16 | 29 | 6
SHETL | FORT WILLIAM | FWIL | 132 | 3 | 7 | 1
SHETL | FYRISH | FYRI | 132 | 1 | 1 | 1
SHETL | FYRISH | FYRI | 275 | 1 | 1 | 1
SPT | GALASHIELS | GALA | 132 | 11 | 21 | 2
SPT | GARELOCH BOUNDARY | GARB | 132 | 9 | 16 | 2
SPT | GARELOCH | GARE | 132 | 9 | 16 | 2
NGET | GARTH CABLE COMPOUND | GART | 400 | 16 | 28 | 5
SPT | GALAWHISTLE | GAWH | 132 | 11 | 21 | 2
SPT | GIFFNOCK | GIFF | 275 | 9 | 16 | 2
SHETL | GILLS BAY | GILB | 132 | 1 | 1 | 1
SHETL | GLENAGNES | GLAG | 132 | 9 | 16 | 1
SHETL | GLENDOE | GLDO | 132 | 3 | 7 | 1
SHETL | GLENMORISTON | GLEN | 132 | 3 | 7 | 1
SHETL | GLENFARCLAS | GLFA | 132 | 1 | 6 | 1
SPT | GLENGLASS | GLGL | 132 | 10 | 19 | 2
SHETL | GLEN KYLLACHY | GLKO | 132 | 1 | 9 | 1
SPT | GLENLEE | GLLE | 132 | 10 | 18 | 2
SPT | GLENLUCE | GLLU | 132 | 10 | 17 | 2
SPT | GLENNISTON | GLNI | 132 | 9 | 16 | 2
SPT | GLENROTHES BOUNDARY | GLRB | 275 | 9 | 16 | 2
SPT | GLENROTHES | GLRO | 275 | 9 | 16 | 2
SPT | GORGIE | GORG | 132 | 11 | 21 | 2
SHETL | GORDONBUSH FARM | GORW | 275 | 1 | 3 | 1
SPT | GOVAN | GOVA | 132 | 9 | 16 | 2
NGET | GRAIN | GRAI | 400 | 24 | 40 | 11
NGET | GRENDON | GREN (GREN40_EME) | 400 | 18 | 34 | 7
NGET | GRENDON | GREN (GREN40_EPN) | 400 | 18 | 34 | 9
SHETL | GRIFFIN FARM | GRIF | 132 | 5 | 10 | 1
NGET | GRIMSBY WEST | GRIW | 400 | 15 | 28 | 5
SPT | GRANGEMOUTH | GRMO | 275 | 9 | 16 | 2
SPT | GRETNA | GRNA | 132 | 12 | 23 | 2
SPT | GRETNA | GRNA | 400 | 12 | 23 | 2
NGET | GREYSTONES A | GRSA | 275 | 13 | 26 | 3
NGET | GREYSTONES B | GRSB | 275 | 13 | 26 | 3
SHETL | GRUDIE BRIDGE | GRUB | 132 | 1 | 6 | 1
NGET | GWYNEDD | GWYN | 400 | 16 | 31 | 6
NGET | HACKNEY | HACK | 275 | 24 | 40 | 12
NGET | HACKNEY | HACK | 400 | 24 | 40 | 12
SPT | HADYARD HILL | HADH | 132 | 10 | 19 | 2
SPT | HAGGS ROAD | HAGR | 132 | 9 | 16 | 2
SPT | HARKER BORDER NODE | HAKB | 132 | 12 | 25 | 4
SPT | HARKER BORDER NODE | HAKB | 400 | 12 | 25 | 4
NGET | HAMBLETON TEE | HAMB | 400 | 15 | 27 | 4
NGET | HAMS HALL | HAMH | 275 | 18 | 33 | 8
NGET | HAMS HALL | HAMH (HAMH40_EME) | 400 | 18 | 33 | 7
NGET | HAMS HALL | HAMH (HAMH40_WPD) | 400 | 18 | 33 | 8
SPT | HARESTANES | HARE | 132 | 12 | 24 | 2
NGET | HARKER | HARK | 132 | 12 | 25 | 4
NGET | HARKER | HARK | 275 | 12 | 25 | 4
NGET | HARKER | HARK | 400 | 12 | 25 | 4
NGET | HARTMOOR | HARM | 275 | 13 | 26 | 3
NGET | HARTLEPOOL | HATL | 275 | 13 | 26 | 3
SPT | HAWICK | HAWI | 132 | 11 | 21 | 2
NGET | HAWTHORN PIT | HAWP | 275 | 13 | 26 | 3
NGET | HAWTHORN PIT | HAWP | 400 | 13 | 26 | 3
NGET | HEDDON TEE (CODE NOW MEDB) | HEDD | 400 | 13 | 25 | 3
NGET | HEDON (GIS) | HEDO | 275 | 15 | 28 | 5
SPT | HELENSBURGH | HELE | 132 | 9 | 14 | 2
NGET | HEYSHAM | HEYS | 400 | 14 | 27 | 4
NGET | HIGHBURY | HIBU | 400 | 24 | 40 | 12
NGET | HIGH MARNHAM | HIGM | 275 | 16 | 29 | 7
NGET | HIGH MARNHAM | HIGM | 400 | 16 | 29 | 7
NGET | HINKLEY POINT | HINP | 275 | 26 | 45 | 14
NGET | HINKLEY POINT | HINP | 400 | 26 | 45 | 14
SPT | HUNTERSTON | HUER | 132 | 11 | 22 | 2
SPT | HUNTERSTON | HUER | 400 | 10 | 17 | 2
NGET | HUMBER REFINERY | HUMR | 400 | 15 | 28 | 5
SPT | HUNTERSTON EAST | HUNE | 400 | 11 | 22 | 2
SPT | HUNTERSTON FARM | HUNF | 132 | 11 | 22 | 2
SPT | HUNTERSTON NORTH | HUNN | 275 | 11 | 22 | 2
SPT | HUNTERSTON NORTH | HUNN | 400 | 11 | 22 | 2
NGET | HURST | HURS | 275 | 18 | 42 | 12
NGET | HUTTON | HUTT | 400 | 14 | 27 | 4
NGET | IMPERIAL PARK | IMPP | 400 | 21 | 36 | 10
NGET | INDIAN QUEENS | INDQ | 400 | 27 | 46 | 14
SHETL | INVERGARRY | INGA | 132 | 3 | 7 | 1
SPT | INVERKEITHING | INKE | 132 | 9 | 16 | 2
SHETL | INVERNESS | INNE | 132 | 1 | 6 | 1
SHETL | INVERUGIE | INRU | 132 | 2 | 5 | 1
SHETL | INVERARAY | INVE | 132 | 7 | 15 | 1
SHETL | INVERARNAN | INVR | 132 | 8 | 13 | 1
SHETL | INVERARNAN | INVR | 275 | 8 | 13 | 2
SPT | INNERWICK | INWI | 132 | 11 | 21 | 2
NGET | IRON ACTON | IROA | 132 | 18 | 47 | 8
NGET | IRON ACTON | IROA (IROA20_WPDWM) | 275 | 21 | 47 | 8
NGET | IRON ACTON | IROA (IROA20_WPDSW) | 275 | 21 | 47 | 14
NGET | IRONBRIDGE | IRON | 400 | 18 | 32 | 8
NGET | IVER | IVER | 275 | 25 | 42 | 13
NGET | IVER | IVER | 400 | 25 | 42 | 13
SPT | JOHNSTONE | JOHN | 132 | 9 | 16 | 2
NGET | JORDANTHORPE | JORD | 275 | 16 | 29 | 5
SPT | JUNCTION A | JUNA | 132 | 11 | 22 | 2
SPT | JUNCTION V | JUNV | 132 | 12 | 23 | 2
SPT | KAIMES | KAIM | 275 | 11 | 21 | 2
NGET | KEADBY | KEAD | 400 | 16 | 28 | 5
NGET | KEARSLEY | KEAR | 275 | 15 | 24 | 5
NGET | KEARSLEY | KEAR | 400 | 15 | 24 | 5
SHETL | KEITH | KEIT | 132 | 1 | 6 | 1
SHETL | KEITH | KEIT | 275 | 1 | 6 | 1
NGET | KEMSLEY | KEMS | 400 | 24 | 40 | 11
NGET | KENSAL GREEN | KENG | 400 | 23 | 37 | 12
SPT | KENDOON | KEOO | 132 | 10 | 18 | 2
NGET | KIRKBY | KIBY | 275 | 15 | 24 | 6
SPT | KILLERMONT | KIER | 132 | 9 | 16 | 2
SHETL | KILLIN | KIIN | 132 | 5 | 12 | 1
SPT | KILBOWIE | KILB | 132 | 9 | 16 | 2
SHETL | KILLIN | KILC | 132 | 7 | 15 | 1
SPT | KILGALLIOCH | KILG | 275 | 10 | 18 | 2
NGET | KILLINGHOLME | KILL | 400 | 15 | 28 | 5
SHETL | KINLOCHLEVEN | KILO | 132 | 3 | 7 | 1
SPT | KILMARNOCK SOUTH | KILS | 132 | 11 | 22 | 2
SPT | KILMARNOCK SOUTH | KILS | 275 | 11 | 22 | 2
SPT | KILMARNOCK SOUTH | KILS | 400 | 11 | 22 | 2
SPT | KILMARNOCK TOWN | KILT | 275 | 11 | 22 | 2
SPT | KILWINNING | KILW | 132 | 11 | 22 | 2
SPT | KINCARDINE BOUNDARY | KINB | 275 | 9 | 16 | 2
SPT | KINCARDINE | KINC | 275 | 9 | 16 | 2
NGET | KINGSNORTH | KINO | 400 | 24 | 40 | 11
SHETL | KINTORE | KINT | 132 | 1 | 8 | 1
SHETL | KINTORE | KINT | 275 | 1 | 8 | 1
SHETL | KILMORACK | KIOR | 132 | 1 | 9 | 1
NGET | KIRKSTALL | KIRK | 275 | 15 | 29 | 5
NGET | KITWELL | KITW | 275 | 18 | 33 | 8
NGET | KNARESBOROUGH | KNAR | 275 | 15 | 29 | 3
SHETL | KNOCKNAGAEL | KNOC | 132 | 1 | 6 | 1
SHETL | KNOCKNAGAEL | KNOC | 275 | 1 | 6 | 1
SPT | KYPE MUIR | KYPE | 132 | 11 | 20 | 2
NGET | LACKENBY | LACK | 275 | 13 | 26 | 3
NGET | LACKENBY | LACK | 400 | 13 | 26 | 3
NGET | LANGAGE | LAGA | 400 | 27 | 46 | 14
SHETL | LAGGAN | LAGG | 132 | 3 | 7 | 1
SHETL | LAIRG | LAIR | 132 | 1 | 1 | 1
NGET | LALEHAM | LALE (LALE20_SPN) | 275 | 25 | 42 | 11
NGET | LALEHAM | LALE (LALE20_SEP) | 275 | 25 | 42 | 13
SPT | LAMBHILL | LAMB | 275 | 9 | 16 | 2
NGET | LANDULPH | LAND | 400 | 27 | 46 | 14
NGET | LEGACY | LEGA | 400 | 18 | 29 | 6
NGET | LEIGHTON BUZZARD | LEIB | 400 | 18 | 34 | 9
NGET | LEISTON | LEIS | 132 | 18 | 34 | 9
NGET | LEISTON | LEIS | 400 | 18 | 34 | 9
SPT | LEVEN | LEVE | 132 | 9 | 16 | 2
SPT | LEVEN TEE | LEVT | 132 | 9 | 16 | 2
SHETL | LIMEKILNS FARM | LIMK | 132 | 1 | 1 | 1
SPT | LIVINGSTON | LING | 132 | 9 | 16 | 2
SPT | LINNMILL | LINM (LINM1R) | 132 | 11 | 21 | 2
SPT | LINNMILL | LINM (LINM1Q) | 132 | 11 | 22 | 2
NGET | LISTER DRIVE | LISD | 275 | 15 | 24 | 6
NGET | LITTLE BARFORD | LITB | 400 | 18 | 34 | 9
NGET | LITTLEBROOK | LITT | 275 | 18 | 42 | 12
NGET | LITTLEBROOK | LITT (LITT40_SPN) | 400 | 18 | 42 | 11
NGET | LITTLEBROOK | LITT (LITT40_LPN) | 400 | 18 | 42 | 12
NGET | LITTLEBROOK | LITT (LITT40) | 400 | 24 | 42 | 12
SPT | LONGANNET | LOAN | 275 | 9 | 16 | 2
SHETL | LOCH BUIDHE | LOCB | 132 | 1 | 1 | 1
SHETL | LOCH BUIDHE | LOCB | 275 | 1 | 1 | 1
SHETL | LOCHAY | LOCH | 132 | 6 | 12 | 1
SHETL | LOCH LUNDIE | LOCL | 132 | 3 | 7 | 1
NGET | LONGFIELD | LOFI | 400 | 18 | 42 | 12
NGET | LOVEDEAN | LOVE | 400 | 25 | 45 | 13
SHETL | LUICHART | LUIC | 132 | 1 | 7 | 1
SHETL | LUMBS | LUMB | 132 | 2 | 5 | 1
SHETL | LUNANHEAD | LUNA | 132 | 9 | 10 | 1
SHETL | LUNDAVRA | LUND | 132 | 3 | 7 | 1
SHETL | LYNDHURST | LYND | 132 | 9 | 10 | 1
NGET | MACCLESFIELD | MACC | 275 | 16 | 24 | 4
NGET | MACCLESFIELD | MACC | 400 | 16 | 24 | 4
SHETL | MACDUFF | MACD | 132 | 1 | 6 | 1
NGET | MARGAM | MAGA | 275 | 21 | 48 | 10
SPT | MARK HILL | MAHI | 132 | 10 | 17 | 2
SPT | MARK HILL | MAHI | 275 | 10 | 18 | 2
NGET | MANNINGTON | MANN | 400 | 26 | 45 | 13
SPT | MARGREE | MARG | 132 | 10 | 17 | 2
NGET | MARCHWOOD | MAWO | 400 | 26 | 45 | 13
SPT | MAYBOLE | MAYB | 132 | 10 | 17 | 2
SPT | MAYBOLE TEE | MAYT | 132 | 10 | 17 | 2
SPT | MEADOWHEAD | MEAD | 132 | 10 | 18 | 2
NGET | MEDWAY | MEDW | 400 | 24 | 40 | 11
SHETL | MELGARVE | MELG | 132 | 5 | 10 | 1
SHETL | MELGARVE | MELG | 400 | 5 | 10 | 1
NGET | MELKSHAM | MELK | 275 | 21 | 47 | 13
NGET | MELKSHAM | MELK (MELK40_SEP) | 400 | 21 | 47 | 13
NGET | MELKSHAM | MELK (MELK40_WPD) | 400 | 21 | 47 | 14
NGET | MIDDLETON | MIDL | 400 | 14 | 27 | 4
SPT | MIDDLE MUIR | MIDM | 132 | 11 | 20 | 2
SHETL | MILTON OF CRAIGIE | MILC | 132 | 5 | 10 | 1
NGET | MILL HILL | MILH (MILH2A_EPN, MILH2A_EPN) | 275 | 25 | 42 | 9
NGET | MILL HILL | MILH (MILH2A_LPN, MILH2A_LPN) | 275 | 25 | 42 | 12
SHETL | MILLENNIUM SOUTH FARM | MILS | 132 | 3 | 7 | 1
SHETL | MILLENIUM | MILW | 132 | 3 | 7 | 1
NGET | MINETY | MITY | 400 | 21 | 47 | 13
SPT | MOFFAT | MOFF | 132 | 12 | 24 | 2
SPT | MOFFAT | MOFF | 400 | 12 | 21 | 2
NGET | MONK FRYSTON | MONF | 275 | 15 | 28 | 5
NGET | MONK FRYSTON | MONF | 400 | 15 | 28 | 5
SPT | MOSSMORRAN SHELL | MOSH | 132 | 9 | 16 | 2
SPT | MOSSMORRAN | MOSM | 132 | 9 | 16 | 2
SPT | MOSSMORRAN | MOSM | 275 | 9 | 16 | 2
SHETL | MOSSFORD | MOSS | 132 | 1 | 7 | 1
SHETL | MOULTAIVE | MOTA | 132 | 1 | 6 | 1
SHETL | MYBSTER | MYBS | 132 | 1 | 1 | 1
SHETL | NAIRN | NAIR | 132 | 1 | 6 | 1
SHETL | NANT | NANT | 132 | 7 | 12 | 1
SPT | NEWARTHILL | NEAR | 275 | 11 | 22 | 2
NGET | NECHELLS | NECH | 275 | 18 | 33 | 8
NGET | NECTON | NECT | 400 | 17 | 34 | 7
SPT | NEW CUMNOCK | NECU | 132 | 10 | 19 | 2
SPT | NEW CUMNOCK | NECU | 275 | 10 | 18 | 2
SHETL | NEW DEER | NEDE | 275 | 2 | 5 | 1
NGET | NEEPSEND | NEEP | 275 | 16 | 29 | 5
NGET | NEEPSEND | NEEP | 400 | 16 | 29 | 5
SPT | NEILSTON | NEIL | 132 | 11 | 22 | 2
SPT | NEILSTON | NEIL | 275 | 11 | 22 | 2
SPT | NEILSTON | NEIL | 400 | 11 | 22 | 2
SPT | NEWTON STEWART | NETS | 132 | 10 | 17 | 2
NGET | NEW CROSS | NEWX | 275 | 23 | 37 | 12
NGET | NORTHFLEET EAST | NFLE | 400 | 18 | 40 | 11
NGET | NORTH HYDE | NHYD | 275 | 25 | 42 | 13
NGET | NINFIELD | NINF | 400 | 25 | 44 | 11
NGET | NORTON LEES | NORL | 275 | 16 | 29 | 5
NGET | NORWICH MAIN | NORM | 400 | 18 | 34 | 9
NGET | NORTON | NORT | 275 | 13 | 26 | 3
NGET | NORTON | NORT | 400 | 13 | 26 | 3
NGET | NURSLING | NURS | 400 | 26 | 45 | 13
NGET | OCKER HILL | OCKH | 275 | 18 | 33 | 8
NGET | OFFERTON | OFFE | 275 | 13 | 26 | 3
NGET | OLDBURY | OLDB | 275 | 18 | 33 | 8
NGET | OLDBURY | OLDB | 400 | 18 | 33 | 8
NGET | OLDSBURY ON SEVERN | OLDS | 132 | 21 | 47 | 8
SHETL | ORRIN | ORRI | 132 | 1 | 7 | 1
NGET | OSBALDWICK | OSBA | 400 | 15 | 29 | 3
NGET | PADIHAM | PADI | 400 | 15 | 24 | 4
NGET | PATFORD BRIDGE | PAFB | 400 | 18 | 33 | 7
SPT | PAISLEY | PAIS | 132 | 11 | 22 | 2
SPT | PARTICK | PART | 132 | 9 | 16 | 2
SHETL | PETERHEAD | PEHE | 132 | 2 | 5 | 1
SHETL | PETERHEAD | PEHE | 275 | 2 | 5 | 1
SHETL | PETERHEAD GRANGE | PEHG | 132 | 2 | 5 | 1
NGET | PELHAM | PELH | 400 | 18 | 34 | 9
NGET | PEMBROKE | PEMB | 400 | 20 | 36 | 10
NGET | PENN | PENN | 275 | 18 | 33 | 8
NGET | PENN | PENN | 400 | 18 | 33 | 8
NGET | PENTIR | PENT | 400 | 19 | 31 | 6
SHETL | PERSLEY | PERS | 132 | 5 | 6 | 1
SHETL | PERSLEY | PERS | 275 | 5 | 6 | 1
NGET | PENWORTHAM | PEWO | 275 | 15 | 27 | 4
NGET | PENWORTHAM | PEWO | 400 | 15 | 27 | 4
NGET | PITSMOOR | PITS | 275 | 16 | 29 | 5
SPT | PORTOBELLO | POOB | 275 | 11 | 21 | 2
NGET | POPPLETON | POPP | 275 | 15 | 29 | 3
SHETL | PORT ANN | PORA | 132 | 7 | 15 | 1
SPT | PORT DUNDAS | PORD | 275 | 9 | 16 | 2
NGET | PUDDING MILL LANE | PUDM | 400 | 23 | 40 | 12
NGET | PYLE | PYLE | 275 | 21 | 48 | 10
NGET | QUERNMOOR | QUER | 400 | 14 | 27 | 4
SHETL | QUOICH | QUOI | 132 | 3 | 7 | 1
NGET | RAINHILL | RAIN (RAIN20_ENW) | 275 | 15 | 24 | 4
NGET | RAINHILL | RAIN (RAIN20_SPM) | 275 | 15 | 24 | 6
SHETL | RANNOCH | RANN | 132 | 5 | 10 | 1
NGET | RASSAU | RASS | 400 | 21 | 36 | 10
NGET | RATCLIFFE-ON-SOAR | RATS | 275 | 18 | 32 | 7
NGET | RATCLIFFE-ON-SOAR | RATS | 400 | 18 | 32 | 7
NGET | RAYLEIGH | RAYL | 400 | 23 | 40 | 9
NGET | REDBRIDGE | REBR | 275 | 18 | 40 | 12
SPT | REDHOUSE | REDH | 132 | 9 | 16 | 2
SHETL | REDMOSS | REDM | 132 | 5 | 6 | 1
NGET | RHIGOS | RHIG | 400 | 21 | 36 | 10
NGET | RICHBOROUGH | RICH | 400 | 24 | 39 | 11
NGET | ROCHDALE | ROCH | 275 | 15 | 24 | 4
NGET | ROCHDALE | ROCH | 400 | 15 | 24 | 4
NGET | ROCKSAVAGE | ROCK | 400 | 16 | 29 | 6
SHETL | ROTHIENORMAN | ROTI | 275 | 1 | 1 | 1
NGET | ROWDOWN | ROWD | 400 | 24 | 42 | 12
NGET | RUGELEY | RUGE | 400 | 18 | 32 | 8
NGET | RYEHOUSE | RYEH | 400 | 24 | 38 | 9
NGET | RYHALL (NETWORK RAIL) | RYHA | 400 | 16 | 34 | 7
SPT | SALTCOATS | SACO (SACO1R) | 132 | 11 | 21 | 2
SPT | SALTCOATS | SACO (SACO1Q) | 132 | 11 | 22 | 2
NGET | SALTEND NORTH S/STN | SAEN | 275 | 15 | 28 | 5
NGET | SALT END SOUTH | SAES | 275 | 15 | 28 | 5
NGET | SALTHOLME | SALH | 275 | 13 | 26 | 3
SPT | ST ANDREWS CROSS | SANX | 132 | 11 | 21 | 2
NGET | STOKE BARDOLPH | SBAR | 400 | 18 | 32 | 7
NGET | SEABANK | SEAB | 400 | 22 | 47 | 14
NGET | SELLINDGE | SELL | 400 | 24 | 41 | 11
NGET | SELLINDGE WEST | SELW | 400 | 24 | 41 | 11
SHETL | ST FERGUS | SFEG | 132 | 2 | 5 | 1
SHETL | ST FERGUS | SFEM | 132 | 2 | 5 | 1
SHETL | ST FERGUS | SFER | 132 | 2 | 5 | 1
SHETL | ST FILLANS | SFIL | 132 | 5 | 12 | 1
NGET | SOUTH HUMBER BANK | SHBA | 400 | 15 | 28 | 5
NGET | SHEFFIELD CITY | SHEC | 275 | 16 | 29 | 5
SHETL | SHIN | SHIN | 132 | 1 | 1 | 1
NGET | SHREWSBURY | SHRE | 400 | 18 | 32 | 8
SPT | SHRUBHILL | SHRU | 275 | 11 | 21 | 2
SPT | SIGHTHILL | SIGH | 275 | 11 | 21 | 2
NGET | SINGLEWELL | SING | 400 | 18 | 40 | 11
NGET | SIZEWELL | SIZE | 132 | 18 | 34 | 9
NGET | SIZEWELL | SIZE | 400 | 18 | 34 | 9
NGET | ST JOHNS WOOD | SJOW | 275 | 23 | 37 | 12
NGET | ST JOHNS WOOD | SJOW | 400 | 23 | 37 | 12
NGET | SKELTON GRANGE | SKLG | 275 | 15 | 29 | 5
SHETL | SLOY | SLOY | 132 | 8 | 13 | 1
NGET | SOUTH MANCHESTER | SMAN | 275 | 16 | 29 | 4
SPT | SMEATON | SMEA | 132 | 11 | 21 | 2
SPT | SMEATON | SMEA | 275 | 11 | 21 | 2
SPT | SMEATON | SMEA | 400 | 11 | 21 | 2
SPT | SPANGO VALLEY | SPAV | 132 | 9 | 16 | 2
NGET | SPENNYMOOR | SPEN | 400 | 13 | 26 | 3
SHETL | SPITTAL | SPIT | 132 | 1 | 1 | 1
SHETL | SPITTAL | SPIT | 275 | 1 | 1 | 1
NGET | SPALDING | SPLN | 400 | 17 | 30 | 7
NGET | SOUTH SHIELDS | SSHI | 275 | 13 | 26 | 3
NGET | STANAH | STAH | 400 | 14 | 27 | 4
NGET | STALYBRIDGE | STAL | 275 | 16 | 24 | 4
NGET | STALYBRIDGE | STAL | 400 | 16 | 24 | 4
NGET | STAYTHORPE | STAY | 400 | 16 | 29 | 7
NGET | STELLA WEST | STEW | 275 | 13 | 25 | 3
NGET | STELLA WEST | STEW | 400 | 13 | 25 | 3
SPT | STRATHAVEN | STHA | 275 | 11 | 22 | 2
SPT | STRATHAVEN | STHA | 400 | 11 | 22 | 2
SPT | STIRLING | STIR | 132 | 9 | 16 | 2
SPT | STRATHLEVEN | STLE (STLE10_SHEPD) | 132 | 8 | 14 | 1
SPT | STRATHLEVEN | STLE (STLE10_SPD) | 132 | 8 | 14 | 2
SHETL | STRATH BRORA | STRB | 275 | 1 | 3 | 1
SHETL | STRICHEN | STRI | 132 | 2 | 5 | 1
SHETL | STRONELAIRG | STRL | 132 | 5 | 8 | 1
SHETL | STRATHY | STRW (STRW1C) | 132 | 1 | 1 | 1
SHETL | STRATHY | STRW (STRW10) | 132 | 1 | 3 | 1
NGET | STOCKSBRIDGE | STSB | 400 | 16 | 29 | 5
SPT | STELLA WEST BORDER NODE | STWB | 400 | 11 | 21 | 3
NGET | SUNDON | SUND | 400 | 18 | 34 | 9
NGET | SUTTON BRIDGE | SUTB | 400 | 17 | 34 | 7
NGET | SWANSEA NORTH | SWAN (SWAN20_SPM) | 275 | 21 | 36 | 6
NGET | SWANSEA NORTH | SWAN (SWAN20_SWA, SWAN20A) | 275 | 21 | 36 | 10
NGET | SWANSEA NORTH | SWAN | 400 | 21 | 36 | 10
SHETL | TARLAND | TARL | 132 | 5 | 6 | 1
NGET | TAUNTON | TAUN | 400 | 26 | 45 | 14
SHETL | TAYNUILT | TAYN | 132 | 7 | 15 | 1
SHETL | TEALING | TEAL | 132 | 5 | 10 | 1
SHETL | TEALING | TEAL | 275 | 5 | 10 | 1
SPT | TELFORD ROAD | TELR | 132 | 9 | 16 | 2
NGET | TEMPLEBOROUGH | TEMP | 275 | 16 | 29 | 5
NGET | THORPE MARSH | THOM | 275 | 16 | 29 | 5
NGET | THORPE MARSH | THOM | 400 | 16 | 29 | 5
SHETL | THURSO | THSO | 132 | 1 | 1 | 1
SHETL | THURSO | THSO | 275 | 1 | 1 | 1
NGET | THORNTON | THTO | 400 | 15 | 29 | 5
NGET | THURCROFT | THUR | 275 | 16 | 29 | 5
NGET | TILBURY | TILB | 275 | 24 | 40 | 9
NGET | TILBURY | TILB | 400 | 24 | 40 | 9
NGET | TINSLEY PARK | TINP | 275 | 16 | 29 | 5
NGET | TOD POINT | TODP | 275 | 13 | 26 | 3
SHETL | TOMATIN | TOMT | 132 | 1 | 6 | 1
SHETL | TOMATIN | TOMT | 275 | 1 | 6 | 1
SPT | TONGLAND | TONG | 132 | 10 | 18 | 2
SPT | TORNESS | TORN | 132 | 11 | 21 | 2
SPT | TORNESS | TORN | 400 | 11 | 20 | 2
NGET | TOTTENHAM | TOTT | 275 | 24 | 40 | 9
NGET | TRAWSFYNYDD | TRAW | 275 | 16 | 31 | 6
NGET | TRAWSFYNYDD | TRAW | 400 | 16 | 31 | 6
NGET | TREMORFA | TREM | 275 | 21 | 48 | 10
NGET | TREUDDYN (PRON. TRITHIN) | TREU | 400 | 16 | 29 | 6
SHETL | TUMMEL BRIDGE | TUMB | 132 | 5 | 10 | 1
SHETL | TUMMEL | TUMM | 132 | 5 | 10 | 1
SHETL | TUMMEL | TUMM | 275 | 5 | 10 | 1
SHETL | TUMMEL | TUMM | 400 | 5 | 10 | 1
NGET | TYNEMOUTH | TYNE | 275 | 13 | 26 | 3
NGET | UPPER BOAT | UPPB | 275 | 21 | 48 | 10
NGET | USKMOUTH | USKM | 275 | 21 | 48 | 10
NGET | WALHAM | WALH | 400 | 21 | 47 | 8
NGET | WALPOLE | WALP (WALP40_EME) | 400 | 17 | 34 | 7
NGET | WALPOLE | WALP (WALP40_EPN) | 400 | 17 | 34 | 9
NGET | WALTHAM CROSS | WALX | 275 | 24 | 38 | 9
NGET | WALTHAM CROSS | WALX | 400 | 24 | 38 | 9
NGET | WARLEY | WARL | 275 | 18 | 38 | 9
NGET | WASHWAY FARM | WASF | 275 | 15 | 24 | 4
NGET | WATFORD SOUTH | WATS | 275 | 25 | 42 | 9
NGET | WEST BOLDON | WBOL | 275 | 13 | 26 | 3
NGET | WEST BURTON | WBUR | 400 | 16 | 29 | 7
SPT | AIKENGAL WINDFARM | WDOD | 132 | 11 | 21 | 2
SPT | WESTFIELD BOUNDARY | WFIB | 275 | 9 | 16 | 2
SPT | WESTFIELD | WFIE | 132 | 9 | 16 | 2
SPT | WESTFIELD | WFIE | 275 | 9 | 16 | 2
SPT | WEST GEORGE STREET | WGEO | 275 | 9 | 16 | 2
NGET | WEST HAM | WHAM | 400 | 24 | 40 | 12
NGET | WHITEGATE | WHGA | 275 | 15 | 24 | 4
SPT | WHITEHOUSE | WHHO | 275 | 11 | 21 | 2
SHETL | WHITE BRIDGE | WHIB | 132 | 5 | 10 | 1
NGET | WHITSON | WHSO | 275 | 21 | 48 | 10
NGET | WHITSON | WHSO | 400 | 21 | 48 | 10
SPT | WHISTLEFIELD BOUNDARY | WHTB | 132 | 9 | 14 | 1
SPT | WHISTLEFIELD | WHTL | 132 | 9 | 16 | 2
NGET | WINCOBANK | WIBA | 275 | 16 | 29 | 5
NGET | WILLENHALL | WIEN | 275 | 18 | 33 | 8
NGET | WILLINGTON EAST | WILE | 275 | 18 | 32 | 7
NGET | WILLINGTON EAST | WILE | 400 | 18 | 32 | 7
NGET | WIMBLEDON | WIMB | 275 | 23 | 37 | 12
NGET | WIMBLEDON | WIMB | 400 | 23 | 37 | 12
SHETL | WILLOWDALE | WIOW | 132 | 5 | 6 | 1
NGET | WILLESDEN | WISD (WISD20_EPN) | 275 | 23 | 37 | 9
NGET | WILLESDEN | WISD (WISD20_LPN) | 275 | 23 | 37 | 12
NGET | WILLESDEN | WISD (WISD20_SEP) | 275 | 23 | 37 | 13
NGET | WILLESDEN | WISD | 400 | 23 | 37 | 12
SPT | WISHAW (GOWKTHRAPPLE) | WISH | 132 | 11 | 22 | 2
SPT | WISHAW (GOWKTHRAPPLE) | WISH | 275 | 11 | 22 | 2
SPT | WISHAW (GOWKTHRAPPLE) | WISH | 400 | 11 | 22 | 2
SPT | WINDYHILL | WIYH | 132 | 9 | 16 | 2
SPT | WINDYHILL | WIYH | 275 | 9 | 16 | 2
SPT | WINDYHILL | WIYH | 400 | 9 | 16 | 2
SPT | WHITELEE | WLEE | 275 | 10 | 17 | 2
SPT | WHITELEE EXTENSION | WLEX | 275 | 10 | 17 | 2
NGET | WEST MELTON | WMEL | 275 | 16 | 29 | 5
SHETL | WOODHILL | WOHI | 132 | 5 | 6 | 1
NGET | WEST THURROCK | WTHU | 400 | 24 | 40 | 9
NGET | WEST WEYBRIDGE | WWEY | 275 | 25 | 42 | 11
NGET | WEST WEYBRIDGE | WWEY | 400 | 25 | 42 | 11
NGET | WYLFA | WYLF | 400 | 19 | 31 | 6
NGET | WYMONDLEY | WYMO | 400 | 18 | 34 | 9