## Weighting (hidden)
Field | Value | Note | Desription: SCL and Inertia are weighted individually and then averaged to work out the average no of SP in a month that they are made available. This Avg % is multiplied by total no of SP in a month and the £/SP | [5 empty] | WSCL | =(min(Actual SCL availability/Required SCL availability,1)) * actual SCL availability
Required SCL % | 90% | Fixed value for all | [6 empty] | Winertia | =(min(Actual Inertia availability/Required Inertia availability,1)) * actual Inertia availability
Required Inertia % | 60% | Flex per provider
(WSCL + Winertia) / 2 * £/SP * ΣSPmth
Over Deliver SCL
Under deliver SCL | [9 empty] | ΣSPmth = total number of SPs in a month
Over deliver Inertia
Under deliver Inertia
Capped at 100%
Actual Availability |  |  |  | Performance (Actual/required) |  | Payment |  |  |  | annual reconciliation to account for wind/solar difference over the year
SCL | Inertia | Scenario |  | SCL | Inertia | SCL weighting | Inertia Weighting | Avg
95% | 80% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 95% | 80% | 87.5%
95% | 75% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 95% | 75% | 85%
95% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 95% | 70% | 82.5%
95% | 65% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 95% | 65% | 80%
95% | 60% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 95% | 60% | 77.5% |  | Over Deliver SCL/Over deliver Inertia
95% | 55% | Over Deliver SCL/Under deliver Inertia |  | 100% | 91.67% | 95% | 50.42% | 72.71% |  | Over Deliver SCL/Under deliver Inertia
95% | 50% | Over Deliver SCL/Under deliver Inertia |  | 100% | 83.33% | 95% | 41.67% | 68.33% |  | Under deliver SCL/Over deliver Inertia
95% | 45% | Over Deliver SCL/Under deliver Inertia |  | 100% | 75% | 95% | 33.75% | 64.38% |  | Under deliver SCL/Under deliver Inertia
95% | 40% | Over Deliver SCL/Under deliver Inertia |  | 100% | 66.67% | 95% | 26.67% | 60.83%
95% | 35% | Over Deliver SCL/Under deliver Inertia |  | 100% | 58.33% | 95% | 20.42% | 57.71%
95% | 30% | Over Deliver SCL/Under deliver Inertia |  | 100% | 50% | 95% | 15% | 55%
95% | 25% | Over Deliver SCL/Under deliver Inertia |  | 100% | 41.67% | 95% | 10.42% | 52.71%
95% | 20% | Over Deliver SCL/Under deliver Inertia |  | 100% | 33.33% | 95% | 6.667% | 50.83%
95% | 15% | Over Deliver SCL/Under deliver Inertia |  | 100% | 25% | 95% | 3.75% | 49.38%
95% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 95% | 70% | 82.5%
90% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 90% | 70% | 80%
85% | 70% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100% | 80.28% | 70% | 75.14%
80% | 70% | Under deliver SCL/Over deliver Inertia |  | 88.89% | 100% | 71.11% | 70% | 70.56%
75% | 70% | Under deliver SCL/Over deliver Inertia |  | 83.33% | 100% | 62.5% | 70% | 66.25%
70% | 70% | Under deliver SCL/Over deliver Inertia |  | 77.78% | 100% | 54.44% | 70% | 62.22%
65% | 70% | Under deliver SCL/Over deliver Inertia |  | 72.22% | 100% | 46.94% | 70% | 58.47%
60% | 70% | Under deliver SCL/Over deliver Inertia |  | 66.67% | 100% | 40% | 70% | 55%
55% | 70% | Under deliver SCL/Over deliver Inertia |  | 61.11% | 100% | 33.61% | 70% | 51.81%
50% | 70% | Under deliver SCL/Over deliver Inertia |  | 55.56% | 100% | 27.78% | 70% | 48.89%
45% | 70% | Under deliver SCL/Over deliver Inertia |  | 50% | 100% | 22.5% | 70% | 46.25%
40% | 70% | Under deliver SCL/Over deliver Inertia |  | 44.44% | 100% | 17.78% | 70% | 43.89%
35% | 70% | Under deliver SCL/Over deliver Inertia |  | 38.89% | 100% | 13.61% | 70% | 41.81%
30% | 70% | Under deliver SCL/Over deliver Inertia |  | 33.33% | 100% | 10% | 70% | 40%
25% | 70% | Under deliver SCL/Over deliver Inertia |  | 27.78% | 100% | 6.944% | 70% | 38.47%
20% | 70% | Under deliver SCL/Over deliver Inertia |  | 22.22% | 100% | 4.444% | 70% | 37.22%
15% | 70% | Under deliver SCL/Over deliver Inertia |  | 16.67% | 100% | 2.5% | 70% | 36.25%
90% | 60% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 90% | 60% | 75%
85% | 60% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100% | 80.28% | 60% | 70.14%
85% | 65% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100% | 80.28% | 65% | 72.64%
80% | 65% | Under deliver SCL/Over deliver Inertia |  | 88.89% | 100% | 71.11% | 65% | 68.06%
75% | 60% | Under deliver SCL/Over deliver Inertia |  | 83.33% | 100% | 62.5% | 60% | 61.25%
70% | 60% | Under deliver SCL/Over deliver Inertia |  | 77.78% | 100% | 54.44% | 60% | 57.22%
65% | 60% | Under deliver SCL/Over deliver Inertia |  | 72.22% | 100% | 46.94% | 60% | 53.47%
60% | 60% | Under deliver SCL/Over deliver Inertia |  | 66.67% | 100% | 40% | 60% | 50%
55% | 55% | Under deliver SCL/Under deliver Inertia |  | 61.11% | 91.67% | 33.61% | 50.42% | 42.01%
Note on E11: Dhorat(ESO), Haarith: performance score capped at 100% to prevent increasing SCL availability to make up for low inertia availability and vice versa
Note on G13: Dhorat(ESO), Haarith: or we can pay at this rate which gives more weighting to the SCL availability
Note on F17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Dhorat(ESO), Haarith sorry for a silly question. how are these numbers calculated? are they based on chart 2? Reply: No such thing as a silly question. F10 is calculated by dividing B10 (what the inertia availabilty actually was in a given period) by B3 (what they submitted in the tender.) The same approach applies for Column E for SCL. Column G is then an average of E and F. Reply: the figures in yellow are made up for this example and can be changed around

## Exceed baseling (hidden)
Field | Value | Note | Description: As long as the baseline requirement is met, then payment is made for 100% of SPs in the month |  |  |  | WSCL | = ( min ( Actual SCL availability / Required SCL availability , 1 ) )
Required SCL % | 90% | Fixed value for all |  |  |  |  | Winertia | = ( min ( Actual Inertia availability / Required Inertia availability , 1 ) )
Required Inertia % | 60% | Flex per provider
= ( WSCL + Winertia ) / 2 * £/SP * ΣSPmth
Over Deliver SCL
Under deliver SCL | [7 empty] | ΣSPmth = total number of SPs in a month
Over deliver Inertia
Under deliver Inertia
|  |  |  | Capped at 100% |  |  |  | What is the incentive to increase SCL/inertia availability once you have met the baseline
Actual Availability |  |  |  | Performance
SCL | Inertia | Scenario |  | SCL | Inertia
90% | 80% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 100%
95% | 75% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 100%
95% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 100%
95% | 65% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 100%
95% | 60% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 100% |  | Over Deliver SCL/Over deliver Inertia
95% | 55% | Over Deliver SCL/Under deliver Inertia |  | 100% | 91.67% | 95.83% |  | Over Deliver SCL/Under deliver Inertia
95% | 50% | Over Deliver SCL/Under deliver Inertia |  | 100% | 83.33% | 91.67% |  | Under deliver SCL/Over deliver Inertia
95% | 45% | Over Deliver SCL/Under deliver Inertia |  | 100% | 75% | 87.5% |  | Under deliver SCL/Under deliver Inertia
95% | 40% | Over Deliver SCL/Under deliver Inertia |  | 100% | 66.67% | 83.33%
95% | 35% | Over Deliver SCL/Under deliver Inertia |  | 100% | 58.33% | 79.17%
95% | 30% | Over Deliver SCL/Under deliver Inertia |  | 100% | 50% | 75%
95% | 25% | Over Deliver SCL/Under deliver Inertia |  | 100% | 41.67% | 70.83%
95% | 20% | Over Deliver SCL/Under deliver Inertia |  | 100% | 33.33% | 66.67%
95% | 15% | Over Deliver SCL/Under deliver Inertia |  | 100% | 25% | 62.5%
95% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100%
90% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100%
85% | 70% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100%
80% | 70% | Under deliver SCL/Over deliver Inertia |  | 88.89% | 100%
75% | 70% | Under deliver SCL/Over deliver Inertia |  | 83.33% | 100%
70% | 70% | Under deliver SCL/Over deliver Inertia |  | 77.78% | 100%
65% | 70% | Under deliver SCL/Over deliver Inertia |  | 72.22% | 100%
60% | 70% | Under deliver SCL/Over deliver Inertia |  | 66.67% | 100%
55% | 70% | Under deliver SCL/Over deliver Inertia |  | 61.11% | 100%
50% | 70% | Under deliver SCL/Over deliver Inertia |  | 55.56% | 100%
45% | 70% | Under deliver SCL/Over deliver Inertia |  | 50% | 100%
40% | 70% | Under deliver SCL/Over deliver Inertia |  | 44.44% | 100%
35% | 70% | Under deliver SCL/Over deliver Inertia |  | 38.89% | 100%
30% | 70% | Under deliver SCL/Over deliver Inertia |  | 33.33% | 100%
25% | 70% | Under deliver SCL/Over deliver Inertia |  | 27.78% | 100%
20% | 70% | Under deliver SCL/Over deliver Inertia |  | 22.22% | 100%
15% | 70% | Under deliver SCL/Over deliver Inertia |  | 16.67% | 100%
90% | 60% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100%
85% | 60% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100%
85% | 65% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100%
80% | 65% | Under deliver SCL/Over deliver Inertia |  | 88.89% | 100%
75% | 60% | Under deliver SCL/Over deliver Inertia |  | 83.33% | 100%
70% | 60% | Under deliver SCL/Over deliver Inertia |  | 77.78% | 100%
65% | 60% | Under deliver SCL/Over deliver Inertia |  | 72.22% | 100%
60% | 60% | Under deliver SCL/Over deliver Inertia |  | 66.67% | 100%
Note on E11: Dhorat(ESO), Haarith: performance score capped at 100% to prevent increasing SCL availability to make up for low inertia availability and vice versa
Note on F17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Dhorat(ESO), Haarith sorry for a silly question. how are these numbers calculated? are they based on chart 2? Reply: No such thing as a silly question. F10 is calculated by dividing B10 (what the inertia availabilty actually was in a given period) by B3 (what they submitted in the tender.) The same approach applies for Column E for SCL. Column G is then an average of E and F. Reply: the figures in yellow are made up for this example and can be changed around

## Uncapped (hidden)
Field | Value | Note | Description: As long as the baseline requirement is met, then payment is made for 100% of SPs in the month. Difference here is that under delivery of one can be offset by over delivery of the other |  |  |  | WSCL | = ( Actual SCL availability / Required SCL availability )
Required SCL % | 90% | Fixed value for all |  |  |  |  | Winertia | = ( Actual Inertia availability / Required Inertia availability )
Required Inertia % | 60% | Flex per provider
= min ( ( WSCL + Winertia) / 2 , 1 ) * £/SP * ΣSPmth
Over Deliver SCL
Under deliver SCL | [7 empty] | ΣSPmth = total number of SPs in a month
Over deliver Inertia
Under deliver Inertia
|  |  |  | Capped at 100% |  |  |  | What is the incentive to increase SCL/inertia availability once you have met the baseline
Actual Availability |  |  |  | Performance
SCL | Inertia | Scenario |  | SCL | Inertia
90% | 80% | Over Deliver SCL/Over deliver Inertia |  | 100% | 133.3% | 100%
95% | 75% | Over Deliver SCL/Over deliver Inertia |  | 105.6% | 125% | 100%
95% | 70% | Over Deliver SCL/Over deliver Inertia |  | 105.6% | 116.7% | 100%
95% | 65% | Over Deliver SCL/Over deliver Inertia |  | 105.6% | 108.3% | 100%
95% | 60% | Over Deliver SCL/Over deliver Inertia |  | 105.6% | 100% | 100% |  | Over Deliver SCL/Over deliver Inertia
95% | 55% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 91.67% | 98.61% |  | Over Deliver SCL/Under deliver Inertia
95% | 50% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 83.33% | 94.44% |  | Under deliver SCL/Over deliver Inertia
95% | 45% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 75% | 90.28% |  | Under deliver SCL/Under deliver Inertia
95% | 40% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 66.67% | 86.11%
95% | 35% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 58.33% | 81.94%
95% | 30% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 50% | 77.78%
95% | 25% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 41.67% | 73.61%
95% | 20% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 33.33% | 69.44%
95% | 15% | Over Deliver SCL/Under deliver Inertia |  | 105.6% | 25% | 65.28%
95% | 70% | Over Deliver SCL/Over deliver Inertia |  | 105.6% | 116.7% | 100%
90% | 70% | Over Deliver SCL/Over deliver Inertia |  | 100% | 116.7% | 100%
85% | 70% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 116.7% | 100%
80% | 70% | Under deliver SCL/Over deliver Inertia |  | 88.89% | 116.7% | 100%
75% | 70% | Under deliver SCL/Over deliver Inertia |  | 83.33% | 116.7% | 100%
70% | 70% | Under deliver SCL/Over deliver Inertia |  | 77.78% | 116.7% | 97.22%
65% | 70% | Under deliver SCL/Over deliver Inertia |  | 72.22% | 116.7% | 94.44%
60% | 70% | Under deliver SCL/Over deliver Inertia |  | 66.67% | 116.7% | 91.67%
55% | 70% | Under deliver SCL/Over deliver Inertia |  | 61.11% | 116.7% | 88.89%
50% | 70% | Under deliver SCL/Over deliver Inertia |  | 55.56% | 116.7% | 86.11%
45% | 70% | Under deliver SCL/Over deliver Inertia |  | 50% | 116.7% | 83.33%
40% | 70% | Under deliver SCL/Over deliver Inertia |  | 44.44% | 116.7% | 80.56%
35% | 70% | Under deliver SCL/Over deliver Inertia |  | 38.89% | 116.7% | 77.78%
30% | 70% | Under deliver SCL/Over deliver Inertia |  | 33.33% | 116.7% | 75%
25% | 70% | Under deliver SCL/Over deliver Inertia |  | 27.78% | 116.7% | 72.22%
20% | 70% | Under deliver SCL/Over deliver Inertia |  | 22.22% | 116.7% | 69.44%
15% | 70% | Under deliver SCL/Over deliver Inertia |  | 16.67% | 116.7% | 66.67%
90% | 60% | Over Deliver SCL/Over deliver Inertia |  | 100% | 100% | 100%
85% | 60% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 100% | 97.22%
85% | 65% | Under deliver SCL/Over deliver Inertia |  | 94.44% | 108.3% | 100%
80% | 65% | Under deliver SCL/Over deliver Inertia |  | 88.89% | 108.3% | 98.61%
75% | 60% | Under deliver SCL/Over deliver Inertia |  | 83.33% | 100% | 91.67%
70% | 60% | Under deliver SCL/Over deliver Inertia |  | 77.78% | 100% | 88.89%
65% | 60% | Under deliver SCL/Over deliver Inertia |  | 72.22% | 100% | 86.11%
60% | 60% | Under deliver SCL/Over deliver Inertia |  | 66.67% | 100% | 83.33%
Note on E11: Dhorat(ESO), Haarith: performance score capped at 100% to prevent increasing SCL availability to make up for low inertia availability and vice versa
Note on F17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Dhorat(ESO), Haarith sorry for a silly question. how are these numbers calculated? are they based on chart 2? Reply: No such thing as a silly question. F10 is calculated by dividing B10 (what the inertia availabilty actually was in a given period) by B3 (what they submitted in the tender.) The same approach applies for Column E for SCL. Column G is then an average of E and F. Reply: the figures in yellow are made up for this example and can be changed around

## Intro
Introduction
This spreadsheet has been created to provide an illustration of how availability payments will be calculated for SCL and Inertia based on the formulae in the draft contract terms.
Providers are able to feedback on the formulae which may then be updated before the terms are finalised ahead of the commercial tender.
User guide
Cells highlighted in yellow can be amended to create different scenarios. NOTE: The values currently entered are purely illustrative and should not be taken as a guide on what to submit in the tender.
All other cells contain formula that can be viewed to understand the payment calculation.
Calculation methodology
The formulas to calculate payment for SCL and Inertia are the same though they sometimes refer to difference cells e.g. D3 vs D5.
To calculate the SCL Availability Payment (Row 17), we need to consider a few components:
The level of SCL capability that is declared or revised during the contract term (Row 11). This spreadsheet applies the same value for each month, though if in reality this differed by Settlement Periods within a month, this would be reflected in the payment calculation.
The tendered amount of SCL capability.
The Capability Adjustment Factor.
The total number of Settlement Periods in each month where SCL was declared available.
The Contract Rate.
SCL Availability Rebate will apply where the actual level of availability (Row 15) is less than the required amount (D3). To calculate this, we need to have certain values:
The total number of Settlement Periods in each month where SCL was declared available.
The total number of Settlement Periods in each month.
The Contract Rate.
Once the SCL Availability Payment and SCL Availability Rebate have been calculated, they would be netted of to give a single Payment amount for SCL (Row 21).
To calculate the Inertia Availability Payment (Row 30) and Inertia Availability Rebate (Row 32), we would use the relevant Inertia components.
The Nett Amounts for SCL (Row 21) and Inertia (Row 34), are the added together to give a final monthly total (Row 37).
If this value is negative, then unless it is in the final month of the Contract Year, it will be added to any Rebate amount carried forward from previous months and offset against any payments due to providers in future months. If this value is negative in the final month of the contract year, then it will not be carried forward but instead will be added to any Rebate amount carried forward from previous months and will be payable by the provider.
If this value is positive, then it will offset against any rebates carried forward from previous months.
The values shown in Row 41 are the amounts that will be paid to providers (if positive) or to NGESO (if negative) in that month.

## Version 2
Field | Note | Value
Tendered SCL Capability | Capability Value submitted in Tender | 20
Required SCL Availability % | Fixed value for all | 90%
Tendered Inertia Capability | Capability Value submitted in Tender | 10
Required Inertia Availability % | Flexible per provider | 75%
Contract Rate | £/SP | 100
Month |  | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 45017
Total no of SP | Total no of Settlement Periods in a month - excluding any settlements periods affected by TO constraints under Clause 10.6 | 1440 | 1488 | 1440 | 1488 | 1488 | 1440 | 1488 | 1440 | 1488 | 1488 | 1344 | 1488
SCL Revised or Redeclared Capability | The lower of the SCL capability that is revised in the contract or declared in real time | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Capability Adjustment Factor | Adjustment to be applied for reduction in capability. Shown as "TAs" in the contract terms. | bar: 2022-04-01 to 2023-03-01
SCL Settlement Period Availability | Total no of Settlement Periods in a given month SCL is made available | 700 | 700 | 1250 | 1200 | 1150 | 1100 | 1050 | 1000 | 1050 | 1100 | 1200 | 1000
SCL Actual Availability % | No of Settlement Periods that SCL is made available / total no of Settlement Periods in a month | 48.61% | 47.04% | 86.81% | 80.65% | 77.28% | 76.39% | 70.56% | 69.44% | 70.56% | 73.92% | 89.29% | 67.2%
SCL Availability payment | ( SCL Revised or Redeclared Capability / Tendered SCL Capability ) * Capability Adjustment Factor * SCL Avail SP * Contract Rate / 2 | 35000 | 35000 | 62500 | 60000 | 57500 | 55000 | 52500 | 50000 | 52500 | 55000 | 60000 | 50000
SCL Availability Rebate | Rebate where SCL availability is <90%. | -41388.8889 | -42956.9892 | -3194.4444 | -9354.8387 | -12715.0538 | -13611.1111 | -19435.4839 | -20555.5556 | -19435.4839 | -16075.2688 | -714.2857 | -22795.6989
SCL Nett Payment | Nett amount due for SCL | -6388.8889 | -7956.9892 | 59305.5556 | 50645.1613 | 44784.9462 | 41388.8889 | 33064.5161 | 29444.4444 | 33064.5161 | 38924.7312 | 59285.7143 | 27204.3011 | 402766.8971
Inertia Revised or Redeclared Capability | The lower of the Inertia capability that is revised in the contract or declared in real time | 10 | 9 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Inertia Capability Adjustment Factor | Adjustment to be applied for reduction in capability. Shown as "TAi" in the contract terms. | 1 | 1 | 0.7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Inertia Settlement Period Availability | Total no of Settlement Periods in a given month Inertia is made available | 650 | 600 | 1350 | 1200 | 1150 | 1100 | 1050 | 1000 | 1050 | 1100 | 1200 | 900
Inertia Actual Availability % | No of Settlement Periods that Inertia is made available / total no of Settlement Periods in a month | 45.14% | 40.32% | 93.75% | 80.65% | 77.28% | 76.39% | 70.56% | 69.44% | 70.56% | 73.92% | 89.29% | 60.48%
Inertia Availability payment | ( Inertia Revised or Redeclared Capability / Tendered Inertia Capability ) * Capability Adjustment Factor * Inertia Avail SP * Contract Rate / 2 | 32500 | 27000 | 37800 | 60000 | 57500 | 55000 | 52500 | 50000 | 52500 | 55000 | 60000 | 45000
Inertia Availability Rebate | Rebate where Inertia availability outturn is less than tendered value in D5 | -29861.1111 | -34677.4194 | 0 | 0 | 0 | 0 | -4435.4839 | -5555.5556 | -4435.4839 | -1075.2688 | 0 | -14516.129
Inertia Nett Payment | Nett amount due for Inertia | 2638.8889 | -7677.4194 | 37800 | 60000 | 57500 | 55000 | 48064.5161 | 44444.4444 | 48064.5161 | 53924.7312 | 60000 | 30483.871 | 490243.5484
Monthly Total (£) | Sum of the SCL and Inertia Nett amounts | -3750 | -15634.4086 | 97105.5556 | 110645.1613 | 102284.9462 | 96388.8889 | 81129.0323 | 73888.8889 | 81129.0323 | 92849.4624 | 119285.7143 | 57688.172 | 893010.4455
Rebate carried forward | Rebates carried forward are offset against future amounts due | -3750 | -19384.4086 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Settlement Amount (£) | Amount payable monthly by NGESO, with maximum exposure to providers of £0 except in final month | 0 | 0 | 77721.147 | 110645.1613 | 102284.9462 | 96388.8889 | 81129.0323 | 73888.8889 | 81129.0323 | 92849.4624 | 119285.7143 | 57688.172 | 893010.4455
`

## Monthly Breakdown
Field | Note | Value
Required SCL % | Fixed value for all | 90%
Required Inertia % | Flexible per provider | 75%
Price | £/SP | 100
Date |  | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 45017
Total no of SP | Total no of Settlement Periods in a month | 1440 | 1488 | 1440 | 1488 | 1488 | 1440 | 1488 | 1440 | 1488 | 1488 | 1344 | 1488
SCL Avail SP | Total no of Settlement Periods in a given month SCL is made available | 1200 | 1265 | 1224 | 800 | 700 | 900 | 650 | 1300 | 650 | 650 | 1300 | 1300
SCL Avail % | No of Settlement Periods that SCL is made available/total no of Settlement Periods in a month | 83.33% | 85.01% | 85% | 53.76% | 47.04% | 62.5% | 43.68% | 90.28% | 43.68% | 43.68% | 96.73% | 87.37%
SCL payment | No of Settlement Periods that SCL is made available * £/Settlement Periods / 2 | 60000 | 63250 | 61200 | 40000 | 35000 | 45000 | 32500 | 65000 | 32500 | 32500 | 65000 | 65000
SCL rebate | Rebate where SCL availabilty is <90%. | -6666.6667 | -4986.5591 | -5000 | -36236.5591 | -42956.9892 | -27500 | -46317.2043 | 0 | -46317.2043 | -46317.2043 | 0 | -2634.4086
SCL Nett | Nett amount due for SCL | 53333.3333 | 58263.4409 | 56200 | 3763.4409 | -7956.9892 | 17500 | -13817.2043 | 65000 | -13817.2043 | -13817.2043 | 65000 | 62365.5914 | 332017.2043
Inertia Avail SP | Total no of Settlement Periods in a given month Inertia is made available | 1100 | 950 | 700 | 600 | 500 | 800 | 550 | 800 | 550 | 550 | 1200 | 1200
Inertia Avail % | No of Settlement Periods that Inertia is made available/total no of Settlement Periods in a month | 76.39% | 63.84% | 48.61% | 40.32% | 33.6% | 55.56% | 36.96% | 55.56% | 36.96% | 36.96% | 89.29% | 80.65%
Inertia Payment | No of Settlement Periods that Inertia is made available * £/Settlement Periods / 2 | 55000 | 47500 | 35000 | 30000 | 25000 | 40000 | 27500 | 40000 | 27500 | 27500 | 60000 | 60000
Inertia Rebate | Rebate where inertia availabilty outurn is less than tendered value in C3 | 0 | -11155.914 | -26388.8889 | -34677.4194 | -41397.8495 | -19444.4444 | -38037.6344 | -19444.4444 | -38037.6344 | -38037.6344 | 0 | 0
Inertia Nett | Nett amout due for Inertia | 55000 | 36344.086 | 8611.1111 | -4677.4194 | -16397.8495 | 20555.5556 | -10537.6344 | 20555.5556 | -10537.6344 | -10537.6344 | 60000 | 60000 | 208378.1362
Monthly Total (£) | Sum of the SCL and Inertia Nett amounts | 108333.3333 | 94607.5269 | 64811.1111 | -913.9785 | -24354.8387 | 38055.5556 | -24354.8387 | 85555.5556 | -24354.8387 | -24354.8387 | 125000 | 122365.5914 | 540395.3405
Rebate carried forward | Rebates carried forward are offset against future amounts due | 0 | 0 | 0 | -913.9785 | -25268.8172 | 0 | -24354.8387 | 0 | -24354.8387 | -48709.6774 | 0 | 0
Monthly Settlement Amount (£) | Amount payable monthly by NGESO, with maximum exposure to providers of £0 except in final month | 108333.3333 | 94607.5269 | 64811.1111 | 0 | 0 | 12786.7384 | 0 | 61200.7168 | 0 | 0 | 76290.3226 | 122365.5914 | 540395.3405
0

## Summary (hidden)
Field | Value | Note
Required SCL % | 90% | Fixed value for all
Required Inertia % | 60% | Flex per provider
Price | 100 | £/SP | [13 empty] | A) If inertia availabilty > target then rebate is 50
B) If SCL availabilty > target then rebate is 50
Total rebate = A) + B)
| Date | 2022-04-01 | 2022-05-01 | 2022-06-01 | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | Annual Performance
| Total no of SP | 1440 | 1488 | 1440 | 1488 | 1488 | 1440 | 1488 | 1440 | 1488 | 1488 | 1344 | 1488 |  | 17520 | A) If inertia availabilty < target then rebate is -100
B) If SCL availabilty < target then rebate is -100
| SCL Avail SP | 90 | 1350 | 1399 | 1310 | 1398 | 1123 | 1324 | 1296 | 1160 | 1324 | 1249 | 1294 |  | 14317 | Total rebate = A) + B)
| SCL Avail % | 6.25% | 90.73% | 97.15% | 88.04% | 93.95% | 77.99% | 88.98% | 90% | 77.96% | 88.98% | 92.93% | 86.96% |  | 81.72%
| Inertia Avail SP | 59 | 860 | 1094 | 831 | 848 | 1051 | 669 | 806 | 967 | 922 | 900 | 729 |  | 9736
| Inertia Avail % | 4.097% | 57.8% | 75.97% | 55.85% | 56.99% | 72.99% | 44.96% | 55.97% | 64.99% | 61.96% | 66.96% | 48.99% |  | 55.57%
Monthly Payment | [15 empty] | Inertia rebate
If inertia availability is > then target then rebate is Price/2
Weighting | Performance | [14 empty] | If inertia availability is < then target then rebate is -Price
| SCL | 6.944% | 100% | 100% | 97.82% | 100% | 86.65% | 98.86% | 100% | 86.62% | 98.86% | 100% | 96.62% |  | How did you perform against the base requirement
| Inertia | 6.829% | 96.33% | 100% | 93.08% | 94.98% | 100% | 74.93% | 93.29% | 100% | 100% | 100% | 81.65% |  |  | SCL rebate
| Weighting | [14 empty] | If SCL availability is > then target then rebate is Price/2
| SCL | 0.434% | 90.73% | 97.15% | 86.12% | 93.95% | 67.58% | 87.97% | 90% | 67.53% | 87.97% | 92.93% | 84.03% |  | We weight the actual delivery by the performance score | If SCL availability is < then target then rebate is -Price
| Inertia | 0.2798% | 55.67% | 75.97% | 51.98% | 54.13% | 72.99% | 33.69% | 52.21% | 64.99% | 61.96% | 66.96% | 40%
Total Rebate = Inertia + SCL
| Avg | 0.3569% | 73.2% | 86.56% | 69.05% | 74.04% | 70.28% | 60.83% | 71.11% | 66.26% | 74.97% | 79.95% | 62.02% |  | Avg of the 2
| £ | 513.9468 | 108920.2509 | 124650 | 102745.7251 | 110172.4014 | 101204.6682 | 90513.6462 | 102394.6759 | 98588.9486 | 111548.626 | 107450 | 92278.8792
Exceed | Performance
| SCL | 6.944% | 100% | 100% | 97.82% | 100% | 86.65% | 98.86% | 100% | 86.62% | 98.86% | 100% | 96.62%
| Inertia | 6.829% | 96.33% | 100% | 93.08% | 94.98% | 100% | 74.93% | 93.29% | 100% | 100% | 100% | 81.65%
| Avg | 6.887% | 98.16% | 100% | 95.45% | 97.49% | 93.33% | 86.9% | 96.64% | 93.31% | 99.43% | 100% | 89.14%
| £ | 9916.6667 | 146066.6667 | 144000 | 142027.7778 | 145066.6667 | 134388.8889 | 129305.5556 | 139166.6667 | 138844.4444 | 147955.5556 | 134400 | 132638.8889
Uncapped | Performance
| SCL | 6.944% | 100.8% | 107.9% | 97.82% | 104.4% | 86.65% | 98.86% | 100% | 86.62% | 98.86% | 103.3% | 96.62%
| Inertia | 6.829% | 96.33% | 126.6% | 93.08% | 94.98% | 121.6% | 74.93% | 93.29% | 108.3% | 103.3% | 111.6% | 81.65%
| Avg | 6.887% | 98.57% | 100% | 95.45% | 99.69% | 100% | 86.9% | 96.64% | 97.46% | 100% | 100% | 89.14%
| £ | 9916.6667 | 146666.6667 | 144000 | 142027.7778 | 148333.3333 | 144000 | 129305.5556 | 139166.6667 | 145027.7778 | 148800 | 134400 | 132638.8889