|  |  |  |  |
| --- | --- | --- | --- |
| **Workgroup Consultation** | | | |
| **GC0144:**  **Alignment of Market Suspension Rights to the EU Emergency and Restoration Code Article 35.1(b)**  **Overview:** The purpose of this modification is to clarify the Grid Code so it is clear what criteria the market would be suspended under Article 35.1 (b) of the EU Emergency Restoration Code. In addition, the modification also seeks to clarify under what conditions the TERRE market would be suspended and to align these provisions. | | **Modification process & timetable** | |
| Have 5 minutes? Read our [Executive summary](#_Executive_Summary)  Have 20 minutes? Read the full [Workgroup Consultation](#_Contents) document  Have 30 minutes? Read the full Workgroup Consultation document and annexes | | | |
| **Status summary:** The Workgroup are seeking your views on the work completed to date to form the final solution to the issue raised | | | |
| **This modification is expected to have a: Low impact** on all parties.  **Modification drivers:** Transparency of*EU Compliance* | | | |
| **Governance route** | This modification will be assessed by a Workgroup and the Ofgem will make the decision on whether it should be implemented. | | |
| **Who can I talk to about the change?** | **Proposer:**  Tony Johnson, National Grid ESO  [Antony.Johnson@nationalgrideso.com](mailto:Antony.Johnson@nationalgrideso.com)  Phone: 07966 734856 | | **Code Administrator** **Chair**: Jennifer Groome  [jennifer.groome@nationalgrideso.com](mailto:jennifer.groome@nationalgrideso.com)  Phone: 07966 130854 |
| **How do I respond?** | Send your response proforma to [grid.code@nationalgrideso.com](mailto:grid.code@nationalgrideso.com) **by 5pm on 31 December 2020.** | | |

Executive Summary

This modification is to clarify the conditions under which the market will be suspended (in accordance with Article 35.1(b) of the Emergency Restoration Code and to clarify the conditions under which the TERRE market is suspended.

What is the issue?

As part of its final submission for the Market Suspension Proposals in January 2020, the ESO and Elexon believed that the arrangements for Market suspension were catered for in the GB Industry Codes through OC9.4.6 of the Grid Code and Section G3 of the BSC.

In its response to the Submission, Ofgem advised that Article 35.1(b) of the Emergency Restoration Code was not adequately reflected in the GB Codes.

In addition, and as a separate issue the Grid Code does not currently clarify or align the conditions under which the TERRE Market is suspended.

The modification is therefore required for alignment purposes only with no material impact proposed.

What is the solution and when will it come into effect?

**Proposers solution:**

This modification will clarify:

1. Under what conditions National Grid ESO would suspend the market.
2. What criteria would constitute an emergency condition under Article 18(3) of the EU System Operator Guideline (EU 2017/1485 - SOGL).
3. The conditions under which the TERRE market would be suspended.

**Implementation date**:

May 2021 – 10 working days after decision.

What is the impact if this change is made?

Since there is no proposal to change the conditions under which the market is suspended from those already in place (OC9.4.6 / BSC Section G3) and TERRE has not yet gone live, it is believed that this Grid Code modification will have a low impact on all parties.

Interactions

Other codes: There are interactions with TERRE for market suspension which will require a minor change to the Balancing and Settlement Code (BSC)….[to be updated].

Brexit: until the outcome of the formal Brexit negotiations have been concluded, the approach is to follow the current obligations and timeframes.

Contents

* What is the issue?
* What is the solution?
  + Proposer’s solution
  + Workgroup considerations
  + Draft legal text
* What is the impact of this change?
* When will the change take place?
* How to respond
* Acronyms, key terms and reference material

What is the issue?

In January 2020, National Grid ESO submitted its final proposals for the Market Suspension arrangements under the European Network Code Electricity Emergency and Restoration Code[[1]](#footnote-2) (EU 2017/2196) (NCER) to Ofgem for approval. This, together with other material, was based on [Ofgem’s Request for Amendment](https://www.ofgem.gov.uk/system/files/docs/2019/11/rfa_to_blackout_state_proposal_and_market_suspension_rules.pdf)[[2]](#footnote-3) which was received on 21 November 2019 following National Grid’s initial submission on 17 May 2019.

Since the ESO submission in January 2020, Ofgem have been in contact with the ESO advising that it did not believe there was sufficient evidence in the Grid Code defining how the parameters listed in Article 18(3) of the EU System Operator Guideline (EU 2017/1485 - SOGL) as referenced in Article 35.1(b) of the NCER were reflected in the Grid Code and ultimately the conditions under which the market would be suspended.

In addition, and as a separate issue the Grid Code does not currently clarify or align the conditions under which the TERRE Market is suspended.

**Article 35.1(b) Market Suspension**

Article 35.1(b) of the NCER states:

1. *A TSO may temporarily suspend one or more market activities laid down in paragraph 2 where:*

*(b) the TSO has exhausted all options provided by the market and the continuation of market activities under the emergency state would deteriorate one or more of the conditions referred to in Article 18(3) of Regulation (EU) 2017/1485; or*

OC9.4.6 of the Grid Code states the conditions under which the market is suspended. In summary, this occurs under two conditions, these being: -

* A Total Shutdown or:
* A Partial Shutdown and where the Market Suspension Threshold has been met.

There are only three conditions under which the Market Suspension Threshold can be met, these being (as also defined in section 2.1.7 of Issue 3 of the System Restoration Plan): -

* The ESO determines that the spot time Initial National Demand Out-Turn is equal to or lower than 95% of the baseline forecast (this means that 5% or more of demand has been lost); or
* No more baseline forecast data is available to the ESO; or
* 72 hours have elapsed since the Partial Shutdown commenced

In addition, the GB Grid Code does not state the conditions under which the Transmission System would be under an Emergency State. These are detailed in section 2.1.1 of Issue 3 of the System Defence Plan but in summary would be considered to be one of the following events.

* A situation where there is a violation of one of more criteria as defined under the National Electricity Transmission System Security and Quality of Supply Standard (NETS SQSS); or
* A situation when Unacceptable Frequency Conditions as defined under the National Electricity Transmission System Security and Quality of Supply Standard (NETS SQSS) have occurred; or
* At least one measure of the System Defence Plan is activated or
* There is a failure of the computing facilities used to control and operate the Transmission System or unplanned outages of Electronic Communication and Computing Facilities as provided for in BC2.9.7 or the loss of communication, computing and data facilities with other Transmission Licensees as provided for in STCP 06-4.

It is not clear from the Grid Code i) what constitutes an Emergency State on the Transmission System and ii) how these relate to Market Suspension. The National Regulatory Authority (Ofgem) have also alerted the ESO to the fact that this linkage is not clear.

The ESO note that Article 35.1 is not mandatory in so far as Article 35.1 states “A TSO *may* temporarily suspend one or more market activities laid down….”The ESO note these points are addressed in section 2.1.1 of Issue 3 of the System Defence Plan and section 2.1.7 of Issue 3 of the System Restoration Plan but agree with the National Regulatory Authority that the definition of a Transmission System being in an Emergency State and the conditions for market suspension are not clear and a modification to the Grid Code is required to achieve this alignment.

The materiality of this change is limited, however there is a risk that if not implemented, the linkage between the requirements in Article 35.1(b) of the NCER and GB Grid Code are unclear and hence it is debatable if the requirements of the NCER have been fully implemented or if market suspension would be considered achievable in all of the conditions set out in the NCER.

**TERRE Market Suspension**

When TERRE was introduced through Grid Code Modification [GC0097: Grid Code Processes Supporting TERRE](https://www.nationalgrideso.com/industry-information/codes/grid-code/modifications/gc0097-grid-code-processes-supporting-terre) the Grid Code did not adequately cater for suspension of the TERRE Market. This modification therefore proposes to address this defect.

What is the solution?

**Proposer’s solution:**

In order to address the defect, the Grid Code needs to articulate what is considered to be an emergency condition under Article 18(3) of the EU System Operator Guideline (EU 2017/1485) as referenced in section 2.1.1 of Issue 3 of the Defence Plan and under what conditions the market would be suspended as referenced in section 2.1.7 of Issue 3 of the System Restoration Plan.

It is proposed to introduce a new section of the Grid Code (BC.2.9.8) which specifically outlines what criteria would constitute an emergency condition and then link this to the conditions under which the market would be suspended.

It is the proposers view that this modification is solely for the purposes of providing clarity in terms of what constitutes an emergency condition and when the market would be suspended. It is not proposed to amend the conditions under which the market is suspended as currently defined in OC9.4.6 of the Grid Code.

In addition, a new section BC4.10 will be introduced into BC4 to clarify the conditions when the TERRE market is suspended.

Workgroup Considerations

The Workgroup convened once to discuss the perceived issue, detail the scope of the proposed defect, devise potential solutions and assess the proposal in terms of the Applicable Code Objectives.

**Consideration of the proposer’s solution**

After suggested clarifications were made to the TERRE Market Suspension legal text, the Workgroup agreed with the proposed solution. Other matters discussed were Brexit Impacts, associated BSC modifications and the Workgroups recommendation for what the market suspension conditions should be for Manually Activated Reserve Initiative[[3]](#footnote-4) (MARI) when it is implemented in future.

**TERRE Market Suspension legal text**

The workgroup discussed the draft legal text surrounding TERRE Market Suspension. Workgroup members noted that the legal text needs to advise (as in the case of the Balancing Mechanism) the minimum period of time for which the market is likely to be suspended and any minimum notice period of when the market is likely to be re-opened to give participants sufficient time to re-enter the market. The feedback was taken onboard by the Proposer and the legal text was amended to clarify this.

It was suggested that when the TERRE is suspended by “Notification by The Company…” (BC4.10 (c)) it needs to be made clearer or justified under what conditions it has been suspended i.e., in accordance with existing rules. The feedback was taken onboard by the Proposer and the legal text was amended to clarify this.

**Brexit Impact**

The Workgroup considered whether Brexit has any impact on the modification. The Workgroup were advised that there are ongoing negotiations, but that the adopted approach is to assume that we remain with the current set of rules and timelines until instructed otherwise. It was noted that there are various industry workgroups covering what arrangements would be put in place in the event of a “No Deal” but until the outcome of the formal Brexit negotiations are concluded, the approach is to follow the current obligations and timeframes.

**Associated BSC Modifications**

The workgroup queried what impact the modification would have on the Balancing and Settlement Code. Workgroup members representing Elexon advised the workgroup that the TERRE market suspension aspect of the modification will require a minor BSC modification… [Elexon to confirm modifications required and timescales].

**Manually Activated Reserve Initiative**

A discussion was held on whether MARI market suspension should be included within this modification however, due to the timings of these modifications GC0144 will be implemented before GC0145[[4]](#footnote-5) (MARI). Therefore, the MARI text will not be in the baseline legal text for this modification. The Workgroup recommend that the same market suspension rules as developed for TERRE should be followed for MARI and as a consequence included in an updated version of the legal text for MARI as part of the GC0145 solution.

**Consideration of other options**

No alternative solutions have been raised by the Workgroup.

Draft Legal text

The draft legal text for this change can be found in “Annex 3 GC0144 Draft Legal Text”.

What is the impact of this change?

Since there is no proposal to change the conditions under which the market is suspended from those already in place (OC9.4.6 / BSC Section G3) and TERRE has not yet gone live, it is believed that this Grid Code modification will have a low impact on all parties.

As the solution proposes to change Balancing Code 2 (the introduction of BC2.9.8) and BC4 (the introduction of BC4.10) this modification will change the Terms & Conditions relating to Balancing Service Providers and also to System Defence and System Restoration Service Providers. It will therefore require the modification process set out under Article 18[[5]](#footnote-6) of the European Electricity Balancing Guideline[[6]](#footnote-7) (EBGL – EU Regulation 2017/2195) to be followed. The main consideration of this is that the modification must be consulted on for a minimum of 1 month.

**Proposer’s Assessment against Code Objectives**

**Grid Code:**

|  |  |
| --- | --- |
| **Impact of the modification on the Applicable Objectives:** | |
| **Relevant Objective** | **Identified impact** |
| (a) To permit the development, maintenance and operation of an efficient, coordinated and economical system for the transmission of electricity | **Positive** |
| (b) Facilitating effective competition in the generation and supply of electricity (and without limiting the foregoing, to facilitate the national electricity transmission system being made available to persons authorised to supply or generate electricity on terms which neither prevent nor restrict competition in the supply or generation of electricity); | **None** |
| (c) Subject to sub-paragraphs (a) and (b), to promote the security and efficiency of the electricity generation, transmission and distribution systems in the national electricity transmission system operator area taken as a whole; | **Positive** |
| (d) To efficiently discharge the obligations imposed upon the licensee by this license and to comply with the Electricity Regulation and any relevant legally binding decisions of the European Commission and/or the Agency; and | **Positive** |
| (e) To promote efficiency in the implementation and administration of the Grid Code arrangements | **None** |

**Standard Workgroup Consultation question:** Do you believe that the GC0144 Original proposal better facilitates the Applicable Objectives?

When will this change take place?

**Implementation date:**

May 2021 – 10 working days after decision.

**Date decision required by:**

The decision is required by May 2021.

**Implementation approach:**

As currently proposed, there is no impact on systems or processes as this modification achieves alignment only rather than making any changes.

**Standard Workgroup Consultation question:** Do you support the implementation approach?

How to respond

Standard Workgroup Consultation questions:

1. Do you believe that GC0144 Original proposal better facilitates the Applicable Objectives?
2. Do you support the proposed implementation approach?
3. Do you have any other comments?
4. Do you wish to raise a Workgroup Consultation Alternative request for the Workgroup to consider?

Specific Workgroup Consultation questions:

1. Do you believe it is appropriate to adopt similar Market Suspension rules that are currently used for the Balancing Mechanism for TERRE Market Suspension? If not, please state your reasons.
2. Do you believe it is appropriate to use the same approach proposed for TERRE Market Suspension for MARI Market Suspension? If not, please state your reasons.
3. Do you believe the proposals for TERRE market suspension are reasonable, particularly in respect of the notifications to User’s and the time upon which they have to act before the TERRE market is re-established? If not, please state your reasons.

The Workgroup is seeking the views of Grid Code Users and other interested parties in relation to the issues noted in this document and specifically in response to the questions above.

Please send your response [grid.code@nationalgrideso.com](mailto:grid.code@nationalgrideso.com) using the response pro-forma which can be found on the [GC0144 modification page](https://www.nationalgrideso.com/industry-information/codes/grid-code-old/modifications/gc0144-alignment-market-suspension-rights-eu).

In accordance with Governance Rules if you wish to raise a Workgroup Consultation Alternative Request please fill in the form which you can find at the above link.

*If you wish to submit a confidential response, please note that information provided in response to this consultation will be published on National Grid ESO’s website unless the response is clearly marked “Private & Confidential”, we will contact you to establish the extent of the confidentiality. A response marked “Private & Confidential” will be disclosed to the Authority in full but, unless agreed otherwise, will not be shared with the CUSC Modifications Panel or the industry and may therefore not influence the debate to the same extent as a non-confidential response. Please note an automatic confidentiality disclaimer generated by your IT System will not in itself, mean that your response is treated as if it had been marked “Private and Confidential”.*

Acronyms, key terms and reference material

|  |  |
| --- | --- |
| **Acronym / key term** | **Meaning** |
| Baseline | The code/standard as it is currently |
| BSC | Balancing Settlement Code |
| BSSCo | Balancing and Settlement Code Company |
| MARI | Manually Activated Reserve Initiative |
| NCER | Network Code on Electricity Emergency and Restoration |
| NGESO | National Grid Electricity System Operator |
| SOGL | System Operation Guideline |
| TERRE | Trans European Replacement Reserve Exchange |
| TSO | Transmission System Operator |

**Reference material:**

1. The following documents can be found [here](https://www.nationalgrideso.com/industry-information/codes/european-network-codes/other-enc-documents):
   * **Market Suspension Proposals**
     + [Ofgem’s Request for Amendment - *Received November 2019*](https://www.ofgem.gov.uk/system/files/docs/2019/11/rfa_to_blackout_state_proposal_and_market_suspension_rules.pdf)
     + [ESO’s Final Submission - *Submitted January 2020*](https://www.nationalgrideso.com/document/144011/download)
   * [**System Defence Plan** – *Submitted December 2019* - *Awaiting Approval*](https://www.nationalgrideso.com/document/160016/download)
   * [**System Restoration Plan** – *Submitted December 2019 - Awaiting Approval*](https://www.nationalgrideso.com/document/160026/download)
   * [**EU NCER Test Plan – Submitted December 2019 - Awaiting Approval**](https://www.nationalgrideso.com/document/160011/download)
   * [**Terms and Conditions related to Emergency and Restoration EU Network Code** - *Submitted December 2019*](https://www.nationalgrideso.com/document/160021/download)
2. [**GC0145 - Updating the Grid Code to include the Manually Activated Reserve Initiative (MARI)**](https://www.nationalgrideso.com/industry-information/codes/grid-code-old/modifications/gc0145-updating-grid-code-include-manually)
3. [**GC0097 - Grid Code Processes Supporting TERRE**](https://www.nationalgrideso.com/industry-information/codes/grid-code/modifications/gc0097-grid-code-processes-supporting-terre)

Annexes

|  |  |
| --- | --- |
| **Annex** | **Information** |
| Annex 1 | GC0144 Proposal Form |
| Annex 2 | GC0144 Terms of Reference |
| Annex 3 | GC0144 Draft Legal Text |

1. [National Grid ESO’s final January 2020 submission](https://www.nationalgrideso.com/industry-information/codes/european-network-codes/other-enc-documents)  [↑](#footnote-ref-2)
2. [Ofgem’s Request for Amendment](https://www.ofgem.gov.uk/system/files/docs/2019/11/rfa_to_blackout_state_proposal_and_market_suspension_rules.pdf) [↑](#footnote-ref-3)
3. Manually Activated Reserves Initiative (MARI) is the European implementation project for the creation of the European mFRR platform. [↑](#footnote-ref-4)
4. [GC0145 - Updating the Grid Code to include the Manually Activated Reserve Initiative (MARI)](https://www.nationalgrideso.com/industry-information/codes/grid-code-old/modifications/gc0145-updating-grid-code-include-manually) [↑](#footnote-ref-5)
5. [EBGL Article 18 T&Cs](https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=uriserv:OJ.L_.2017.312.01.0006.01.ENG&toc=OJ:L:2017:312:TOC#d1e1745-6-1) [↑](#footnote-ref-6)
6. [EBGL guidelines](https://www.entsoe.eu/network_codes/eb/) [↑](#footnote-ref-7)