## Slide 1: Friday 18 December 2020 Online Meeting via Teams
CUSC Panel

## Slide 2
WELCOME

## Slide 3
Approval of Panel Minutes
Approval of Panel Minutes from the Meeting held 24 and 27 November 2020

## Slide 4
Actions Log
Review of the actions log

## Slide 5
Chair’s Update
An update from the Chair about ongoing relevant work, discussions etc.

## Slide 6
Authority Decisions
Decisions Received since last Panel meeting
CMP334 received 30 November 2020
CMP353 received 2 December 2020
CMP333 received 3 December 2020
Decisions Pending
CMP280, CMP292, CMP317/327, CMP339, CMP335/336 and CMP343/340
CMP342 Self-Governance Appeal
Received Final Modification Reports since last Panel Meeting
CMP351 (received 9 December 2020) – decision required by 15 February 2021
.

## Slide 7
New modifications submitted
No New Modifications this month

## Slide 8
Review of all CUSC Modifications with current status, next steps and any Panel recommendations
Plan post Ofgem decision on CMP353
Brexit Modifications latest
In Flight Modification Updates

## Slide 9
Dashboard – CUSC (as at 10 December 2020)
Category | Jul | Aug | Sep | Oct | Nov | Dec
New Modifications | 3 | 0 | 1 | 1 | 1 | 0
In-flight Modifications (includes those on hold but not New Modifications) | 47 | 49 | 49 | 50 | 51 | 51
Modifications issued for Workgroup consultation | 2 (CMP343/340 and CMP350) | 0 | 0 | 0 | 1 (CMP344) | 0
Modifications issued for Code Administrator Consultation | 1 (CMP350) | 3 (CMP346, CMP347, CMP333 ) | 2 (CMP343/340, CMP335/336 ) | 1 (CMP351) | 4 (CMP353, CMP309, CMP310, CMP300) | 2 (CMP344, CMP354)
Workgroups held | 8 | 6 | 2 | 2 | 3 | 2
Authority Decisions | 3 (CMP303, CMP337/338, CMP320) | 1 (CMP350) | 0 | 0 | 2 (CMP324/325, CMP334) | 2 (CMP353, CMP333 with CMP317/327 and CMP339 expected before Christmas)
Implementations | 0 | 1 (CMP350) | 1 (CMP348) | 0 | 0 | 0 (CMP334 on 14 Dec, CMP352 on 17 Dec)
Modifications on Hold | 4 | 4 | 4 | 4 | 2 | 2
Workgroups postponed | 0 | 0 | 0 | 0 | 0 | 0

## Slide 10
CUSC Workgroups for next 3 months (as at 10 December 2020)
December (total = 2)
January (total = 4)
CMP326 – 11 Dec
CMP328 – 12 Jan
CMP326
CMP330
CMP298
February (total = 6)
CMP326
CMP330 – 14 Dec
CMP330
March (total = 4 so far)
CMP298
CMP315 ?
New Expansion Constant Mod?
CMP328
CMP315 ?
New Expansion Constant Mod?
CMP328
CMP330
See Notes explaining what each Modification is seeking to achieve
Notes: CMP315 - TNUoS: Review of the expansion constant and the elements of the transmission system charged for
CMP328 - Put in place an appropriate process to be utilised when any connection triggers a Distribution impact assessment.
CMP326 - Introducing a 'Turbine Availability Factor' for use in Frequency Response
Capacity Calculation for Power Park Modules (PPMs)
CMP330 - Allowing new Transmission Connected parties to build Connection Assets greater than 2km in length
CMP298 - Updating the Statement of Works process to facilitate aggregated assessment of relevant and collectively relevant embedded generation.

## Slide 11
Grid Code Workgroups for next 3 months (as at 10 December 2020)
December (total = 7)
GC0147 x 2 - 3 and TBC
GC0145 – 1 and 15 Dec
GC0144 – 2 Dec
GC0138/141 – 18 Dec
GC0134 – 11 Dec
January (total = 9)
GC0109 – 11 and 13 Jan
February (total = 4)
GC0133
GC0139
GC0137 – 8 Jan
March (total = 1 so far)
GC0145 x 2
GC0147
GC0145
GC0144
GC0134
GC0133
GC0138/141
GC0138/141
See Notes explaining what each Modification is seeking to achieve
Notes: GC0145 – Updating the Grid Code to include the Manually Activated Reserve Initiative (MARI)
GC0147 – Enduring Modification to GC0143
GC0139 - Seeks to increase the scope and detail of planning - data exchange between DNO's and National Grid ESO to help facilitate the transition to a smart, flexible energy system.
GC0141 - User Compliance Processes and Modelling following 9th August Power Disruption
GC0138 – Compliance process technical improvements (EU and GB User)
GC0134 - Remove the need for 24/7 contact and telephony for small embedded generators forming part of an aggregator or participating in the Balancing Market as part of wider access.
GC0109 - Set out within the Grid Code the obligation on Network Operators to make available to market participants, in real time, all the types of system warnings issued
GC0144 – Set out what criteria would constitute an emergency condition under Article 18(3) of the System Operation Guideline and under what conditions National Grid ESO would suspend the market. In addition, the modification also seeks to clarify under what conditions the TERRE market would be suspended and to align these provisions.
GC0137 - Proposes to add a non-mandatory technical specification to the Grid Code, relating to what is referred to as Virtual Synchronous Machine (“VSM”) capability
GC0133 - Timely informing of the GB NETS System State condition

## Slide 12
STC and SQSS Workgroups for next 3 months (as at 10 December 2020)
November
December
January
February

## Slide 13: In flight Modifications - the asks of Panel
CMP300
  AGREE with the Code Administrator’s recommendation that the proposed legal text changes are typographical; and
  VOTE whether or not to recommend implementation.
CMP307 and CMP308
  RE-ASSESS position in the prioritisation stack if Ofgem have published their conclusions on the 2nd BSUoS Taskforce.
CMP309 and CMP310
  AGREE the timeline in the event of a No Deal being confirmed on or before 31 December 2020; and
  NOTE the current thinking in the event of a Deal being confirmed on or before 31 December 2020.
CMP315
  NOTE the ESO’s current thinking on CMP315 and any new Modification to be raised following Ofgem’s CMP353 decision.

## Slide 14
Plan post Ofgem decision on CMP353
ASK OF PANEL: NOTE the ESO’s current thinking on CMP315 and any new Modification to be raised following Ofgem’s CMP353 decision.

## Slide 15: CMP315 and new Modification – Governance Rules to be aware of
CMP315 is a “Pending CUSC Modification Proposal” and under 8.16.6 any new Modification Proposal (unless Directed by Authority) will be rejected by the Panel if it has “substantially the same effect” as CMP315
The new Modification Proposal can be amalgamated with CMP315 as per 8.19.2 and 8.19.3. Alternatively, Panel could follow the same approach as CMP324/325

## Slide 16: CMP315
Terms of Reference
Defect
The locational element of the Transmission Network Use of System (TNUoS) charge converts the “MWkm” figure calculated by the locational model and converts this figure into a locational cost (GBP/kW) for connecting generation and/or demand at a particular node. There are two potential issues with this process:
Not all assets used by the transmission system are included in the calculation of the MWkm figure (for example 400/275 kV transformers are excluded); and
ii. The expansion constant (used to convert MWkm to GBP/kW) assumes that the life and capacity of and asset can be fully flexed to meet a connectee’s requirements (for example if a customer required 300 MW of capacity over 25 years, the TO may – as the most cost-effective solution – construct a 500 MW asset with a life of 55 years). Therefore, the connectee would only be charged a proportion of the costs actually incurred by the TO (the balance of the cost would be recovered through the residual)

## Slide 17
Brexit Modifications Latest
  ASKS OF PANEL:
    AGREE the timeline in the event of a No Deal being confirmed on or before 31 December 2020; and
    NOTE the current thinking in the event of a Deal being confirmed on or before 31 December 2020.

## Slide 18
Brexit Modifications Latest
NO DEAL | DEAL – two possible routes | 
SELF-GOVERNANCE CACs have concluded for CMP309 and CMP310 (CUSC), GC0121 (Grid Code) and CM072 (STC). No responses received. Draft Final Modification Reports (DFMR) to be presented to next available Panel or a Special Panel for decision vote once it is confirmed there will be no deal. Assuming No Deal isn’t confirmed until 31st December, we’ll arrange Special Panels in January (4th Jan for Grid Code, 6th Jan for STC, 8th Jan for CUSC). Panel approvals required to have less than 5 days to review DFMR. | SELF-GOVERNANCE ESO withdraw No Deal Modifications (Mods) immediately once Brexit deal is confirmed. ESO raise new Self-Governance Mods with legal text at January Panel. For Grid Code, a one-month Code Administrator Consultation (CAC) will be required (EBGL Article 18) For CUSC, a one-month CAC is only needed if the Regulated Sections are impacted, otherwise 15 Working Days (WD). For STC, 15WD consultation. Then each Mod will be presented to Panel for Self-Governance decision. Likely to be at March 2021 Panel, or a Special Panel earlier in March. | STANDARD PROCESS + URGENCY ESO withdraw No Deal Mods immediately once Brexit deal is confirmed. ESO raise new urgent Mods with legal text at Special Panel in January 2021. For Grid Code, CUSC and STC the subsequent process will be determined by Ofgem's decision on urgency. Following CAC, the Panel recommendation likely to be at March 2021 Panel, or a Special Panel earlier.

## Slide 19
Discussions on Prioritisation
CMP307 and CMP308
  ASK OF PANEL: RE-ASSESS position in the prioritisation stack if Ofgem have published their conclusions on the 2nd BSUoS Taskforce.

## Slide 20: Prioritisation Principles
Section 8: 8.19.1.(e) makes the following provision for the Panel and states “Having regard to the complexity, importance and urgency of particular CUSC Modification Proposals, the CUSC Modifications Panel may determine the priority of CUSC Modification Proposals and may (subject to any objection from the Authority taking into account all those issues) adjust the priority of the relevant CUSC Modification Proposal accordingly” | 
Complexity | The modification is viewed as being resource intensive and will most likely require a higher than average number of workgroups to conclude the process. Additionally the modification defect is viewed to have implications for many different areas of the energy market which need to be taken into consideration throughout the process.
Importance | The perceived value & risk associated with the proposed modification. The value / risk could be considered from a number of different perspectives i.e. financial / regulatory / licence obligations both directly for customer and end consumers more generally.
Urgency | A modification which requires speedy consideration within the code governance process, both complexity and importance should be factors considered in evaluating urgency as well as the timescales for implementation within the respective code.

## Slide 21: BREAK

## Slide 22
Workgroup Reports
No Workgroup Reports this month

## Slide 23
CMP300 - Cost reflective Response Energy Payment for Generators with low or negative marginal costs
Paul Mullen
ASKS OF PANEL:
  AGREE with the Code Administrator’s recommendation that the proposed legal text changes are typographical; and
  VOTE whether or not to recommend implementation.
Draft Final Modification Reports

## Slide 24: CMP300 Background
CMP300 was raised by Drax Power Ltd. and was submitted to the CUSC Panel for their consideration in February 2019.
  The CUSC Panel decided that this modification should be assessed by a Workgroup and submitted to the Authority for decision.
CMP300 seeks to improve the cost reflectivity of the Response Energy Payment (REP) as the current construction of the REP is not reflective of the costs or avoided cost of energy production for generators. It will achieve this by ensuring all BM Units with low or negative marginal costs, as a consequence of having a CfD FiT, are subject to the same REP methodology.
4 Workgroup Meetings held
3 Workgroup Consultation Responses received
  2 respondents believed that the proposed change better facilitates the CUSC objectives than the Baseline. However, 1 of these respondents favours an optional pricing approach as it allows market participants to provide their own approach in terms of cost reflective pricing. This has subsequently been raised as a Workgroup Alternative Code Modification (WACM1).
  Workgroup Vote held 31 October 2019
    5 of the 6 Workgroup Members voted that the Original and WACM1 were better than the current CUSC arrangements; and
    3 voted that WACM1 was best, with 2 votes for the Original and 1 vote for no change.
  Workgroup Report presented to November 2019 Panel; however Panel raised concerns that the Workgroup Report didn’t really explain to what extent a CfD plant loses out at the moment under the current arrangements, as it doesn’t set out the payments that the affected generator receives/pays/forgoes when it provides response.
  More detail on the Benefits/Costs was provided within the updated Workgroup Report that was presented to October 2020 Panel; however, Panel still required illustrative numbers to be added before they approve that the Terms of Reference have been met. Workgroup Report was updated accordingly and Panel approved via circulation on 9 November 2020.

## Slide 25: CMP300 Solutions
Proposers solution:
Currently, the Reference Price which feeds into the calculation of the Response Energy Payment (REP) is set to £0/MWh for “non-fuel” cost BM Units only. Proposer suggests that this is set at £0/MWh for CfD BM Units as well.
WACM1:
Market Participants will have an one-off choice for the REP to be set at £0/MWh (as per Proposer’s Solution) or at the prevailing Market Index Price. This must be exercised within 28 calendar days of ESO’s letter/notice asking them to indicate their choice. Where no choice has been made within 28 calendar days, the REP will be set at £0/MWh.
Implementation:
10 working days after Ofgem decision for Proposers solution and WACM1.
National Grid ESO Workgroup Member expressed a preference for April 2022 implementation to align with delivery of a new Settlements system.

## Slide 26: CMP300 Code Administrator Consultation Summary
Ran from 9 November 2020 to 9 December 2020 with 2 responses received. One respondent supports the change and implementation approach and one doesn’t.
Supports change and Implementation Approach | Does not support change or Implementation Approach
Supports Original and WACM 1 and argues they better facilitate the Applicable Objectives a, b and d. Setting the Response Energy Payment (REP) to zero for renewable generators receiving a Contract for Difference Feed in Tariff (CfD FiT) will better reflect the short run marginal costs (SRMC) of these CFD FiT Units than a calculated REP based on the Market Index Price (MIP). Seek Implementation 10 Working days after an Authority decision - concerned if delivery of the CMP300 solution were contingent upon delivery of a new settlement system in 2022 by the ESO given the uncertainty that is inherent in delivering system This change will improve competition for Mandatory Frequency Response (MFR) by ensuring that the REP is cost reflective for all MFR providers. The modification should also ensure all renewable generators with a low or negative marginal cost are treated equally. | Agrees that certain CfD generators could have a SRMC which is closer to zero than market price. However, this depends on the level of profit over fuel price that the CfD provides. Original assumes that all CfD providers will have a SRMC close to zero which seems incorrect or at least inconclusive WACM1 allows generators to elect which price they are exposed to. For plant which tend to deliver more of one type of response, then this choice can potentially be exploited to provide an inflated benefit. Suggested that the choice between using zero or the MIP as the REP level could be made by the ESO or Ofgem, based on evidence provided by the generator to demonstrate whether their SRMC is closer to zero or MIP.

## Slide 27: CMP300 Code Administrator Consultation Summary – Legal Text changes?
One respondent stated that the legal text for WACM1 would appear to benefit from 2 clarifications:
  The legal text says that CfD generators can elect to “set the Reference Price to Max”, but doesn’t really set out what setting the reference price to “Max” means; and
  Clarification on the process / timescales for Users to exercise their choice for the Response Energy Payment to be set at £0/MWh or at the prevailing Market Index Price.
Meeting held 7 December 2020 between Code Admin, the ESO, the respondent, the Proposer and the Proposer of WACM1 to discuss these points and agree revised legal text.

## Slide 28: CMP300 Code Administrator Consultation – Legal Text Changes. What do the Governance Rules say?
Code Admin must present the proposed legal text changes
Panel have 3 choices:
Agree the changes are typographical and instruct Code Admin to make the change. Then we carry out Recommendation Vote; or
Agree the changes are not needed. Then we carry out Recommendation Vote; or
Direct the Workgroup to review the changes.
Code Admin consider that the changes proposed are typographical and are seeking Panel agreement under 8.23.4(i) to make these changes

## Slide 29: CMP300 Code Administrator Consultation – WACM1 Legal Text
Proposed Change (between CAC issued and now with change shown in red text)
A User with a “CfD BMU” (a BM Unit registered in respect of a Power Station whose operator is a party to an agreement with the CfD Counterparty) the User can elect within 28 calendar days of ESO’s notice asking them to indicate their choice, at the outset of the agreement with the CfD Counterparty, to set the Reference Price to max (∑s {PXPsj x QXPsj} / ∑s {QXPsj} x 1.25, 0 )Max for Response Energy Payments for that CfD BMU for the duration of that agreement. In the absence of Until such election, which can only be made once by reference to that CfD agreement, the Reference Price shall be 0zero by default.
Ask of Panel
Code Admin consider that these changes are typographical (as they do not change intent and the merely provide clarification) and are seeking Panel agreement under 8.23.4(i) to make these changes

## Slide 30: CMP300 - the asks of Panel
AGREE that the proposed changes to the legal text are typographical
VOTE whether or not to recommend implementation
  Does the CMP300 Original proposal and/or WACM1 better facilitate the objectives than the current CUSC arrangements?

## Slide 31: CMP300 Next Steps
Final Modification Report to be issued
Timetable below
Milestone | Date
Final Modification Report issued to Panel to check votes recorded correctly (5 working days) | 18 December 2020
Final Modification Report issued to Ofgem | 5 January 2021
Implementation Date | 10 working days after Ofgem decision

## Slide 32
Governance Standing Group – Garth Graham
TCMF – Jon Wisdom
Standing Groups - Updates on all standing groups relevant to CUSC panel e.g. potential for future governance changes or modifications

## Slide 33
European Code Development – Nadir Hafeez
Joint European Stakeholder Group – Garth Graham
European Updates - Updates on all European developments relevant to CUSC panel e.g. potential for future governance changes or modifications

## Slide 34
Update on Other Industry Codes
Grid Code
STC
SQSS
DCUSA
BSC

## Slide 35
Relevant Interruptions Claim Report (January, April, July, October)

## Slide 36
No items this month
Governance

## Slide 37
Horizon Scan (February, May, August, November)

## Slide 38
Forward Plan Update/Customer Journey)
(January, March, May, July, September, November)
(Critical Friend Quarterly Update in Panel Pack – January, April, July and October. To be discussed at Panel – January and July)
No items this month

## Slide 39
AOB
General discussion on impacts of coronavirus outbreak (ALL)

## Slide 40: Next Panel Meeting
Next Panel Meeting
10am on 29 January 2021 via Teams
Papers Day – 21 January 2021
Modification Proposals to be submitted by 14 January 2021
TCMF – 7 January 2021

## Slide 41
Close
Trisha McAuley
Independent Chair, GCRP