## Slide 1: Friday 30 April 2021 Online Meeting via Teams
CUSC Panel

## Slide 2
WELCOME

## Slide 3
Approval of Panel Minutes
Approval of Panel Minutes from the Meetings held 22 and 26 March 2021 - to be approved at next Panel meeting (currently 28 May 2021)

## Slide 4
Actions Log
Review of the actions log

## Slide 5
Chair’s Update
An update from the Chair about ongoing relevant work, discussions etc.

## Slide 6
Authority Decisions
Decisions Received since last Panel meeting
CMP367 (Decision received 30 March 2021; Implemented 1 April 2021)
CMP368/369 Urgency Request (Decision received 22 April 2021 to reject request for Urgency)
Decisions Pending
CMP280, CMP292, CMP300, CMP335/336, CMP343/340, CMP344
Received Final Modification Reports since last Panel Meeting
None
.

## Slide 7
New modifications submitted
CMP370: Revision of the connection offer acceptance period for interactive connection offers
Rashmi Radhakrishnan and Keren Kelly - National Grid ESO

## Slide 8: Critical Friend Feedback – CMP370
Code Administrator comments | Amendments made by the Proposer
Removed justification rationale from the executive summary as already set out in the main body of the proposal form Clarity on impacted parties Made clear that the legal text changes are shown in red text Clarity that seeking standard governance Formatting and presentational comments | Proposer accepted all amendments made by the Code Administrator

## Slide 9: Interactivity Policy background
Through extensive consultation with industry, the The Energy Network Association (ENA), as part of the Open Networks Project, has developed an Interactivity Process Guide.
In Nov 2018, the ENA launched the ‘Interactivity and Queue Management’ Consultation (link)
In July 2019 the ENA presented a ‘mind-to’ position for Interactivity - the Conditional Interactivity approach, in a published ENA Consultation (link).
The responses to the July 2019 consultation showed very clear support for the proposed ‘Conditional’ interactivity process.
Across the development period, the ENA hosted webinars and published Q&As and included consultation responses from wider industry while developing the new policy.
The ENA has since developed the principles and processes and in December 2020 the ENA published the final Interactivity guide including T-T, T-D, D-D and D- iDNO interactivity process (link)
All Network companies are now able to take a consistent approach and began adopting the new Interactivity Process Guide from 1st January 2021 onwards.

## Slide 10: Consultation responses
Customers feedback | Improvement made by ENA and Product Group
Simple and quick process | The solution is a simple, straightforward process for all network companies to administer Customers benefit from a quick resolution of interactivity.
Transparent and Fair | This process helps network companies to deal with customer in a strict queue order by their clock start date.
Moratorium period was frustrating for several stakeholders | The new process developed does not include a moratorium period.
Standardisation | All respondents were keen to have a standard common approach/ process across all network companies.
Customer and Stakeholder Engagement | 2 Webinars conducted in Feb and July 2020 Final guide including T-T, T-D, D-D and D- iDNO interactivity published in Dec 2020.

## Slide 11: What is Interactivity?
Interactivity occurs where two or more connection applications are received to connect using the same part of the existing or future network, but where not all applicants can be connected due to restrictions such as:
  limited network capacity,
  fault levels, or
  physical limitations such as space to upgrade a substation.
Interactivity is identified by the Transmission Owner whilst undertaking their network studies but the Interactive Connection Process is administered by the ESO in preparing its Connections Offers for customers.
The ESO has drafted an Interactivity Policy document which is consistent with the ENA-developed process

## Slide 12: Changes to the Offer Acceptance Period
Application connecting to the Transmission Network
Diagram courtesy of the Energy Networks Association

## Slide 13: Proposed Changes to the CUSC (1)
The connection, use of system and modification offer acceptance provisions in the CUSC do not currently align with the acceptance periods documented within the new ESO Interactivity Policy document
The solution proposes the following amendments/additions to the CUSC (amendments shown in red):
  Introduction of three new defined terms:
“Interactivity” means where there are two or more applications for connection and/or use of system which would be connected to the same part of the existing or future NETS and/or Distribution System where not all the applicants can be connected, interactivity is the process that determines the queue position of the applications that can be connected with or without further changes to the network;
“Interactivity Policy” the policy adopted by The Company for the purposes of managing Interactivity and published on its website as it may be amended from time to time;
Offer Acceptance Period the period for acceptance as set out in CUSC Paragraphs 1.7.3, 2.13.3, 3.7.4, 6.9.2.3 and 9.17.3.
  Introduction of three new defined terms:
    “Interactivity”
    “Interactivity Policy”
    “Offer Acceptance Period”

## Slide 14: Proposed Changes to the CUSC (2)
  The addition of a new paragraph 6.10.4.4, referencing the Interactivity Policy and allowing the ESO to vary the Offer Acceptance Period where Interactivity has been confirmed
  6.10.4.4 If Interactivity is confirmed in accordance with the Interactivity Policy, The Company shall be entitled to vary the Offer Acceptance Period as provided for in the Interactivity Policy
  The addition of references to new paragraph 6.10.4.4, in paragraphs that refer to connection, use of system and modification offer acceptance periods:
  1.7.3 The BELLA Offer shall remain open for acceptance (subject to CUSC Paragraph 6.10.4.4) for 3 months from its receipt by that User unless either that User or The Company makes an application to the Authority under Paragraph 1.7 of the CUSC, in which event the BELLA Offer shall remain open for acceptance until 14 days after any determination by the Authority pursuant to such application.
  2.13.3 The Connection Offer and any offer to vary referred to in paragraph 2.13.9 shall remain open for acceptance (subject to CUSC Paragraph 6.10.4.4) for 3 months from its receipt by that User unless either that User or The Company makes an application to the Authority under Standard Condition C9 of the Transmission Licence, in which event the Connection Offer shall remain open for acceptance until the date 14 days after any determination by the Authority pursuant to such application.

## Slide 15: Proposed Changes to the CUSC (3)
  3.7.4 The Use of System Offer shall remain open for acceptance (subject to CUSC Paragraph 6.10.4.4) for 3 months from its receipt by that User unless either that User or The Company makes an application to the Authority under Standard Condition C9 of the Transmission Licence, in which event the Use of System Offer shall remain open for acceptance until the date 14 days after any determination by the Authority pursuant to such application.
  6.9.2.3 The Modifications Offer shall remain open for acceptance (subject to CUSC Paragraph 6.10.4.4) for 3 months from the date of its receipt by that User unless either that User or The Company makes an application to the Authority under Standard Condition C9 of the Transmission Licence, in which event the Modification Offer shall remain open for acceptance by that User until the date 14 days after any determination by the Authority pursuant to such application.
  9.17.3 The Connection Offer shall remain open for acceptance (subject to CUSC Paragraph 6.10.4.4) for 3 months from its receipt by that User unless either that User or The Company makes an application to the Authority under Standard Condition C9 of the Transmission Licence, in which event the Connection Offer shall remain open for acceptance until the date 14 days after any determination by the Authority pursuant to such application.

## Slide 16: Proposed Changes to the CUSC (4)
  An amendment to an incorrect reference in paragraph 6.10.4.3:
  6.10.4.3 be entitled to vary the terms of either Offer if the other Offer is accepted first on the same procedures as those set out in Paragraphs 6.9.2.2 to 6.9.2.4 or 2.14.2 to 2.14.4 2.13.2 to 2.13.4 inclusive as the case may be.

## Slide 17: Why Change?
The adoption of the Interactivity Policy by Network operators:
  Enables all the network companies to operate in a consistent manner and it ensures an applicant’s experience is similar across Transmission and Distribution networks
  Helps to resolve the interactivity quickly and effectively by providing more certainty to applicants
  Helps all Network Operators to administer the policy easily when a large number of customers are involved
This Modification is seeking to align the CUSC with the Interactivity Policy document to facilitate the above benefits being realised

## Slide 18: Proposed Governance Process
The ENA Interactivity Process Guide has been developed through extensive engagement and consultation with wider industry
This Modification proposal is seeking to align the CUSC with the new Interactivity Policy document and the CUSC change is minimal
The proposal is for this Modification to proceed to Code Administrator Consultation

## Slide 19: Timeline for CMP370 – Proposed Timeline (Standard-Governance with Code Administrator Consultation)
Milestone | Date | Milestone | Date
Modification presented to Panel | 30 April 2021 | Final Modification Report issued to Panel to check votes recorded correctly (5 working days) | 28 June 2021
Code Administrator Consultation (15 working days) | 7 May 2021 to 28 May 2021 | Final Modification Report issued to Ofgem | 6 July 2021
Draft Final Modification Report (DFMR) issued to Panel | 17 June 2021 | Ofgem Decision | Ideally by 1 August 2021 but no later than 31 August 2021
Panel undertake DFMR recommendation vote (5 working days) | 25 June 2021 | Implementation Date | 10 working days after Ofgem decision

## Slide 20: CMP370 – the asks of Panel
AGREE that this Modification should follow Standard Governance (Ofgem decision) rather than the Self-Governance Criteria (Panel decision)
AGREE that this Modification should proceed to Code Administrator Consultation
NOTE that there appear not to be any impacts on the European Electricity Balancing Guideline (EBGL) Article 18 terms and conditions held within the CUSC
NOTE the proposed timeline

## Slide 21
New modifications submitted
CMP371: Assessing CUSC Modification Proposals against charging and standard objectives
Paul Mullen, National Grid ESO Code Administrator

## Slide 22: Critical Friend Feedback – CMP371
Code Administrator comments | Amendments made by the Proposer
Clarity on legal text needed | Following discussion with ESO legal team, finalised legal text and included new definitions in Section 11

## Slide 23: CMP371 Background
What and Why? | Seeks to update the CUSC such that Charging and Non-Charging changes can be included in one Modification Proposal, but with such changes being judged against their respective Applicable CUSC Objectives, in order to remove the inefficient practice of raising multiple modifications to enact one related change.
How? | Legal Text Changes to CUSC 8.16.2 and new definitions of “Applicable CUSC Objectives (Charging)” and “Applicable CUSC Objectives (Non-Charging)”.
Implementation | 10 working days after Authority Decision. Efficiencies have already been built into the Modification process. However, the Proposal form (and guidance) will need to be tweaked to allow Proposers to include an assessment against both the CUSC Charging Objectives and CUSC Non-Charging Objectives and spell out which changes are related to CUSC Section 14 and which are non CUSC Section 14.
Governance | Standard Governance modification (doesn’t meet Self Governance Criteria) to proceed to Code Administrator Consultation (given binary nature of proposal)
Other | No impact anticipated on Ofgem assessment process. As we are retaining differentiation in assessing the proposal, do not believe there is anything to prevent the CMP371 change in licence terms.

## Slide 24: Timeline for CMP371 – Proposed Timeline (Standard-Governance with Code Administrator Consultation)
Milestone | Date | Milestone | Date
Modification presented to Panel | 30 April 2021 | Final Modification Report issued to Panel to check votes recorded correctly (5 working days) | 28 June 2021
Code Administrator Consultation (15 working days) | 11 May 2021 to 2 June 2021 | Final Modification Report issued to Ofgem | 6 July 2021
Draft Final Modification Report (DFMR) issued to Panel | 17 June 2021 | Implementation Date | 10 working days after Ofgem decision
Panel undertake DFMR recommendation vote (5 working days) | 25 June 2021 |  | 

## Slide 25: CMP371 – the asks of Panel
NOTE that this Modification does not meet the Self-Governance Criteria (a)(v) (Panel decision) as this has a material effect on CUSC governance processes
AGREE that this Modification should follow Standard Governance (Ofgem decision) rather than the Self-Governance Criteria (Panel decision)
AGREE that this Modification should proceed to Code Administrator Consultation
NOTE that there appear not to be any impacts on the European Electricity Balancing Guideline (EBGL) Article 18 terms and conditions held within the CUSC
NOTE the proposed timeline

## Slide 26: CUSC Self-Governance Criteria

## Slide 27
New modifications submitted
CMP372: CUSC changes to reflect the terms of the UK’s departure from the EU
Katharina Birkner, National Grid ESO

## Slide 28: Critical Friend Feedback – CMP372
Code Administrator comments | Amendments made by the Proposer
Minor grammatical tweaks Addition of self-governance criteria Confirmation of no interaction Suggested format change to no underlining in Section 8 to be picked up within this modification | All changes accepted

## Slide 29: Brexit situation and outcomes
On the 31st December 2020 at 23:00 the UK left the European Union
The withdrawal agreement states that all EU network codes in place or approved by ACER ahead of exit day will be copied into GB law except for elements that aren’t operable.
The TCA (Trade and Cooperation Agreement) outlines the post Brexit relationship and cooperation between the EU and GB
Deal
The no deal Brexit mods have been withdrawn as the defect has changed
Interpretation of the TCA (Trade and Cooperation Agreement) does not change the requirement for legal text changes to ensure the CUSC is accurately reflecting our post Brexit relationship with the EU.
For this reason, we will raise a new modification to ensure the CUSC remains accurate post Brexit

## Slide 30: CUSC Mod to be raised CMP372
New CUSC modification to be raised (CUSC changes to reflect the terms of the UK’s departure from the EU)
Equivalent of CMP309 (CUSC Changes in the event the UK leaves the EU without an agreement), legal text changes same as proposed under CMP309
Section 14 mod (equivalent of CMP310) no longer required as CMP339 definitions sufficient
CMP372 ensures that retained law continues to work effectively in the context of the CUSC
Recommendation to raise as self-governance mod and proceed straight to consultation

## Slide 31: Timeline for CMP372 – Proposed Timeline (Standard-Governance with Code Administrator Consultation)
Milestone | Date | Milestone | Date
Modification presented to Panel | 30 April 2021 | Final Modification Report issued to Panel to check votes recorded correctly (5 working days) | 28 June 2021
Code Administrator Consultation (15 working days) | 5 May 2021 to 26 May 2021 | Final Modification Report issued to Ofgem | 6 July 2021
Draft Final Modification Report (DFMR) issued to Panel | 17 June 2021 | Implementation Date | 10 working days after Ofgem decision
Panel undertake DFMR recommendation vote (5 working days) | 25 June 2021 |  | 

## Slide 32: CMP372 – the asks of Panel
AGREE that this Modification meets the Self-Governance Criteria (Panel decision) rather than Standard Governance (Ofgem decision)
AGREE that this Modification should proceed to Code Administrator Consultation
NOTE that there appear not to be any impacts on the European Electricity Balancing Guideline (EBGL) Article 18 terms and conditions held within the CUSC
NOTE the proposed timeline

## Slide 33: CUSC Self-Governance Criteria

## Slide 34
Review of all CUSC Modifications with current status, next steps and any Panel recommendations
In Flight Modification Updates

## Slide 35
Dashboard – CUSC (as at 22 April 2021)
Category | Nov | Dec | Jan | Feb | Mar | Apr
New Modifications | 1 | 3 | 3 | 4 | 3 | 6
In-flight Modifications (includes those on hold but not New Modifications) | 53 | 51 | 51 | 50 | 53 | 36
Modifications issued for Workgroup consultation | 1 (CMP344) | 0 | 2 (CMP357, CMP330) | 2 (CMP326, CMP328) | 0 | 1 (CMP308)
Modifications issued for Code Administrator Consultation | 4 (CMP353, CMP309, CMP310, CMP300) | 3 (CMP344, CMP354, CMP355/CMP356) | 1 (CMP357) | 1 (CMP360) | 1 (CMP367) | 2 (CMP326), CMP365)
Workgroups held | 3 | 2 | 5 | 4 | 5 | 6 (CMP373 x 2 on 26/4 if Urgent)
Authority Decisions | 2 (CMP324/325, CMP334) | 4 (CMP353, CMP333, CMP317/327 and CMP339) | 3 (CMP355/356, CMP357 and CMP351) | 0 | 2 (CMP360, CMP367) | 0
Implementations | 0 | 3 (CMP334 on 14 Dec, CMP352 on 17 Dec, CMP342 on 23 Dec) | 0 | 1 (CMP351) | 0 | 17 CMP281, 306, 317/327, 319, 320, 324/325, 333, 339, 346, 347, 349, 353, 354, 355/356 , 357, 360, 367
Modifications Withdrawn | 0 | 0 | 3(CMP307, CMP309 and CMP310) | 0 | 0 | 0
Modifications on Hold | 3 | 5 | 5 (CMP271, 276, 305, 309, 310) | 3 (CMP271, 276, 305) | 3 (CMP271, 276, 305) | 3 (CMP271, 276, 305)
Workgroups postponed | 0 | 0 | 1 (CMP328 from 12 Jan to 10 Feb) | 0 | 0 | 1 (CMP298 – was 7 Apr)

## Slide 36: In flight Modifications – the asks of Panel
CMP328
NOTE that Workgroup Report will be presented to July 2021 Panel rather than June 2021 Panel
CMP315
NOTE that there was a Workgroup on 21 April 2021 to assess how CMP315 and ESO’s proposed thinking (with a modification anticipated early summer) fits together. Data is key to both so the ESO, the Proposer and the Transmission Owners will meet to look at what data is available and what might be needed. TCMF and CMP315 Workgroup will be kept abreast of developments. In light of this, Panel to REVIEW current prioritisation of CMP315
CMP298
NOTE that a sub-group of the Workgroup met on 21 April 2021 to address an apparent disconnect between the ESO and some DNO’s on how the new product will work. A further meeting will be held on 19 May 2021 after which we expect to present back and hold a final Workgroup on 7 June 2021 prior to Workgroup Consultation being issued on 15 June 2021.
CMP368/369
NOTE that 1st Workgroup is scheduled for 19 May 2021 if CUSC Panel prioritise this high in the prioritisation stack.

## Slide 37
Discussions on Prioritisation
AGREE prioritisation for CMP368/369
REVIEW prioritisation for CMP315 following Workgroup on 21 April 2021
AGREE where New Modifications that need Workgroups are placed in the prioritisation stack
CARRY OUT deep-dive assessment of all Modifications that sit within the prioritisation stack
  RE

## Slide 38: Prioritisation Principles
Section 8: 8.19.1.(e) makes the following provision for the Panel and states “Having regard to the complexity, importance and urgency of particular CUSC Modification Proposals, the CUSC Modifications Panel may determine the priority of CUSC Modification Proposals and may (subject to any objection from the Authority taking into account all those issues) adjust the priority of the relevant CUSC Modification Proposal accordingly” | 
Complexity | The modification is viewed as being resource intensive and will most likely require a higher than average number of workgroups to conclude the process. Additionally the modification defect is viewed to have implications for many different areas of the energy market which need to be taken into consideration throughout the process.
Importance | The perceived value & risk associated with the proposed modification. The value / risk could be considered from a number of different perspectives i.e. financial / regulatory / licence obligations both directly for customer and end consumers more generally.
Urgency | A modification which requires speedy consideration within the code governance process, both complexity and importance should be factors considered in evaluating urgency as well as the timescales for implementation within the respective code.

## Slide 39: BREAK

## Slide 40
None this month
Workgroup Reports

## Slide 41
None this month
Draft Final Modification Reports

## Slide 42
Governance Standing Group – Garth Graham
TCMF – Jon Wisdom
Standing Groups - Updates on all standing groups relevant to CUSC panel e.g. potential for future governance changes or modifications

## Slide 43
European Code Development – Nadir Hafeez
Joint European Stakeholder Group – Garth Graham
European Updates - Updates on all European developments relevant to CUSC panel e.g. potential for future governance changes or modifications

## Slide 44
Update on Other Industry Codes
Grid Code
STC
SQSS
DCUSA
BSC

## Slide 45
Relevant Interruptions Claim Report (January, April, July, October)

## Slide 46
No items this month
Governance

## Slide 47
Horizon Scan (February, May, August, November)

## Slide 48
Forward Plan Update/Customer Journey)
(January, March, May, July, September, November)
(Critical Friend Quarterly Update in Panel Pack – January, April, July and October. To be discussed at Panel – January and July)
Critical Friend Quarterly Update (Paul Mullen)

## Slide 49
Critical Friend Feedback
12 CUSC Modification Proposals received from 15 January 2021 to 15 April 2021 inclusive (including 4 requests for Urgency).
General areas of feedback (across all CUSC and Grid Code Modifications)
Feedback we will act on to further improve our service:
Any thoughts from Panel?
Continue to have discussions with Proposers ahead of Modification Proposal Submission Date so clear on expectations, possible routes and timelines, level of detail and process.
Note there has been 1 Grid Code Modification Proposal raised in the same period
Are you seeing better quality Modification Proposals?
Any further feedback?
Continue to work with the Proposer ahead of Modification Proposal Submission Date (even if Urgency requested) to help ensure the best outcome at Panel.
Lots of engagement with Proposers on possible Governance routes and timelines – this was beneficial
All 12 have had critical friend checks undertaken on them
For 8 of these, required communications were sent to Independent Chair, Panel and industry within agreed timescales (i.e. on the next working day after Modification Proposal Submission Date);- the other 4 were Urgent Modifications so no such communications required; and
Reinforce that solution should not be set out in the “What’s the Issue” section
Ensure everyone using current Modification template

## Slide 50: Ofgem update Code modification decision timings Code governance
Ofgem Codes Team
April 2021

## Slide 51: Purpose of these slides
A: Code modification decisions
We have reviewed our Key Performance Indicator (KPI) in making code modification decisions and intend to adopt a new approach for a trial period.
B: Code governance
We welcome the different initiatives we have seen across codes already, and set out areas in these slides where there may be scope for the industry to deliver proportionate, beneficial change ahead of more fundamental reform.

## Slide 52: A: Code modification decisions
In making decisions we have adopted a self-imposed key performance indicator (KPI). We report our performance against this KPI in our annual report.
The Authority makes decisions on code modifications where there is a material impact.
The assessment of materiality is conducted against a criteria set out in relevant licence conditions.
We are trialling an alternative approach.
Our current KPI for making code modification decisions is to issue 90%:
of our decisions within 25 working days (after we receive the Final Modification Report (FMR) or the closing date of our IA/consultation), and
where relevant, to issue an IA or consultation 3 months after we receive the FMR.
Overall we don’t think the KPI is providing the benefits around transparency in our decision making approach, or providing the certainty to industry that it could.

## Slide 53: A: Our changes
We propose to take a new approach where each modification is assessed and an expected decision date set.
The expected decision date will be based on the importance, urgency and impact of the modification – taking into account our strategic priorities.
We’ll publish these dates on our website. If they are missed we’ll aim to provide a new date.
We expect to continue publishing our performance on making code modification decisions, with more granular detail.
Our intention is that this new process will:
Give more transparency on when we will aim to make decisions.
Still allow our performance to be visible by continuing to report on decisions.
We plan to do this from April for a six month trial period.

## Slide 54: B: Code Governance
Where we are:
In 2019 we issued a joint consultation with BEIS on Reforming the Energy Industry Codes. This consulted on options for a fundamentally different approach to the governance of the industry codes.
We received 66 responses to this and a summary of these was published on 14 December 2020. The full set of responses has also been published on our website.
At the same time, government published an energy white paper. The white paper includes a commitment to ensure that the institutional arrangements governing the energy system are fit for purpose for the long term.
The white paper also includes a commitment to consult in 2021 on organisational functions including code governance.
Industry Initiatives:
Code Administrators and industry are already taking forward changes to make existing arrangements work better and we support change that delivers positive improvements to the existing governance arrangements.
The next few slides recognise this work and gives our thoughts on these.

## Slide 55: Code Modernisation
Code Rationalisation | Comments
In the 2019 consultation with BEIS we said that the complexity and length of the codes could act as a barrier alongside the resources needed to engage in the process. We believe there is scope for code rationalisation to take place which will not impact the effect or meaning of the codes. We don’t expect this would be of significant scale or materially impact the effect or meaning of the codes. However, removing unnecessary and redundant content could help codes be clearer and more accessible. | One possible way forward is Code Administrators exploring this task, working closely with their panels and code parties to identify proportionate proposals industry could raise. If taken forward on this basis we’d expect, for example, these changes would not be material and may follow a self-governance (SG) or fast track SG governance path.
We see code modernisation encompassing a range of actions, including:
rationalisation
equality and diversity actions
digital transformation

## Slide 56: Code Modernisation
Equality and diversity | Comments
In March 2019, we published our Diversity and Inclusion Strategy setting out our ambitions to build a diverse and inclusive workforce and to make our workplace culture more inclusive. As part of this strategy, we committed to working with other organisations across the sector to improve diversity and inclusion. | We know that that diversity and inclusion is something industry and Code Administrators are taking steps to improve. We encourage this work which includes initiatives to: remove gendered language in codes. ensure websites, publications and content aim to meet the latest accessibility standards, where possible, and are written in plain English. We know too that seeking a wide range of views is also something Code Administrators and panels are mindful of, and we support this and encourage exploring activities to consider if, for example, there are opportunities to improve representation at decision making forums.
Digital transformation | Comments
In the 2019 consultation, we noted that a number of Code Administrators were reviewing future plans to enhance code access on their websites. | We know that improving access to code documents through digitisation is something that many Code Administrators and panels have taken forward or are working on. We agree that digitisation of the code documents could bring benefits to code parties by creating easily navigable and more intuitive sets of rules for parties to engage with and understand their obligations under the industry codes. In doing this we encourage industry to look at the work being done to create an Ofgem Data Best Practice Guidance document. We have also published Digitalisation Strategy and Action Plan principles that refer to transparency and a consumer-centric approach to digitalisation activities. We also see benefits in identifying opportunities for cross-code collaboration, including using either the CACoP Forum or the new Digital and Data Service Providers Forum to share best practice.

## Slide 57: Cross code working
Improved cross-code working | Comments
We approved the addition of Principle 13 (Code Administrators will ensure cross-code coordination to progress changes efficiently where modifications impact multiple codes) to CACoP in 2015. We have seen examples of effective cross-code working that have allowed modifications to progress smoothly. Respondents to our Code Administrators Survey in 2019 commented that cross-code working is not always working effectively. We agree, and like respondents believe that cross-code impacts are not always taken into account as modifications go through the change process. | We encourage Code Administrators to ensure the issue of cross-code interactions is consistently discussed with proposers and at work groups. Where cross-code interactions are identified we expect Code Administrators to raise this at the earliest opportunity, either through the CACoP Forum or directly with the relevant Code Administrators, and to then follow the steps set out in Principle 13, where practicable. We encourage Code Administrator(s), where necessary, to fully engage with, and commit appropriate resource to, the new Cross Code Steering Group, being introduced under the Retail Energy Code (REC).

## Slide 58: Next steps
We are working with BEIS on the issues set out in our July 2019 consultation and expect to consult further this year.
The reforms set out in our consultation propose significant change to the existing regulatory framework for gas and electricity markets. To achieve the aims set out we expect that implementation of reforms will take a number of years, and that the delivery of some elements may need to be staged.
We encourage Code Administrators and industry to continue to consider improvements to existing governance arrangements ahead of any future fundamental reform.

## Slide 59: www.ofgem.gov.uk
Ofgem is the Office of Gas and Electricity Markets. We are a non-ministerial government department and an independent National Regulatory Authority, recognised by EU Directives. Our role is to protect consumers now and in the future by working to deliver a greener, fairer energy system.
We do this by:
working with Government, industry and consumer groups to deliver a net zero economy at the lowest cost to consumers.
stamping out sharp and bad practice, ensuring fair treatment for all consumers, especially the vulnerable.
enabling competition and innovation, which drives down prices and results in new products and services for consumers.

## Slide 60
AOB
General discussion on impacts of coronavirus outbreak (ALL)
Code Administrator Survey (Nadir Hafeez)

## Slide 61: Next Panel Meeting
Next Panel Meeting
10am on 28 May 2021 via Teams
Papers Day – 20 May 2021
Modification Proposals to be submitted by 13 May 2021
TCMF – 6 May 2021

## Slide 62
Close
Trisha McAuley
Independent Chair, CUSC Panel