Meeting notes: Work group 3

## GC0148: Implementation of EU Emergency and Restoration Code

|  |  |  |  |
| --- | --- | --- | --- |
| Date: | 18/08/2021 | Location: | Teams |
| Start: | 10:00am | End: | 13:15pm |

## Participants­­­­­­­

|  |  |  |  |
| --- | --- | --- | --- |
| Attendee | Attend/Regrets | Attendee | Attend/Regrets |
| GC0148 WG MEMBERS | Attend | OBSERVERS | Attend |

## Notes recipients

|  |  |  |  |
| --- | --- | --- | --- |
| Antony Johnson | Recipient name | Recipient name | Recipient name |
| Ian Ascroft | Recipient name | Recipient name | Recipient name |

## Agenda

|  |  |  |
| --- | --- | --- |
|  | Topics to be discussed | |
|  |  Review of actions from the previous meeting and general update | Owner (X minutes) |
|  |  Status of E&R phase1 proposals | Owner (X minutes) |
|  |  Updated system defence and system restoration Plans | Owner (X minutes) |
|  |  Control telephony standard | Owner (X minutes) |
|  |  Distributed re-start presentation | Owner (X minutes) |
|  |  Mapping table | Owner (X minutes) |
|  |  Next steps | Owner (X minutes) |
|  |  AOB | Owner (X minutes) |

## Discussion and details

|  |  |
| --- | --- |
|  |  |
|  | **Review of Actions from the previous meeting and general update details**  The Chairman went through all of the twenty seven items and the ones still open were the subject of later  discussions for the day. |
|  | **Status of E&R Phase I Proposals**  A member noted that article 4.2(d) raises legal certainty issues not covered by OFGEM’s approval letter of 13th  July letter relating to the “Decision on the Electricity System Operator’s proposal for the Terms and Conditions to  act as defence and restoration providers, for the list of significant grid users responsible for implementing on  their installations measures from other EU Network codes, and for the list of high priority significant grid users”  (available at [*Decision for NCER proposals TCs, SGU list, HP SGU list (5).pdf*](file:///C:\Users\antony.johnson\Downloads\Decision%20for%20NCER%20proposals%20TCs,%20SGU%20list,%20HP%20SGU%20list%20(5).pdf)). It was stated that elements of this  letter required further examination to confirm if Art 4.2(d) of the E&R Code had been addressed. The ESO  confirmed they would raise this issue with Ofgem. |
|  | **Updated System Defence and System Restoration Plans**  Reference was made as to whether the System Defence Plan and System Restoration Plan were in the public domain. The ESO confirmed the latest version was Issue 3 and these were in the public domain and available on the website. They are available from the following link https://www.nationalgrideso.com/industry-information/codes/european-network-codes/other-enc-documents. The ESO are working on a updated version of this document and will circulate it to Workgroup Members when ready. |
|  | **Control Telephony Standard**  The ESO presented the Control Telephony Standard. The Work group were requested to review the document and come back with any comments for the next meeting. |
|  | **Distributed Re-Start Presentation.**  No comments from members |
|  | **Mapping Table.**  A member raised an issue of notifications not being green. Members were asked to have a look at whether the mapping table is representative. The ESO confirmed that this needs constant updating and the opportunity will be taken to review and update the table on a regular basis. |
|  | **Next steps /AOB.**  The next meeting was scheduled for 5th October. |

## Action Item Log

### Action items:

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ID | Description | Owner | Due | Status | Date |
| 1 | E&R UPDATE (Article 4.2d: Check on approved Terms and Conditions with OFGEM and feedback to Work Group | TONY |  | OPEN |  |
| 2 | SYSTEM DEFENCE PLAN AND SYSTEM RESTORATION PLAN: Circulate document on System Defence Plan to Work Group | TONY |  | OPEN |  |
| 3 | CONTROL TELEPHONY STANDARD: Work Group members to review document and come back on it in the next meeting | ALL WG MEMBERS |  | OPEN |  |
| 4 | **DISTRIBUTED RESTART:** Circulate the following documents to Work Group  **(**a) Functional specification for operational telecoms including resilience requirements  (b) Information on the Distributed ReStart Controller | HANNAH |  | OPEN |  |
| 5 | **ARTICLE 40(E&R) Paragraphs 2d,2e (1,2,3).** How are these discharged in terms of the Distributed Restart Work and GC0148? | TONY |  | OPEN |  |
| 6 | **E&R Notification:** What is ESO doing to notify SGU’s on E&R currently? | TONY |  | OPEN |  |