## Slide 1: Emergency and Restoration Code – Phase II Workgroup 5 – GC0148 5 November 2021

## Slide 2: Agenda
Review of Actions from the previous Meeting and general update
System Defence, System Restoration and Test Plans
  Comments received from workgroup and Next Steps
Notification Letter
Control Telephony Standard
  Comments received from Workgroup
  Virtual Control Point
Distributed Re-Start
  Review of Legal Text
Behaviour of Storage Plant during low System Frequencies
Next steps Updates
AOB

## Slide 3: Actions
See Actions and Minutes following last meeting held on 5th October
  Garth Graham to send a note to Ian Ascroft regarding his view on the word ‘approved’ in relation to the T&C in order to include this in the workgroup report.
  ESO to remove the word ‘approved’ in slides and actions relating to mapping – This clarification will be addressed in the Workgroup Report – see also next slide
  ESO to take on feedback provided in the meeting regarding the format of the System Defense and System Restoration plans and make the proposed changes. – See later slides
  ESO to pull out what changes would need to be made to the System Defence and System Restoration plans specifically for GC0148 ready for consultation – See later slides – See later slides
  Comments from the Workgroup about the notification letter, to be sent to the Grid Code dotbox account by 22 October at the latest. (Grid.code@nationalgrideso.com) – see later slides
  See also ongoing actions (Ref Copy of Action Tracker - GC0148_AJ051121)

## Slide 4: Actions – Correction of word “approved” from Slides presented on 5th October 2021
See Actions and Minutes following last meeting held on 18th August
  Check on approved Terms and Conditions with OFGEM and feedback to Work Group
  Circulate document on System Defence Plan and System Restoration Plan and Test Plan to Work Group – Completed – see later slides and documents circulated in advance of meeting
  Control Telephony Standard – Comments from Workgroup sought. Some internal ESO Comments received highlighted in Slide Pack
  Circulate the following Distributed Re-Start documents (Completed)
(a) Functional specification for operational telecoms including resilience requirements
(b) Information on the Distributed ReStart Controller
  Article 40(E&R) Paragraphs 2d,2e (1,2,3). How are these discharged in terms of the Distributed Restart Work and GC0148? (Ongoing)
  E&R Notification: What is ESO doing to notify SGU’s on E&R currently? – Updated draft letter prepared and circulated in advance of the meeting.
  See also ongoing actions (Ref Copy of Action Tracker - GC0148_AJ051021)

## Slide 5: System Defence Plan (Issue 4)
Comments received from Workgroup
  Mike Kay – P2Analysis
  Alan Creighton – Northern Power Grid
  Garth Graham – Comment noted at previous meeting on Formatting
High level comments
  Improve Formatting / consistency / clarification
  Correction of known errors
  Include GC0148 changes in addition to changes since 2019 (eg Non-CUSC Parties caught under E&R, treatment of Storage and Embedded Generation who are not CUSC)
  Consider consideration of Critical Tools and Facilities as an obligation in the Grid Code as part of the GC0148 solution.
  Suggest reference to Statutory Instruments is further explained and are any obligations not retained in GB law.
  Include references to the notification process
  Low Frequency Demand Disconnection – should this be updated to cover Total System Demand rather than the split between England / Wales and Scotland
  Clarification to be added to confirm the volume of demand relieve available that can be achieved through voltage reductions
  Checks to ensure if any changes need to be made in the System Defence Plan with regards to Grid Code Modification GC0109 regarding System Warnings as introduced under OC7
  Include references to OC6B – Implementation of Grid Code Modification GC0147
  Ensure any code changes are implemented into the industry codes as necessary and that the SDP does not impose new obligations on parties outside of the Codes.
  Review change / version control process
  Referencing and structure
  Definitions
  Treatment of IDNO’s
  Ensure document is future proof
  Typographical errors / grammar

## Slide 6: System Restoration Plan (Issue 4)
Comments received from Workgroup
  Mike Kay – P2Analysis
  Alan Creighton – Northern Power Grid
  Garth Graham – Comment noted at previous meeting on Formatting
High level comments
  Improve Formatting / consistency / clarification
  Deletion of historical references where these are not necessary
  Suggest reference to Statutory Instruments is further explained and are any obligations not retained in GB law.
  Update System Restoration Plan to include Distributed Energy Resources and Distributed Re-Start arrangements
  Clarification of the Frequency Leader role in a Distributed Re-Start situation
  Review and update Re-energisation procedure to include Distributed Re-Start and Distributed Energy Resources
  Consider consideration of Critical Tools and Facilities as an obligation in the Grid Code as part of the GC0148 solution.
  Ensure any code changes are implemented into the industry codes as necessary and that the SDP does not impose new obligations on parties outside of the Codes.
  Consideration of critical substations for Restoration and the impact on DNO’s. A view was expressed that these together with the Restoration Plan in Appendix C should be visible to ensure the DNO’s have the same interpretation as the ESO
  Reference should be made to GB documents not EU documents (eg SOGL)
  Change / version control
  Typographical errors / grammar

## Slide 7: Test Plan (Issue 2)
Comments received from Workgroup
  Mike Kay – P2Analysis
  Alan Creighton – Northern Power Grid
  Garth Graham – Comment noted at previous meeting on Formatting
High level comments
  Improve Formatting / consistency / clarification
  Further clarification sought around testing and the obligations they have to meet. In particular any obligations should be explicitly defined in the Grid Code / Industry Codes rather than the Test Plan and the level of detail required.
  Suggest reference to Statutory Instruments is further explained and are any obligations not retained in GB law.
  Update Test Plan to include Distributed Re-Start
  Clarification to the term TSO and how this should be interpreted in GB
  Clarification to terms used and frequency of testing
  Monitoring of low frequency demand disconnection and ensuring the obligations under the Grid Code are sufficient to meet the requirements of E&R
  Adequate testing for Critical Tools and facilities
  Sight of the risk matrix associated with plant, tools, equipment that need testing & how often
  Treatment of Non-CUSC Parties and how obligations would be placed on them (eg Distribution Code?)
  Clarity required around the Assurance framework
  Change / version control
  Typographical errors / grammar

## Slide 8: Notification Letter
Two comments have been received from the Workgroup since the last meeting
  Mike Kay - P2Analysis
  Alan Creighton – Northern Power Grid
Re-write and restructure to remove historical context which is not necessary
Simplify letter
Remove historic references
Effect of GC0148 changes and impact on Non-CUSC Parties caught by E&R Code – Is there a timing issue here?

## Slide 9: Control Telephony Standard
Other than the comments presented at the last meeting by National Grid ESO and NGET only two additional comments have been received.
  Mike Kay - P2Analysis
  Alan Creighton – Northern Power Grid
  Improve Formatting / consistency / clarification / definitions
  Definitions, improve clarity in some parts of the text
  Clarify aim of the document and include GC0148 updates, Distributed Re-Start and Restoration Service Providers
  Consider wider implications in Scotland
  Clarification required on Network Congestion
  Update definitions of PSTN / PSTN replacement and linkage with Grid Code modification GC0134
  Clarity required on the number of Control (Green) Telephones
  Removal of the term “Green Phone”
  Distinction between Control Telephony and Electronic Communications facilities such as EDL and API
  Application to User’s – Network Operators and Non-Embedded Customers appear to
  be singled out

## Slide 10: Control Telephony
Introduction of a Virtual Control Point
In concept this would have the same levels of robustness and reliability as a physical Control Point but would enable providers greater flexibility in how they manage this requirement going forward
It would enable a number of options (not necessarily limited to)
  The option to still have a physical Control Point
  The ability to transfer between physical Control Points
  The ability to opportunity to contract the service out to other providers on a full time or part time basis
  A virtual Control Point where ENCC can contact the appropriate User’s Responsible Engineer / Operator (irrespective of their location) so long as that User can carry out ENCC’s instructions to the same level of reliability and robustness as would be expected from a physically located Control Point such as at a thermal Power Station

## Slide 11: Distributed Re-Start
The Grid Code, Distribution Code and G99 drafting for Distributed Re-Start has been prepared and circulated with this slide pack for consideration by the Workgroup.
Comments on the drafting are sought by the Workgroup
A detailed report on Distributed Re-Start is due to be issued later in the year which will be issued by the Distributed Re-Start Project team
  This will also include the high level approaches used in the development of the drafting
Drafting on the System Operator Transmission Owner Code (STC) is well advanced and this will be presented to the STC Panel we anticipate in December time.

## Slide 12: GC0148 – Treatment of Storage Art 15(3)
Aims to build on the approach of GC0096 and findings of the European Expert Storage Group
Ensure consistency with Distribution Code Consultation DCRP/20/06 proposed requirements for Storage in G98 and G99 including the performance under low system frequencies which already includes the European Expert Storage Group findings
Would not be retrospective
EU Emergency and Restoration Code (Art 2(2)(5)) only applies to Energy Storage Units of an SGU, Defence Service Provider or Restoration Service Provider
Some consideration needs to be given to repeated response (similar to ECC.A.3.5 for frequency response) and the performance of the storage plant upon recovery of System Frequency
  ECC.A.3.5 Repeatability Of Response When a Power Generating Module or CCGT Module or Power Park Module or HVDC Equipment has responded to a significant Frequency disturbance, its response capability must be fully restored as soon as technically possible. Full response capability should be restored no later than 20 minutes after the initial change of System Frequency arising from the Frequency disturbance.
  The performance requirements following a system frequency fall need further consideration – see next slide
  The legal drafting will take these issues into account

## Slide 13: Treatment of Storage during Low System Frequencies (European Expert Group)

## Slide 14: Distribution Code Consultation (DCRP/20/06/PC DCode Storage Modification)

## Slide 15: Distribution Code Storage Consultation – Performance following low frequencies

## Slide 16: Next Steps
Progress outstanding actions in particular
  Treatment of netted demand under LFDD, legal interpretation and interaction with DNO’s – E-Mail sent to Carl Henshaw to understand latest DNO thinking.
  Legal interpretation of way forward still under consideration
  Progress comments on System Defence Plan, System Restoration Plan and Test Plan though it is noted only two comments have been received from the Workgroup
  Storage – Legal Text – Under development