CUSC - EXHIBIT U

THE CONNECTION AND USE OF SYSTEM CODE

REQUEST FOR A STATEMENT OF WORKS

USER THAT OWNS OR OPERATES A DISTRIBUTION SYSTEM

PLEASE STUDY THE FOLLOWING NOTES BEFORE COMPLETING AND SIGNING THIS APPLICATION FORM.

## The Company requires the information requested in this application form for the purposes of assessing the impact of a Relevant Embedded Medium Power Station or a Relevant Embedded Small Power Station upon the National Electricity Transmission System.  It is essential that the User submitting this Request for a Statement of Works should supply all information requested in this application form and that every effort should be made to ensure that such information should be accurate. Please note certain information provided in this application may be used in accordance with Paragraph 6.35

- .

## Please note that certain expressions which are used in this application form are defined in the Interpretation and Definitions (contained in Section 11 of the CUSC) and when this occurs the expressions have capital letters at the beginning of each word and are in bold.

## Should The Company consider that any information provided is incomplete or unclear or should The Company require further information in order that it may assess the impact of a Relevant Embedded Medium Power Station or a Relevant Embedded Small Power Station upon the National Electricity Transmission System, the User submitting this Request for a Statement of Works will be requested to provide further information or clarification.

## Should there be any change in any information provided by the User submitting this Request for a Statement of Works after it has been submitted to The Company, the User submitting this Request for a Statement of Works must immediately inform The Company of such a change.

## The Company shall charge the User submitting this Request for a Statement of Works, and the User submitting this Request for a Statement of Works shall pay to The Company, The Company’s Engineering Charges in relation to the assessment.  An advance will be charged by The Company in accordance with the Charging Statements.  No Request for a Statement of Works will be considered until such advance has been paid.  The balance of The Company Engineering Charges shall be notified and invoiced by The Company to the User submitting this Request for a Statement of Works together with a breakdown of such charges and the User submitting this Request for a Statement of Works shall pay the same within 28 days of the date of The Company’s invoice.  In the event that the advance and any other payments exceed the appropriate The Company Engineering Charges the excess shall be repaid forthwith to the User submitting this Request for a Statement of Works.

## The effective date upon which the application is made shall be the later of the date when The Company has received the advance application fee pursuant to Paragraph 5 above or the date when The Company is reasonably satisfied that the User submitting this Request for a Statement of Works has completed Sections A-D. The Company shall notify the User submitting this Request for a Statement of Works of such date.

## The Company will assess the Request for the Statement of Works in accordance with the terms of Paragraph 6.5.5 (Statement of Works) and (where applicable) Paragraph 6.9 (Modifications) and Paragraph 6.10 (Modifications and New Connection Sites) of the CUSC and the Transmission Licence.

## The Company will assess the Request for a Statement of Works as soon as is reasonably practicable and, in any event, will respond to the User with a  Statement of Works in accordance with Paragraph 6.5.5.3 within 28 days of the effective date of the application or such later period as the Authority agrees to.

## In the course of processing your Request for a Statement of Works, it may be necessary for The Company to consult the appropriate Distribution System Operator(s) on matters of technical compatibility of the National Electricity Transmission System with their Distribution System(s) or to consult the Relevant  Transmission Licensees to establish the works required on the National Electricity Transmission System.  On grounds of commercial confidentiality The Company shall need your authorisation to the release to the Distribution System Operator(s) or the Relevant Transmission Licensees of certain information contained in your application.  Any costs incurred by The Company in consulting the Distribution System Operator(s) or Relevant Transmission Licensees would be included in the The Company Charges for the application.  If it is found by the Distribution System Operator(s) that any work is required on their Distribution System(s), then it will be for the Distribution System Operator(s) and the User submitting this Request for a Statement of Works to reach agreement in accordance with Paragraph 6.10.3 of the CUSC.

## If the User submitting this Request for a Statement of Works is not already a CUSC Party the User submitting this Request for a Statement of Works will be required as part of this application form to undertake that they will comply with the provisions of the Grid Code for the time being in force. Copies of the Grid Code and the CUSC are available on the The Company website and the User submitting this Request for a Statement of Works is advised to study them carefully. Further copies are available on payment of The Company's copying charge, postage and packing. Data submitted pursuant to this application shall be deemed submitted pursuant to the Grid Code.

## Any Modification Offer following the signed completion of a Confirmation of Project Progression will be based to the extent appropriate upon its standard form terms for a Modification Offer and the Charging Statements.

12	Where the Applicant completes and signs a Confirmation of Project Progression following the Statement of Works, the Applicant has the ability to choose whether they wish to apply on a fixed price or variable price application fee basis.  Fixed price application fee is derived from analysis of historical costs of similar applications.  Variable price application fee is based on an advance of the Transmission Licensee’s Engineering and out of pocket expenses and will vary according to the size of the scheme and the amount of work involved.  Applicants are requested to indicate their preferred basis in the Confirmation of Project Progression.  Applicants are advised that further information (including circumstances when the application fee may be refunded under the Statement of Use of System Charging Methodology) can be obtained from the Charging Statements which can be found on the Website.  If Applicants require further assistance they are recommended to contact The Company’s Headquarters’, where our staff will be pleased to help.

## Please complete this application form in black print and return it duly signed to CUSC Panel Secretary, contact details on the Website.

For the most up to date contact details Users submitting this Request for a Statement of Works are advised to review the The Company website.

| A. DETAILS OF USER SUBMITTING THIS REQUEST FOR A STATEMENT OF WORKS |  |
| --- | --- |
| 1. Name: | …................................................................................. |
|  | …................................................................................. |
| 2. Address: | …................................................................................. |
|  | …................................................................................. |
|  | …................................................................................. |
|  | …................................................................................. |
| 3. Registered Office/Address (including e-mail address for CUSC notices and Registration Number): | …................................................................................. …................................................................................. …................................................................................. …................................................................................. …................................................................................. …................................................................................. …................................................................................. …................................................................................. |
| 4. Name, title and address of contacts for the purposes of this application, giving description of the field of responsibility of each person: |  |
| …............................................................................................................................... |  |
| …............................................................................................................................... |  |
| …............................................................................................................................... |  |
| 5 If User submitting this Request for a Statement of Works is an agent, please give name(s) and address(es) of person(s) for whom the User submitting this Request for a Statement of Works is acting: |  |
| …............................................................................................................................... |  |
| …............................................................................................................................... |  |
| …............................................................................................................................... |  |

B THE PROPOSED POINT OF CONNECTION TO A DISTRIBUTION SYSTEM

1. Please identify (preferably by reference to an extract from Ordnance Survey Map) the intended location of the Plant and Apparatus (the "User Development") which it is desired should be connected to the Distribution System.

..................................................................................................................................

..................................................................................................................................

..................................................................................................................................

2. Please identify the intended Grid Supply Point through which that part of the User’s Distribution System to which the Relevant Embedded Medium Power Station or Relevant Embedded Small Power Station is connected, connects to the National Electricity Transmission System.

..................................................................................................................................

..................................................................................................................................

..................................................................................................................................

C TECHNICAL INFORMATION

Please provide the Data listed in Part 1 of the Appendix to the Planning Code in respect of the relevant Distribution System and the Embedded Power Station to the extent that the data will change from previously submitted Committed Project Planning Data or Connected Planning Data. Note: the Data concerned form part of the Planning Code and Data Registration Code. User submitting this Request for a Statement of Works should refer to these sections of the Grid Code for an explanation.

D PROGRAMME

Please provide the anticipated date when the Embedded Power Station(s) will have its connection Energised and/or commence use of the Distribution System

# REQUEST FOR A STATEMENT OF WORKS

Please study the notes before completing and signing this application form.

## We hereby submit a Request for a Statement of Works in respect of [……….] Embedded Power Station that is connecting to and/or using [……..]Distribution System.

## We will promptly inform The Company of any change in the information given in this Request for a Statement of Works as quickly as practicable after becoming aware of any such change.

## If we are not already a CUSC Party we undertake for the purposes of this application to be bound by the terms of the Grid Code from time to time in force and to sign a CUSC Accession Agreement.

## We authorise the release of certain information, on the grounds of commercial confidentiality, to the appropriate operators of Distribution System’s or Relevant Transmission Licensees should it be considered necessary.

## We confirm that we do/do not meet the Approved Credit Rating and The Company Credit Rating.

## We confirm that we are applying in the category of Distribution System directly connected to the National Electricity Transmission System.

Signed:

.........................................................................
For and on behalf of the Applicant

Date:.......................................................................

END OF EXHIBIT S