## Slide 1: Wednesday 29 June 2022
STC Panel

## Slide 2
WELCOME

## Slide 3
Introductions & Apologies for absence
Apologies
  Sally Musaka – Chair, Code Administrator(NGESO)
Alternates
  Terry Baldwin
Presenters
  Paul Mullen – Chair, Code Administrator(NGESO)
  Richard Woodward
  Rob Wilson
  Terry Baldwin
Observers
  None

## Slide 4
Approval of Panel Minutes
Approval of Panel Minutes from the Meeting held 25 May 2022

## Slide 5
Actions Log
Review of the actions log

## Slide 6
Authority Decisions
Decisions Received since last Panel meeting
None
Decisions Pending
CM078

## Slide 7
New modifications submitted
CM083 - “Workgroup Quoracy Improvements”
CM084 - “Clarify STCP Modification Determination approach for Cross Code changes”
PM0126 – “Transmission Impact Assessment Process”

## Slide 8: CM083: Workgroup Quoracy Improvements
Richard Woodward
  June 2022

## Slide 9: Defect summary
Provide STC Panel and Code Admin an improved route to quickly convene modification workgroups via a more proportionate quoracy criteria.
Background
There have been recent examples of STC modification workgroups unable to be convened due to an overly-specific quoracy requirement - a rep from NGESO, plus a rep from both Onshore TO (ONTO) and Offshore TO (OFTO) entities.
One route to resolve this was to seek (compel) workgroup nominations from STC parties not impacted by a change. This would have been inefficient for representatives of those entities.
The governance arrangements perhaps underestimate the specific nature of most STC modifications, and/or the limited wider impact beyond an applicable sub-set of STC parties.

## Slide 10: Proposed solution
Amend the governance rules so that Panel can agree to STC modification workgroups consisting of three or more STC parties, where:
One member must be a representative of NGESO;
Two members must still be a representative of other STC parties (e.g. ONTOs/OFTOs) but with no specific requirement on those being both ONTO and OFTO - so long as the two representatives are not from ‘affiliated’ organisations.
Prompt panel to consider whether a convening a workgroup via this approach could lead to sub-optimal outcomes, so it can be mitigated proactively.

## Slide 11: Timeline for CM083 – Proposed Timeline – Code Administrator Consultation
Milestone | Date
Modification presented to Panel | 29 June 2022
Code Administrator Consultation (20 working days as Summer) | 06 July 2022 to 03 August 2022
Draft Self Governance Modification Report issued to Panel (5 working days) | 23 August 2022
Panel undertake Draft Self Governance Modification Report determination vote | 31 August 2022
Final Self Governance Modification Report issued to Panel to check votes recorded correctly | 02 September 2022
Appeals Window (15 working days) | 12 September 2022 to 03 October 2022
Implementation Date | 10 October 2022

## Slide 12: CM083 – the asks of Panel
AGREE that this Modification meets the Self-Governance Criteria (Panel decision) rather than Standard Governance (Ofgem decision)
AGREE that this Modification should proceed to Code Administrator Consultation
NOTE the proposed timeline

## Slide 13: CM084: Clarify STCP Modification approach for Cross Code changes
Richard Woodward
  June 2022

## Slide 14: Defect summary
Clarify the governance arrangements for STC Procedure (STCP) modifications associated to cross-code modifications; ensuring STCP mods are proactively developed and sufficiently considered by Panel/Ofgem if they have material impact.
Background
The number of consequential STCP changes needed to facilitate cross-codes mods continues to increase. These mods are typically commercial in nature, often requiring complex and impactful changes to STCPs.
There are even recent examples* where a cross-code change has minimal impact on a ‘primary’ code, with the key detail to facilitate a package of reform actually residing in the STCPs.
In the experience of the proposer, these STCP changes are too often initiated only after the cross-code change work is complete, potentially understating the wider impact of a mod.
Furthermore, as the STC Panel has the determination role for STCP changes, there is a risk that these are perceived to be low-impact or low-importance to Ofgem’s determination of a wider package of cross-code changes - when in fact the opposite is more likely.

## Slide 15: Examples of cross-code mods with STCP impacts
CUSC
CMP286/7 (TNUoS Tariff Setting) [PRIMARY IMPACT IN STCPs]
CMP298 (Transmission Impact Assessment) [PRIMARY IMPACT IN STCPs]
CMP315/CMP375 (Expansion Constant reform) [PRIMARY IMPACT IN STCPs]
CMP328 (Distribution Impact Assessment) [PRIMARY IMPACT IN STCPs]
CMP330/374 (Extending Contestability)
CMP376 (Queue Management)
CMP385 (Securities improvements)
Grid Code
GC0117 (Harmonisation of generator compliance levels)
GC0138 (Compliance process technical improvements)
GC0139 (Enhanced Planning Data submission)

## Slide 16: Proposed solution
Clarify/enhance STC governance processes for ‘consequential’ STCP modifications:
    To ensure these types of changes are identified proactively and that they are impact-assessed as early as possible.
    To promote STCP mod development much more in tandem with the cross-code work.
    To confirm whether Panel or Ofgem are better placed to make the ultimate determination on these changes (especially where they are ‘material’).
    Regardless of who makes the determination on STCP mods, to provide Ofgem adequate assessment of their impact prior to any determination of a package of cross-code changes.

## Slide 17: Timeline for CM084 – Proposed Timeline - Workgroup
Milestone | Date | Milestone | Date
Modification presented to Panel | 29 June 2022 | Code Administrator Consultation (15 working days) | 28 October 2022 to 18 November 2022
Workgroup Nominations (15 Clear working days) | 04 July 2022 to 25 July 2022 | Draft Final Modification Report (DFMR) issued to Panel (5 working days) | 22 November 2022
Workgroup Meeting 1(understand Proposal(possible alternative), review Terms of Reference, draft consultation questions) | 03 August 2022 | Panel undertake DFMR recommendation vote | 30 November 2022
Workgroup Meeting 2( Legal text, finalise consultation questions) | 12 August 2022 | Final Modification Report issued to Panel to check votes recorded correctly(5 working days) | 2 December 2022
Workgroup Consultation (15 working days) | 18 August 2022 to 09 September 2022 | Final Modification Report issued to Ofgem | 12 December 2022
Workgroup Meeting 3 ( review consultation responses, finalise solutions and legal text, Review Terms of Reference has been met and hold Vote) | 26 September 2022 | Implementation Date 10 working days after Authority’s decision | TBC
Workgroup report issued to Panel (5 working days) | 18 October 2022 |  | 
Workgroup Report Presented to Panel | 26 October 2022 |  | 

## Slide 18: CM084 – the asks of Panel
AGREE that this Modification should follow Standard Governance (Ofgem decision) rather than the Self-Governance Criteria (Panel decision)
AGREE that this Modification should proceed to Workgroup
AGREE Workgroup Terms of Reference
NOTE the proposed timeline

## Slide 19
PM0126(CMP298)
Transmission Impact Assessment Process
Terry Baldwin
Notes:   jjjj

## Slide 20
Draft Final Modification Report
CM080: Transmission Impact Assessment Process in relation to CMP298
Paul Mullen
Notes:   jjjj

## Slide 21: Code Administrator Consultation Responses
Summary of Code Administrator Consultation Responses :
Code Administrator Consultation was run from 28 April 2022 to 20 May 2022 and received 2 responses. Key points were:
National Grid ESO, supports the implementation approach. This proposal promotes efficiency by mitigating the need for having to apply for multiple ‘Statement of Works Request’ for smaller connections.
The STCP18-4 summary currently describes the process of how TO(s) respond to the NGESO request for Statement of Works as a result of a User applying to NGESO for a Request for a Statement of Works. Once CM080 is approved, it will be necessary to establish and describe a similar process for Transmission Impact Assessments which works in a similar way.
NGET, does not support the proposed implementation approach. The changes to STCP18-4 have not been concluded so it is not appropriate to set out timings of the implementation. Also, CM080 (only has changes made to section D, has being consulted upon) has no content to indicate the likely impact of the proposal on TOs.
No legal text issues identified but a suggestion was made to remove Legal Text in 4.3.2 (MVA) and 4.3.3 (MVAr) as this was superfluous.

## Slide 22: CM080 Next Steps (Standard Governance)
Milestone | Date
Draft Final Modification Report presented to Panel | 29 June 2022
Final Modification Report issued to Panel to check votes recorded correctly (5 working days) | 01 July 2022
Submission of Final Modification Report to Ofgem | 11 July 2022
Ofgem decision date | TBC
Implementation Date | 10 Working days after Authority’s decision on CMP298

## Slide 23: CM080 - the asks of Panel
VOTE whether or not to recommend implementation
  Does the CM080 Original proposal better facilitate the objectives than the current STC arrangements?
NOTE next steps

## Slide 24
Draft modification to be discussed
Clarify OFTO reactive power requirements at <20% output

## Slide 25
Draft STC change:
To clarify OFTO reactive power requirements at <20% output
Rob Wilson
STC Panel
29th June 2022

## Slide 26: PPM Operating Envelope - Grid Code Obligations
This diagram sets out the expected operating envelope for a power park module in terms of its reactive range at varying active power outputs
It is expressed as a maximum requirement (the thick black line) down to 20% of active power output. Further details are in the text (ECC6.3.2.4.4) which accompanies the diagram
The two shaded areas are not within the expected requirement for PPMs and there is not a reactive requirement below 20% output for PPMs
The shaded area of the diagram below 20% active power output is only a consideration for offshore projects as part of their OFTO transfer process.
NB Note that this diagram in the ECC section applies to more recent generators, generally those commissioned after April 2019, and to whom the Requirements for Generators European Network Code (as retained in GB law) applies. There is a similar diagram in the CC section (CC6.3.2(c)) which applies to older generators and may be easier to follow with more footnotes.

## Slide 27: OFTO Reactive Power Requirements Below 20% Output
Generally as a transmission licensee OFTOs are required to comply with the provisions of the SQSS regarding voltages (SQSS Chapter 10 – Voltage Limits in Planning and Operating an Offshore Transmission System
Reactive capability and voltage control requirements are also set out in the STC Section K
STC Section K Annex 1: (applies to pre-RfG equipment)
2.4 When transferring Active Power equivalent to less than 20% of the Interface Point Capacity:
2.4.1 the automatic control system may continue to provide voltage control utilising any available reactive capability;
2.4.2 If voltage control is not being provided:
(a) the automatic control system shall be designed to be capable of a smooth transition between the shaded area bounded by CD and the non-shaded area bound by AB in Figure K1 below; and
(b) the Reactive Power delivered at the Interface Point shall be within a range of +/-5% of the Interface Point Capacity expressed in MVar.

## Slide 28: OFTO Reactive Power Requirements (continue)
STC Section K Annex 2: (applies to post-RfG equipment)
1.3.2 The Reactive Capability requirements at the Interface Point applicable to Offshore Transmission Licensees are the same as EU Generators undertaking OTSDUW Build as defined in ECC.6.3.2.4. The Reactive Power capability that an Offshore Transmission System must be able to provide at the Interface Point may be delivered using a combination of Plant owned by the Offshore Transmission Owner concerned and Plant owned by a Generator or Generators connected to that Offshore Transmission System. Where Generator Plant is out of service, the Reactive Power capability requirements will be reduced pro-rata to the maximum Active Power capability of Generator Plant in service.
Generally section K annex 2 refers back to the requirements of the ECC section of the Grid Code. The relevant Grid Code clause applying to Type C and Type D Onshore Power Park Module, Onshore HVDC Converter and OTSDUW Plant and Apparatus is as follows:
ECC.6.3.8.4.1
…When operating below 20% Maximum Capacity the automatic control system may continue to provide voltage control using any available reactive capability. If voltage control is not being provided, the automatic control system shall be designed to ensure a smooth transition between the shaded area below 20% of Active Power output and the non-shaded area above 20% of Active Power output

## Slide 29: What does this mean?
OFTOs are generally required to fulfil SQSS voltage obligations
Reactive requirements for OFTOs stem from the Grid Code
Below 20% output, OFTOs may continue to provide voltage control utilising any available reactive capability but this is not a definitive obligation

## Slide 30: Proposed Modification
To always have access to any reactive capability regardless of offshore generator output would be operationally useful to the ESO
It is proposed to amend the STC section K to clarify this as follows: (additional text in red)
Annex 1
2.4 When transferring Active Power equivalent to less than 20% of the Interface Point Capacity:
2.4.1 the automatic control system may shall continue to provide voltage control utilising any available reactive capability and, if applicable, as instructed by The Company;
Annex 2
1.3.2.1 When transferring Active Power equivalent to less than 20% of the Interface Point Capacity:
1.3.2.2 the automatic control system shall continue to provide voltage control utilising any available reactive capability and, if applicable, as instructed by The Company;

## Slide 31
Potential Future Modifications and impacts of other modifications
Modification Trackers – Paul Mullen
Authority Update (SCRs/Energy Code Review) – Nadir Hafeez

## Slide 32
Joint Planning Committee (JPC) – Keith Jones
Next meeting: 25 July 2022
Network Access Policy Workgroup (NAP) – NGET
Next meeting: TBC
Reports from Sub-Committees

## Slide 33
AOB
None

## Slide 34
Date of next meeting
Wednesday 27 July 2022
Panel Papers Day – 19 July 2022
Modification Submission date – 12 July 2022

## Slide 35
Close