STCP 04-2 Issue 006 Real Time Datalink Management

#### STC Procedure Document Authorisation

| Company | Name of Party Representative | Signature | Date |
| --- | --- | --- | --- |
| National Grid Electricity System Operator Ltd |  |  |  |
| National Grid Electricity Transmission plc |  |  |  |
| SP Transmission plc |  |  |  |
| Scottish Hydro Electric Transmission plc |  |  |  |
| Competitively Appointed Transmission Owners |  |  |  |
| Offshore Transmission Owners |  |  |  |

STC Procedure Change Control History

| Issue 001 | 21/12/2004 | BETTA Go-Live Version |
| --- | --- | --- |
| Issue 002 | 20/04/2005 | Issue 002 incorporating STCPAP003 |
| Issue 003 | 25/10/2005 | Issue 003 incorporating PA034 & PA037 |
| Issue 004 | 12/11/2009 | Issue 004 incorporating changes for Offshore Transmission |
| Issue 005 | 26/02/2014 | Issue 005 incorporating PM076 |
| Issue 006 | 01/04/2019 | Issue 006 incorporating National Grid Legal Separation changes |

# 1.	Introduction

## Scope

### The provision of a resilient Datalink is essential for the continuous transmission of real time data from the TO to NGESO to enable NGESO to have an overview of the TO’s Transmission System. This document details the responsibilities and obligations on NGESO and the TO with regard to the management and support of the Datalink.

### This document applies to NGESO and each TO.

### for the purposes of this STCP, TOs are:

- NGET;

- SPT;

- SHE-T; and

- All Offshore Transmission Licence holders as appointed by OFGEM

- All Competitively Appointed Transmission Licence holders as appointed by OFGEM

In the event that specific conditions or exceptions are made in the document relating to an Onshore TO or Offshore TO these will be prefixed appropriately

## Objectives

### This process specifies the responsibilities and obligations on NGESO and the TOs in relation to the Datalink, including:

- infrastructure ownership boundaries;

- management in real time; and

- change management.

# Key Definitions

## For the purposes of STCP04-2:

### Onshore Datalink means the infrastructure that enables the transfer of real time SCADA data from the relevant Onshore TO to NGESO, as defined in Appendix B for Onshore Transmission Systems and Appendix D for Offshore Transmission Systems.

# Procedure

## Datalink Provisions

### The diagrams in Appendix C and Appendix E illustrates the ownership and support boundaries of the infrastructure associated with the real-time Datalink for Onshore and Offshore Transmission Systems respectively .

### Any changes to the configuration of the infrastructure illustrated in Appendices C and E  shall be agreed between NGESO and the relevant TO prior to implementation.

### Each TO shall provide a resilient Datalink to interface with the NGESO Datalink, in line with Good Industry Practice.

### The specification of the TO Datalink infrastructure, its level of resiliency, supporting services and facilities shall be included in that TO’s Services Capability Specification.

### NGESO shall provide a resilient Datalink to interface with each TO’s Datalink, in line with Good Industry Practice.

## Alarm & Fault Management of the Datalink

### When a TO receives a Datalink alarm or is made aware of a fault that affects Datalink equipment at a TO site, the relevant TO shall notify NGESO of such alarm or fault.

### Where the alarm or fault is on the TO Datalink, the TO shall report any Service Reduction or Service Reduction Risk in accordance with STCP 2-1 Alarm and Event Management.

### Where NGESO is in receipt of an alarm, or is made aware of a fault that affects the TO Datalink NGESO shall notify the relevant TO of the alarm or fault in accordance with STCP 2-1 (Alarm and Event Management).

### Where the TO owns the equipment associated with the alarm of fault, it shall arrange, through communication with NGESO, for resolution in line with the standing Service Restoration Proposal.

### Where NGESO is in receipt of an alarm, or is made aware of a fault that affects the NGESO Datalink, they shall notify the relevant TO as soon as reasonably practicable and arrange for resolution in line with agreed support arrangements.

## Change Management

### Change management shall be carried out in line with STCP 4-1 (Real Time Data Change Management).

## Outage Co-ordination

### NGESO shall notify the TO of any proposed outage on the NGESO Datalink.

### The TO shall notify NGESO of any proposed outages on the TO Datalink. The TO shall advise NGESO on the works duration, content, its impact on the operation of the Datalink, and any other measures to mitigate the effect of the outage.

### NGESO or the relevant TO shall provide the other party with sufficient notice of a planned outage on any element of the Datalink, or data communication systems, where it may affect the resiliency of its operation.

## Site Access and Support Arrangements

### Site access and support arrangements between NGESO and the relevant TO shall allow NGESO access to the NGESO Datalink at TO sites for service restoration.

### The TO shall ensure that there are support arrangements with associated levels of service to enable restoration or maintenance of the TO Datalink as part of the standing TO Service Restoration Proposal. NGESO shall ensure that there are equivalent support arrangements with associated levels of service to enable restoration or maintenance of the NGESO Datalink.

### Where User consent for access is required, NGESO shall procure all necessary User consents.

## Datalink Reporting

### Failures of the Datalink may be assessed and reported in line with STCP 3-1 (Post Event Analysis and Reporting) and may include the following:

- Faults on the TO Datalink that causes loss of integrity or resiliency of the Datalink

- Faults on the NGESO Datalink that causes loss of integrity or resiliency of the Datalink

## Appendix A: Flow Chart

Note that the Process Diagrams shown in this Appendix A are for information only.  In the event of any contradiction between the process represented in this Appendix and the process described elsewhere in this STCP, then the text elsewhere in this STCP shall prevail.

Appendix B Onshore Datalink

This Appendix has been removed from this version of the STCP on the grounds of Confidentiality, in accordance with the decision taken by the STC Committee in February 2005.

For further information please email STC.Team@uk.ngrid.com

## Appendix C

This Appendix has been removed from this version of the STCP on the grounds of Confidentiality, in accordance with the decision taken by the STC Committee in February 2005.

For further information please email STC.Team@uk.ngrid.com

Appendix D

## Offshore Datalink

## The OFTO will provide a data acquisition system to collect and deliver real time indications, alarms and analogues from the offshore transmission system and Users of the Offshore Transmission System.

## The interface between the OFTO datalink and the NETSO i.e. the telecontrol communication interface will be located at an onshore location as agreed between NGESO and the OFTO.

## The functional specification for telecontol communication interface between the SCADA system and the NETSO energy management system is described in STCP 4-6.

## Appendix E: Offshore Datalink Ownership and Support Boundaries

Note that in the diagram above a protocol converter may not be required in all cases.

Appendix F: Abbreviations & Definitions

- Abbreviations

SPT	SP Transmission plc

SHE-T	Scottish Hydro Electric Transmission plc

TO	Transmission Owner

OFTO	Offshore Transmission Owner

CATO	Competitively Appointed Transmission Owner

## Definitions

STC definitions used:

Apparatus

Good Industry Practice

NGET

NGESO

Plant Services Capability Specification

Services Restoration Proposal

Services Reduction

Services Reduction Risk

Transmission System

User