## Slide 1
GC0154
Including IC ramping into the GC Workgroup 12 LT June 2023

## Slide 2
Agenda
Topic | Time
Welcome and agenda | 9.00-9.30
ESO recommendation and discussion | 9.30-10.30
Break | 10.30-11.00
Workgroup recommendation and discussion | 11.00-12.00
EU TSO engagement | 12.00-12.30
Lunch | 12.30-1.00
Discussion on solutions to be presented as recommendations | 1.00-2.00
Consultation document overview and questions | 2.00-2.30
TOR and actions to recap | 2.30-3.00
AOB and close | 

## Slide 3: ESO Recommendation
 | SOGL | Operational | Consumer
ESO recommends the 50MW/min static option Change to the initial view we had at the start of the workgroup | Meets SOGL compliance 50MW/min would be added to the Grid Code as the maximum (BAU) ramp rate Simple to implement and transparent to market participants | Reduces workload on Control Room operations which would allow focus on ensuring economic despatch and low carbon operation, rather than managing fast interconnector ramps Reduces the likelihood of operational frequency incidents. The best option for security of supply Brings interconnector ramping closer to the rate of BMUs. (Average of BMU Grid Code arrangements) Solves the current problem and simplifies control room operation | Impact on EU consumer and IC welfare (-£17m) over the study period (2023 – 2030) £865m+ cost saving on GB balancing costs Minimal reduction to GB consumer and IC welfare of -£2m (more favourable than the other options)

## Slide 4: Workgroup recommendation
Discuss paper sent by interconnectors

## Slide 5: EU TSO engagement discussion

## Slide 6: Discussion
What additional solution would the workgroup like to put forward ? (if any)

## Slide 7: Next Steps
Raise Workgroup alternate – if required
Consultation document to be shared to the group- review and make comments deadline to be shared with pack. Also workgroup to consider consultation questions.
Next meetings;
Date | Objective
19th June | WG 13 -Review consultation document and confirm any alternates being raised are formally accepted by the workgroup
26th June | Showstopper- may not require this meeting
3rd July | One month workgroup consultation in progress