## EC_Revised
CMP315 Only
| Expansion Constants in 2020/21 price | CMP315 | CMP375 | CMP375 WACM2 Ecs | Baseline post CMP353 (20/21 price) | Baseline pre CMP353 (20/21 price) | 2023/24 EC | Inflation factor (2023/24 EC over 2020/21 EC) | smoothing factor | cct type | CBs per cct | combined (cct+CBs) type | Circuit Specific ECs | Unsmoothed ECs in 2023/24 price (£/MWkm) | CMP315* | CMP375 | CMP375 WACM2 | Baseline post CMP353 | Baseline pre CMP353 | After smoothing | Smoothed ECs in in 23/24 price | CMP315* | CMP375 | CMP375 WACM2
| EC (400kV OHL) | 11.4072 | 11.4072 | 9.8122 | 14.9356 | 27.3877 | 16.8003 | 1.1248 | 13% | 400kV OHL | 1.5 | 400kV OHL | 12.193 | 400kV OHL | 13.7153 | 12.8314 | 11.0373 | 16.8003 | 30.8069 |  | EC (400kV OHL) | 16.3992 | 16.2843 | 16.0511
| 275kV OHL | 32.8586 | 32.8586 | 31.7397 | 17.9001 | 26.9749 |  |  |  | 275kV OHL | 1.5 | 275kV OHL | 35.0353 | 275kV OHL | 39.4093 | 36.9608 | 35.7023 | 20.1349 | 30.3426 |  | 275kV OHL | 22.6405 | 22.3222 | 22.1586
| 132kV OHL NGET | 121.4452 | 121.4452 | 123.0004 | 42.8231 | 160.7503 |  |  |  | 132kV OHL NGET | 1.25 | 132kV OHL NGET | 123.0645 | 132kV OHL NGET | 138.4286 | 136.6072 | 138.3565 | 48.1694 | 180.8193 |  | 132kV OHL NGET | 59.9031 | 59.6663 | 59.8937
| 132kV OHL SPT | 121.4452 | 121.4452 | 123.0004 | 42.8231 | 160.7503 |  |  |  | 132kV OHL SPT | 1.25 | 132kV OHL SPT | 123.0645 | 132kV OHL SPT | 138.4286 | 136.6072 | 138.3565 | 48.1694 | 180.8193 |  | 132kV OHL SPT | 59.9031 | 59.6663 | 59.8937
| 132kV OHL SHET | 121.4452 | 121.4452 | 123.0004 | 38.7502 | 141.2731 |  |  |  | 132kV OHL SHET | 1.25 | 132kV OHL SHET | 123.0645 | 132kV OHL SHET | 138.4286 | 136.6072 | 138.3565 | 43.588 | 158.9105 |  | 132kV OHL SHET | 55.9173 | 55.6805 | 55.9079
| 400kV cable | 290.9626 | 290.9626 | 290.9626 | 152.3843 | 111.598 |  |  |  | 400kV cable | 2 | 400kV cable | 292.0103 | 400kV cable | 328.4666 | 327.2881 | 327.2881 | 171.4088 | 125.5306 |  | 400kV cable | 191.8263 | 191.6731 | 191.6731
| 275kV cable | 330.7173 | 330.7173 | 330.7173 | 171.0792 | 121.0373 |  |  |  | 275kV cable | 2 | 275kV cable | 333.6196 | 275kV cable | 375.2706 | 372.006 | 372.006 | 192.4378 | 136.1483 |  | 275kV cable | 216.206 | 215.7816 | 215.7816
| 132kV cable NGET | 339.0874 | 339.0874 | 339.0874 | 337.2398 | 479.5062 |  |  |  | 132kV cable NGET | 2 | 132kV cable NGET | 341.6782 | 132kV cable NGET | 384.3353 | 381.421 | 381.421 | 379.3428 | 539.3706 |  | 132kV cable NGET | 379.9919 | 379.613 | 379.613
| 132kV cable SPT | 339.0874 | 339.0874 | 339.0874 | 337.2398 | 479.5062 |  |  |  | 132kV cable SPT | 2 | 132kV cable SPT | 341.6782 | 132kV cable SPT | 384.3353 | 381.421 | 381.421 | 379.3428 | 539.3706 |  | 132kV cable SPT | 379.9919 | 379.613 | 379.613
| 132kV cable SHET | 339.0874 | 339.0874 | 339.0874 | 310.2423 | 425.7744 |  |  |  | 132kV cable SHET | 2 | 132kV cable SHET | 341.6782 | 132kV cable SHET | 384.3353 | 381.421 | 381.421 | 348.9748 | 478.9306 |  | 132kV cable SHET | 353.5716 | 353.1928 | 353.1928
CMP315 only | 400kV Transformer | 126.9841 | [11 empty] | 400kV Transformer | 142.8375 | [5 empty] | 400kV Transformer | 142.8375
| 275kV Transformer | 134.3492 | [11 empty] | 275kV Transformer | 151.1221 | [5 empty] | 275kV Transformer | 151.1221
| 132kV Transformer | 139.6825 | [11 empty] | 132kV Transformer | 157.1213 | [5 empty] | 132kV Transformer | 157.1213
| 400kV QB | 28.5989 | [11 empty] | 400kV QB | 32.1693 | [5 empty] | 400kV QB | 32.1693
| 275kV QB | 84.7073 | [11 empty] | 275kV QB | 95.2827 | [5 empty] | 275kV QB | 95.2827
| 132kV phase shifter | 32.0307 | [11 empty] | 132kV phase shifter | 36.0296 | [5 empty] | 132kV phase shifter | 36.0296
| 132kV CB | 1.2954 | [11 empty] | 132kV CB | 1.4571
| 275kV CB | 1.4512 | [11 empty] | 275kV CB | 1.6323
| 400kV CB | 0.52386 | [11 empty] | 400kV CB | 0.58926