## Index
INDEX - click the links below to navigate
Residuals and Averages
Table 1 - Changes to Average Generation Tariffs
Table 2 - Generation Wider Tariffs
Table 3 - Generation Tariff Changes
Table 4 - Local Substation Tariffs
Table 5 - Onshore Local Circuit Tariffs
Table 6 - CMP203: Circuits subject to one-off charges
Table 7 Offshore Local Tariffs
Table 8 - Summary of Demand Tariffs
Table 9 - Demand Tariffs
Table 10 – Non-locational banded charges
Table 11 - Change in HH Demand Tariffs
Table 11a - Half-Hourly Demand tariffs for Transmission Connected users with multiple DNO's
Table 12 - Embedded Export Tariff
Table 13 - NHH Demand Tariff Changes
Table 14 - Contracted, Modelled and Chargeable TEC
Table 15 - Interconnectors
Table 16 - Allowed Revenues
Table 17 - Generation and Demand Revenue Proportions
Table 18 - Generation Revenue Error Margin
Table 19-20 - Onshore local circuit/substation pre-existing asset tariffs and total TECs associated with Pre-existing assets
Table 21 - Charging Bases
Table 22 - Residual and Adjustment Calculation
Table 23 - Summary of CUSC modification proposals potentially impacting 2024/25 tariffs
Table 24 - Demand Locational Tariffs
Table 25 - Breakdown of the Embedded Export Tariff
Table 26 - Generic Annual Load Factors
Table 27 - Connected Generation Changes
Tables 28-31 - Revenue Breakdown
Table 32 - Offshore Revenues
Table AA - Demand Profiles
Table B – Non-locational banded charges

## Residuals
Residuals and Averages |  |  | Return to Index
Residual | 2024/25 Draft | 2024/25 Final | Change since last forecast
Generation | -1.7172 | -1.5291 | 0.18807
Average Tariff | 2024/25 Draft | 2024/25 Final | Change since last forecast
Generation (£/kW) * | 12.3258 | 12.7553 | 0.42947 | *N.B. These generation average tariffs include local tariffs
HH Demand (£/kW) | 6.5133 | 6.5015 | -0.011734
NHH Demand (p/kWh) | 0.32502 | 0.30747 | -0.01755
Embedded Export (£/kW) | 2.5779 | 2.6314 | 0.053491

## T1
Table 1 - Changes to Average Generation Tariffs |  |  |  | Return to Index
Generation Tariffs (£/kW) | 2024/25 Draft | 2024/25 Final | Change since last forecast
Adjustment | -1.7172 | -1.5291 | 0.18807
Average Generation Tariff* | 12.3258 | 12.7553 | 0.42947
*N.B. These generation average tariffs include local tariffs

## T2
Table 2 - Generation Wider Tariffs | [7 empty] | Return to Index
Example tariffs for a generator of each technology type
Generation Tariffs |  | System Peak Tariff | Shared Year Round Tariff | Not Shared Year Round Tariff | Adjustment Tariff | Conventional Carbon | Conventional Low Carbon | Intermittent
[6 empty] | 40% | 75% | 45%
Zone | Zone Name | (£/kW) | (£/kW) | (£/kW) | (£/kW) | Load Factor (£/kW) | Load Factor (£/kW) | Load Factor (£/kW)
1 | North Scotland | 2.9961 | 20.5473 | 18.2486 | -1.5291 | 16.9854 | 35.1262 | 25.9658
2 | East Aberdeenshire | 4.1343 | 11.7786 | 18.2486 | -1.5291 | 14.6161 | 29.6878 | 22.0199
3 | Western Highlands | 3.2305 | 20.3052 | 18.0764 | -1.5291 | 17.054 | 35.0067 | 25.6846
4 | Skye and Lochalsh | -1.9893 | 20.3052 | 19.87 | -1.5291 | 12.5516 | 31.5805 | 27.4782
5 | Eastern Grampian and Tayside | 5.8539 | 15.7422 | 14.1035 | -1.5291 | 16.2631 | 30.2349 | 19.6584
6 | Central Grampian | 4.9421 | 15.9708 | 14.4096 | -1.5291 | 15.5652 | 29.8008 | 20.0674
7 | Argyll | 3.1576 | 14.1006 | 20.445 | -1.5291 | 15.4467 | 32.6489 | 25.2611
8 | The Trossachs | 3.9442 | 14.1006 | 11.8719 | -1.5291 | 12.804 | 24.8624 | 16.688
9 | Stirlingshire and Fife | 2.475 | 13.8191 | 11.6468 | -1.5291 | 11.1322 | 22.957 | 16.3363
10 | South West Scotlands | 2.708 | 13.3643 | 11.3822 | -1.5291 | 11.0774 | 22.5842 | 15.867
11 | Lothian and Borders | 2.4082 | 13.3643 | 5.3028 | -1.5291 | 8.3459 | 16.205 | 9.7876
12 | Solway and Cheviot | 1.6367 | 8.69 | 6.607 | -1.5291 | 6.2264 | 13.2321 | 8.9884
13 | North East England | 3.3199 | 6.0796 | 3.8526 | -1.5291 | 5.7636 | 10.2031 | 5.0594
14 | North Lancashire and The Lakes | 1.2554 | 6.0796 | 1.3835 | -1.5291 | 2.7115 | 5.6695 | 2.5902
15 | South Lancashire, Yorkshire and Humber | 4.196 | 2.0392 | 0.34172 | -1.5291 | 3.6193 | 4.538 | -0.26978
16 | North Midlands and North Wales | 2.996 | 0.46868 | 0 | -1.5291 | 1.6544 | 1.8184 | -1.3182
17 | South Lincolnshire and North Norfolk | 1.2636 | 2.4641 | 0 | -1.5291 | 0.72017 | 1.5826 | -0.42025
18 | Mid Wales and The Midlands | 1.2919 | 4.207 | 0 | -1.5291 | 1.4455 | 2.918 | 0.36402
19 | Anglesey and Snowdon | 4.7616 | 0.61408 | 0 | -1.5291 | 3.4781 | 3.6931 | -1.2528
20 | Pembrokeshire | 8.2457 | -8.308 | 0 | -1.5291 | 3.3934 | 0.48559 | -5.2677
21 | South Wales & Gloucester | 3.9455 | -8.5269 | 0 | -1.5291 | -0.99436 | -3.9788 | -5.3662
22 | Cotswold | 3.4614 | 4.2758 | -10.9606 | -1.5291 | -0.7416 | -5.8214 | -10.5656
23 | Central London | -3.4032 | 4.2758 | -3.5486 | -1.5291 | -4.6415 | -5.2741 | -3.1536
24 | Essex and Kent | -3.1489 | 4.2758 | 0 | -1.5291 | -2.9677 | -1.4712 | 0.39497
25 | Oxfordshire, Surrey and Sussex | -0.70369 | -2.2034 | 0 | -1.5291 | -3.1142 | -3.8854 | -2.5206
26 | Somerset and Wessex | -1.1161 | -4.7203 | 0 | -1.5291 | -4.5333 | -6.1854 | -3.6533
27 | West Devon and Cornwall | -0.42942 | -9.7793 | 0 | -1.5291 | -5.8703 | -9.293 | -5.9298

## T3 & Fig 1
Table 3 - Generation Tariff Changes | [10 empty] | Return to Index
Wider Generation Tariffs (£/kW)
|  | Conventional Carbon 40% |  |  | Conventional Low Carbon 75% |  |  | Intermittent 45% |  |  | Change in Adjustment
Zone | Zone Name | 2024/25 Draft | 2024/25 Final | Change | 2024/25 Draft | 2024/25 Final | Change | 2024/25 Draft | 2024/25 Final | Change
1 | North Scotland | 16.7973 | 16.9854 | 0.18807 | 34.9381 | 35.1262 | 0.18807 | 25.7778 | 25.9658 | 0.18807 | 0.18807
2 | East Aberdeenshire | 14.428 | 14.6161 | 0.18807 | 29.4997 | 29.6878 | 0.18807 | 21.8318 | 22.0199 | 0.18807 | 0.18807
3 | Western Highlands | 16.8659 | 17.054 | 0.18807 | 34.8186 | 35.0067 | 0.18807 | 25.4966 | 25.6846 | 0.18807 | 0.18807
4 | Skye and Lochalsh | 12.3636 | 12.5516 | 0.18807 | 31.3924 | 31.5805 | 0.18807 | 27.2902 | 27.4782 | 0.18807 | 0.18807
5 | Eastern Grampian and Tayside | 16.075 | 16.2631 | 0.18807 | 30.0469 | 30.2349 | 0.18807 | 19.4703 | 19.6584 | 0.18807 | 0.18807
6 | Central Grampian | 15.3771 | 15.5652 | 0.18807 | 29.6127 | 29.8008 | 0.18807 | 19.8793 | 20.0674 | 0.18807 | 0.18807
7 | Argyll | 15.2587 | 15.4467 | 0.18807 | 32.4609 | 32.6489 | 0.18807 | 25.0731 | 25.2611 | 0.18807 | 0.18807
8 | The Trossachs | 12.616 | 12.804 | 0.18807 | 24.6743 | 24.8624 | 0.18807 | 16.5 | 16.688 | 0.18807 | 0.18807
9 | Stirlingshire and Fife | 10.9442 | 11.1322 | 0.18807 | 22.7689 | 22.957 | 0.18807 | 16.1482 | 16.3363 | 0.18807 | 0.18807
10 | South West Scotlands | 10.8894 | 11.0774 | 0.18807 | 22.3962 | 22.5842 | 0.18807 | 15.6789 | 15.867 | 0.18807 | 0.18807
11 | Lothian and Borders | 8.1578 | 8.3459 | 0.18807 | 16.017 | 16.205 | 0.18807 | 9.5995 | 9.7876 | 0.18807 | 0.18807
12 | Solway and Cheviot | 6.0383 | 6.2264 | 0.18807 | 13.044 | 13.2321 | 0.18807 | 8.8003 | 8.9884 | 0.18807 | 0.18807
13 | North East England | 5.5756 | 5.7636 | 0.18807 | 10.015 | 10.2031 | 0.18807 | 4.8713 | 5.0594 | 0.18807 | 0.18807
14 | North Lancashire and The Lakes | 2.5234 | 2.7115 | 0.18807 | 5.4814 | 5.6695 | 0.18807 | 2.4021 | 2.5902 | 0.18807 | 0.18807
15 | South Lancashire, Yorkshire and Humber | 3.4312 | 3.6193 | 0.18807 | 4.3499 | 4.538 | 0.18807 | -0.45785 | -0.26978 | 0.18807 | 0.18807
16 | North Midlands and North Wales | 1.4663 | 1.6544 | 0.18807 | 1.6304 | 1.8184 | 0.18807 | -1.5063 | -1.3182 | 0.18807 | 0.18807
17 | South Lincolnshire and North Norfolk | 0.53209 | 0.72017 | 0.18807 | 1.3945 | 1.5826 | 0.18807 | -0.60833 | -0.42025 | 0.18807 | 0.18807
18 | Mid Wales and The Midlands | 1.2575 | 1.4455 | 0.18807 | 2.7299 | 2.918 | 0.18807 | 0.17595 | 0.36402 | 0.18807 | 0.18807
19 | Anglesey and Snowdon | 3.2901 | 3.4781 | 0.18807 | 3.505 | 3.6931 | 0.18807 | -1.4409 | -1.2528 | 0.18807 | 0.18807
20 | Pembrokeshire | 3.2053 | 3.3934 | 0.18807 | 0.29751 | 0.48559 | 0.18807 | -5.4558 | -5.2677 | 0.18807 | 0.18807
21 | South Wales & Gloucester | -1.1824 | -0.99436 | 0.18807 | -4.1668 | -3.9788 | 0.18807 | -5.5543 | -5.3662 | 0.18807 | 0.18807
22 | Cotswold | -0.92968 | -0.7416 | 0.18807 | -6.0095 | -5.8214 | 0.18807 | -10.7537 | -10.5656 | 0.18807 | 0.18807
23 | Central London | -4.8295 | -4.6415 | 0.18807 | -5.4622 | -5.2741 | 0.18807 | -3.3417 | -3.1536 | 0.18807 | 0.18807
24 | Essex and Kent | -3.1558 | -2.9677 | 0.18807 | -1.6592 | -1.4712 | 0.18807 | 0.2069 | 0.39497 | 0.18807 | 0.18807
25 | Oxfordshire, Surrey and Sussex | -3.3022 | -3.1142 | 0.18807 | -4.0734 | -3.8854 | 0.18807 | -2.7087 | -2.5206 | 0.18807 | 0.18807
26 | Somerset and Wessex | -4.7214 | -4.5333 | 0.18807 | -6.3735 | -6.1854 | 0.18807 | -3.8413 | -3.6533 | 0.18807 | 0.18807
27 | West Devon and Cornwall | -6.0584 | -5.8703 | 0.18807 | -9.4811 | -9.293 | 0.18807 | -6.1179 | -5.9298 | 0.18807 | 0.18807
Figure 1 - Variation in Generation Zonal Tariffs

## T4
Table 4 - Local Substation Tariffs |  |  |  | Return to Index
2024/25 Local Substation Tariff (£/kW)
Substation Rating | Connection Type | 132kV | 275kV | 400kV
<1320 MW | No redundancy | 0.17445 | 0.087229 | 0.060166
<1320 MW | Redundancy | 0.36759 | 0.1867 | 0.13257
≥1320 MW | No redundancy | 0 | 0.25628 | 0.18246
≥1320 MW | Redundancy | 0 | 0.38565 | 0.27738

## T5
Table 5 - Onshore Local Circuit Tariffs | [5 empty] | Return to Index
Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
Aberarder | 1.6636 | Dunhill | 1.7413 | Lochay | 0.36968
Aberdeen Bay | 3.2532 | Dunlaw Extension | 1.6961 | Luichart | 0.68497
Achruach | -3.0128 | Dunmaglass | 1.0567 | Marchwood | -0.28736
Aigas | 0.82187 | Edinbane | 8.316 | Mark Hill | 1.0721
An Suidhe | -1.1209 | Enoch Hill | 1.6159 | Middle Muir | 2.7726
Arecleoch | 2.9205 | Ewe Hill | 1.6923 | Middleton | 0.17411
Ayrshire Grid Collector | 0.16429 | Fallago | -0.070945 | Millennium South | 0.52887
Beinneun Wind Farm | 1.6405 | Farr | 4.2261 | Millennium Wind | 1.9064
Benbrack | 0.88518 | Fernoch | 5.2083 | Mossford | 3.6395
Bhlaraidh Wind Farm | 0.74039 | Ffestiniogg | 0.26417 | Nant | -1.511
Black Hill | 1.8657 | Fife Grid Services | 0.18444 | Necton | 0.53183
Black Law | 2.0332 | Finlarig | 0.36968 | Rhigos | 0.12808
BlackCraig Wind Farm | 6.3062 | Foyers | 0.33965 | Rocksavage | -0.017841
BlackLaw Extension | 4.4228 | Galawhistle | 1.2692 | Saltend | -0.018858
Broken Cross | 1.2926 | Glen Kyllachy | 0.55452 | Sandy Knowe | 3.9115
Clyde (North) | 0.12866 | Glendoe | 2.2298 | Sanquhar II | 8.4076
Clyde (South) | 0.1501 | Glenglass | 5.5635 | Shepherds Rig | 0.094278
Corriegarth | 2.9574 | Gordonbush | -0.091222 | South Humber Bank | -0.21561
Corriemoillie | 1.9288 | Griffin Wind | 11.5205 | Spalding | 0.32463
Coryton | 0.053484 | Hadyard Hill | 3.3271 | Strathbrora | -0.2079
Creag Riabhach | 4.0665 | Harestanes | 2.7726 | Strathy Wind | 1.9425
Cruachan | 2.1642 | Hartlepool | 0.036918 | Stronelairg | 1.2998
Culligran | 2.1011 | Invergarry | 0.36968 | Wester Dod | 0.42308
Cumberhead Collector | 0.84616 | Kennoxhead | 4.943 | Whitelee | 0.12866
Cumberhead West | 4.4842 | Kergord | 59.436 | Whitelee Extension | 0.36452
Deanie | 3.4517 | Kilgallioch | 1.2866
Dersalloch | 2.725 | Kilmorack | 0.15008
Dinorwig | 2.8653 | Kype Muir | 1.7981
Dorenell | 2.4875 | Langage | -0.39076
Douglas North | 0.73936 | Limekilns | 2.1555

## T6
Table 6 - CMP203: Circuits subject to one-off charges |  |  |  | Return to Index
Node 1 | Node 2 | Actual Parameters | Amendment in Transport Model | Generator
Bhlaraidh 132kV | Glenmoriston 132kV | 7.4km Cable | 7.4km OHL | Bhlaraidh
Enoch Hill 132kV | New Cumnock 132kV | 4.4km Cable | 4.4km OHL | Enoch Hill
Glen Glass 132kV | Sandy Knowe132kV | 4km Cable | 4km OHL | Sandy Knowe
Coalburn 132kV | Cumberhead Collector 132kV | 8.01km Cable | 8.01km OHL | Dalquhandy
Cumberhead Collector 132kV | Galawhistle 132kV | 3.69km Cable | 3.69km OHL | Galawhistle
Coalburn 132kV | Kype Muir 132kV | 17km Cable | 17km OHL | Kype Muir
Coalburn 132kV | Middle Muir 132kV | 13km Cable | 13km OHL | Middle Muir
Crystal Rig 132kV | Wester Dod 132kV | 3.9km Cable | 3.9km of OHL | Aikengall II
Dyce 132kV | Aberdeen Bay 132kV | 9.5km Cable | 9.5km of OHL | Aberdeen Bay
East Kilbride South 275kV | Whitelee 275kV | 6km Cable | 6km of OHL | Whitelee
East Kilbride South 275kV | Whitelee Extension 275kV | 16.68km Cable | 16.68km of OHL | Whitelee Extension
Elvanfoot 275kV | Clyde North 275kV | 6.2km Cable | 6.2km of OHL | Clyde North
Elvanfoot 275kV | Clyde South 275kV | 7.17km Cable | 7.17km of OHL | Clyde South
Farigaig 132kV | Corriegarth 132kV | 4km Cable | 4km OHL | Corriegarth
Farigaig 132kV | Dunmaglass 132kV | 4km Cable | 4km OHL | Dunmaglass
Melgarve 132kV | Stronelairg 132kV | 10km Cable | 10km OHL | Stronelairg
Moffat 132kV | Harestanes 132kV | 15.33km Cable | 15.33km OHL | Harestanes
Arecleoch 132kV | Arecleoch Tee 132kV | 2.5km Cable | 2.5km OHL | Arecleoch
Wishaw 132kV | Blacklaw 132kV | 11.46km Cable | 11.46km of OHL | Blacklaw
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## T7
Table 7 Offshore Local Tariffs |  |  | Return to Index
Offshore Generator | 2024/25 Draft Tariff Component (£/kW) |  |  | 2024/25 Final Tariff Component (£/kW) |  |  | Changes Tariff Component (£/kW)
| Substation | Circuit | ETUoS | Substation | Circuit | ETUoS | Substation | Circuit | ETUoS
Barrow | 11.2605 | 59.4888 | 1.4772 | 11.2529 | 59.4484 | 1.4762 | -0.00764 | -0.040362 | -0.001002
Beatrice | 9.1432 | 25.0691 | 0 | 9.1432 | 25.0691 | 0 | 0 | 0 | 0
Burbo Bank | 14.2014 | 27.447 | 0 | 14.2014 | 27.447 | 0 | 0 | 0 | 0
Dudgeon | 20.7719 | 32.5914 | 0 | 20.7719 | 32.5914 | 0 | 0 | 0 | 0
East Anglia 1 | 12.296 | 51.8924 | 0 | 12.296 | 51.8924 | 0 | 0 | 0 | 0
Galloper | 21.2628 | 33.6293 | 0 | 21.2628 | 33.6293 | 0 | 0 | 0 | 0
Greater Gabbard | 20.9805 | 48.551 | 0 | 20.9665 | 48.5185 | 0 | -0.01403 | -0.032466 | 0
Gunfleet | 24.5053 | 22.5983 | 4.2237 | 24.4887 | 22.583 | 4.2209 | -0.016627 | -0.015333 | -0.002866
Gwynt y mor | 26.6686 | 26.3668 | 0 | 26.6686 | 26.3668 | 0 | 0 | 0 | 0
Hornsea 1A | 9.4921 | 33.5844 | 0 | 9.4921 | 33.5844 | 0 | 0 | 0 | 0
Hornsea 1B | 9.4921 | 33.5844 | 0 | 9.4921 | 33.5844 | 0 | 0 | 0 | 0
Hornsea 1C | 9.4921 | 33.5844 | 0 | 9.4921 | 33.5844 | 0 | 0 | 0 | 0
Hornsea 2A | 10.8663 | 36.7078 | 0 | 10.8663 | 36.7078 | 0 | 0 | 0 | 0
Hornsea 2B | 10.8663 | 36.7078 | 0 | 10.8663 | 36.7078 | 0 | 0 | 0 | 0
Hornsea 2C | 10.8663 | 36.7078 | 0 | 10.8663 | 36.7078 | 0 | 0 | 0 | 0
Humber Gateway | 15.6946 | 36.0088 | 0 | 15.6946 | 36.0088 | 0 | 0 | 0 | 0
Lincs | 21.7879 | 85.6843 | 0 | 21.7879 | 85.6843 | 0 | 0 | 0 | 0
London Array | 14.7857 | 50.6946 | 0 | 14.7857 | 50.6946 | 0 | 0 | 0 | 0
Ormonde | 34.6212 | 64.7146 | 0.51572 | 34.5978 | 64.6707 | 0.51537 | -0.02349 | -0.043909 | -0.00035
Race Bank | 12.5789 | 34.9373 | 0 | 12.5789 | 34.9373 | 0 | 0 | 0 | 0
Rampion | 10.2757 | 26.8809 | 0 | 10.2757 | 26.8809 | 0 | 0 | 0 | 0
Robin Rigg | -0.75989 | 43.1331 | 13.8196 | -0.75938 | 43.1038 | 13.8102 | 0.000515 | -0.029266 | -0.009377
Robin Rigg West | -0.75989 | 43.1331 | 13.8196 | -0.75938 | 43.1038 | 13.8102 | 0.000515 | -0.029266 | -0.009377
Sheringham Shoal | 32.3909 | 38.1486 | 0.82924 | 32.3689 | 38.1227 | 0.82868 | -0.021977 | -0.025883 | -0.000563
Thanet | 24.7345 | 46.3401 | 1.1156 | 24.7177 | 46.3087 | 1.1148 | -0.016782 | -0.031442 | -0.000757
Walney 1 | 29.9023 | 59.7823 | 0 | 29.882 | 59.7417 | 0 | -0.020288 | -0.040561 | 0
Walney 2 | 27.8197 | 56.6159 | 0 | 27.8008 | 56.5774 | 0 | -0.018875 | -0.038413 | 0
Walney 3 | 12.9211 | 26.1773 | 0 | 12.9211 | 26.1773 | 0 | 0 | 0 | 0
Walney 4 | 12.9211 | 26.1773 | 0 | 12.9211 | 26.1773 | 0 | 0 | 0 | 0
West of Duddon Sands | 11.5556 | 57.6033 | 0 | 11.5556 | 57.6033 | 0 | 0 | 0 | 0
Westermost Rough | 23.4964 | 39.988 | 0 | 23.4964 | 39.988 | 0 | 0 | 0 | 0

## T8
Table 8 - Summary of Demand Tariffs |  |  |  | Return to Index
| Non-locational Banded Tariffs | 2024/25 Draft | 2024/25 Final | Change
| Average (£/site/annum) | 89.1594 | 94.5208 | 5.3614
| Unmetered (p/kWh/annum) | 1.1231 | 1.1886 | 0.065459
| Demand Residual (£m) | 2869.7671 | 3037.0265 | 167.2593
| HH Tariffs (Locational) | 2024/25 Draft | 2024/25 Final | Change
| Average Tariff (£/kW) | 6.5133 | 6.5015 | -0.011734
| EET | 2024/25 Draft | 2024/25 Final | Change
| Average Tariff (£/kW) | 2.5779 | 2.6314 | 0.053491
| AGIC (£/kW) | 2.7128 | 2.7128 | 0
| Embedded Export Volume (GW) | 7.4814 | 7.3106 | -0.17082
| Total Credit (£m) | 19.2866 | 19.2373 | -0.049298
| NHH Tariffs (locational) | 2024/25 Draft | 2024/25 Final | Change
| Average (p/kWh) | 0.32502 | 0.30747 | -0.01755

## T9
Table 9 - Demand Tariffs |  |  |  | Return to Index
Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh) | Embedded Export Tariff (£/kW)
1 | Northern Scotland | 0 | 0 | 0
2 | Southern Scotland | 0 | 0 | 0
3 | Northern | 0 | 0 | 0
4 | North West | 0 | 0 | 0
5 | Yorkshire | 0 | 0 | 0
6 | N Wales & Mersey | 0 | 0 | 0
7 | East Midlands | 0 | 0 | 2.5657
8 | Midlands | 2.3731 | 0.31266 | 5.0859
9 | Eastern | 0.82537 | 0.11395 | 3.5381
10 | South Wales | 4.5035 | 0.53379 | 7.2163
11 | South East | 3.8592 | 0.53852 | 6.572
12 | London | 5.7327 | 0.64422 | 8.4454
13 | Southern | 6.8697 | 0.90393 | 9.5825
14 | South Western | 8.1989 | 1.1296 | 10.9117
Residual charge for demand: |  | 0

## T10
Table 10 – Non-locational banded charges | [5 empty] | Return to Index
| Band |  | 2024/25 Draft | 2024/25 Final | Change
| Domestic | Tariff - £/Site/Day | 0.098727 | 0.10459 | 0.005859
| LV_NoMIC_1 |  | 0.065351 | 0.069796 | 0.004445
| LV_NoMIC_2 |  | 0.23191 | 0.25321 | 0.021308
| LV_NoMIC_3 |  | 0.54082 | 0.58479 | 0.043972
| LV_NoMIC_4 |  | 1.6933 | 1.7411 | 0.047758
| LV1 |  | 2.9387 | 3.1296 | 0.19094
| LV2 |  | 5.0599 | 5.3239 | 0.264
| LV3 |  | 8.2667 | 8.4882 | 0.22152
| LV4 |  | 19.1748 | 19.7938 | 0.61897
| HV1 |  | 14.8445 | 16.4552 | 1.6107
| HV2 |  | 45.9033 | 49.6556 | 3.7523
| HV3 |  | 90.7699 | 95.2861 | 4.5162
| HV4 |  | 231.4196 | 243.6346 | 12.215
| EHV1 |  | 106.2849 | 132.8513 | 26.5664
| EHV2 |  | 572.4226 | 668.5381 | 96.1155
| EHV3 |  | 1157.4042 | 1255.8503 | 98.4461
| EHV4 |  | 3151.0672 | 3520.063 | 368.9958
| T-Demand1 |  | 375.2045 | 397.0727 | 21.8681
| T-Demand2 |  | 1522.7589 | 1611.5102 | 88.7513
| T-Demand3 |  | 3547.8826 | 3754.6647 | 206.7821
| T-Demand4 |  | 11299.5465 | 11958.1207 | 658.5742
| Unmetered demand |  | p/kWh
| Unmetered |  | 1.1231 | 1.1886 | 0.065459
| Demand Residual (£m) |  | 2869.7671 | 3037.0265 | 167.2593

## T11 & Fig 2
Table 11 - Change in HH Demand Tariffs |  |  |  | Return to Index
Zone | Zone Name | 2024/25 Draft (£/kW) | 2024/25 Final (£/kW) | Change (£/kW)
1 | Northern Scotland | 0 | 0 | 0
2 | Southern Scotland | 0 | 0 | 0
3 | Northern | 0 | 0 | 0
4 | North West | 0 | 0 | 0
5 | Yorkshire | 0 | 0 | 0
6 | N Wales & Mersey | 0 | 0 | 0
7 | East Midlands | 0 | 0 | 0
8 | Midlands | 2.3731 | 2.3731 | -1e-06
9 | Eastern | 0.82733 | 0.82537 | -0.001966
10 | South Wales | 4.5035 | 4.5035 | -1e-06
11 | South East | 3.8592 | 3.8592 | 0
12 | London | 5.7345 | 5.7327 | -0.001791
13 | Southern | 6.8697 | 6.8697 | -1e-06
14 | South Western | 8.1989 | 8.1989 | 0
Figure 2 - Changes to gross Half-Hourly demand tariffs
Including revenue from large embedded generation (£m)*

## T11a
Table 11a - Half-Hourly Demand tariffs for Transmission Connected users with multiple DNO's | [7 empty] | Return to Index
|  |  | Demand Zone |  | T-connected Site
| Site Code | Site Name | DNO 1 | DNO 2 | Zonal Peak Security Tariff (£/kW) | Year Round Tariff (£/kW) | T-Connected Tariff Floored (£/kW)
| MELK | MELKSHAM | 13 | 14 | 1.0277 | 6.5066 | 7.5343
| BARK | BARKING | 9 | 12 | 2.8716 | 0.40927 | 3.2809

## T12 & Fig 3
Table 12 - Embedded Export Tariff |  |  |  | Return to Index
Zone | Zone Name | 2024/25 Draft (£/kW) | 2024/25 Final (£/kW) | Change (£/kW)
1 | Northern Scotland | 0 | 0 | 0
2 | Southern Scotland | 0 | 0 | 0
3 | Northern | 0 | 0 | 0
4 | North West | 0 | 0 | 0
5 | Yorkshire | 0 | 0 | 0
6 | N Wales & Mersey | 0 | 0 | 0
7 | East Midlands | 2.5657 | 2.5657 | -1e-06
8 | Midlands | 5.0859 | 5.0859 | -1e-06
9 | Eastern | 3.5401 | 3.5381 | -0.001966
10 | South Wales | 7.2163 | 7.2163 | -1e-06
11 | South East | 6.572 | 6.572 | 0
12 | London | 8.4472 | 8.4454 | -0.001791
13 | Southern | 9.5825 | 9.5825 | -1e-06
14 | South Western | 10.9117 | 10.9117 | 0
Figure 3 - Embedded export tariff changes
Including revenue from large embedded generation (£m)*
0

## T13 & Fig 4
Table 13 - NHH Demand Tariff Changes |  |  | Return to Index
Zone | Zone Name | 2024/25 Draft (p/kWh) | 2024/25 Final (p/kWh) | Change (p/kWh)
1 | Northern Scotland | 0 | 0 | 0
2 | Southern Scotland | 0 | 0 | 0
3 | Northern | 0 | 0 | 0
4 | North West | 0 | 0 | 0
5 | Yorkshire | 0 | 0 | 0
6 | N Wales & Mersey | 0 | 0 | 0
7 | East Midlands | 0 | 0 | 0
8 | Midlands | 0.33148 | 0.31266 | -0.01882
9 | Eastern | 0.12183 | 0.11395 | -0.007879
10 | South Wales | 0.56134 | 0.53379 | -0.027542
11 | South East | 0.57298 | 0.53852 | -0.03446
12 | London | 0.68741 | 0.64422 | -0.043196
13 | Southern | 0.96402 | 0.90393 | -0.060086
14 | South Western | 1.1855 | 1.1296 | -0.055832
Figure 4 - Changes to Non-Half-Hourly demand tariffs
Including revenue from large embedded generation (£m)*
-

## T14
Table 14 - Contracted, Modelled and Chargeable TEC |  |  | Return to Index
2024/25 Tariffs
Generation (GW) | Initial | July | Draft | Final
Contracted TEC | 104.546 | 102.9428 | 101.1012 | 101.1012
Modelled Best View TEC | 89.6268 | 99.9202 | For input to locational tariffs post 31st October please see Contracted TEC
Chargeable TEC | 78.0018 | 84.6912 | 85.232 | 82.9425

## T15
Table 15 - Interconnectors Contracted TEC | [5 empty] | Return to Index
Generation MW
Interconnector | Node | Interconnected System | Generation Zone | Transport Model Peak | Transport Model Year Round | Charging Base
Britned | Grain 400kV Substation | Netherlands | 24 | 0 | 1200 | 0
East - West | Connah's Quay 400kV | Republic of Ireland | 16 | 0 | 505 | 0
ElecLink | Sellindge 400kV Substation | France | 24 | 0 | 1000 | 0
Greenlink | Pembroke 400kV Substation | Republic of Ireland | 20 | 0 | 504 | 0
Gridlink | Kingsnorth 400kV Substation | France | 24 | 0 | 1500 | 0
IFA Interconnector | Sellindge 400kV Substation | France | 24 | 0 | 1988 | 0
IFA2 Interconnector | Chilling 400kV Substation | France | 26 | 0 | 1100 | 0
Lion (EuroLink) | Friston 400kV Substation | Netherlands | 18 | 0 | 1600 | 0
Moyle | Auchencrosh 275kV | Northern Ireland | 10 | 0 | 500 | 0
Nemo Link | Richborough 400kV Substation | Belgium | 24 | 0 | 1020 | 0
NS Link | Blyth GSP | Norway | 13 | 0 | 1400 | 0
Viking Link | Bicker Fen 400kV Substation | Denmark | 17 | 4 | 1500 | 0

## T16
Table 16 - Allowed Revenues |  |  |  |  | Return to Index
2024/25 TNUoS Revenue
£m Nominal | Initial Forecast | July Forecast | November Draft | January Final
TO Income from TNUoS
National Grid Electricity Transmission (NGET) | 2223.0895 | 2235.2616 | 1840.7983 | 2022.9129
Scottish Power Transmission (SPT) | 500.8741 | 503.6023 | 452.4118 | 444.6851
SHE Transmission (SHET) | 979.8331 | 984.9444 | 736.8468 | 781.0696
Total TO Income from TNUoS | 3703.7968 | 3723.8083 | 3030.0569 | 3248.6675
Other Income from TNUoS
Other Pass-through from TNUoS | 107.2746 | 96.6633 | 113.7735 | 59.7935
Offshore (plus interconnector contribution / allowance) | 764.7961 | 785.8503 | 869.8685 | 880.0401
Total Other Income from TNUoS | 872.0707 | 882.5136 | 983.6421 | 939.8336
Total to Collect from TNUoS | 4575.8675 | 4606.3219 | 4013.6989 | 4188.5011

## T17
Table 17 - Generation and Demand Revenue Proportions | [5 empty] | Return to Index
2024/25 Tariffs
| Code | Revenue | Initial Forecast | July Forecast | November Draft | January Final
| CAPEC | Limit on generation tariff (€/MWh) | 2.5 | 2.5 | 2.5 | 2.5
| y | Error Margin | 23.6% | 31.42% | 31.42% | 31.42%
| ER | Exchange Rate (€/£) | 1.1175 | 1.1175 | 1.1175 | 1.1175
| MAR | Total Revenue (£m) | 4575.8675 | 4606.3219 | 4013.6989 | 4188.5011
| GO | Generation Output (TWh) | 189.8543 | 204.0143 | 204.0143 | 204.0143
| G | % of revenue from generation | 22.06% | 22.49% | 26.18% | 25.26%
| D | % of revenue from demand | 77.94% | 77.51% | 73.82% | 74.74%
| G.R | Revenue recovered from generation (£m) | 1009.2714 | 1035.848 | 1050.5523 | 1057.9547
| D.R | Revenue recovered from demand (£m) | 3566.5961 | 3570.4739 | 2963.1467 | 3130.5464
Breakdown of generation revenue
|  | Revenue from the Peak element | 102.9695 | 111.1257 | 115.1642 | 112.6073
|  | Revenue from the Year Round Shared element | 186.9522 | 179.9975 | 141.86 | 137.0155
|  | Revenue from the Year Round Not Shared element | 132.5573 | 201.3689 | 194.514 | 184.6995
|  | Revenue from Onshore Local Circuit tariffs | 19.599 | 44.978 | 46.5262 | 44.1632
|  | Revenue from Onshore Local Substation tariffs | 12.0332 | 12.4867 | 13.1158 | 12.4493
|  | Revenue from Offshore Local tariffs | 656.1272 | 672.7992 | 685.7315 | 693.8488
|  | Revenue from the adjustment element | -101.1204 | -186.908 | -146.3595 | -126.8289
| G.MAR | Total Revenue recovered from generation (£m) | 1009.2714 | 1035.848 | 1050.5523 | 1057.9547
|  | Including revenue from local charges associated with pre-existing assets (indicative) (£m) | 3.1454 | 7.5218 | 7.9272 | 5.6125

## T18
Table 18 - Generation Revenue Error Margin |  |  |  |  | Return to Index
| Calculation for | 2024/25
| Data from year: | Revenue inputs |  | Generation output variance
|  | Revenue variance | Adjusted variance
| 2018/19 | -9.175% | -4.539% | -7.478%
| 2019/20 | -14.65% | -10.01% | -4.114%
| 2020/21 | -13.17% | -8.532% | 7.472%
| 2021/22 | 4.299% | 8.935% | 9.526%
| 2022/23 | 9.515% | 14.15% | 13.1%
| Systemic error: | -4.636%
| Adjusted error: |  | 14.2% | 13.1%
| Error margin = |  |  | 31.42%
Adjusted variance = the revenue variance - systemic error
Systemic error = the average of all the values in the series
Adjusted error = the maximum of the (absolute) values in the series

## T19-20
Table 19-20 - Onshore local circuit/substation pre-existing asset tariffs and total TECs associated with Pre-existing assets |  |  | Return to Index
Project Name | Pre-existing local circuit tariff (£/kW) | Aggregated pre-existing TEC (MW) |  | Project Name | Pre-existing substation Tariff (£/kW) | Aggregated pre-existing TEC (MW)
A'Chruach Wind Farm | 0 | 14579.49 |  | Pogbie Wind Farm | 0.17445 | 142.9
Glen App Windfarm | 1.8484 |  |  | Toddleburn Wind Farm | 0.17445
Beinneun Wind Farm | 0.057785
Afton Wind Farm | 0
Benbrack wind farm | 0.42308
Blacklaw Extension | 0
Blacklaw | 0
Clyde North | 0
Clyde South | 0
Corriegarth | 0
Lochluichart | 0
Coryton | 0
Cruachan | 0
Dersalloch Wind Farm | 0
Dinorwig | 0
Edinbane Windfarm | 0
Ewe Hill | 0
Fallago Rig Wind Farm | 0
Carraig Gheal Wind Farm | 5.2081
Ffestiniog | 0
Foyers | 0
Hartlepool | 0
Marchwood | 0
Pen Y Cymoedd Wind Farm | 0
Rocksavage | 0
Saltend | 0
Spalding | 0
Stronelairg | 0.24208
Aikengall II Windfarm | 0
Whitelee Extension | 0
Bhlaraidh Wind Farm | 0
Dorenell Windfarm | 1.2438
Harting Rig Wind Farm | 0
Middle Muir Wind Farm | 0
Aberdeen Offshore Wind Farm | 0
Glen Kyllachy Wind Farm | 0.55452
Enoch Hill | 0
Galawhistle Wind Farm | 0
Kennoxhead Wind Farm | 0
Broken Cross Windfarm | 1.2926
Hunterston Energy Storage Facility | 0
Kincardine Battery Storage Facility | 0
Limekiln | 0
Cumberhead West Wind Farm | 0
Shepherds Rig Wind Farm | 0
Viking Wind Farm | 0
Arecleoch Windfarm Extension | 0
Sanquhar Wind Farm | 3.6979
Crossdykes | 0
Aikengall IIa Wind Farm | 0
Kype Muir | 0
Kennoxhead Wind Farm Extension | 2.0332
Cumberhead | 0
Chirmorie Wind Farm | 0
Sandy Knowe Wind Farm | 2.8514
Douglas West | 0
Dalquhandy Wind Farm | 0
Stranoch Wind Farm | 0.59845
Twentyshilling Wind Farm | 3.6979
Douglas West Extension | 0
Whiteside Hill Wind Farm | 3.6979
Windy Rig Wind Farm | 0
Windy Standard II (Brockloch Rig) Wind Farm | 0
Pencloe Windfarm | 0
Glenmuckloch Wind Farm | 3.4279
Sanquhar II Wind Farm | 5.5635

## T21
Table 21 - Charging Bases |  |  |  | Return to Index
2024/25 Tariffs
Charging Bases | Initial | July | Draft | Final
Generation (GW) | 78.0018 | 84.6912 | 85.232 | 82.9425
NHH Demand (4pm-7pm TWh) | 24.9094 | 23.0538 | 21.7523 | 22.9768
Gross charging
Total Average Gross Triad (GW) | 49.6459 | 47.4488 | 47.0216 | 47.0429
HH Demand Average Gross Triad (GW) | 18.16 | 17.9252 | 17.1913 | 17.2364
Embedded Generation Export (GW) | 7.1091 | 6.8579 | 7.4814 | 7.3106

## T22
Table 22 - Residual and Adjustment Calculation | [5 empty] | Return to Index
2024/25 Tariffs
| Component |  | Initial | July | Draft | Final
| G | Proportion of revenue recovered from generation (%) | 22.06% | 22.49% | 26.18% | 25.26%
| D | Proportion of revenue recovered from demand (%) | 77.94% | 77.51% | 73.82% | 74.74%
| R | Total TNUoS revenue (£m) | 4575.8675 | 4606.3219 | 4013.6989 | 4188.5011
Generation revenue breakdown (without adjustment)
| ZG | Revenue recovered from the wider locational element of generator tariffs (£m) | 422.4791 | 492.4921 | 451.5382 | 434.3223
| O | Revenue recovered from offshore local tariffs (£m) | 656.1272 | 672.7992 | 685.7315 | 693.8488
| LG | Revenue recovered from onshore local substation tariffs (£m) | 12.0332 | 12.4867 | 13.1158 | 12.4493
| SG | Revenue recovered from onshore local circuit tariffs (£m) | 19.599 | 44.978 | 46.5262 | 44.1632
|  | Revenue from local charges associated with pre-existing assets (indicative) (£m) | 3.1454 | 7.5218 | 7.9272 | 5.6125
Generation adjustment tariff calculation
|  | Limit on generation tariff (€/MWh) | 2.5 | 2.5 | 2.5 | 2.5
|  | Error Margin | 23.6% | 31.42% | 31.42% | 31.42%
|  | Exchange Rate (€/£) | 1.1175 | 1.1175 | 1.1175 | 1.1175
|  | Total generation Output (TWh) | 189.8543 | 204.0143 | 204.0143 | 204.0143
|  | Generation revenue subject to the [0,2.50]Euro/MWh range (£m) | 324.5041 | 313.0355 | 313.0355 | 313.0355
|  | Adjustment Revenue (£m) | -101.1204 | -186.908 | -146.3595 | -126.8289
| BG | Generator charging base (GW) | 78.0018 | 84.6912 | 85.232 | 82.9425
| AdjTariff | Generator adjusment tariff (£/kW) | -1.2964 | -2.2069 | -1.7172 | -1.5291
Gross demand residual
| RD | Demand residual (£m) | 3470.1148 | 3484.661 | 2869.7671 | 3037.0265
| ZD | Revenue recovered from the locational element of demand tariffs (£m) | 115.8706 | 101.9799 | 111.9717 | 112.0628
| EE | Amount to be paid to Embedded Export Tariffs (£m) | -19.931 | -16.8615 | -19.2866 | -19.2373
| BD | Demand Gross charging base (GW) | 49.6459 | 47.4488 | 47.0216 | 47.0429
*Not applicable for this publication

## T23
Table 23 - Summary of concluded CUSC modification proposals impacting 2024/25 tariffs |  |  |  | Return to Index
| Name | Title | Effect of proposed change | Implementation
| CMP292 | Introducing a Section 8 cut-off date for changes to the Charging Methodologies | Introducing a cut off date for implementation of CUSC changes affecting tariffs | 1st April 2024
| CMP379 | CMP379: Determining TNUoS demand zones for transmission - connected demand at sites with multiple Distribution Network Operators (DNOs) | Determine demand zones for transmission-connected demand users at multiple DNO sites | 1st April 2024

## T24
Table 24 - Demand Locational Tariffs | [5 empty] | Return to Index
Demand Zone |  | 2024/25 Draft |  | 2024/25 Final |  | Changes
|  | Peak (£/kW) | Year Round (£/kW) | Peak (£/kW) | Year Round (£/kW) | Peak (£/kW) | Year Round (£/kW)
1 | Northern Scotland | -1.2884 | -31.6367 | -1.2884 | -31.6367 | -1.353e-07 | -4.0093e-07
2 | Southern Scotland | -2.2698 | -22.1301 | -2.2698 | -22.1301 | -1.353e-07 | -4.0073e-07
3 | Northern | -3.016 | -8.9804 | -3.016 | -8.9804 | -1.394e-07 | -3.8407e-07
4 | North West | -0.77009 | -4.0244 | -0.77009 | -4.0244 | -1.4087e-07 | -3.7804e-07
5 | Yorkshire | -2.0109 | -2.1792 | -2.0109 | -2.1792 | -1.4095e-07 | -3.7773e-07
6 | N Wales & Mersey | -1.6541 | -1.0996 | -1.6541 | -1.0996 | -1.4222e-07 | -3.7257e-07
7 | East Midlands | -2.0782 | 1.9312 | -2.0782 | 1.9312 | -1.4126e-07 | -3.7646e-07
8 | Midlands | -1.2053 | 3.5784 | -1.2053 | 3.5784 | -1.4163e-07 | -3.7499e-07
9 | Eastern | 1.1496 | -0.3223 | 1.1471 | -0.32173 | -0.0025325 | 0.00056664
10 | South Wales | -4.2735 | 8.7771 | -4.2735 | 8.7771 | -1.4138e-07 | -3.7597e-07
11 | South East | 3.6029 | 0.25627 | 3.6029 | 0.25627 | -1.4123e-07 | -3.766e-07
12 | London | 4.5936 | 1.1408 | 4.5935 | 1.1392 | -0.00014736 | -0.0016438
13 | Southern | 2.0716 | 4.7981 | 2.0716 | 4.7981 | -1.4128e-07 | -3.7638e-07
14 | South Western | -0.016177 | 8.2151 | -0.016177 | 8.2151 | -1.4134e-07 | -3.7614e-07

## T25
Table 25 - Breakdown of the Embedded Export Tariff | [7 empty] | Return to Index
Demand Zone |  | 2024/25 Draft |  | 2024/25 Final |  | Changes
|  | Locational (£/kW) | AGIC (£/kW) | Locational (£/kW) | AGIC (£/kW) | Locational (£/kW) | AGIC (£/kW)
1 | Northern Scotland | -32.9251 | 2.7128 | -32.9251 | 2.7128 | -5.3623e-07 | 0
2 | Southern Scotland | -24.3999 | 2.7128 | -24.3999 | 2.7128 | -5.3603e-07 | 0
3 | Northern | -11.9964 | 2.7128 | -11.9964 | 2.7128 | -5.2346e-07 | 0
4 | North West | -4.7945 | 2.7128 | -4.7945 | 2.7128 | -5.1892e-07 | 0
5 | Yorkshire | -4.1902 | 2.7128 | -4.1902 | 2.7128 | -5.1868e-07 | 0
6 | N Wales & Mersey | -2.7537 | 2.7128 | -2.7537 | 2.7128 | -5.1479e-07 | 0
7 | East Midlands | -0.14704 | 2.7128 | -0.14704 | 2.7128 | -5.1772e-07 | 0
8 | Midlands | 2.3731 | 2.7128 | 2.3731 | 2.7128 | -5.1661e-07 | 0
9 | Eastern | 0.82733 | 2.7128 | 0.82537 | 2.7128 | -0.0019658 | 0
10 | South Wales | 4.5035 | 2.7128 | 4.5035 | 2.7128 | -5.1735e-07 | 0
11 | South East | 3.8592 | 2.7128 | 3.8592 | 2.7128 | -5.1783e-07 | 0
12 | London | 5.7345 | 2.7128 | 5.7327 | 2.7128 | -0.0017912 | 0
13 | Southern | 6.8697 | 2.7128 | 6.8697 | 2.7128 | -5.1766e-07 | 0
14 | South Western | 8.1989 | 2.7128 | 8.1989 | 2.7128 | -5.1748e-07 | 0

## T26
Table 26 - Generic Annual Load Factors |  | Return to Index
Technology | Generic ALF
Battery | 1.63%
Biomass | 45.56%
CCGT_CHP | 49.43%
Coal | 16.33%
Gas_Oil | 0.4504%
Hydro | 40.45%
Nuclear | 61.93%
Offshore_Wind | 46.78%
Onshore_Wind | 38.68%
Pumped_Storage | 8.357%
Reactive_Compensation | 0%
Solar | 10.9%
Tidal | 12.6%
Wave | 2.9%
*Note:
ALF figures for Solar, Wave and Tidal technology are generic figures provided by the Department for Energy Security & Net Zero due to no metered data being available.

## T27
Table 27 - Connected Generation Changes |  |  |  | Return to Index
| Power Station | MW Change | Node | Generation Zone
There are no contracted generation changes since the Draft Forecast

## T28-31
Tables 28-31 - Revenue Breakdown | [6 empty] | Return to Index
Transmission Revenue Forecast |  |  | National Grid Electricity Transmission |  |  |  | Scottish Power Transmission |  |  |  | SHE Transmission | [5 empty] | NGESO TNUoS Other Pass-Through
|  |  | Initial Forecast | July Forecast | November Draft | January Final | Initial Forecast | July Forecast | November Draft | January Final | Initial Forecast | July Forecast | November Draft | January Final | Notes | Term | Initial Forecast | July Forecast | November Draft | January Final
Inflation 2018/19 |  | PI2018/19 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | 283.3083 | Initial to March 2018/19 average RPI | Embedded Offshore Pass-Through (OFETt) | 0.695 | 0.69453 | 0.69453 | 0.69453
Inflation |  | PIt | 352.7717 | 354.6457 | 355.825 | 366.0101 | 352.7717 | 354.6457 | 355.825 | 366.0101 | 352.7717 | 354.6457 | 355.825 | 366.0101 | Blended RPI-CPIH Inflation | Network Innovation Competition Fund (NICFt) | 3 | 3 | 3 | -0.88861
Opening Base Revenue Allowance (2018/19 prices) | A1 | Rt | 1840.1044 | 1840.1044 | 1726.2824 | 1788.5663 | 412.4247 | 412.4247 | 390.9262 | 383.476 | 772.7009 | 772.7009 | 696.9601 | 706.0311 |  | Strategic Innovation Fund (SIFt) | 45.5 | 45.5 | 60.826 | 60.826
Price Control Financial Model Iteration Adjustment | A2 | ADJt | 0 | 0 | -258.5607 | -216.1425 | 0 | 0 | -21.009 | -30.5896 | 0 | 0 | -145.2406 | -142.7388 |  | The Adjustment Term (ADJt) | 0 | -8.6687 | -8.6687 | -2.5391
[ADJRt = Rt * PIt / PI2018/19 + ADJt] | A | ADJRt | 2291.2731 | 2303.4451 | 1909.5875 | 2094.5317 | 513.5456 | 516.2737 | 469.9801 | 464.8285 | 962.1567 | 967.268 | 730.116 | 769.3928 |  | Offshore Transmission Revenue (OFTOt) and Interconnectors Cap&Floor Revenue Adjustment (TICFt) | 764.7961 | 785.8503 | 869.8685 | 880.0401
SONIA | B1 | It-1 | 4.775% | 4.775% | 4.775% | 4.992% | 4.775% | 4.775% | 4.775% | 4.992% | 4.775% | 4.775% | 4.775% | 4.992% |  | Interconnectors CACM Cost Recovery (ICPt) | -12.878 | -12.878 | -11.0938 | -87.7945
Allowed Revenue | B2 | ARt-1 | 2397.0568 | 2397.0568 | 2363.4478 | 2362.3651 | 0 | 0 | 543.1411 | 542.7862 | 859.1329 | 859.1329 | 848.986 | 849.3593 |  | Site Specific Charges Discrepancy (DISt) | 0 | 0 | 0 | 0
Recovered Revenue | B4 | RRt-1 | 2397.0568 | 2397.0568 | 2363.4478 | 2362.3651 | 0 | 0 | 547.7035 | 549.1565 | 859.1329 | 859.1329 | 859.4706 | 855.9329 |  | Termination Sums (TSt) | 25 | 25 | 25 | 41
Correction Term [Kt = (ARt-1 - RRt-1) * (1 + It-1 + 1.15%)] | B | Kt | 0 | 0 | 0 | 0 | 0 | 0 | -4.8328 | -6.7616 | 0 | 0 | -11.1058 | -6.9774 |  | NGET revenue pass-through (NGETTOt) | 2223.0895 | 2235.2616 | 1840.7983 | 2022.9129
Legacy pass-through | C1 | LPt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | SPT revenue pass-through (TSPt) | 500.8741 | 503.6023 | 452.4118 | 444.6851
Legacy MOD | C2 | LMODt | -56.6589 | -56.6589 | -56.9599 | -59.4105 | -12.0611 | -12.0611 | -12.1252 | -12.5137 | 14.502 | 14.502 | 14.5781 | 15.2912 |  | SHET revenue pass-through (TSHt) | 979.8331 | 984.9444 | 736.8468 | 781.0696
Legacy K correction | C3 | LKt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ESO Bad debt (BDt) | 3.5797 | 3.1205 | 3.1205 | 3.1205
Legacy TRU term | C4 | LTRUt | -11.5246 | -11.5246 | -11.8293 | -12.2083 | -0.70278 | -0.70278 | -0.70278 | -0.96055 | 3.1745 | 3.1745 | 3.2585 | 3.3629 |  | ESO other pass-through items (LFt + ITCt etc) | 42.3779 | 38.2063 | 38.2063 | 42.686
Close out of the RIIO-ET1 stakeholder satisfaction output | C5 | LSSOt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ESO legacy adjustment (LARt) | 0 | 2.6888 | 2.6888 | 2.6888
Close out of the RIIO-1 adjustment in respect of the Environmental Discretionary Reward Scheme | C6 | LEDRt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Total | 4575.8675 | 4606.3219 | 4013.6989 | 4188.5011
Close out of the RIIO-ET1 Incentive in respect of the sulphur hexafluoride (SF6) gas emissions incentive | C7 | LSFIt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Close out of the RIIO-ET1 reliability incentive in respect of energy not supplied | C8 | LRIt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Close out of RIIO-1 Network Outputs | C9 | NOCOt | 0 | 0 | 0 | 0 | 0.092446 | 0.092446 | 0.092446 | 0.092446 | 0 | 0 | 0 | 0
Legacy Adjustment [LAR𝑡 = LPT𝑡 + LMODt + LKt + LTRUt + NOCOt + LSSOt + LEDRt + LSFIt + LRIt] | C | LARt | -68.1835 | -68.1835 | -68.7892 | -71.6188 | -12.6714 | -12.6714 | -12.7355 | -13.3818 | 17.6765 | 17.6765 | 17.8366 | 18.6541
Site Rental Charges |  |  | 0 | 0 |  |  |  | 0 |  |  |  | 0
Total Allowed Revenue [ARt = ADJRt + Kt + LARt] | D | ARt | 2223.0895 | 2235.2616 | 1840.7983 | 2022.9129 | 500.8741 | 503.6023 | 452.4118 | 444.6851 | 979.8331 | 984.9444 | 736.8468 | 781.0696
Notes
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are listed separately, as they do not form part of TOs Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein.
TOs offer this data without prejudice and cannot be held responsible for any loss that might be attributed to the use of this data.
TOs do not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
This forecast contains as much information as can be currently made available.
This respects commercial confidentiality and disclosure considerations.
All £ figures are in money of the day
Information provided in £m to one decimal place

## T32
Table 32 - Offshore Revenues |  |  |  |  | Return to Index
Offshore Transmission Revenue Forecast (£m) | Year |  |  |  | Notes
Regulatory Year | 2021/22 | 2022/23 | 2023/24 | 2024/25
Barrow | 6.713 | 6.9915 | 7.7732 | 8.5266 | Current revenues plus indexation
Gunfleet | 8.393 | 8.7363 | 9.7173 | 10.6717 | Current revenues plus indexation
Walney 1 | 15.3362 | 15.5955 | 17.8069 | 19.3743 | Current revenues plus indexation
Robin Rigg | 9.4335 | 9.8028 | 10.8989 | 11.9538 | Current revenues plus indexation
Walney 2 | 15.1363 | 16.2568 | 18.3051 | 20.016 | Current revenues plus indexation
Sheringham Shoal | 23.3573 | 24.1896 | 26.7431 | 29.4672 | Current revenues plus indexation
Ormonde | 14.1405 | 14.6887 | 16.2228 | 17.8994 | Current revenues plus indexation
Greater Gabbard | 32.1332 | 33.2163 | 37.0073 | 38.8268 | Current revenues plus indexation
London Array | 44.7289 | 46.8089 | 52.563 | 57.308 | Current revenues plus indexation
Thanet | 20.7518 | 21.5639 | 23.9923 | 26.3449 | Current revenues plus indexation
Lincs | 29.9728 | 32.4535 | 33.9996 | 40.8541 | Current revenues plus indexation
Gwynt y mor | 32.9238 | 39.8153 | 37.6025 | 37.439 | Current revenues plus indexation
West of Duddon Sands | 25.3038 | 25.5059 | 28.5141 | 30.3248 | Current revenues plus indexation
Humber Gateway | 14.3951 | 13.3183 | 15.0055 | 16.5892 | Current revenues plus indexation
Westermost Rough | 14.112 | 14.7353 | 16.4738 | 17.9854 | Current revenues plus indexation
Burbo Bank | 14.0659 | 14.6793 | 16.4107 | 17.6846 | Current revenues plus indexation
Dudgeon | 19.5985 | 20.8216 | 22.6461 | 24.884 | Current revenues plus indexation
Race Bank | 27.3832 | 28.8732 | 32.5117 | 35.4389 | Current revenues plus indexation
Galloper | 17.0639 | 17.8352 | 20.0683 | 21.868 | Current revenues plus indexation
Walney 3 | 13.4656 | 14.1117 | 15.8725 | 17.2684 | Current revenues plus indexation
Walney 4 | 13.4656 | 14.1117 | 15.8725 | 17.2684 | Current revenues plus indexation
Hornsea 1A | 137.1262 | 18.4158 | 20.5636 | 22.2369 | Current revenues plus indexation
Hornsea 1B |  | 18.4158 | 20.5636 | 22.2369 | Current revenues plus indexation
Hornsea 1C |  | 18.4158 | 20.5636 | 22.2369 | Current revenues plus indexation
Beatrice |  | 21.1421 | 24.3563 | 25.715 | Current revenues plus indexation
Rampion |  | 15.5 | 17.3983 | 19.7381 | Current revenues plus indexation
East Anglia 1 |  | 68.2662 | 47.4264 | 51.7878 | Current revenues plus indexation
Hornsea 2A |  |  | 138.6856 | 25.2685 | Current revenues plus indexation
Hornsea 2B |  |  |  | 25.2685 | Current revenues plus indexation
Hornsea 2C |  |  |  | 25.2685 | Current revenues plus indexation
Triton Knoll |  |  |  | 41.2546 | Current revenues plus indexation
Forecast to asset transfer to OFTO in 2023/24 |  |  |  | 28.2069 | National Grid Forecast
Forecast to asset transfer to OFTO in 2024/25 |  |  |  | 52.5944 | National Grid Forecast
Offshore Transmission Pass-Through (B7) | 549.0002 | 594.267 | 765.5647 | 879.8064
Notes:
Figures for historic years represent National Grid's forecast of OFTO revenues at the time final tariffs were calculated for each charging year rather than our current best view.
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
SIF & NIC payments are not included as they do not form part of OFTO Maximum Revenue

## TAA
Table AA - Demand Profiles | [6 empty] | Return to Index
Zone | Zone Name | 2024/25 Draft |  |  |  |  | 2024/25 Final |  |  |  |  | 2024/25 Variance
|  | Locational Model Demand (MW) | GROSS Tariff model Peak Demand (MW) | GROSS Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Tariff model Embedded Export (MW) | Locational Model Demand (MW) | GROSS Tariff model Peak Demand (MW) | GROSS Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Tariff model Embedded Export (MW) | Locational Model Demand (MW) | GROSS Tariff model Peak Demand (MW) | GROSS Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh) | Tariff model Embedded Export (MW)
1 | Northern Scotland | -599.2837 | 1341.9832 | 405.9907 | 0.67167 | 1322.1305 | -599.2837 | 1340.4727 | 406.7806 | 0.69793 | 1253.6695 | 0 | -1.5105 | 0.78989 | 0.026254 | -68.461
2 | Southern Scotland | 3654.0316 | 3038.0942 | 1143.6276 | 1.4548 | 913.9478 | 3654.0316 | 3030.2198 | 1132.9772 | 1.5154 | 843.3467 | 0 | -7.8744 | -10.6504 | 0.06056 | -70.6011
3 | Northern | 2341.0025 | 2294.9803 | 965.1556 | 1.0453 | 351.2692 | 2341.0025 | 2298.5158 | 963.7678 | 1.0965 | 366.0451 | 0 | 3.5355 | -1.3878 | 0.051145 | 14.7758
4 | North West | 2659.4103 | 3732.7941 | 1347.5251 | 1.7611 | 483.9991 | 2659.4103 | 3726.7386 | 1348.9306 | 1.845 | 475.8347 | 0 | -6.0555 | 1.4055 | 0.083839 | -8.1643
5 | Yorkshire | 3851.2185 | 3463.5959 | 1328.3954 | 1.6007 | 664.4205 | 3851.2185 | 3467.7975 | 1338.4001 | 1.6862 | 653.4121 | 0 | 4.2016 | 10.0047 | 0.085544 | -11.0085
6 | N Wales & Mersey | 2957.1844 | 2352.3441 | 919.2729 | 1.0911 | 508.4395 | 2957.1844 | 2354.6212 | 922.8377 | 1.1406 | 497.5768 | 0 | 2.2772 | 3.5648 | 0.049541 | -10.8627
7 | East Midlands | 5683.5666 | 4365.6359 | 1595.3422 | 2.0047 | 530.5376 | 5683.5666 | 4372.8799 | 1605.5285 | 2.122 | 525.6007 | 0 | 7.244 | 10.1863 | 0.11731 | -4.9368
8 | Midlands | 4364.3182 | 3870.0483 | 1393.7972 | 1.7728 | 369.5265 | 4364.3182 | 3877.2879 | 1401.8338 | 1.8789 | 372.0331 | 0 | 7.2396 | 8.0366 | 0.10611 | 2.5066
9 | Eastern | 4463.555 | 6024.9944 | 1912.3965 | 2.7929 | 779.6569 | 4459.895 | 6018.3711 | 1910.2495 | 2.9756 | 775.2371 | -3.66 | -6.6233 | -2.147 | 0.18276 | -4.4198
10 | South Wales | 1789.4101 | 1664.5372 | 703.7086 | 0.77086 | 359.2555 | 1789.4101 | 1675.2178 | 717.4651 | 0.80804 | 356.8406 | 0 | 10.6806 | 13.7566 | 0.037178 | -2.415
11 | South East | 2955.6 | 3610.9515 | 1064.7987 | 1.7149 | 342.4655 | 2955.6 | 3613.5321 | 1067.8048 | 1.8243 | 324.2879 | 0 | 2.5806 | 3.0061 | 0.10943 | -18.1777
12 | London | 4862.7232 | 3718.9227 | 1855.8769 | 1.5542 | 137.8404 | 4866.3832 | 3722.5181 | 1858.7112 | 1.6585 | 138.5846 | 3.66 | 3.5953 | 2.8344 | 0.10437 | 0.74421
13 | Southern | 6424.0394 | 5113.397 | 1873.0911 | 2.3091 | 417.7567 | 6424.0394 | 5111.3424 | 1874.9172 | 2.4596 | 427.3146 | 0 | -2.0546 | 1.8261 | 0.15054 | 9.5579
14 | South Western | 1834.7521 | 2429.2828 | 682.3614 | 1.2082 | 300.1689 | 1834.7521 | 2433.3475 | 686.1715 | 1.2681 | 300.8155 | 0 | 4.0647 | 3.8101 | 0.059901 | 0.64653
Total |  | 47241.5282 | 47021.5616 | 17191.3399 | 21.7523 | 7481.4147 | 47241.5282 | 47042.8625 | 17236.3758 | 22.9768 | 7310.5989 | 0 | 21.3009 |  | 1.2245 | -170.8158

## TB
Table B – Non-locational banded charges | [6 empty] | Return to Index
|  | Band | Tariff | Percentile | Threshold (kWh/MWh or kVA) |  | Consumption (GWh) | Consumption Proportion % | Site Count | Final Tariffs TDR Charge (£/site/Annum) | 2024/25 Draft | 2024 Final Tariffs | Variance %
[5 empty] | Lower (>) | Upper (≤)
|  | Domestic | £/Site per Annum |  |  |  | 95232.325 | 37.27% | 29651304.4697 | 38.1738 | 0.098727 | 0.10459 | 5.935%
| kWh | LV_NoMIC_1 |  | ≤ 40% | - | 3571 | 1912.1339 | 0.7483% | 892110.1385 | 25.4756 | 0.065351 | 0.069796 | 6.802%
|  | LV_NoMIC_2 |  | 40 - 70% | 3571 | 12553 | 5244.2694 | 2.052% | 674422.1822 | 92.4226 | 0.23191 | 0.25321 | 9.188%
|  | LV_NoMIC_3 |  | 70 - 85% | 12553 | 25279 | 6169.206 | 2.414% | 343524.5117 | 213.4503 | 0.54082 | 0.58479 | 8.131%
|  | LV_NoMIC_4 |  | > 85% | 25279 | ∞ | 18119.3537 | 7.091% | 338893.1378 | 635.4847 | 1.6933 | 1.7411 | 2.82%
| kVA | LV1 |  | ≤ 40% | - | 80 | 7596.3713 | 2.973% | 79039.412 | 1142.3197 | 2.9387 | 3.1296 | 6.497%
|  | LV2 |  | 40 - 70% | 80 | 150 | 11259.486 | 4.407% | 68868.5 | 1943.2252 | 5.0599 | 5.3239 | 5.218%
|  | LV3 |  | 70 - 85% | 150 | 231 | 7046.4829 | 2.758% | 27032.7586 | 3098.1841 | 8.2667 | 8.4882 | 2.68%
|  | LV4 |  | > 85% | 231 | ∞ | 19752.2596 | 7.73% | 32495.2439 | 7224.7392 | 19.1748 | 19.7938 | 3.228%
|  | HV1 |  | ≤ 40% | - | 422 | 3982.5709 | 1.559% | 7881.2087 | 6006.1459 | 14.8445 | 16.4552 | 10.85%
|  | HV2 |  | 40 - 70% | 422 | 1000 | 11647.1714 | 4.558% | 7638.0911 | 18124.2825 | 45.9033 | 49.6556 | 8.174%
|  | HV3 |  | 70 - 85% | 1000 | 1800 | 9048.0416 | 3.541% | 3092.1278 | 34779.4213 | 90.7699 | 95.2861 | 4.975%
|  | HV4 |  | > 85% | 1800 | ∞ | 25960.5915 | 10.16% | 3469.8276 | 88926.6387 | 231.4196 | 243.6346 | 5.278%
|  | EHV1 |  | ≤ 40% | - | 5000 | 1851.4247 | 0.7246% | 453.8083 | 48490.7381 | 106.2849 | 132.8513 | 25%
|  | EHV2 |  | 40 - 70% | 5000 | 12000 | 4818.2143 | 1.886% | 234.6888 | 244016.3932 | 572.4226 | 668.5381 | 16.79%
|  | EHV3 |  | 70 - 85% | 12000 | 21500 | 5115.5642 | 2.002% | 132.6441 | 458385.3573 | 1157.4042 | 1255.8503 | 8.506%
|  | EHV4 |  | > 85% | 21500 | ∞ | 14234.4948 | 5.571% | 131.6813 | 1284822.9957 | 3151.0672 | 3520.063 | 11.71%
| MWh | T-Demand1 |  | ≤ 40% | - | 33548 | 365.8128 | 0.1432% | 30 | 144931.5301 | 375.2045 | 397.0727 | 5.828%
|  | T-Demand2 |  | 40 - 70% | 33548 | 73936 | 890.7857 | 0.3486% | 18 | 588201.2311 | 1522.7589 | 1611.5102 | 5.828%
|  | T-Demand3 |  | 70 - 93% | 73936 | 189873 | 1614.2354 | 0.6317% | 14 | 1370452.6324 | 3547.8826 | 3754.6647 | 5.828%
|  | T-Demand4 |  | > 93% | 189873 | ∞ | 1468.8945 | 0.5749% | 4 | 4364714.0492 | 11299.5465 | 11958.1207 | 5.828%
Unmetered demand
|  | Unmetered | p/kWh |  |  |  | 2189.4191 | 0.8569% |  |  | 1.1231 | 1.1886 | 5.828%