GENERAL CONDITIONS

(GC)

CONTENTS

(This contents page does not form part of the Grid Code)

Paragraph No/Title	Page Number

GC.1   INTRODUCTION	2

GC.2   SCOPE	2

GC.3   UNFORESEEN CIRCUMSTANCES	2

GC.4   GRID CODE REVIEW PANEL	2

GC.5   COMMUNICATION BETWEEN NGET AND USERS	2

GC.6   MISCELLANEOUS	3

GC.7   OWNERSHIP OF PLANT AND/OR APPARATUS	3

GC.8   SYSTEM CONTROL	3

GC.9   EMERGENCY SITUATIONS	4

GC.10   MATTERS TO BE AGREED	4

GC.11   GOVERNANCE OF ELECTRICAL STANDARDS	4

GC.12   CONFIDENTIALITY	5

GC.13   RELEVANT TRANSMISSION LICENSEES	6

GC.14   BETTA TRANSITION ISSUES	6

GC.15   EMBEDDED EXEMPTABLE LARGE AND MEDIUM POWER STATIONS	6

GC.16   SYSTEM DEFENCE PLAN SYSTEM RESTORATION AND TEST PLAN	6

ANNEX TO THE GENERAL CONDITIONS	9

APPENDIX TO THE GENERAL CONDITIONS	12

GC.1	INTRODUCTION

GC.1.1	The General Conditions contain provisions which are of general application to all provisions of the Grid Code.  Their objective is to ensure, to the extent possible, that the various sections of the Grid Code work together and work in practice for the benefit of all Users.

GC.2	SCOPE

GC.2.1	The General Conditions apply to all Users (including, for the avoidance of doubt, The Company).

GC.3	UNFORESEEN CIRCUMSTANCES

GC.3.1	If circumstances arise which the provisions of the Grid Code have not foreseen, The Company shall, to the extent reasonably practicable in the circumstances, consult promptly and in good faith all affected Users in an effort to reach agreement as to what should be done.  If agreement between The Company and those Users as to what should be done cannot be reached in the time available, The Company shall determine what is to be done.  Wherever The Company makes a determination, it shall do so having regard, wherever possible, to the views expressed by Users and, in any event, to what is reasonable in all the circumstances. Each User shall comply with all instructions given to it by The Company following such a determination provided that the instructions are consistent with the then current technical parameters of the particular User's System registered under the Grid Code.  The Company shall promptly refer all such unforeseen circumstances and any such determination to the Panel for consideration in accordance with GC.4.2(e).

GC.4	NOT USED

GC.5	COMMUNICATION BETWEEN THE COMPANY AND USERS

GC.5.1	Unless otherwise specified in the Grid Code, all instructions given by The Company and communications (other than relating to the submission of data and notices) between The Company and Users (other than Generators, DC Converter Station owners or Suppliers) shall take place between the The Company Control Engineer based at the Transmission Control Centre notified by The Company to each User prior to connection, and the relevant User Responsible Engineer/Operator, who, in the case of a Network Operator, will be based at the Control Centre notified by the Network Operator to The Company prior to connection.

GC.5.2	Unless otherwise specified in the Grid Code, all instructions given by The Company and communications (other than relating to the submission of data and notices) between The Company and Generators and/or DC Converter Station owners and/or Suppliers, shall take place between the The Company Control Engineer based at the Transmission Control Centre notified by The Company to each Generator or DC Converter Station owner prior to connection, or to each Supplier prior to submission of BM Unit Data, and either the relevant Generator's or DC Converter Station owner’s or Supplier’s Trading Point (if it has established one) notified to The Company or the Control Point of the Supplier or the Generator's Power Station or DC Converter Station, as specified in each relevant section of the Grid Code. In the absence of notification to the contrary, the Control Point of a Generator’s Power Station will be deemed to be the Power Station at which the Generating Units or Power Park Modules are situated.

GC.5.3	Unless otherwise specified in the Grid Code, all instructions given by The Company and communications (other than relating to the submission of data and notices) between The Company and Users will be given by means of the Control Telephony referred to in CC.6.5.2.

GC.5.4	If the Transmission Control Centre notified by The Company to each User prior to connection, or the User Control Centre, notified in the case of a Network Operator to The Company prior to connection, is moved to another location, whether due to an emergency or for any other reason, The Company shall notify the relevant User or the User shall notify The Company, as the case may be, of the new location and any changes to the Control Telephony or System Telephony necessitated by such move, as soon as practicable following the move.

GC.5.5	If any Trading Point notified to The Company by a Generator or DC Converter Station owner prior to connection, or by a Supplier prior to submission of BM Unit Data, is moved to another location or is shut down, the Generator, DC Converter Station owner or Supplier shall immediately notify The Company.

GC.5.6	The recording (by whatever means) of instructions or communications given by means of Control Telephony or System Telephony will be accepted by The Company and Users as evidence of those instructions or communications.

GC.6	MISCELLANEOUS

GC.6.1 	Data and Notices

GC.6.1.1	Data and notices to be submitted either to The Company or to Users under the Grid Code (other than data which is the subject of a specific requirement of the Grid Code as to the manner of its delivery) shall be delivered in writing either by hand or sent by first-class pre-paid post, or by facsimile transfer or by electronic mail to a specified address or addresses previously supplied by The Company or the User (as the case may be) for the purposes of submitting that data or those notices.

GC.6.1.2	References in the Grid Code to “in writing” or “written” include typewriting, printing, lithography, and other modes of reproducing words in a legible and non-transitory form and in relation to submission of data and notices includes electronic communications.

GC.6.1.3	Data delivered pursuant to paragraph GC.6.1.1, in the case of data being submitted to The Company, shall be addressed to the Transmission Control Centre at the address notified by The Company to each User prior to connection, or to such other Department within The Company or address, as The Company may notify each User from time to time, and in the case of notices to be submitted to Users, shall be addressed to the chief executive of the addressee (or such other person as may be notified by the User in writing to The Company from time to time) at its address(es) notified by each User to The Company in writing from time to time for the submission of data and service of notices under the Grid Code (or failing which to the registered or principal office of the addressee).

GC.6.1.4	All data items, where applicable, will be referenced to nominal voltage and Frequency unless otherwise stated.

GC.7	OWNERSHIP OF PLANT AND/OR APPARATUS

References in the Grid Code to Plant and/or Apparatus of a User include Plant and/or Apparatus used by a User under any agreement with a third party.

GC.8	SYSTEM CONTROL

Where a User's System (or part thereof) is, by agreement, under the control of The Company, then for the purposes of communication and co-ordination in operational timescales The Company can (for those purposes only) treat that User's System (or part thereof) as part of the National Electricity Transmission System, but, as between The Company and Users, it shall remain to be treated as the User's System (or part thereof).

GC.9	EMERGENCY SITUATIONS

Users should note that the provisions of the Grid Code may be suspended, in whole or in part, during a Security Period, as more particularly provided in the Fuel Security Code, or pursuant to any directions given and/or orders made by the Secretary of State under section 96 of the Act or under the Energy Act 1976.

GC.10	MATTERS TO BE AGREED

Save where expressly stated in the Grid Code to the contrary where any matter is left to The Company and Users to agree and there is a failure so to agree the matter shall not without the consent of both The Company and Users be referred to arbitration pursuant to the rules of the Electricity Supply Industry Arbitration Association.

GC.11	GOVERNANCE OF ELECTRICAL STANDARDS

GC.11.1 	In relation to the Electrical Standards the following provisions shall apply.

GC.11.2 	(a)	If a User, or in respect of the Electrical Standards in (b) to the annex, The Company, or in respect of the Electrical Standards in (a) to the annex, or in respect of the Electrical Standards in (c) or (d) to the annex, the Relevant Scottish Transmission Licensee, wishes to:-

(i)	raise a change to an Electrical Standard;

(ii)	add a new standard to the list of Electrical Standards;

(iii)	delete a standard from being an Electrical Standard,

it shall activate the Electrical Standards procedure.

(b)	The Electrical Standards procedure is the notification to the secretary to the Panel of the wish to so change, add or delete an Electrical Standard.  That notification must contain details of the proposal, including an explanation of why the proposal is being made.

GC.11.3	Ordinary Electrical Standards Procedure

(a)	Unless it is identified as an urgent Electrical Standards proposal (in which case GC.11.4 applies) or unless the notifier requests that it be tabled at the next Panel meeting, as soon as reasonably practicable following receipt of the notification, the Panel secretary shall forward the proposal, with a covering paper, to Panel Members.

(b)	If no objections are raised within 20 Business Days of the date of the proposal, then it shall be deemed approved pursuant to the Electrical Standards procedure, and The Company shall make the change to the relevant Electrical Standard or the list of Electrical Standards contained in the Annex to this GC.11.

(c)	If there is an objection (or if the notifier had requested that it be tabled at the next Panel meeting rather than being dealt with in writing), then the proposal will be included in the agenda for the next following Panel meeting.

(d)	If there is broad consensus at the Panel meeting in favour of the proposal, The Company will make the change to the Electrical Standard or the list of Electrical Standards contained in the Annex to this GC.11.

(e)	If there is no such broad consensus, including where the Panel believes that further consultation is needed, The Company will establish a Panel working group if this was thought appropriate and in any event The Company shall undertake a consultation of Authorised Electricity Operators liable to be materially affected by the proposal.

(f)	Following such consultation, The Company will report back to Panel Members, either in writing or at a Panel meeting.  If there was broad consensus in the consultation, then The Company will make the change to the Electrical Standard or the list of Electrical Standards contained in the Annex to this GC.11.

(g)	Where following such consultation there is no broad consensus, the matter will be referred to the Authority who will decide whether the proposal should be implemented and will notify The Company of its decision.  If the decision is to so implement the change, The Company will make the change to the Electrical Standard or the list of Electrical Standards contained in the Annex to this GC.11.

(h)	In all cases where a change is made to the list of Electrical Standards, The Company will publish and circulate a replacement page for the Annex to this GC covering that list and reflecting the change.

GC.11.4	Urgent Electrical Standards Procedure

(a)	If the notification is marked as an urgent Electrical Standards proposal, the Panel secretary will contact Panel Members in writing to see whether a majority who are contactable agree that it is urgent and in that notification the secretary shall propose a timetable and procedure which shall be followed.

(b)	If such members do so agree, then the secretary will initiate the procedure accordingly, having first obtained the approval of the Authority.

(c)	If such members do not so agree, or if the Authority declines to approve the proposal being treated as an urgent one, the proposal will follow the ordinary Electrical Standards procedure as set out in GC.11.3 above.

(d)	If a proposal is implemented using the urgent Electrical Standards procedure, The Company will contact all Panel Members after it is so implemented to check whether they wish to discuss further the implemented proposal to see whether an additional proposal should be considered to alter the implementation, such proposal following the ordinary Electrical Standards procedure.

GC.12	CONFIDENTIALITY

GC.12.1	Users should note that although the Grid Code contains in certain sections specific provisions which relate to confidentiality, the confidentiality provisions set out in the CUSC apply generally to information and other data supplied as a requirement of or otherwise under the Grid Code.  To the extent required to facilitate the requirements of the EMR Documents, Users that are party to the Grid Code but are not party to the CUSC Framework Agreement agree that the confidentiality provisions of the CUSC are deemed to be imported into the Grid Code.

GC.12.2	The Company has obligations under the STC to inform Relevant Transmission Licensees of certain data.  The Company may pass on User data to a Relevant Transmission Licensee where:

(a)	The Company is required to do so under a provision of Schedule 3 of the STC; and/or

(b)	permitted in accordance with PC.3.4, PC.3.5 and OC2.3.2.

GC.12.3 	The Company has obligations under the EMR Documents to inform EMR Administrative Parties of certain data.  The Company may pass on User data to an EMR Administrative Party where The Company is required to do so under an EMR Document.

GC.12.4                 The Company may use User data for the purpose of carrying out its EMR Functions.

GC.13	RELEVANT TRANSMISSION LICENSEES

GC.13.1	It is recognised that the Relevant Transmission Licensees are not parties to the Grid Code.  Accordingly, notwithstanding that Operating Code No. 8 Appendix 1 (“OC8A”) and Appendix 2 ("OC8B"), OC7.6, OC9.4 and OC9.5 refer to obligations which will in practice be performed by the Relevant Transmission Licensees in accordance with relevant obligations under the STC, for the avoidance of doubt all contractual rights and obligations arising under OC8A, OC8B, OC7.6, OC9.4 and OC9.5 shall exist between The Company and the relevant User and in relation to any enforcement of those rights and obligations OC8A, OC8B, OC7.6, OC9.4 and OC9.5 shall be so read and construed.  The Relevant Transmission Licensees shall enjoy no enforceable rights under OC8A, OC8B, OC7.6, OC9.4 and OC9.5 nor shall they be liable (other than pursuant to the STC) for failing to discharge any obligations under OC8A, OC8B, OC7.6, OC9.4 and OC9.5.

GC.13.2	For the avoidance of doubt nothing in this Grid Code confers on any Relevant Transmission Licensee any rights, powers or benefits for the purpose of the Contracts (Rights of Third Parties) Act 1999.

GC.14	BETTA TRANSITION ISSUES

GC.14.1	The provisions of Part A of the Appendix to the General Conditions apply in relation to issues arising out of the transition associated with the designation of GC Modification Proposals by the Secretary of State in accordance with the provisions of the Energy Act 2004 for the purposes of Condition C14 of The Company’s Transmission Licence.

GC.15	EMBEDDED EXEMPTABLE LARGE AND MEDIUM POWER STATIONS

GC.15.1	This GC.15.1 shall have an effect until and including 31st March 2007.

(i)	CC.6.3.2, CC.6.3.7, CC.8.1 and BC3.5.1; and

(ii)	Planning Code obligations and other Connection Conditions; shall apply to a User who owns or operates an Embedded Exemptable Large Power Station, or a Network Operator in respect of an Embedded Exemptable Medium Power Station, except where and to the extent that, in respect of that Embedded Exemptable Large Power Station or Embedded Exemptable Medium Power Station, The Company agrees or where the relevant User and The Company fail to agree, where and to the extent that the Authority consents.

GC.16 	SYSTEM DEFENCE PLAN, SYSTEM RESTORATION AND TEST PLAN

GC.16.1 	In relation to the System Defence Plan, System Restoration Plan and Test Plan the following provisions shall apply.

GC.16.2 	If a User or The Company, wishes to raise a change to the System Defence Plan, System Restoration Plan or Test Plan, they shall notify the Panel Secretary of the proposed change to the System Defence Plan, System Restoration Plan or Test Plan.

In respect of the System Defence Plan the proposal shall not change the characteristics of the service to be provided or the conditions for aggregation, as any such changes that relate to the terms and conditions for Defence Service Providers; as set out in Article 4 paragraph 4 of Retained EU Law (Commission Regulation (EU) 2017/2196), as amended by Statutory Instrument 533 (2019); is subject to a separate change procedure. That notification must contain details of the proposal, including an explanation of why the proposal is being made.

In respect of the System Restoration Plan, the proposal shall not change the characteristics of the service to be provided or conditions for aggregation or the target geographical distribution of power sources with System Restoration and island operation capabilities, as any such changes  that relate to the terms and conditions for Restoration Service Providers; as set out in Article 4 paragraph 4 of Retained EU Law (Commission Regulation (EU) 2017/2196), as amended by Statutory Instrument 533 (2019); is subject to a separate change procedure. . That notification must contain details of the proposal, including an explanation of why the proposal is being made.

In respect of the Test Plan, the proposal shall include an explanation of why the proposal is being made.

Any such change proposals shall take into account the legitimate expectations, where necessary, of User’s, Defence Service Providers or Restoration Service Providers based on the initially specified or agreed requirements or methodologies.

GC.16.3	Ordinary Procedure

- Unless it is identified as an urgent proposal (in which case GC.16.4 applies) or unless the notifier requests that it be tabled at the next Panel meeting, as soon as reasonably practicable following receipt of the notification, the Panel Secretary shall forward the proposal, with a covering paper, to Panel Members and a consultation of not less than one month shall be undertaken.

- For the System Defence Plan and the System Restoration Plan if no objections are raised following the consultation, then the modification shall be deemed approved, and The Company shall make the change to the System Defence Plan or the System Restoration Plan, and the Panel Secretary shall as soon as reasonably possible, publish it on The Company’s Website and inform Users and other persons who may be interested.

(c)	If there is an objection (or if the notifier had requested that it be tabled at the next Panel meeting rather than being dealt with in writing), then the proposal to change the System Defence Plan or System Restoration Plan or Test Plan will be included on the agenda for the next Panel meeting.

(d)	For the System Defence Plan and the System Restoration Plan if there is a majority consensus at the Panel meeting in favour of the proposal, The Company will make the change to the System Defence Plan or the System Restoration Plan as soon as reasonably possible and the Panel Secretary shall publish it on The Company’s Website and inform Users and other persons who may be interested.

(e)	If there is no such majority consensus in respect of the System Defence Plan or the System Restoration Plan or the Test Plan, The Company will request guidance from the Panel on an appropriate way forward. If the Panel decides a working group is required then the procedure under GR15 shall apply unless otherwise directed by The Authority.

- In the case of a modification to the Test Plan, it shall be submitted to The Authority for approval. If approved The Company will make the change to the Test Plan as soon as reasonably possible and the Panel Secretary shall publish it on The Company’s Website and inform Users and other persons who may be interested.

GC.16.4	Urgent Procedure

(a)	If the notification to change the System Defence Plan or System Restorationor Test Plan is marked as an urgent proposal, the Panel Secretary will contact Panel Members in writing to see whether a majority who are contactable agree that it is urgent and in that case the Panel Secretary shall propose a timetable and procedure which shall be followed.  The Panel Secretary shall as soon as reasonably possible, publish the proposal on The Company’s Website and inform User’s and other persons who may be interested.

(b)	If such Panel Members do so agree, then the Panel Secretary will initiate the procedure accordingly, having first obtained the approval of The Authority that urgency is warranted in accordance with the criteria set out in The Authority’s published guidance.

(c)	If such Panel Members do not so agree, or if The Authority declines to approve the proposal being treated as an urgent one, the proposal will follow the ordinary procedure as set out in GC.16.3.

(d)	If a proposal to change the System Defence Plan or System Restoration Plan is developed using the urgent procedure, The Company will contact all Panel Members after it is agreed as being urgent to check whether they wish to discuss further the proposal to see whether an additional proposal should be considered to alter the implementation, such proposal following the ordinary procedure as provided for in GC.16.3 or, if agreed by The Authority, urgency as provided for in GC16.4.

ANNEX TO THE GENERAL CONDITIONS

The Electrical Standards are as follows:

(a)	Electrical Standards applicable for NGET’s Transmission System

| The Relevant Electrical Standards Document (RES) |  |  | Reference | Issue | Date |
| --- | --- | --- | --- | --- | --- |
| Parts 1 to 3 |  |  |  | 3.0 | March 2018 |
| Part 4 – Specific Requirements |  |  |  |  |  |
| 1 | Back-Up Protection Grading across NGET's and other Network Operator Interfaces | PS(T)044(RES) |  | 1.0 | September 2014 |
| 2 | Ratings and General Requirements for Plant, Equipment, Apparatus and Services for the National Grid System and Connections Points to it. | TS 1 (RES) |  | 1.0 | February 2018 |
| 3 | Substations | TS 2.01 (RES) |  | 1.0 | February 2018 |
| 4 | Switchgear | TS 2.02 (RES) |  | 1.0 | October 2014 |
| 5 | Substation Auxiliary Supplies | TS 2.12 (RES) |  | 1.0 | October 2014 |
| 6 | Ancillary Light Current Equipment | TS 2.19 (RES) |  | 1.0 | October 2014 |
| 7 | Substation Interlocking Schemes | TS 3.01.01 (RES) |  | 1.0 | February 2018 |
| 8 | Earthing Requirements | TS 3.01.02 (RES) |  | 1.0 | October 2014 |
| 9 | Circuit Breakers | TS 3.02.01 (RES) |  | 2.0 | February 2018 |
| 10 | Disconnectors and Earthing Switches | TS 3.02.02 (RES) |  | 1.0 | October 2014 |
| 11 | Current Transformers for Protection and General Use on the 132kV, 275kV and 400kV Systems | TS 3.02.04 (RES) |  | 1.0 | October 2014 |
| 12 | Voltage Transformers | TS 3.02.05 (RES) |  | 1.0 | September 2016 |
| 13 | Bushings | TS 3.02.07 (RES) |  | 1.0 | October 2014 |
| 14 | Solid Core Post Insulators for Substations | TS 3.02.09 (RES) |  | 1.0 | October 2014 |
| 15 | Voltage Dividers | TS 3.02.12 (RES) |  | 1.0 | September 2016 |
| 16 | Gas Insulated Switchgear | TS 3.02.14 (RES) |  | 1.0 | October 2014 |
| 17 | Environmental and Test Requirements for Electronic Equipment | TS 3.24.15 (RES) |  | 1.0 | October 2014 |
| 18 | Busbar Protection | TS 3.24.34 (RES) |  | 1.0 | October 2014 |
| 19 | Circuit Breaker Fail Protection | TS 3.24.39 (RES) |  | 1.0 | October 2014 |
| 20 | Synchronising And Voltage Selection | TS.3.24.60 (RES) |  | 2.0 | January 2018 |
| 21 | System Monitor – Dynamic System Monitoring (DSM) | TS 3.24.70 (RES) |  | 2.0 | February 2018 |
| 22 | System Monitoring – Fault Recording | TS 3.24.71 (RES) |  | 1.0 | February 2018 |
| 23 | Protection & Control for HVDC Systems | TS 3.24.90 (RES) |  | 1.0 | October 2014 |
| 24 | Ancillary Services Business Monitoring | TS 3.24.95 (RES) |  | 2.0 | February 2018 |
| 25 | Operational Data Transmission | TS 3.24.100 (RES) |  | 1.0 | February 2018 |
| 26 | Guidance for Working in Proximity to Live Conductors | TGN(E)186 (RES) |  | 1.0 | October 2018 |
| Additional Requirements |  |  |  |  |  |

(b)	Electronic data communications facilities and other requirements applicable in all Transmission Areas.

| Communications Standards for Electronic Data Communication Facilities and Automatic Logging Devices | Issue 5 |  |
| --- | --- | --- |
| EDT Interface Specification | Issue 4 | 18th Dec 2000 |
| EDT Submitter Guidance Note | Issue 1 | 21st Dec 2001 |
| EDL Message Interface Specification | Issue 6 | 13th Oct 2020 |
| EDL Instruction Interface Valid Reason Codes | Issue 8 | 24th Jan 2024 |
| MODIS Interface Specification | Version 4 | 26th May 2015 |
| Control Telephony Electrical Standard | 3.0 | 4th March 2024 |
| Distribution Restoration Zone Control System High Level Functional Requirements | 1.0 | TBA |

(c)	Scottish Electrical Standards applicable for SPT's Transmission System.

| RES-01-100 | Relevant Electrical Standards for Plant, Equipment and Apparatus for connection to the SP Transmission System | Issue 1 |
| --- | --- | --- |

(d)	Scottish Electrical Standards applicable for SHETL's Transmission System.

| 1. | NGTS 1: | Rating and General Requirements for Plant, Equipment, Apparatus and Services for the National Grid System and Direct Connection to it. Issue 3 March 1999. |
| --- | --- | --- |
| 2. | NGTS 2.1: | Substations Issue 2 May 1995 |
| 3. | NGTS 3.1.1: | Substation Interlocking Schemes. Issue 1 October 1993. |
| 4. | NGTS 3.2.1: | Circuit Breakers and Switches. Issue 1 September 1992. |
| 5. | NGTS 3.2.2: | Disconnectors and Earthing Switches. Issue 1 March 1994. |
| 6. | NGTS 3.2.3: | Metal-Oxide surge arresters for use on 132, 275 and 400kV systems. Issue 2 May 1994. |
| 7. | NGTS 3.2.4: | Current Transformers for protection and General use on the 132, 275 and 400kV systems. Issue 1 September 1992. |
| 8. | NGTS 3.2.5: | Voltage Transformers for use on the 132, 275 and 400 kV systems. Issue 2 March 1994. |
| 9. | NGTS 3.2.6: | Current and Voltage Measurement Transformers for Settlement Metering of 33, 66, 132, 275 and 400kV systems. Issue 1 September 1992. |
| 10. | NGTS 3.2.7: | Bushings for the Grid Systems. Issue 1 September 1992. |
| 11. | NGTS 3.2.9: | Post Insulators for Substations. Issue 1 May 1996. |
| 12. | NGTS 2.6: | Protection Issue 2 June 1994. |
| 13. | NGTS 3.11.1: | Capacitors and Capacitor Banks. Issued 1 March 1993. |

APPENDIX TO THE GENERAL CONDITIONS

PART A

GC.A.1	Introduction

GC.A.1.1	This Appendix Part A to the General Conditions deals with issues arising out of the transition associated with the designation of amendments to the Grid Code by the Secretary of State in accordance with the provisions of the Energy Act 2004 for the purposes of Condition C14 of The Company’s Transmission Licence at that time.  For the purposes of this Appendix to the General Conditions, the version of the Grid Code as amended by the changes designated by the Secretary of State and as further amended from time to time shall be referred to as the “GB Grid Code”. The process and amendments referred to in this Appendix Part A took place before the separation of The Company from NGET and the introduction into the Grid Code of Offshore Transmission Licencees and this Part A shall be construed accordingly.

GC.A.1.2	The provisions of this Appendix Part A to the General Conditions shall only apply to Users (as defined in GC.A.1.4) and The Company after Go-Live for so long as is necessary for the transition requirements referred to in GC.A.1.1 and cut-over requirements (as further detailed in GC.A.3.1) to be undertaken.

GC.A.1.3	In this Appendix Part A to the General Conditions:

(a)	Existing E&W Users and E&W Applicants are referred to as “E&W Users”;

(b)	Users who as at 1 January 2005 have entered into an agreement or have accepted an offer for connection to and/or use of the Transmission System of NGET are referred to as “Existing E&W Users”;

(c)	Users (or prospective Users) other than Existing E&W Users who apply during the Transition Period for connection to and/or use of the Transmission System of NGET are referred to as “E&W Applicants”;

(d)	Existing Scottish Users and Scottish Applicants are referred to as “Scottish Users”;

(e)	Users who as at 1 January 2005 have entered into an agreement or have accepted an offer for connection to and/or use of the Transmission System of either SPT or SHETL are referred to as “Existing Scottish Users”;

(f)	Users (or prospective Users) other than Existing Scottish Users who apply during the Transition Period for connection to and/or use of the Transmission System of either SPT or SHETL are referred to as “Scottish Applicants”;

(g)	the term “Transition Period” means the period from Go-Active to Go-Live (unless it is provided to be different in relation to a particular provision), and is the period with which this AppendixPart A to the General Conditions deals;

(h)	the term “Interim GB SYS” means the document of that name referred to in Condition C11 of The Company’s Transmission Licence;

(i)	the term “Go-Active” means the date on which the amendments designated by the Secretary of State to the Grid Code in accordance with the Energy Act 2004 come into effect; and

(j)	the term “Go-Live” means the date which the Secretary of State indicates in a direction shall be the BETTA go-live date.

GC.A.1.4	The provisions of GC.2.1 shall not apply in respect of this Appendix to the General Conditions, and in this Appendix Part A to the General Conditions the term “Users” means:

(a)	Generators;

(b)	Network Operators;

(c)	Non-Embedded Customers;

(d)	Suppliers;

(e)	BM Participants;

(f)	Externally Interconnected System Operators; and

(g)	DC Converter Station owners

to the extent that the provisions of this Appendix Part A to the General Conditions affect the rights and obligations of such Users under the other provisions of the GB Grid Code.

GC.A.1.5	The GB Grid Code has been introduced with effect from Go-Active pursuant to the relevant licence changes introduced into The Company’s Transmission Licence.  The Company is required to implement and comply, and Users to comply, with the GB Grid Code subject as provided in this Appendix Part A to the General Conditions, which provides for the extent to which the GB Grid Code is to apply to The Company and Users during the Transition Period.

GC.A.1.6	This Appendix Part A to the General Conditions comprises:

(a)	this Introduction;

(b)	GB Grid Code transition issues; and

(c)	Cut-over issues.

GC.A.1.7	Without prejudice to GC.A.1.8, the failure of any User or The Company to comply with this Appendix Part A to the General Conditions shall not invalidate or render ineffective any part of this Appendix Part A to the General Conditions or actions undertaken pursuant to this Appendix to the General Conditions.

GC.A.1.8	A User or The Company shall not be in breach of any part of this Appendix Part A to the General Conditions to the extent that compliance with that part is beyond its power by reason of the fact that any other User or The Company is in default of its obligations under this Appendix Part A to the General Conditions.

GC.A.1.9	Without prejudice to any specific provision under this Appendix Part A to the General Conditions as to the time within which or the manner in which a User or The Company should perform its obligations under this Appendix to the General Conditions, where a User or The Company is required to take any step or measure under this Appendix Part A to the General Conditions, such requirement shall be construed as including any obligation to:

(a)	take such step or measure as quickly as reasonably practicable; and

(b)	do such associated or ancillary things as may be necessary to complete such step or measure as quickly as reasonably practicable.

GC.A.1.10	The Company shall use reasonable endeavours to identify any amendments it believes are needed to the GB Grid Code in respect of the matters referred to for the purposes of Condition C14 of The Company’s Transmission Licence and in respect of the matters identified in GC.A.1.11, and, having notified the Authority of its consultation plans in relation to such amendments, The Company shall consult in accordance with the instructions of the Authority concerning such proposed amendments.

GC.A.1.11	The following matters potentially require amendments to the GB Grid Code:

(a)	The specific detail of the obligations needed to manage implementation in the period up to and following (for a temporary period) Go-Live to achieve the change to operation under the GB Grid Code (to be included in GC.A.3).

(b)	Information (including data) and other requirements under the GB Grid Code applicable to Scottish Users during the Transition Period (to be included in GC.A.2).

(c)	The conclusions of Ofgem/DTI in relation to small and/or embedded generator issues under BETTA and allocation of access rights on a GB basis.

(d)	Any arrangements required to make provision for operational liaison, including SystemSystem Restoration and islanding arrangements in Scotland.

(e)	Any arrangements required to make provision for cascade hydro BM Units.

(f)	Any consequential changes to the safety co-ordination arrangements resulting from STC and STC procedure development.

(g)	Any arrangements required to reflect the Electrical Standards for the Transmission Systems of SPT and SHETL.

(h)	The conclusions of Ofgem/DTI in relation to planning and operating standards.

GC.A.1.12	The Company shall notify the Authority of any amendments that The Company identifies as needed pursuant to GC.A.1.10 and shall make such amendments as the Authority approves.

GC.A.2	GB Grid Code Transition

General Provisions

GC.A.2.1	The provisions of the GB Grid Code shall be varied or suspended (and the requirements of the GB Grid Code shall be deemed to be satisfied) by or in accordance with, and for the period and to the extent set out in this GC.A.2, and in accordance with the other applicable provisions in this Appendix Part A to the General Conditions.

GC.A.2.2	E&W Users:

In furtherance of the licence provisions referred to in GC.A.1.5, E&W Users shall comply with the GB Grid Code during the Transition Period, but shall comply with and be subject to it subject to this Appendix to the General Conditions, including on the basis that:

(a)	during the Transition Period the Scottish Users are only complying with the GB Grid Code in accordance with this Appendix Part A to the General Conditions; and

(b)	during the Transition Period the National Electricity Transmission System shall be limited to the Transmission System of NGET, and all rights and obligations of E&W Users in respect of the National Electricity Transmission System under the GB Grid Code shall only apply in respect of the Transmission System of NGET, and all the provisions of the GB Grid Code shall be construed accordingly.

GC.A.2.3	Scottish Users:

In furtherance of the licence provisions referred to in GC.A.1.5, Scottish Users shall comply with the GB Grid Code and the GB Grid Code shall apply to or in relation to them during the Transition Period only as provided in this Appendix Part A to the General Conditions.

GC.A.2.4	THE COMPANY:

In furtherance of the licence provisions referred to in GC.A.1.5, The Company shall implement and comply with the GB Grid Code during the Transition Period, but shall implement and comply with and be subject to it subject to, and taking into account, all the provisions of this Appendix Part A to the General Conditions, including on the basis that:

(a)	during the Transition Period The Company’s rights and obligations in relation to E&W Users in respect of the National Electricity Transmission System under the GB Grid Code shall only apply in respect of the Transmission System of NGET, and all the provisions of the GB Grid Code shall be construed accordingly; and

(b)	during the Transition Period The Company’s rights and obligations in relation to Scottish Users in respect of the National Electricity Transmission System under the GB Grid Code shall only be as provided in this Appendix Part A to the General Conditions.

Specific Provisions

GC.A.2.5	Definitions:

The provisions of the GB Grid Code Glossary and Definitions shall apply to and for the purposes of this Appendix Part A to the General Conditions except where provided to the contrary in this Appendix Part A to the General Conditions.

GC.A.2.6	Identification of Documents:

In the period beginning at Go-Active, Scottish Users will work with The Company to identify and agree with The Company any documents needed to be in place in accordance with the GB Grid Code, to apply from Go-Live or as earlier provided for under this Appendix Part A to the General Conditions, including (without limitation) Site Responsibility Schedules, Gas Zone Diagrams and OC9 Desynchronised Island Procedures.

GC.A.2.7	Data:

Each Scottish User must provide, or enable a SPT or SHETL to provide, The Company, as soon as reasonably practicable upon request, with all data which The Company needs in order to implement, with effect from Go-Live, the GB Grid Code in relation to Scotland.  This data will include, without limitation, the data that a new User is required to submit to The Company under CC.5.2.  The Company is also entitled to receive data on Scottish Users over SPT or SHETL’s SCADA links to the extent that The Company needs it for use in testing and in order to implement, with effect from Go-Live, the GB Grid Code in relation to Scotland.  After Go-Live such data shall, notwithstanding GC.A.1.2, be treated as though it had been provided to The Company under the enduring provisions of the GB Grid Code.

GC.A.2.8	Verification of Data etc:

The Company shall be entitled to request from a Scottish User (which shall comply as soon as reasonably practicable with such a request) confirmation and verification of any information (including data) that has been received by SPT or SHETL under an existing Grid Code and passed on to The Company in respect of that Scottish User.  After Go-Live such information (including data) shall, notwithstanding GC.A.1.2, be treated as though provided to The Company under the enduring provisions of the GB Grid Code.

GC.A.2.9 	Grid Code Review Panel:

(a)  	The individuals whose names are notified to The Company by the Authority prior to Go-Active as Panel Members (and Alternate Members, if applicable) are agreed by Users (including Scottish Users) and The Company to constitute the Panel Members and Alternate Members of the Grid Code Review Panel as at the first meeting of the Grid Code Review Panel after Go-Active as if they had been appointed as Panel Members (and Alternate Members) pursuant to the relevant provisions of the Constitution and Rules of the Grid Code Review Panel incorporating amendments equivalent to the amendments to GC.4.2 and GC.4.3 designated by the Secretary of State in accordance with the provisions of the Energy Act 2004 for the purposes of Condition C14 of The Company’s Transmission Licence.

(b)	The provisions of GC.4 of the GB Grid Code shall apply to, and in respect of, Scottish Users from Go-Active.

GC.A.2.10	Interim GB SYS:

Where requirements are stated in, or in relation to, the GB Grid Code with reference to the Seven Year Statement, they shall be read and construed as necessary as being with reference to the Interim GB SYS.

GC.A.2.11	General Conditions:

The provisions of GC.4, GC.12 and GC.13.2 of the GB Grid Code shall apply to and be complied with by Scottish Users in respect of this Appendix Part A to the General Conditions.

GC.A.3	Cut-over

GC.A.3.1	It is anticipated that it will be appropriate for arrangements to be put in place for final transition to BETTA in the period up to and following (for a temporary period) Go-Live, for the purposes of:

(a)	managing the transition from operations under the Grid Code as in force immediately prior to Go-Active to operations under the GB Grid Code and the BSC as in force on and after Go-Active;

(b)	managing the transition from operations under the existing Grid Code applicable to Scottish Users as in force immediately prior to Go-Active to operations under the GB Grid Code as in force on and after Go-Active;

(c)	managing the transition of certain data from operations under the existing grid code applicable to Scottish Users before and after Go-Active; and

(d)	managing GB Grid Code systems, processes and procedures so that they operate effectively at and from Go-Live.

GC.A.3.2	(a)	The provisions of BC1 (excluding BC1.5.1, BC1.5.2 and BC1.5.3)  shall apply to and be complied with by Scottish Users and by The Company in respect of such Scottish Users with effect from 11:00 hours on the day prior to Go-Live

(b)	Notwithstanding (a) above, Scottish Users may submit data for Go-Live 3 days in advance of Go-Live on the basis set out in the Data Validation, Consistency and Defaulting Rules which shall apply to Scottish Users and The Company in respect of such Scottish Users on that basis and for such purpose.

(c)	The Operational Day for the purposes of any submissions by Scottish Users prior to Go-Live under a) and b) above for the day of Go-Live shall be 00:00 hours on Go Live to 05:00 hours on the following day.

(d)	The provisions of BC2 shall apply to and be complied with by Scottish Users and by The Company in respect of such Scottish Users with effect from 23:00 hours on the day prior to Go-Live.

(e)	The provisions of OC7.4.8 shall apply to and be complied with by Scottish Users and by The Company in respect of such Scottish Users with effect from 11:00 hours on the day prior to Go-Live.

(f)	In order to facilitate cut-over, Scottish Users acknowledge and agree that The Company will exchange data submitted by such Scottish Users under BC1 prior to Go-Live with the Scottish system operators to the extent necessary to enable the cut-over.

(g)	Except in the case of Reactive Power, Scottish Users should only provide Ancillary Services from Go-Live where they have been instructed to do so by The Company. In the case of Reactive Power, at Go-Live a Scottish User’s MVAr output will be deemed to be the level instructed by The Company under BC2, following this Scottish Users should operate in accordance with BC2.A.2.6 on the basis that MVAr output will be allowed to vary with system conditions.

PART B

GC.B.1	Introduction

GC.B.1.1	This Appendix Part B to the General Conditions deals with issues arising out of the transition associated with the approval and implementation of Grid Code Modification Proposal GC0112 (Modifications relating to the separation of System operations and Transmission Owner roles).

GC.B.1.2	This Appendix Part B sets out the arrangements such that:

B.1.2.1	the Post GC0112 Grid Code reflects the Transfer of the System Operator Role;

B.1.2.2	certain amendments are made to Grid Code Related Agreements/Documents to reflect the Transfer of the System Operator Role,

B.1.2.2	arrangements can be put in place prior to the SO Transfer Date to enable the transition of the operations with NGET under the Pre GC0112 Grid Code to operations with The Company under the Post GC0112 Grid Code; and

B.1.2.3	each User co-operates in relation to the transition.

GC.B.1.3	The provisions of the Post GC0112 Grid Code shall be suspended until the SO Transfer Date except for this Appendix  Part B (and any related definitions within it) which will take immediate effect on the Implementation Date for GC0112.

GC.B.1.4	In this (and solely for the purposes of this) Appendix Part B the following terms have the following meaning:

B.1.4.1 	the term “Grid Code Related Agreements/Documents" shall mean each or any of those  agreements or documents entered into under or envisaged by the Pre GC0112 Grid Code prior to the SO Transfer Date which continue on and after the SO Transfer Date;

B.1.4.2	the term “GC0112" shall mean Grid Code Modification Proposal 0112 (Amendments relating to the transfer of the system operator functions from NGET to NGESO);

B.1.4.3	the term “NGET” shall mean National Grid Electricity Transmission plc;

B.1.4.4	the term “NGESO” shall mean National Grid Electricity System Operator Limited;

B.1.4.5	the term “Post GC0112 Grid Code" means the version of the Grid Code as amended by GC0112;

B.1.4.6	the term “Pre GC Grid Code” means the version of the Grid Code prior to amendment by GC0112;

B.1.4.7 	the term “SO Transfer Date” means the date on which NGET’s Transmission Licence is transferred in part to NGESO to reflect the Transfer of the System Operator Role; and

B.1.4.8	the term “Transfer of the System Operator Role” means the the transfer, by means of the transfer in part of  NGET’s Transmission Licence, of the system operator role to NGESO.

GC.B.1.5	Without prejudice to any specific provision under this Appendix Part B as to the time within which or the manner in which any party should perform its obligations under this Appendix Part B,  where a party is required to take any step or measure under this Appendix Part B, such requirement shall be construed as including any obligation to:

B.1.5.1	take such step or measure as quickly as reasonably practicable; and

B.1.5.2	do such associated or ancillary things as may be necessary to complete such step or measure as quickly as reasonably practicable.

GC.B.2	GC0112: Amendments to Existing Agreements and Documents

GC.B.2.1	Each Grid Code Related Agreement/Document in place or issued by a party in accordance with the terms of the Pre GC0112 Grid Code shall be read and construed, with effect from the SO Transfer Date, as if it (and any defined terms within it and the effect of it and those defined terms) recognise and reflect the Transfer of the SO Functions and as if any references in it to NGET in the context of its system operator role were references to NGESO/The Company as appropriate.

GC.B.2.2	In the context of any Site Responsibility Schedule in existence at the SO Transfer Date and which would require, following the Transfer of the System Operator Role, the signature of either NGESO instead of NGET or both the signature of NGESO and NGET, NGESO and NGET acknowledge and the Users agree that the signature of NGET on such Site Responsibility Schedule shall be considered to be the signature of NGESO and/or NGET as appropriate.

GC.B.3	GC0112: Transition

GC.B.3.1	Each party shall take such steps and do such things in relation to the Grid Code and the Grid Code Related Agreements/Documentation as are within its power and as are reasonably necessary or appropriate in order to give full and timely effect to the Transfer of the SO Role and the transition of the operations, systems, process and procedures and the rights and obligations relating to the Transfer of the SO Role under the Grid Code from NGET to NGESO.

GC. B.3.2	Each party agrees that (a) all things done by NGET pursuant to the Grid Code in its system operator role prior to the SO Transfer Date shall be deemed to have been done by NGESO and (b) all things received by NGET pursuant to the Grid Code in its system operator role (including but not limited to notices) shall be deemed to have been received by NGESO and (c) all things issued by NGET (including but not limited to notices) shall be deemed to have been issued by NGESO.

GC.B.3.3	In particular:

B.1.5.1	Users acknowledge and agree that NGET can exchange information and data submitted by Users under the Grid Code prior to the SO Transfer Date with NGESO to the extent necessary to enable the transition of the system operator role from NGET to NGESO;

B.1.5.2	NGET will identify and publish as soon as practicable and in any event prior to 31 January 2019 any specific requirements (such requirements being reasonable and recognising the timescale) on Users necessary to manage the transition of the operations, systems, process and procedures and the rights and obligations relating to the Transfer of the SO Role under the Grid Code from NGET to NGESO;

B.1.5.2	Users acknowledge that under the Pre GC0112 Grid Code NGET received certain data and information from Users which is no longer “live” data or information (“Legacy Data”) that if it was new data and information of that type would not be available to NGET as a Relevant Transmisison Licence from the SO Transfer Date consent to the retention of such Legacy Data by NGET where embedded in NGET systems or models.

< END OF GENERAL CONDITIONS >