## Slide 1
CMP393/4 Analysis on Storage for constraint management

## Slide 2
Overview
Brief: Pumped storage units in Scotland during high and low wind days with and without active constraints
17, 18 and 19 June 2022 are days of high wind speeds and active constraints in Scotland
Data shows INSLOAD (instructed load), FPNs and BOAs for the BMUs at Cruachan and Foyers
18 December 2021 is used as an example of a low-wind day with no active constraints
Instructed Load shown in green lines, FPNs in blue bars and QBOs in yellow/brown bars (QBO = Quantity of BOAs)
Day-ahead auction prices and BSUoS prices are included
Data for pumped storage at Dinorwig and Ffestiniog on high and low wind days without constraints included

## Slide 3
Chart: Scottish Pumped Storage - 17 June 2022
CRUA-1 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 240 | 240 | 240 | 240 | 240 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -236 | -240 | -240 | -240 | -240 | -240 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 240 | 240 | 240 | 240 | 240 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -183.468 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -492 | -496 | -496 | -496 | -496 | -496 | -276 | -256 | -256 | -256 | -256 | -256 | -256 | -256
CRUA-3 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-3 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-4 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 196.668 | 200 | 200 | 200 | 200 | 200 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -196.668 | -200 | -200 | -200 | -200 | -200 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOYE-1 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -299.668 | -310 | -5.168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285.4 | 300 | 300 | 300 | 300 | 300 | 300 | 295 | 0 | 5.4 | 300 | 295
FOYE-1 QBO | -310 | -310 | -49.832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -65.332 | 0 | 0 | 0 | 0 | -77.9 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -595.4 | -610 | -610 | -610 | -610 | -610 | -610 | -605 | -310 | -315.4 | -610 | -605
FOYE-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4 | 300 | 300 | 300 | 295 | 0 | 0 | 0 | 0 | 0 | 0
FOYE-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4 | -300 | -298 | -299.4 | -283.2 | 0 | 0 | 0 | 0 | 0 | 0
Chart: 
BSUoS Price (£/MWh Hour) | 9.6358 | 9.4121 | 11.8031 | 12.7856 | 14.003 | 12.9005 | 13.9451 | 12.7913 | 16.1313 | 16.6846 | 19.0687 | 19.3896 | 21.9779 | 20.54 | 22.0743 | 21.3395 | 13.3434 | 12.9749 | 12.2515 | 10.3313 | 10.4856 | 9.9734 | 8.2805 | 7.8087 | 8.5103 | 8.3181 | 8.6028 | 8.7255 | 11.7061 | 12.6521 | 13.8947 | 14.3067 | 16.9435 | 17.8046 | 15.6231 | 15.5399 | 18.0127 | 19.4385 | 22.3765 | 21.4428 | 17.8481 | 17.0714 | 19.7047 | 17.7536 | 11.8887 | 10.838 | 14.2593 | 17.9585
Hourly day ahead auction prices in GBP/MWh | 226.34 | 226.34 | 215.48 | 215.48 | 197.67 | 197.67 | 165.85 | 165.85 | 164.92 | 164.92 | 158.69 | 158.69 | 203.97 | 203.97 | 240.53 | 240.53 | 233.47 | 233.47 | 210.38 | 210.38 | 189.23 | 189.23 | 177.57 | 177.57 | 163.76 | 163.76 | 152.55 | 152.55 | 152.53 | 152.53 | 158.9 | 158.9 | 183.01 | 183.01 | 216.46 | 216.46 | 228.32 | 228.32 | 237.2 | 237.2 | 239.87 | 239.87 | 235.29 | 235.29 | 208.87 | 208.87 | 207.98 | 207.98

## Slide 4
Chart: Scottish Pumped Storage - 18 June 2022
CRUA-1 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 188 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 236 | 0 | 0
CRUA-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -188 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -236 | 0 | 0
CRUA-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 108 | 0 | 0
CRUA-2 QBO | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -256 | -115.2 | 0 | 0 | -236 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -108 | 0 | 0
CRUA-3 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.332 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 43.332 | 0 | 0
CRUA-3 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -43.332 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -43.332 | 0 | 0
CRUA-4 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.332 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 176.668 | 0 | 0
CRUA-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -103.332 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -176.668 | 0 | 0
FOYE-1 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4 | 300 | 300 | 300 | 300 | 300 | 300 | 295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 5 | 135.4 | 300 | 300 | 295
FOYE-1 QBO | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -246.168 | -88.232 | -310 | -310 | -315.4 | -610 | -318.832 | -300 | -300 | -300 | -300 | -295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4 | -300 | -300 | -300 | -300 | -300 | -300 | -300 | -300 | -300 | -5 | -135.4 | -300 | -300 | -295
FOYE-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOYE-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: 
BSUoS Price (£/MWh Hour) | 18.5778 | 18.8839 | 19.528 | 18.8663 | 17.1074 | 15.4819 | 16.5679 | 16.7242 | 15.1662 | 13.9261 | 16.3352 | 15.1379 | 13.7291 | 13.2406 | 19.5009 | 23.2493 | 25.5762 | 27.8822 | 24.2291 | 25.5011 | 26.0502 | 24.9933 | 22.4657 | 19.3426 | 20.066 | 21.7017 | 24.3972 | 25.3077 | 22.0297 | 21.1692 | 20.647 | 22.8588 | 23.3697 | 23.0594 | 25.0977 | 26.5063 | 28.8788 | 28.1745 | 27.209 | 24.7427 | 20.5416 | 19.9688 | 20.5905 | 20.683 | 19.938 | 21.3621 | 21.6593 | 22.3121
Hourly day ahead auction prices in GBP/MWh | 179.01 | 179.01 | 166.72 | 166.72 | 158.19 | 158.19 | 152.03 | 152.03 | 150.46 | 150.46 | 158.5 | 158.5 | 165.42 | 165.42 | 159.01 | 159.01 | 168.29 | 168.29 | 155.65 | 155.65 | 138.48 | 138.48 | 122 | 122 | 107.24 | 107.24 | 97.66 | 97.66 | 97.15 | 97.15 | 125.03 | 125.03 | 137.96 | 137.96 | 161.1 | 161.1 | 158.6 | 158.6 | 168.13 | 168.13 | 144.38 | 144.38 | 129.83 | 129.83 | 151.56 | 151.56 | 202.92 | 202.92

## Slide 5
Chart: Cruachan Pumped Storage - 19 June 2022
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48
CRUA-1 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 28 | 0
CRUA-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -28 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -124 | -43.068 | -19.332 | 0
CRUA-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 52 | 0
CRUA-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | -38.4 | -256 | -256 | -256 | -217.6 | 0 | 0 | -4 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -240 | -224.4 | -151.6 | -240 | -231.332 | -141.2 | -52 | 0
CRUA-3 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 170 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 3.332 | 0
CRUA-3 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -170 | -200 | -200 | -200 | -200 | -200 | -200 | -102.668 | -163.332 | -200 | -200 | -200 | -3.332 | 0
CRUA-4 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 196.668 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 63.332 | 0
CRUA-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | -71.568 | -226 | -226 | -226 | -226 | -226 | -139.368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -196.668 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -200 | -156.668 | -17 | -19 | 0
CRUA-1 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 116 | 196.932 | 8.668 | 0
CRUA-2 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | -38.4 | -256 | -256 | -256 | -217.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.6 | 88.4 | 0 | 8.668 | 98.8 | 0 | 0
CRUA-3 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.332 | 36.668 | 0 | 0 | 0 | 0 | 0
CRUA-4 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | -71.568 | -226 | -226 | -226 | -226 | -226 | -139.368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.332 | 183 | 44.332 | 0
Chart: 
BSUoS Price £/MWh Hour | 20.8871 | 21.3847 | 20.8523 | 19.4485 | 21.2472 | 21.1187 | 20.8671 | 21.0202 | 21.2782 | 19.8274 | 23.9975 | 23.257 | 21.8782 | 22.2671 | 22.0085 | 20.1916 | 18.8641 | 17.5193 | 16.1916 | 15.582 | 18.8489 | 17.4809 | 16.6931 | 19.6912 | 18.3235 | 19.9835 | 16.2564 | 16.2461 | 19.7883 | 19.4376 | 19.2651 | 19.5266 | 18.4483 | 16.919 | 27.3133 | 26.4466 | 23.3918 | 21.9387 | 20.3208 | 17.7609 | 16.0871 | 15.5235 | 15.8978 | 15.4862 | 13.7924 | 13.8137 | 9.9218 | 11.8121
Hourly day ahead auction prices in GBP/MWh | 180.83 | 180.83 | 154.18 | 154.18 | 140 | 140 | 129.98 | 129.98 | 121.5 | 121.5 | 119.17 | 119.17 | 119.95 | 119.95 | 99.94 | 99.94 | 113.92 | 113.92 | 122.92 | 122.92 | 127.72 | 127.72 | 147.2 | 147.2 | 171.21 | 171.21 | 135.66 | 135.66 | 124.58 | 124.58 | 118.62 | 118.62 | 149.9 | 149.9 | 161.99 | 161.99 | 197.45 | 197.45 | 200.03 | 200.03 | 201.04 | 201.04 | 200.05 | 200.05 | 186.23 | 186.23 | 168.07 | 168.07

## Slide 6
Chart: 18 December 2021 – Low Wind, No Constraints Active Cruachan Pumped Storage
CRUA-1 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 240 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0 | 0 | 0 | 96 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 76 | 0 | 0 | 56 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | -251.732 | -251.732 | 0 | 0 | 0 | 0 | 0 | -251.732 | -4.268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 240 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-2 QBO | 0 | 0 | 0 | 0 | 0 | -46.932 | -4.268 | 0 | 0 | 0 | 0 | 0 | -89.6 | -4.268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | -12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-3 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-3 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-4 FPN | 0 | 0 | 0 | 0 | 0 | 0 | -222.232 | -3.768 | 0 | 0 | 0 | 0 | 0 | -222.232 | -11.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-1 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0 | 0 | 0 | 96 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 76 | 236 | 240 | 60 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-2 INSLOAD | 0 | 0 | 0 | 0 | 0 | -46.932 | -256 | -251.732 | 0 | 0 | 0 | 0 | -89.6 | -256 | -4.268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-3 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CRUA-4 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | -222.232 | -3.768 | 0 | 0 | 0 | 0 | 0 | -222.232 | -11.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chart: Foyers Pumped Storage
FOYE-1 FPN | 0 | -10.332 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -304.832 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOYE-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235.4 | 300 | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 99.4 | 243.668 | 155.4 | 195 | 4.068 | 25.668 | 103.068 | 187.4 | 68.332 | 0 | 0 | 0 | 105.8 | 35 | 110.4 | 75.8 | 105 | 0 | 100.4 | 0
FOYE-2 FPN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOYE-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FOYE-1 INSLOAD | 0 | -10.332 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -310 | -304.832 | 0 | 0 | 0 | 0 | 0 | 235.4 | 300 | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 99.4 | 243.668 | 155.4 | 195 | 4.068 | 25.668 | 103.068 | 187.4 | 68.332 | 0 | 0 | 0 | 105.8 | 35 | 110.4 | 75.8 | 105 | 0 | 100.4 | 0
FOYE-2 INSLOAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 7
Chart: 19 June 2022 Prices
BSUoS Price £/MWh Hour | 20.8871 | 21.3847 | 20.8523 | 19.4485 | 21.2472 | 21.1187 | 20.8671 | 21.0202 | 21.2782 | 19.8274 | 23.9975 | 23.257 | 21.8782 | 22.2671 | 22.0085 | 20.1916 | 18.8641 | 17.5193 | 16.1916 | 15.582 | 18.8489 | 17.4809 | 16.6931 | 19.6912 | 18.3235 | 19.9835 | 16.2564 | 16.2461 | 19.7883 | 19.4376 | 19.2651 | 19.5266 | 18.4483 | 16.919 | 27.3133 | 26.4466 | 23.3918 | 21.9387 | 20.3208 | 17.7609 | 16.0871 | 15.5235 | 15.8978 | 15.4862 | 13.7924 | 13.8137 | 9.9218 | 11.8121
Hourly day ahead auction prices in GBP/MWh | 180.83 | 180.83 | 154.18 | 154.18 | 140 | 140 | 129.98 | 129.98 | 121.5 | 121.5 | 119.17 | 119.17 | 119.95 | 119.95 | 99.94 | 99.94 | 113.92 | 113.92 | 122.92 | 122.92 | 127.72 | 127.72 | 147.2 | 147.2 | 171.21 | 171.21 | 135.66 | 135.66 | 124.58 | 124.58 | 118.62 | 118.62 | 149.9 | 149.9 | 161.99 | 161.99 | 197.45 | 197.45 | 200.03 | 200.03 | 201.04 | 201.04 | 200.05 | 200.05 | 186.23 | 186.23 | 168.07 | 168.07
Chart: Welsh Pumped Storage - 19 June 2022
DINO-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-2 QBO | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 69 | 180 | 180 | 81 | 0 | 0 | 0 | 0 | 0 | 90 | 20 | 20 | 0 | 20 | 107.5
DINO-3 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-5 QBO | 0 | 0 | 0 | 0 | 0 | 0 | -114.8 | 2.15 | 3 | 2.016 | 48.85 | 0.016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.65 | 4.65 | 0 | 0 | 0 | 0 | 0 | -53.334 | -50 | -22.5 | -37.5 | -55 | -172.5 | 27.5 | 0 | 0 | 0
DINO-6 QBO | 0 | 0 | 0 | 25.166 | 76.75 | 5 | 4.016 | 4 | 50.85 | 6.8 | 206.7 | 0.016 | 0 | 47.5 | 56.8 | 0 | 0 | 61.1 | 4.7 | 18.732 | 85 | 0 | 122.5 | 150 | 150 | 112.5 | 0 | 0 | 18.666 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 10 | -10 | -80 | -35 | -117.5 | -72.5 | 0 | 0 | 0 | 0 | 0 | 0
FFES-1 QBO | 0 | 0 | 0 | 0 | 0 | -13.75 | -75 | -75 | -75 | -75 | -1.316 | 0 | 0 | 0 | 0 | -1.216 | -13.384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0
FFES-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5 | 55.5 | 0 | 57 | 72 | 0 | 0 | 0 | 30 | 15 | 10.5 | 42 | 34.5 | 15 | 48 | 27 | 30 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FFES-3 QBO | 0 | 0 | 0 | 0 | 0 | -3.75 | -75 | -3.75 | -8.75 | -75 | -75 | -46.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FFES-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-2 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 69 | 180 | 180 | 81 | 0 | 0 | 0 | 0 | 0 | 90 | 20 | 20 | 0 | 20 | 107.5

## Slide 8
Chart: 18 December 2021 Prices
BSUoS Price £/MWh Hour | 3.8727 | 5.7107 | 6.0211 | 5.201 | 3.9963 | 2.9813 | 3.0333 | 5.4162 | 4.2965 | 3.4281 | 4.7233 | 6.8115 | 6.6454 | 4.6204 | 4.8883 | 5.1812 | 3.7671 | 6.2816 | 2.8208 | 5.468 | 6.4128 | 5.5163 | 4.2182 | 3.2526 | 5.3328 | 4.8561 | 3.6116 | 1.5089 | 2.7107 | 2.4003 | 2.8056 | 4.3079 | 2.5381 | 4.0298 | 2.8405 | 3.4105 | 5.9534 | 5.3969 | 5.7234 | 5.2861 | 5.4982 | 5.814 | 7.4072 | 9.1964 | 9.4114 | 6.8485 | 8.8276 | 4.7782
Hourly day ahead auction prices in GBP/MWh | 257.41 | 257.41 | 280 | 280 | 243.75 | 243.75 | 227.49 | 227.49 | 226.7 | 226.7 | 239.79 | 239.79 | 253.3 | 253.3 | 245.1 | 245.1 | 268.76 | 268.76 | 296.76 | 296.76 | 302.7 | 302.7 | 319.65 | 319.65 | 316.64 | 316.64 | 319 | 319 | 268.15 | 268.15 | 293.05 | 293.05 | 361.98 | 361.98 | 406.71 | 406.71 | 378.41 | 378.41 | 316.07 | 316.07 | 279.81 | 279.81 | 297.63 | 297.63 | 255.88 | 255.88 | 276.85 | 276.85
Chart: Welsh Pumped Storage - 18 December 2021
DINO-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | -47.5 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-3 QBO | 0 | 0 | 0 | 0 | 4.65 | 8.016 | 6.034 | 4.034 | 2.034 | 1.016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -27.5 | -22.5 | 0 | 0 | 0 | 0 | -75 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | -75 | -12.5 | -17.5 | 0 | -42.5 | -12.5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-5 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-6 QBO | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 0 | 54 | 0 | 35.732 | 0 | 0 | 20 | 0 | 37.5 | 115 | 150 | 77.5 | 47.5 | 142.5 | 0 | 0 | 0 | 20 | 0 | 140 | 50 | 0 | 0 | 0 | 0 | 0 | -12.5 | -2.5 | 77.5 | 32.5 | 2.5 | 190 | 17.5 | 90 | 40 | 0 | 57.5 | 42.5 | 0
FFES-1 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 21 | 0 | 33 | 0 | 0 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 43.5 | 31.5 | 24 | 0 | 0 | 0 | 0 | 0
FFES-2 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FFES-3 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FFES-4 QBO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DINO-2 | 0 | 0 | -167.416 | -285.034 | -283.034 | -281.034 | -279.034 | -277.034 | -275.034 | -272.05 | -270.034 | -268.034 | -111.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280 | 300 | 300 | 300 | 252.5 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0