## Slide 1: Analysis on adjusting the generation rather than demand when adding an additional MW of generation at each node

## Slide 2: Generation reduction reference node modelling
Modelling has been done in line with the suggested legal text, ie at a nodal level after scaling for the relevant background has been performed so includes all generation types that are included in each background as defined by their scaling factors.
Analysis is based on the current years tariffs using the external version of the tariff and transport model
The relative difference between the tariffs in each zone does not change
The Generation tariffs reduce
Corresponding increase in the magnitude of the demand charges

## Slide 3: High level distributional impact
Based on the current years charges
Generation TNUoS charges would collect £302m less
Embedded Generators would receive £57m more
Demand users would pay £359m more
    More collected from Demand Locational Tariffs £444
    So Residual collects less £85

## Slide 4: Generation revenue by zone

## Slide 5: Impact to average domestic user tariff

## Slide 6: Changes to Generation tariffs

## Slide 7: Generation Revenue by tariff and zone

## Slide 8: Changes to Demand tariffs
There is a reduction to the demand residual charge per site of 2.3% for all final demand sites