***STCP 12-1 Issue 006***

***Data Exchange Mechanism***

**STC Procedure Document Authorisation**

|  |  |  |  |
| --- | --- | --- | --- |
| **Party** | **Name of Party Representative** | **Signature** | **Date** |
| The Company |  |  |  |
| National Grid  Electricity Transmission plc |  |  |  |
| SP Transmission Ltd |  |  |  |
| Scottish Hydro-Electric  Transmission Ltd |  |  |  |
| Offshore Transmission Owners |  |  |  |
| Competitively Appointed Transmission Owners |  |  |  |

**STC Procedure Change Control History**

|  |  |  |
| --- | --- | --- |
| Issue 001 | 18/03/2005 |  |
| Issue 002 | 29/03/2005 | BETTA Go-Live version |
| Issue 003 | 31/01/2006 | Incorporating PA034, PA037 and PA041 |
| Issue 004 | 14/01/2011 | Incorporating changes for Offshore Transmission & Removal of the Data Catalogue & Logical Interface Catalogue and adjusted Appendix E to C |
| Issue 005 | 01/04/2019 | Issue 005 – Incorporating National Grid Legal Separation Changes |
| Issue 006 | 25/04/2023 | Issue 006 incorporating use of ‘The Company’ definition as made in the STC PM0130 |
| Issue 007 | Xx/xx/xxxx | CATO Go-Live version |

# Introduction

## Overview

### In the event of any inconsistency between this document and other STCPs, the provisions of those STCPs shall prevail until such times as amendments are agreed and the documents re-aligned.

## Scope

### This document applies to the formal exchange of data between Parties. A formal data exchange represents the transfer between Parties of data files or documents, as defined in the STCPs. All formal data exchanged between Parties is considered excepting the provision of data transferred via the SO-TO Datalink as defined in STCP4-1. These formal exchanges shall form the basis under which Parties meet their obligations under the STC and related procedures.

### Full details and the context in which data is exchanged are contained within the respective STCPs.

### This procedure applies to The Company, as defined in the STC and meaning the licence holder with system operator responsibilities, and each TO.

### For the purposes of this document, the TOs are:

### NGET

### SPT

### SHETL and

### All offshore Transmission Licence holders Objectives

### Competitively Appointed Transmission Licence holders

### The objectives of this document are to:

### provide the framework of data exchange for the processes that define the relationship between The Company and TO(s);

### provide a consolidated list of the timing, content and transfer method as defined within other STC processes by presenting a unified listing of the information exchanges as identified within the individual STCPs;

### define the responsibilities of The Company and TO in relation to the transfer of data between Parties;

### define a process for maintaining consistency across all STC processes; and

### to identify the data items to be exchanged and consolidates those data items into specific data exchange transfers.

### Also, in the absence of specific individual STCP requirements to provide:

### a default audit process; and

### a default data substitution process.

## Background

### Individual STCPs describe the detail of each data exchange. A framework for the exchange of data is required to ensure consistency across all STCPs. It is also necessary to source all the data exchanges within a single document to assist with consistency and co-ordinating the change management process across all STCPs.

### The Services Capability Specification (SCS) and CATO Transmission Interface Site Specification (CTISS) are identified in the STC Section C. The provision of data within the SCS and CTISS (as applicable) should be sufficient as necessary to allow The Company to meet its licence obligations. Where specific data is required, The Company shall specify this to the TO. The applicable sections of the Grid Code Data Registration Code will be used as a starting point for this purpose whilst noting in some instances data over and above that required in this STCP or Grid Code Data Registration Code may be required under specific circumstances (e.g. new and emerging transmission technologies).

# Key Definitions

## For the purposes of STCP12-1:

### **Data Co-ordinator** means the contact(s) provided by each Party responsible for managing the receipt and provision of data is in accordance with STCP12-1.

### **Commissioning Data** meansNormal Capability Limit data supplied for the purposes of allowing pre-commissioning system assessment to be carried out.

### **Final Commissioning Data Status** means Commissioning data supplied by the TO for the purpose of allowing commissioning to take place. Once commissioning of the plant or apparatus has been completed, this data may be used for a short period (approximately 5 working days) while the TO updates the SCS or CATO updates the CTISS to reflect and include all relevant data to allow The Company to comply with its licence conditions.

### **Reactive Compensation Equipment** is not limited to Static Variable Compensators, Capacitors and Series or Shunt Reactors.

# Procedure

## Data Exchange

### Each Party shall provide Data Co-ordinator(s) for the receipt and provision of data. The method of exchange is to be agreed between the sending and receiving Parties and can be automated. If appropriate, this can be achieved by allocating a different contact for specific transfers. The Data Co-ordinator will be referenced as agreed within each exchange.

### When data is provided, the Data Co-ordinator shall ensure:

* the data to be transferred is in the format agreed between the transferring Parties;
* all data required for a transfer flow is available;
* the data is the latest version available unless a specific version of the data is requested;
* that the contents of the exchange are validated by the originating Party as accurate and consistent with existing transfers and their STCPs;
* transfers are recorded in accordance with the requirements of individual STCPs or, in the absence of such requirements, the default change control procedure defined in this document;
* the information passed between STC Parties is limited to that permitted under the STC; and
* the data is provided within the required timescale.

### When receiving data the Data Co-ordinator shall ensure:

* that the data submitted is complete in accordance with the relevant STCPs and fit for use (i.e. the data is not corrupted, drawings are clean and clear etc). For clarity, this does not extend to validating the content of the exchange;
* the information held is updated in a timely manner;
* that the data is distributed internally, notifying relevant persons of changes to that data and ensure that the data is available to them; and
* that receipts are recorded in accordance with the requirements of individual STCPs or, in the absence of such requirements, the default change control procedure defined in this document.

3.1.4 The Parties will review the methods and format of data exchange on a periodic basis.

## Change Control

### As data items are amended a new version of the data transfer file which holds the data item will be issued to all relevant Parties via the Data Co-ordinator.

### In the absence of any specific STCP requirements, transfers will be recorded and acknowledged as outlined below:

#### On issuing a transfer of information the issuing Data Coordinator shall:

### record the date and time of issue;

### record the name of recipients of the exchange;

### send an effective start date and time with the exchange;

### retain a copy of the information provided;

### manage the archiving of superseded data.

#### On receipt of an information transfer, the receiving Data Coordinator shall:

### acknowledge receipt of the file indicating their acceptance/rejection of the information contained therein. Acceptance of receipt is tacit agreement to use the information from the effective start date and time stated provided said date and time is sufficiently in advance of the receipt date and time to permit the recipient to sensibly act upon it. If not, the recipient shall raise the issue with the initiating Party indicating the earliest opportunity that it can be acted upon. If rejecting the exchange, a reason for the rejection shall be provided;

### record the name of issuing contact along with date and time received;

### and if exchange accepted, retain a copy of the latest information provided;

### and if exchange accepted, ensure that the information held is updated and internally available in a timely manner;

### internally, communicate to relevant working groups the revision to the information; and

### manage the archiving of superseded data.

### In the absence of STC or other STCP specific requirements previous submissions may be retained by each Party in accordance with internal data retention and archiving policies.

## Audit

### This section relates to the checking of the consistency of the data held by each Party against the formal submission process. Unless stated within individual STCPs, no regular audits of data are envisaged. The provisions of individual STCPs take precedence over the default arrangements outlined within this procedure.

### Parties shall be responsible for their own internal audit procedures.

### Where a Party has a concern over the accuracy or consistency of the data pertinent to them and held by another Party, they may request an audit of this information, in which case, they will provide an explanation as to why the audit is required. The timing and duration of any such audit will be by mutual consent. In the absence of agreement, a Party may raise a dispute in accordance with the STC.

### When performing an audit, data consistency checks will be undertaken by the following points:

### Each affected Party will provide to the instigating Party a record of the latest versions of information which they are using.

### These records will be examined by the instigating Party who will provide confirmation or otherwise that the correct information is being utilised.

### Where instances are discovered of inconsistent data new data transfer files will be issued and the recipient must notify when their existing files have been updated as described within the relevant STCP or within the guidelines outlined within this document.

## Data Not Supplied

### The provisions of individual STCPs take precedence over the default arrangements for the estimation of data outlined within this procedure.

### If data is not supplied when required by an STCP then that data will be estimated if and when it is necessary to do so.

### Such estimates will, in each case, be based upon data supplied previously under the STCPs or other such data that may be reasonably assumed for that purpose.

### In the event of data not being supplied the proposed user shall notify the appropriate Data Co-ordinator of any estimated data, which it intends to use.

## Supplementary Information Request (SIR)

### This section provides for the formal exchange of supplementary information between The Company and the TO(s) which are not covered by the existing STC or STCP provisions but which may be required to better facilitate the meeting of licence, STC or other requirements identified by The Company or the TO(s).

### Data exchanged under an SIR shall have the same status and standing as all other exchanges covered by the STC and related STCPs.

### On identifying the need for supplementary data, the nominated Data Co-ordinator for the originating Party shall raise and send a formal request using the Supplementary Information Request form (see Appendix B).

### The identifier for the SIR shall combine an identifier for the initiator (e.g. The Company, NGET, SPT, SHETL or PTO) followed by an incremental number.

### Dates shall be provided for the formal response to the SIR and when the actual data provision is required (fields “Date Response Required” and “Originator Date for Data Provision”)

### Where discussions have already taken place, the originating Party may also indicate the names of those resolution contacts.

### The originator shall indicate on the form whether the information requested is required on an on-going basis and therefore requires an STCP amendment. In such cases it is the responsibility of the originating Party to raise such amendments as are necessary and in accordance with the change management process.

### The recipient(s) shall assess and reply to an SIR both indicating acceptance and the limits (including form of transfer) to which such request can be met, or rejection of the request stating the basis for its rejection. The actual data may be transferred with the SIR response or at a later date as agreed and indicated on the SIR form.

### On satisfactory transfer of the agreed data, and where there are no proposed STCP modifications, the SIR shall be closed. Where it has been indicated that an STCP modification is required the SIR shall remain in effect and timely updates to the data provided (in accordance with the SIR) until such times as the STCP modifications are incorporated into those documents.

## STCP Information Request and Acknowledgement

### Requests for information shall have the same status and standing as all other exchanges covered by the STC and STCPs and therefore require a response. This response will be provided on the same form as the request. Furthermore, the detail contained within the form will be dictated by the business context as described in the STCP that triggers the exchange of the form.

### In the absence of a specific form within the STCP that requires the exchange, a form (see Appendix B) is available to either accept or reject the exchanged information. The detail contained within the form will be dictated by the business context within which the form is exchanged as described in the STCP that triggers the exchange of the form.

## Data Co-ordinators

### Data Co-ordinators shall be appointed by each Party. A change to a The Company Data Co-ordinator will require The Company to inform all Parties of that change. A change to a TO Data Co-ordinator will require that TO to inform The Company of that change.

## Services Capability Specification for Offshore TO

### Services Capability data for all TOs is exchanged between the Data Co-ordinators, using the agreed process between the individual TO and The Company. This process may be defined in the specific TO Services Capability Specification Guidance Notes or CTISS Guidance Notes to enable each TO to meet their obligations under the STC.

# Maintenance of this STCP

## As stated above, one objective of this document is to provide a process for maintaining consistency between STC Processes.

## Where a change is proposed to an individual STCP, the following principal steps shall be followed to assess the impact on other STCPs and ensure consistency between documents.

## For each change proposal that impacts on the transfer of any data items:

### Check the Data Item List to see if the data item is already transferred

### If the data item is already transferred, assess the impact against the Item Description, Standard Data Attributes and Detailed Attributes. Check the LIC to identify each instance that the data item is transferred and consider the impact on those entries. Add the entry to the LIC.

### If the data item is not already transferred, then add the transfer to the Data Item List and a corresponding entry in the LIC.

# *Appendix A: Flow Diagram*

Note that the Process Diagrams shown in this Appendix A are for information only. In the event of any contradiction between the process represented in this Appendix and the process described elsewhere in this STCP, then the text elsewhere in this STCP shall prevail.









## Appendix B: Standard Forms / Certificates

### **Supplementary Information Request (SIR)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Originator Ref:** |  | | | | |
| **From:** |  | | | | |
| **To:** |  | | | | |
| **Date:** |  | | | | |
| **Date Response Required[[1]](#footnote-2):** |  | | | | |
| **Resolution Contacts –Originator:** |  | | | | |
| **Recipient:** |  | | | | |
| **Information Required** (please state all data required)**:** | | | | | |
| **Is information to form part of an STCP?** | | | | **Yes/No** | |
| **Purpose / Reason:** | | | | | |
| **Originator Date for Data Provision[[2]](#footnote-3):** | | |  | | |
| **Response:** | | | | | |
| **Data effective from Date/Time[[3]](#footnote-4)** | | **Date:** | | | **Time:** |
| **Provision Target Date[[4]](#footnote-5):** | | | | | **Date SIR Closed:** |

### **STCP Information Request**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **STCP Information Request** | | | **STCP IR Reference[[5]](#footnote-6)** (if any) | | |
| **To:** | **From:** | | **STCP Reference:** | | |
| **Date of Request:** | **Date Response required by:** | | **Response to be sent to:** | | |
| **Information required**  (Please state all data required): |  | | | | |
| **STCP Information Response** | | | | | |
| **Date of Response:** | **Responder:** | | | **Response sent to:** | |
| **Information Provided**  (describe all data and any attachments): | | | | | |
| **Data effective from Date/Time** | | **Date:** | | | **Time:** |

### **STCP Data Exchange Acknowledgement Form**

|  |  |
| --- | --- |
| **STCP Data Exchange Acknowledgement** | |
| **Exchange Accepted/Rejected** |  |
| **Data Transfer Number Received:** |  |
| **Date of Receipt:** |  |
| **Time of Receipt:** |  |
| **Received By:** |  |
| **Passed to:** |  |
| **If Rejected then give reason:** |  |

# Note: this information will need to be provided by automated method when automated method used.

## Appendix C: Services Capability Specification Guidance Notes for Offshore Transmission Owners

These Guidance Notes consists of 3 parts;

Part 1 Services Provided: a description of the services to be provided by the OFTO to The Company.

Part 2 Update Process: a description of the process for updating the OFTO SCS Data.

Part 3 Information to be provided: a description of the SCS Data to be provided by the OFTO to The Company together with example proforma to be used for data submission:

Section 1: Diagrams  
Substation Operational Diagrams  
  
Section 2: Circuits, Plant & Apparatus  
Branch Data  
ZPS Mutual Coupling Data

Circuit Breaker Data  
Transformer Data  
Reactive Compensation Equipment Data  
Thermal Ratings Data  
  
Section 3: Protection

Protection Policy  
Protection & Automatic Switching Schedule

Generator Intertrip Schemes

Demand Intertrip Schemes  
  
Section 4: System Availability

Substation Operational Guide

Sectiopn5: Automatic Control Systems

Automatic Switching Schemes

**SERVICES CAPABILITY SPECIFICATION**

**GUIDANCE NOTES**

**FOR**

**OFFSHORE TRANSMISSION OWNERS**

**(VERSION 1)**

**Contents**

**Part 1 Services Provided**

1. Background
2. Scope
3. Making Available Parts of the Transmission System
4. Update Process

**Part 2 Update Process**

Section 1 SCS Update Process

**Part 3 Information to be Provided**

Section 1 Drawings

Section 2 Circuits, Plant & Apparatus

Section 3 Protection

Section 4 System Availability

Section 5 Automatic Control Systems

**Part 1 - Services Provided**

1. Background
   1. Section C Part 1 paragraph 2.1 of the SO/TO Code states that the TO shall provide services to The Company. These Transmission Services are defined as:
      1. making available those parts of its Transmission System which are intended for the purposes of conveying, or affecting the flow of, electricity, so that such parts are capable of doing so and are fit for those purposes;
      2. a means of enabling The Company to direct the configuration of those parts of that Transmission Owner’s Transmission System made available to it and, consistent with such means, giving effect to any such direction from time to time; and
      3. a means of enabling The Company to obtain information in relation to that Transmission Owner’s Transmission System which is needed by The Company to enable it to co-ordinate and direct the flow of electricity onto and over the GB Transmission System and, consistent with such means, providing information to SO.

1.2 This document is the Services Capability Specification (SCS) Guidance Notes.

1.3 This document also describes the processes for updating the SCS.

1. Scope

2.1 The services described in this document will be provided in respect of the Transmission System owned by the Offshore Transmission Owner (TO).

2.2 For the avoidance of doubt, and as contemplated by the STC, this provides the definitive source of technical limits and parameters to which the system has been designed and should be operated in the absence of specific Operational Capability Limits (OCL).

2.3 Words and phrases in this SCS shall be construed in accordance with the STC except where the context otherwise requires.

2.4 The assets described in this document comprise the system of high voltage electric lines owned by the Offshore TO within its authorised area and includes electrical plant and meters owned or operated by such holders of a transmission licence in connection with the transmission of electricity.

1. Making Available Parts of the Transmission System
   1. This describes in reasonable detail those parts of its Transmission System which the Offshore TO makes available to The Company in accordance with the STC and as referred to in Section 1.1.1 of this Services Capability Schedule. This section includes without limitation information on those parts of the Transmission System, and the parameters, conditions and levels to which they are normally capable of being made available, and the technical limits which that would normally be applied to the provision of this service.

3.2 This section provides an overview of the information to be provided and should be read in conjunction with STCP 12-1 Data Exchange Mechanism and the detailed specification provided in Part 3 of this document. If there are discrepancies between STCP12-1 and this document, STCP12-1 should be taken as being the description of the information to be provided.

3.3 Information Relating To The Transmission System Configuration

3.3.1 This information comprises the Operational diagram which provides a graphical, and connectivity view of their transmission system.

3.3.2 The diagrams referred to in 3.3.1 shall include all HV Apparatus and the connections to all external circuits. They will utilise STCP 10-1 (Asset and Nomenclature) standards of numbering, nomenclature and labelling.

3.3.3 The diagrams will provide a record, which is accurate in all material respects, of the layout and circuit interconnections, ratings & numbering, and nomenclature of HV Apparatus and related Plant.

3.3.4 The diagrams supplied under this Services Capability Specification will conform to the Offshore TO drafting practices and formats.

3.3.5 The diagrams supplied under this section are detailed in Part 3 Section 1 of this document.

3.4 Information Relating to Circuits, Plant and Apparatus

3.4.1 The Offshore TO will for each circuit in their Transmission system provide details of the name and operating voltage.

* + 1. The Offshore TO will for each circuit in their Transmission system provide information to allow The Company to build models of the GB Transmission system. This information shall include positive and zero sequence resistance, reactance and susceptance, all to a 100MVA base. It will also include the zero sequence resistance, reactance and susceptance for the mutual coupling between circuits.

3.4.3 The Offshore TO will provide pre-fault continuous, post-fault continuous and short term ratings for each circuit for the summer, spring/autumn and winter periods.

3.4.4 The Offshore TO will provide for each circuit breaker on their Transmission system details of fault capability.

3.4.5 The Offshore TO will provide for each transformer on their Transmission system details of rated voltages, ratings, voltage ratios, positive and zero sequence resistance, reactance and susceptance, all to a 100MVA base.

3.4.6 The Offshore TO will provide for each Reactive Compensation Equipment on their Transmission system, details of rated voltages, ratings, losses and taps

3.4.7 The ratings referred to in this Section 3.4 that will be supplied for circuits, circuit breakers, transformers, and reactive control devices shall constitute the Normal capability limit (NCL).

3.4.8 Information relating to the NCLs of circuits, which may be made up of overhead and underground sections, will be provided as a composite figure.

3.4.9 For the avoidance of doubt, and as contemplated by the STC, the Operational capability limit (OCL) will be equal to the NCL unless otherwise notified by the Offshore TO.

3.4.10 It is recognised that normal protection and DAR operation following transient faults will temporarily remove the affected plant from operation. This is part of the normal capability of plant and circuits.

* + 1. The information supplied under this section is detailed in part 3 Section 2 of this document.

3.5 Protection Operation and Auto-Switching

* + 1. The Offshore TO will provide information in respect the Offshore TO protection policy in respect of the equipment made available. The Company must operate the Offshore TO Transmission system in accordance with this policy unless authorised to deviate from this policy.

3.5.2 The Offshore TO will provide details of protection and automatic switching operations in schedule format for each circuit.

3.5.3 This schedule will be to provide details of line protection equipment, protection telecommunication services, protection signalling equipment, Intertripping equipment, circuit breaker tripping initialisation, overall clearance times, load limitations, synchronising facilities, DAR schedules and ferroresonance protection.

3.5.4 The information supplied under this section is detailed in Part 3 Section 3 of this document.

3.5.5 The Offshore TO will provide information in respect of System, Generator and Demand Intertripping Schemes made available.

3.6 System Availability

3.6.1 The Offshore TO shall provide details of any transmission system planning derogations.

3.6.2 Where planning derogations impact upon connections, they shall normally be listed in the Connection Site Specification, as set out in the STC Section D2.2.7.3.

3.6.3 The Offshore TO will provide details of any technical limits or other operational matters which apply across its Transmission System, either for a full system or for outage conditions, which are not detailed in other sections.

3.6.4 The Offshore TO will provide details of any technical limits or other operational matters which apply on its Transmission System on a substation by substation basis, either for a full system or for outage conditions.

3.6.5 These technical limits and other operational matters shall be treated by The Company as NCLs, and The Company shall ensure that these NCLs are not breached.

3.6.6 The information supplied under this section is detailed in Part 3 Section 4 of this document.

4. Update Process

4.1 SCS Changes

4.1.1 To allow The Company to operate the system in a safe and secure manner, the Offshore TO shall ensure that the data provided to The Company under the SCS is properly controlled, maintained and ensure that changes are notified within reasonable timescales. The process described more fully in Part 2 Section 1 of this document explains the SCS change mechanism.

4.1.2 Changes to the dataset contained in the SCS will be initiated as a consequence of changes made to the TO Transmission system. Factors, which initiate changes, will include:

* Investment Plans involving commissioning or decommissioning of assets
* Investment Plans not tied to commissioning or decommissioning of assets i.e. a variation to Transmission Services
* The final removal of assets from drawings within the SCS which are not available for operational purposes or available for configuration by The Company after removal from safety distance
* Agreed Form changes
* Agreed refreshes of data, consolidating and confirming previous changes
* Typographical error corrections

4.1.3 The data will be regarded first as Commissioning Data when sent to The Company, and then as SCS Data when incorporated into the SCS under the process described in Part 2 below. For the avoidance of doubt, commissioning data will only become SCS data once the Acceptance Certificate, Part 2 has been signed.

1. Automatic Control Management Systems
   1. SCS Changes
      1. The Offshore TO will provide information in respect of the Offshore TO automatic control management system in respect of the equipment made available. The Company must operate the Offshore TO Transmission system in accordance with this policy unless authorised to deviate from this policy.
      2. The Offshore TO will provide details of automatic control management system operations in schedule format for each circuit.
      3. This schedule will be to provide details of automatic control management equipment, telecommunication services if relevant, switching signalling equipment and sequence mal-operation.
      4. The information supplied under this section is detailed in Part 3 Section 5 of this document.

**Part 2 – Update Process**

**Section 1 - SCS Update Process**

# SCS Updates

# Process – General

1.1.1 The data contained in the SCS will be the definitive source of data supplied by the Offshore TO and to be used by The Company in the operation of the Offshore TO Transmission System.

1.1.2 Changes to the dataset contained in the SCS will arise from the Investment Planning process and from agreed changes to the Form. A general data refresh or correction of typographical errors may also take place pursuant to the investment planning process.

1.1.3 Changes to the SCS data will be initiated when data contained in the SCS changes.

1.1.4 For every data exchange intimated to The Company, pursuant to the SCS, the following records will be maintained:

* a record will be kept of the date and time of issue of the data
* the name of senders and recipients of the data will be recorded
* the proposed effective date and time will be sent along with the notification
* a copy of the information sent will be retained by the Offshore TO

1.1.5 On receipt of a data change, The Company will acknowledge receipt of the revised SCS data. Acceptance of receipt is agreement to use the information from the proposed start date. If The Company rejects the data, then a reason shall be provided.

# Data Updates – Commissioning

1.2.1 Within the time frames specified in STCP 19-4 Commissioning and Decommissioning and ahead of on-load testing, the Offshore TO will send to The Company, data for the scheme that is to be commissioned.

1.2.2 Data sent before on-load testing will be Commissioning Data. This data will not describe any assets that are being made available, but will form the Offshore TO estimate created in line with good industry practice of the parameters and technical limits relating to the scheme that it is proposed will be commissioned. This data will therefore be suitable, for example, for system studies following commissioning of the scheme. This data will also form limits that should be adhered to by The Company during on-load commissioning.

Construction

STCP 16-1 Investment Planning

Form Change

General Refresh

Typographical Corrections

SCS Update Process

SCS

Physical

Scheme

Assets removed from available Transmission System but not from site

SCS Update Processes

1.2.3 For the avoidance of doubt, at any stage during the commissioning process, change data sets sent subject to this process may be updated.

1.2.4 On successful completion of the on-load testing, and when Part 2 of the Acceptance Certificate is signed (STCP 19-4 refers), the data will now have Final Commissioning Data Status and becomes available for operational service and configuration to The Company.

* + 1. At this stage the data becomes SCS data.
    2. However, and as a practical matter, while the data is now SCS data – the data is not contained in the main body of the SCS.
    3. As soon as reasonably practicable following the signing of the Acceptance Certificate Part 2 , the Offshore TO will:
* provide any further updates to the SCS data in respect of any changes to the data which have occurred as a result of the commissioning process, and
* incorporate the data referred to in the main body of the SCS.

# Data Updates – Decommissioning

1.3.1 For the avoidance of doubt, any items of plant which are shown on the Operational diagrams which are shown as not connected to the Offshore TO transmission system, do not form part of the system which the Offshore TO makes available to The Company.

1.3.2 When a Decommissioning Report is signed and declaration \*A on the Decommissioning Report is indicated, then the associated Plant and Apparatus will remain in the relevant drawings in SCS but not available for operational use by The Company. If declaration \*B on the Decommissioning Report is indicated, then the relevant data corresponding to the associated Plant and Apparatus will be removed from the SCS.

* + 1. At this stage the assets ceases to be available, and the changes are made to the SCS data.
    2. The Offshore TO will update the main body of the SCS as in section 1.1 above.

# Data Updates – General Refresh / Typographical Corrections

1.4.1 For general data refreshes/typographical corrections to the data, the Offshore TO will update the main body of the SCS as per section 1.1 above.

**Part 3 – Information to be provided**

**Section 1 – Diagrams**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Item List Reference** |
| Operational diagram | A drawing which includes all HV Apparatus and the connections to all external circuits, with all numbering, nomenclature and labelling | Part 3  Section 1.1 | 126 |

### General Remarks

Operational diagrams form the definitive drawings of the Offshore TO Transmission system.

Operational diagrams may show items which are not connected to the Offshore TO Transmission system, including:

* Plant and Apparatus owned by the Offshore TO but not connected to the Offshore TO Transmission system
* Access roads

For the avoidance of doubt, none of the items shown which are not connected to the Offshore TO Transmission system form part of the system that the Offshore TO makes available to The Company.

Additionally, these diagrams will show Plant and Apparatus owned by Users. For the avoidance of doubt, the SCS is not the definitive statement of either:

* The boundaries (control or commercial) between the Offshore TO Transmission system and that of the Users, or
* Layout and configuration of the User’s Plant and Apparatus

**Section 2 – Circuits, Plant & Apparatus**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data tem List Reference** |
|  |  |  |  |
| Branch Data | Circuit name | Part 3  Section 2.1 | 162 |
|  | Node names |  |  |
|  | Rated / operating voltage |  |  |
|  | Post fault continuous ratings |  |  |
|  | Positive phase sequence resistance (R1) |  |  |
|  | Positive phase sequence reactance (X1) |  |  |
|  | Positive phase sequence susceptance (B1) |  |  |
|  | Zero phase sequence self resistance (R0) |  |  |
|  | Zero phase sequence self reactance (X0) |  |  |
|  | Zero phase sequence self susceptance (B0) |  |  |
|  | Circuit lengths (km) |  |  |
|  | The Company line code |  |  |
|  |  |  |  |
| Mutual Coupling Data | Circuit 1 name | Part 3  Section 2.2 | 162 |
|  | Circuit 2 name |  |  |
|  | Node names |  |  |
|  | Zero sequence mutual resistance (R0m) |  |  |
|  | Zero sequence mutual reactance (X0m) |  |  |
|  | Zero sequence mutual susceptance (B0m) |  |  |
|  | Parameters describing percentages of line coupled |  |  |
|  |  |  |  |
| Circuit Breaker Data | Location / substation | Part 3  Section 2.3 | 163 |
|  | Circuit breaker name |  |  |
|  | Voltage |  |  |
|  | Manufacturer / Model / Type |  |  |
|  | Year commissioned |  |  |
|  | Assumed operating times: |  |  |
|  | Circuit breaker (mS) |  |  |
|  | Minimum protection & trip (mS) |  |  |
|  | Total (mS) |  |  |
|  | Rated RMS continuous current (A) |  |  |
|  | 3 Phase: |  |  |
|  | Fault rating RMS symmetrical (MVA) |  |  |
|  | Fault break rating RMS symmetrical (kA) |  |  |
|  | Fault break rating RMS asymmetrical (kA) |  |  |
|  | Fault break rating MS peak asymmetrical (kA) |  |  |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Item List Reference** |
|  |  |  |  |
| Circuit Breaker Data (continued) | 1 Phase: | Part 3  Section 2.3 | 163 |
|  | Fault rating RMS Symmetrical (MVA) |  |  |
|  | Fault break rating RMS Symmetrical (kA) |  |  |
|  | Fault break rating RMS Asymmetrical (kA) |  |  |
|  | Fault break rating RMS Peak Asymmetrical (kA) |  |  |
|  |  |  |  |
| Transformer Data | Location / substation | Part 3  Section 2.4 | 164 |
|  | Transformer name |  |  |
|  | Voltage HV (kV) |  |  |
|  | Voltage LV (kV) |  |  |
|  | Node names |  |  |
|  | Rating (MVA) |  |  |
|  | PPS parameters: R1 (%100MVA) |  |  |
|  | PPS parameters: X1 (%100MVA) |  |  |
|  | ZPS parameters: R0 (%100MVA) |  |  |
|  | ZPS parameters: X0 (%100MVA) |  |  |
|  | Taps: Tap low (%) |  |  |
|  | Taps: Tap high (%) |  |  |
|  | Taps: Tap step size (%) |  |  |
|  | Winding arrangement (Vector group) |  |  |
|  | Tap changer type |  |  |
|  | Earthing method (direct, resistance or reactance) |  |  |
|  | Earth impedance (ohms) |  |  |
|  | The Company line code |  |  |
|  |  |  |  |
| Reactive Compensation  Equipment Data | Location / substation | Part 3  Section 2.5 | 166 |
|  | Type of equipment (reactor, capacitor, SVC) |  |  |
|  | Equipment name / number |  |  |
|  | Voltage (kV) |  |  |
|  | Node name |  |  |
|  | Rating (MVAr) |  |  |
|  | Electrical parameters |  |  |
|  | Connection |  |  |
|  |  |  |  |
| Short-Term Ratings Data | Composite thermal rating sheets | Part 3  Section 2.6 | 162 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Remarks**

Ratings

Under Branch Data (Part 3, Section 2.1), The Company will insert the appropriate The Company line code. Under Transformer Data (Part 3, Section 2.4), The Company will insert the appropriate line code. The Offshore TO will not change this information in line with Good Industry Practice.

Fault Levels

The Company are permitted to operate the Offshore TO Transmission System up to 100% of the fault capabilities provided in Part 3, Section 2.3.

**Section 3 – Protection**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Equipment Item List Reference** |
|  |  |  |  |
| Protection Policy | Information in respect of Offshore TO Protection Policy | Part 3  Section 3.1 |  |
|  |  |  |  |
| 132kV Protection and Automatic Switching Data | Single Line Diagram | Part 3  Section 3.2 | 168, 169, 171, 172, 178 |
|  | Line protection equipment |  |  |
|  | Protection telecommunication services |  |  |
|  | Protection signalling equipment |  |  |
|  | Intertripping equipment |  |  |
|  | Intertripping & protection unstabilisation equipment |  |  |
|  | Circuit breaker tripping initiation |  |  |
|  | Line fault overall clearance times |  |  |
|  | Load limitations |  |  |
|  | Circuit breakers fail protection |  |  |
|  | Synchronising facilities |  |  |
|  | Auto switching (DAR) schedules |  |  |
|  |  |  |  |
| Generator Intertrip Schemes | Descriptions of Generator Intertrip Schemes | Part 3  Section 3.3 | 173 |
|  |  |  |  |
| Demand Intertrip Schemes | Description of Demand Intertripping Schemes | Part 3  Section 3.4 | 174 |

**Section 4 – System Availability**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Equipment Item List Reference** |
| Planning  Derogations | Derogations from the GBSQSS which pertain to the general transmission system.  Details of site specific derogations will be specified in the appropriate Connection Site Specification. | Part 3  Section 4.1 |  |
|  |  |  |  |
| General  Limitations | Limitations to the operation of the Offshore TO equipment which applies generally across the system and which has not been identified via the parameters and technical limits given above. | Part 3  Section 4.2 |  |
|  |  |  |  |
| Substation Operating Guides | Limitations to the operation of the Offshore TO equipment which is specific to an individual substation, identifying the equipment, the substation and the technical limitations. | Part 3  Section 4.3 | 179 |

**Section 5 – Automatic Control Management Systems**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Equipment Item List Reference** |
|  |  |  |  |
| Auto Control Policy | Information in respect of Offshore TO Automatic Switching Scheme | Part 3  Section 5.1 |  |
|  |  |  |  |
| Auto Control Scheme | Make, Model & Variations of Scheme | Part 3  Section 5.2 | 172 |
|  | Scheme Operational Sequences & Timings |  |  |
|  | Scheme Operational Equipment Diagram |  |  |
|  | Scheme Logic diagram |  |  |
|  |  |  |  |
|  | Scheme Mal-operation Contingency Capability & Limitations | Part 3  Section 5.3 |  |
|  |  |  |  |

**EXAMPLE**



**EXAMPLE**



**EXAMPLE**



**EXAMPLE**



**EXAMPLE**



**EXAMPLE**



**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 3.1 Protection Policy Date: xx/xx/2009**

**PROTECTION POLICY**

# Substation: Wind Farm No1: 132/33kV

**Details of Protection Policy:**

**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 3.2 Protection & Automatic Switching Schedule**

**Circuit: Site End A – Site End B T1 132kV Date: xx/xx/2009**



Reversion: NO

|  |  |  |
| --- | --- | --- |
| **LINE PROTECTION** | SITE END A | SITE END B |
| 1st M.P. |  |  |
| Back-up Earth Fault |  |  |

**Telecommunications Routes**

|  |  |  |
| --- | --- | --- |
| **PROTECTION SIGNALLING** | SITE END A | SITE END B |
| 1st M.P. |  |  |

|  |  |  |
| --- | --- | --- |
| **INTERTRIPPING** | SITE END A | SITE END B |
| 1st Intertrip | YES | YES |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **INTERTRIPPING AND PROTECTION UNSTABILISATION INITIATION** | | SITE END A | | SITE END B | |
| INTERTRIP | UNSTAB. | INTERTRIP | UNSTAB. |
| SOURCE | 1st & 2nd M.P. |  |  |  |  |
| Busbar Protection |  |  |  |  |
| CB Fail Prot |  |  |  |  |
|  |  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SYNCHRONISING FACILITIES** | SITE END A | | SITE END B | |
| **105** | **1T0** | **1T0** |  |
| Dead Line Charge. | YES |  |  |  |
| Circuit Check Synch. |  |  | YES |  |
| Live Circuit Close. |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **TRANSFORMER INFORMATION** | SITE END A | SITE END B |
| N/A | T1 |
| Minimum Trip Load (MVA) (LV EI O/C) |  |  |
| Co-ordinating Gaps in Protected Zone |  |  |

# DAR SEQUENCE SCHEDULES

REVERSION: NO

1**. TRANSIENT LINE FAULT**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A | Close CB 105 to Dead Line Charge | 15 sec |
| SITE END B | Close CB 1T0 to Circuit Check Synch | 20 sec |

DCC – Dead Line Charge SCC – Circuit Cehck Synch

2. **TRANSIENT LINE FAULT WITH FERRO RESONANCE**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A |  | sec |
| SITE END B |  |  |

3. **PERSISTENT LINE FAULT**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A | Close CB 105 to Dead Line Charge & Trips | 15 sec |
| Isol 103 opens | sec |

4. **T1 FAULT AT SITE END A**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A | Close CB105 to Dead Line Charge & Trips | 15 sec |
| Isol 113 opens | sec |
| Close CB 105 to Dead Line Charge | sec |

**NOTES**

1)

|  |  |  |
| --- | --- | --- |
| **Revision & Date** | **Author** | **Reason for revision** |
| Draft |  | First issue. |
|  |  |  |
|  |  |  |

**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 3.3 Generator Intertrip Schemes Date: xx/xx/2009**

**GENERATOR INTERTRIP SCHEMES**

# Substation: Wind Farm No1: 132/33kV

**Details of Generator Intertrip Schemes:**

**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 3.4 Demand Intertrip Schemes Date: xx/xx/2009**

**DEMAND INTERTRIP SCHEMES**

# Substation: Wind Farm No1: 132/33kV

**Details of Demand Intertrip Schemes:**

**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 4.3 Substation Operational Guide Date: xx/xx/2009**

**SUBSTATION OPERATIONAL GUIDE**

# Substation: Wind Farm No1: 132kV

**Location Details:**

|  |  |  |
| --- | --- | --- |
| **Postal Address:** | **Telephone Nos.** | **Map Ref.** |
|  |  |  |

|  |
| --- |
| **System Interface** |
|  |
| **Generator Interface** |
|  |

**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 5.1 Automatic Control Systems Date: xx/xx/2009**

**AUTOMATIC CONTROL POLICY**

# Substation: Wind Farm No1: 132/33kV

**Details of Automatic Control Policy:**

**EXAMPLE**

**Offshore TO Name**

**Services Capability Specification**

**Guidance Notes Reference: Part 3 – 5.2 Automatic Control Schemes Date: xx/xx/2009**

**AUTOMATIC CONTROL SCHEMES**

# Substation: Wind Farm No1: 132/33kV

**Details of Automatic Control Schemes:**

## Appendix D: Abbreviations & Definitions

## Abbreviations

BETTA British Electricity Trading and Transmission Arrangements

CATO Competitively Appointed Transmission Owners

NGET National Grid Electricity plc

SHETL Scottish Hydro-Electric Transmission Ltd

SIR Supplementary Information Request

SO The Company

SPT Scottish Power Transmission Ltd

STC SO-TO Code

STCP SO-TO Code Procedure

TO Transmission Owner

OFTO Offshore Transmission Owner

SCS Services Capability Specification

## Definitions

**STC Definitions Used:**

The Company

**Party (or Parties)**

Normal Capability Limit

Operational Capability Limit

Transmission Services

Connection Site Specification

**Grid Code:**

Operational Diagram

Demand Control

Plant

Apparatus

**Definition used from other STCPs:**

Acceptance Certificate

Decommissioning Report

***Appendix D: CATO Transmission Interface Site Specification (CTISS) Guidance Notes for Competitively Appointed Transmission Owners***

These Guidance Notes consists of 3 parts;

Part 1 Services Provided: a description of the services to be provided by the CATO to The Company and PTO.

Part 2 Update Process: a description of the process for updating the CATO CTISS Data.

Part 3 Information to be provided: a description of the CTISS Data to be provided by the CATO to The Company and PTO together with example proforma to be used for data submission:

Section 1: Diagrams  
Substation Operational Diagrams  
  
Section 2: Circuits, Plant & Apparatus  
Branch Data  
ZPS Mutual Coupling Data

Circuit Breaker Data  
Transformer Data  
Reactive Compensation Equipment Data  
Thermal Ratings Data  
  
Section 3: Protection

Protection Policy  
Protection & Automatic Switching Schedule

Section 4: System Availability

Substation Operational Guide

Section 5: Automatic Control Systems

Automatic Switching Schemes

**CATO TRANSMISSION INTERFACE SITE SPECIFICATION**

**GUIDANCE NOTES**

**FOR**

**COMPETITIVELY APPOINTED TRANSMISSION OWNERS**

**(VERSION 1)**

**Contents**

**Part 1 Services Provided**

1. Background
2. Scope
3. Making Available Parts of the Transmission System
4. Update Process
5. Automatic Control Management Systems

**Part 2 Update Process**

Section 1 CTISS Update Process

**Part 3 Information to be Provided**

Section 1 Diagrams

Section 2 Circuits, Plant & Apparatus

Section 3 Protection

Section 4 System Availability

Section 5 Automatic Control Management Systems

**Part 1 – Services Provided**

1. Background
   1. Section C Part 1 paragraph 2.1 of the SO/TO Code states that the TO shall provide services to The Company. These Transmission Services are defined as:
      1. making available those parts of its Transmission System which are intended for the purposes of conveying, or affecting the flow of, electricity, so that such parts are capable of doing so and are fit for those purposes;
      2. a means of enabling The Company to direct the configuration of those parts of that Transmission Owner’s Transmission System made available to it and, consistent with such means, giving effect to any such direction from time to time; and
      3. a means of enabling The Company to obtain information in relation to that Transmission Owner’s Transmission System which is needed by The Company and the PTO to enable it to co-ordinate and direct the flow of electricity onto and over the GB Transmission System and, consistent with such means, providing information to SO.
   2. This document is the CATO Transmission Interface Site Specification (CTISS) Guidance Notes.
   3. This document also describes the processes for updating the CTISS.
   4. For CATOs using an HVAC System the data submitted shall be in accordance with STCP 12-1 including this Appendix D. Where specific data is required, The Company shall specify this to the CATO. The applicable sections of the Grid Code Data Registration Code will be used as a starting point for this purpose.
   5. For CATOs using an HVDC System the data submitted shall be in accordance with STCP 12-1 and the data required under the Data Registration Code of the Grid Code as applicable to HVDC Systems.
   6. Notwithstanding the requirements of paragraphs 1.4 and 1.5 above, as new types of configurations and operating arrangements of transmission systems emerge in future, The Company may reasonably require additional data to represent correctly the performance of such Plant and Apparatus on the System, where the present data submissions would prove insufficient for the purpose of producing meaningful System studies for the relevant parties.
2. Scope

2.1 The services described in this document will be provided in respect of the Transmission System owned by the Competitively Appointed Transmission Owner (CATO).

* 1. For the avoidance of doubt, and as contemplated by the STC, this provides the definitive source of technical limits and parameters to which the system has been designed and should be operated in the absence of specific Operational Capability Limits (OCL).

2.3 Words and phrases in this CTISS shall be construed in accordance with the STC except where the context otherwise requires.

2.4 The assets described in this document comprise the system of high voltage electric lines owned by the CATO and includes electrical plant and meters owned or operated by such holders of a transmission licence in connection with the transmission of electricity.

3. Making Available Parts of the Transmission System

* 1. This describes in reasonable detail those parts of its Transmission System which the CATO makes available to The Company in accordance with the STC and as referred to in Section 1.1.1 of this CATO Transmission Interface Site Specification. This section includes without limitation information on those parts of the Transmission System, and the parameters, conditions and levels to which they are normally capable of being made available, and the technical limits which that would normally be applied to the provision of this service.
  2. Information Relating to The Transmission System Configuration.
     1. This information comprises the Operational diagram which provides a graphical, and connectivity view of their transmission system.

3.2.2 The diagrams referred to in 3.3.1 shall include all HV Apparatus and the connections to all external circuits. They will utilise STCP 10-1 (Asset and Nomenclature) standards of numbering, nomenclature and labelling.

3.2.3 The diagrams will provide a record, which is accurate in all material respects, of the layout and circuit interconnections, ratings & numbering, and nomenclature of HV Apparatus and related Plant.

3.2.4 The diagrams supplied under this CTISS will conform to the CATO drafting practices and formats.

3.2.5 The diagrams supplied under this section are detailed in Part 3 Section 1 of this document.

* 1. Information Relating to Circuits, Plant and Apparatus
     1. The CATO will for each circuit in their Transmission system provide details of the name and operating voltage.
     2. The CATO will for each circuit in their Transmission system provide information to allow The Company to build models of the GB Transmission system. This information shall include positive and zero sequence resistance, reactance and susceptance, all to a 100MVA base. It will also include the zero sequence resistance, reactance and susceptance for the mutual coupling between circuits.
     3. The CATO will provide pre-fault continuous, post-fault continuous and short-term ratings for each circuit for the summer, spring/autumn and winter periods.
     4. The CATO will provide for each circuit breaker on their Transmission system details of fault capability.

3.3.5 The CATO will provide for each transformer on their Transmission system details of rated voltages, ratings, voltage ratios, positive and zero sequence resistance, reactance and susceptance, all to a 100MVA base.

3.3.6 The CATO will provide for each Reactive Compensation Equipment on their Transmission system, details of rated voltages, ratings, losses and taps.

3.3.7 The ratings referred to in this Section 3.4 that will be supplied for circuits, circuit breakers, transformers, and reactive control devices shall constitute the Normal capability limit (NCL).

3.3.8 Information relating to the NCLs of circuits, which may be made up of overhead and underground sections, will be provided as a composite figure.

* + 1. For the avoidance of doubt, and as contemplated by the STC, the Operational capability limit (OCL) will be equal to the NCL unless otherwise notified by the CATO.
    2. It is recognised that normal protection and DAR operation following transient faults will temporarily remove the affected plant from operation. This is part of the normal capability of plant and circuits.
    3. The information supplied under this section is detailed in part 3 Section 2 of this document.
  1. Protection Operation and Auto-Switching
     1. The CATO will provide information in respect of the CATO protection policy in respect of the equipment made available. The Company must operate the CATO Transmission system in accordance with this policy unless authorised to deviate from this policy.
     2. The CATO will provide details of protection and automatic switching operations in schedule format for each circuit.

3.4.3 This schedule will be to provide details of line protection equipment, protection telecommunication services, protection signalling equipment, Intertripping equipment, circuit breaker tripping initialisation, overall clearance times, load limitations, synchronising facilities, DAR schedules and ferroresonance protection.

3.4.4 The information supplied under this section is detailed in Part 3 Section 3 of this document.

* 1. System Availability
     1. The CATO shall provide details of any transmission system planning derogations.
     2. Where planning derogations impact upon connections, they shall normally be listed in the Connection Site Specification, as set out in the STC Section D2.2.7.3.
     3. The CATO will provide details of any technical limits or other operational matters which apply across its Transmission System, either for a full system or for outage conditions, which are not detailed in other sections.

3.5.4 The CATO will provide details of any technical limits or other operational matters which apply on its Transmission System on a substation by substation basis, either for a full system or for outage conditions.

3.5.5 These technical limits and other operational matters shall be treated by The Company as NCLs, and The Company shall ensure that these NCLs are not breached.

3.5.6 The information supplied under this section is detailed in Part 3 Section 4 of this document.

1. Update Process

4.1 CTISS Changes

4.1.1 To allow The Company to operate the system in a safe and secure manner, the CATO shall ensure that the data provided to The Company under the CTISS is properly controlled, maintained and ensure that changes are notified within reasonable timescales. The process described more fully in Part 2 Section 1 of this document explains the CTISS change mechanism.

4.1.2 Changes to the dataset contained in the CTISS will be initiated as a consequence of changes made to the TO Transmission system. Factors, which initiate changes, will include:

Investment Plans involving commissioning or decommissioning of assets

Investment Plans not tied to commissioning or decommissioning of assets i.e. a variation to Transmission Services

The final removal of assets from drawings within the CTISS which are not available for operational purposes or available for configuration by The Company after removal from safety distance

Agreed Form changes

Agreed refreshes of data, consolidating and confirming previous changes

Typographical error corrections

4.1.3 The data will be regarded first as Commissioning Data when sent to The Company, and then as CTISS Data when incorporated into the CTISS under the process described in Part 2 below. For the avoidance of doubt, commissioning data will only become CTISS data once the Acceptance Certificate, Part 2 has been signed.

1. Automatic Control Management Systems
   1. CTISS Changes
      1. The CATO will provide information in respect of the CATO automatic control management system in respect of the equipment made available. The Company must operate the CATO Transmission system in accordance with this policy unless authorised to deviate from this policy.
      2. The CATO will provide details of automatic control management system operations in schedule format for each circuit.
      3. This schedule will be to provide details of automatic control management equipment, telecommunication services if relevant, switching signalling equipment and sequence mal-operation.
      4. The information supplied under this section is detailed in Part 3 Section 5 of this document.

**Part 2 – Update Process**

**Section 1 - CTISS Update Process**

* + - 1. CTISS Updates

1.1 Process – General

1.1.1 The data contained in the CTISS will be the definitive source of data supplied by the CATO and to be used by The Company in the operation of the CATO Transmission System.

1.1.2 Changes to the dataset contained in the CTISS will arise from the Investment Planning process and from agreed changes to the Form. A general data refresh or correction of typographical errors may also take place pursuant to the investment planning process.

1.1.3 Changes to the CTISS data will be initiated when data contained in the CTISS changes.

1.1.4 For every data exchange intimated to The CATO, pursuant to the CTISS, the following records will be maintained:

* a record will be kept of the date and time of issue of the data
* the name of senders and recipients of the data will be recorded
* the proposed effective date and time will be sent along with the notification
* a copy of the information sent will be retained by the CATO

1.1.5 On receipt of a data change, The Company will acknowledge receipt of the revised CTISS data. Acceptance of receipt is agreement to use the information from the proposed start date. If The Company rejects the data, then a reason shall be provided.

1.2 Data Updates – Commissioning

1.2.1 Within the time frames specified in STCP 19-4 Commissioning and Decommissioning and ahead of on-load testing, the CATO will send to The Company and the PTO, data for the scheme that is to be commissioned.

1.2.2 Data sent before on-load testing will be Commissioning Data. This data will not describe any assets that are being made available but will form the CATO estimate created in line with good industry practice of the parameters and technical limits relating to the scheme that it is proposed will be commissioned. This data will therefore be suitable, for example, for system studies following commissioning of the scheme. This data will also form limits that should be adhered to by The Company and PTO during on-load commissioning.

STCP 19-4 Commissioning

Construction

STCP 16-1 Investment Planning

Form Change

General Refresh

Typographical Corrections

CTISS Update Process

CTISS

Physical

Scheme

Assets removed from available Transmission System but not from site

CTISS Update Processes

* + 1. For the avoidance of doubt, at any stage during the commissioning process change data sets sent subject to this process may be updated.
    2. On successful completion of the on-load testing, and when Part 2 of the Acceptance Certificate is signed (STCP 19-4 refers), the data will now have Final Commissioning Data Status and becomes available for operational service and configuration to The Company.
    3. At this stage the data becomes CTISS data.
    4. However, and as a practical matter, while the data is now CTISS data – the data is not contained in the main body of the CTISS.
    5. As soon as reasonably practicable following the signing of the Acceptance Certificate Part 2, the CATO will:
* provide any further updates to the CTISS data in respect of any changes to the data which have occurred as a result of the commissioning process, and
* incorporate the data referred to in the main body of the CTISS.

1.3 Data Updates – Decommissioning

1.3.1 For the avoidance of doubt, any items of plant which are shown on the Operational diagrams which are shown as not connected to the CATO transmission system, do not form part of the system which the CATO makes available to The Company and the PTO.

* + 1. When a Decommissioning Report is signed and declaration \*A on the Decommissioning Report is indicated, then the associated Plant and Apparatus will remain in the relevant drawings in CTISS but not available for operational use by The Company. If declaration \*B on the Decommissioning Report is indicated, then the relevant data corresponding to the associated Plant and Apparatus will be removed from the CTISS.
    2. At this stage the assets cease to be available, and the changes are made to the CTISS data.
    3. The CATO will update the main body of the CTISS as in section 1.1 above.

1.4 Data Updates – General Refresh / Typographical Corrections

1.4.1 For general data refreshes/typographical corrections to the data, the CATO will update the main body of the CTISS as per section 1.1 above.

**Part 3 – Information to be provided**

**Section 1 – Diagrams**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Item List Reference** |
| Operational diagram | A drawing which includes all HV Apparatus and the connections to all external circuits, with all numbering, nomenclature and labelling | Part 3  Section 1.1 | 126 |

General Remarks

Operational diagrams form the definitive drawings of the CATO Transmission system.

Operational diagrams may show items which are not connected to the CATO Transmission system, including:

* Plant and Apparatus owned by the CATO but not connected to the CATO Transmission system
* Access roads

For the avoidance of doubt, none of the items shown which are not connected to the CATO Transmission system form part of the system that the CATO makes available to The Company and PTO.

Additionally, these diagrams will show Plant and Apparatus owned by Users. For the avoidance of doubt, the CTISS is not the definitive statement of either:

* The boundaries (control or commercial) between the CATO Transmission system and that of a PTO, or

**Section 2 – Circuits, Plant & Apparatus**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data tem List Reference** |
|  |  |  |  |
| Branch Data | Circuit name | Part 3  Section 2.1 | 162 |
|  | Node names |  |  |
|  | Rated / operating voltage |  |  |
|  | Post fault continuous ratings |  |  |
|  | Positive phase sequence resistance (R1) |  |  |
|  | Positive phase sequence reactance (X1) |  |  |
|  | Positive phase sequence susceptance (B1) |  |  |
|  | Zero phase sequence self resistance (R0) |  |  |
|  | Zero phase sequence self reactance (X0) |  |  |
|  | Zero phase sequence self susceptance (B0) |  |  |
|  | Circuit lengths (km) |  |  |
|  | The Company line code |  |  |
|  |  |  |  |
| Mutual Coupling Data | Circuit 1 name | Part 3  Section 2.2 | 162 |
|  | Circuit 2 name |  |  |
|  | Node names |  |  |
|  | Zero sequence mutual resistance (R0m) |  |  |
|  | Zero sequence mutual reactance (X0m) |  |  |
|  | Zero sequence mutual susceptance (B0m) |  |  |
|  | Parameters describing percentages of line coupled |  |  |
|  |  |  |  |
| Circuit Breaker Data | Location / substation | Part 3  Section 2.3 | 163 |
|  | Circuit breaker name |  |  |
|  | Voltage |  |  |
|  | Manufacturer / Model / Type |  |  |
|  | Year commissioned |  |  |
|  | Assumed operating times: |  |  |
|  | Circuit breaker (mS) |  |  |
|  | Minimum protection & trip (mS) |  |  |
|  | Total (mS) |  |  |
|  | Rated RMS continuous current (A) |  |  |
|  | 3 Phase: |  |  |
|  | Fault rating RMS symmetrical (MVA) |  |  |
|  | Fault break rating RMS symmetrical (kA) |  |  |
|  | Fault break rating RMS asymmetrical (kA) |  |  |
|  | Fault break rating MS peak asymmetrical (kA) |  |  |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Item List Reference** |
|  |  |  |  |
| Circuit Breaker Data (continued) | 1 Phase: | Part 3  Section 2.3 | 163 |
|  | Fault rating RMS Symmetrical (MVA) |  |  |
|  | Fault break rating RMS Symmetrical (kA) |  |  |
|  | Fault break rating RMS Asymmetrical (kA) |  |  |
|  | Fault break rating RMS Peak Asymmetrical (kA) |  |  |
|  |  |  |  |
| Transformer Data | Location / substation | Part 3  Section 2.4 | 164 |
|  | Transformer name |  |  |
|  | Voltage HV (kV) |  |  |
|  | Voltage LV (kV) |  |  |
|  | Node names |  |  |
|  | Rating (MVA) |  |  |
|  | PPS parameters: R1 (%100MVA) |  |  |
|  | PPS parameters: X1 (%100MVA) |  |  |
|  | ZPS parameters: R0 (%100MVA) |  |  |
|  | ZPS parameters: X0 (%100MVA) |  |  |
|  | Taps: Tap low (%) |  |  |
|  | Taps: Tap high (%) |  |  |
|  | Taps: Tap step size (%) |  |  |
|  | Winding arrangement (Vector group) |  |  |
|  | Tap changer type |  |  |
|  | Earthing method (direct, resistance or reactance) |  |  |
|  | Earth impedance (ohms) |  |  |
|  | The Company line code |  |  |
|  |  |  |  |
| Reactive Compensation  Equipment Data | Location / substation | Part 3  Section 2.5 | 166 |
|  | Type of equipment (reactor, capacitor, SVC) |  |  |
|  | Equipment name / number |  |  |
|  | Voltage (kV) |  |  |
|  | Node name |  |  |
|  | Rating (MVAr) |  |  |
|  | Electrical parameters |  |  |
|  | Connection |  |  |
|  |  |  |  |
| Short-Term Ratings Data | Composite thermal rating sheets | Part 3  Section 2.6 | 162 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Remarks**

Ratings

Under Branch Data (Part 3, Section 2.1), The Company will insert the appropriate The Company line code. Under Transformer Data (Part 3, Section 2.4), The Company will insert the appropriate line code. CATO will not change this information in line with Good Industry Practice.

Fault Levels

The Company are permitted to operate the CATO Transmission System up to 100% of the fault capabilities provided in Part 3, Section 2.3.

**Section 3 – Protection**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Equipment Item List Reference** |
|  |  |  |  |
| Protection Policy | Information in respect of Offshore TO Protection Policy | Part 3  Section 3.1 |  |
|  |  |  |  |
| 132kV Protection and Automatic Switching Data | Single Line Diagram | Part 3  Section 3.2 | 168, 169, 171, 172, 178 |
|  | Line protection equipment |  |  |
|  | Protection telecommunication services |  |  |
|  | Protection signalling equipment |  |  |
|  | Intertripping equipment |  |  |
|  | Intertripping & protection unstabilisation equipment |  |  |
|  | Circuit breaker tripping initiation |  |  |
|  | Line fault overall clearance times |  |  |
|  | Load limitations |  |  |
|  | Circuit breakers fail protection |  |  |
|  | Synchronising facilities |  |  |
|  | Auto switching (DAR) schedules |  |  |

**Section 4 – System Availability**

Information / data to be supplied

|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Equipment Item List Reference** |
| Planning  Derogations | Derogations from the GBSQSS which pertain to the general transmission system.  Details of site-specific derogations will be specified in the appropriate CTISS. | Part 3  Section 4.1 |  |
|  |  |  |  |
| General  Limitations | Limitations to the operation of the CATO equipment which applies generally across the system and which has not been identified via the parameters and technical limits given above. | Part 3  Section 4.2 |  |
|  |  |  |  |
| Substation Operating Guides | Limitations to the operation of the CATO equipment which is specific to an individual substation, identifying the equipment, the substation and the technical limitations. | Part 3  Section 4.3 | 179 |


**Section 5 – Automatic Control Management Systems**

Information / data to be supplied


|  |  |  |  |
| --- | --- | --- | --- |
| **Items** | **Description** | **Reference** | **STCP12-1**  **Data Equipment Item List Reference** |
|  |  |  |  |
| Auto Control Policy | Information in respect of CATO Automatic Switching Scheme | Part 3  Section 5.1 |  |
|  |  |  |  |
| Auto Control Scheme | Make, Model & Variations of Scheme | Part 3  Section 5.2 | 172 |
|  | Scheme Operational Sequences & Timings |  |  |
|  | Scheme Operational Equipment Diagram |  |  |
|  | Scheme Logic diagram |  |  |
|  |  |  |  |
|  | Scheme Mal-operation Contingency Capability & Limitations | Part 3  Section 5.3 |  |
|  |  |  |  |

**EXAMPLE**


[Grab your reader’s attention with a great quote from the document or use this space to emphasize a key point. To place this text box anywhere on the page, just drag it.]




**EXAMPLE**




**EXAMPLE**




**EXAMPLE**



**EXAMPLE**



**EXAMPLE**



**EXAMPLE**

**CATO Name**

**CATO Transmission Interface Site Specification**

**Guidance Notes Reference: Part 3 – 3.1 Protection Policy Date: xx/xx/2009**

**PROTECTION POLICY**

**Substation: No1: 132/33kV**

**Details of Protection Policy:**

**EXAMPLE**

**CATO Name**

**CATO Transmission Interface Site Specification**

**Guidance Notes Reference: Part 3 – 3.2 Protection & Automatic Switching Schedule**

**Circuit: Site End A – Site End B T1 132kV Date: xx/xx/2009**

****

Reversion: NO

|  |  |  |
| --- | --- | --- |
| **LINE PROTECTION** | SITE END A | SITE END B |
| 1st M.P. |  |  |
| Back-up Earth Fault |  |  |

**Telecommunications Routes**

|  |  |  |
| --- | --- | --- |
| **PROTECTION SIGNALLING** | SITE END A | SITE END B |
| 1st M.P. |  |  |

|  |  |  |
| --- | --- | --- |
| **INTERTRIPPING** | SITE END A | SITE END B |
| 1st Intertrip | YES | YES |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **INTERTRIPPING AND PROTECTION UNSTABILISATION INITIATION** | | SITE END A | | SITE END B | |
| INTERTRIP | UNSTAB. | INTERTRIP | UNSTAB. |
| SOURCE | 1st & 2nd M.P. |  |  |  |  |
| Busbar Protection |  |  |  |  |
| CB Fail Prot |  |  |  |  |
|  |  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SYNCHRONISING FACILITIES** | SITE END A | | SITE END B | |
| **105** | **1T0** | **1T0** |  |
| Dead Line Charge. | YES |  |  |  |
| Circuit Check Synch. |  |  | YES |  |
| Live Circuit Close. |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **TRANSFORMER INFORMATION** | SITE END A | SITE END B |
| N/A | T1 |
| Minimum Trip Load (MVA) (LV EI O/C) |  |  |
| Co-ordinating Gaps in Protected Zone |  |  |

1. **DAR SEQUENCE SCHEDULES**

REVERSION: NO

1**. TRANSIENT LINE FAULT**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A | Close CB 105 to Dead Line Charge | 15 sec |
| SITE END B | Close CB 1T0 to Circuit Check Synch | 20 sec |

DCC – Dead Line Charge SCC – Circuit Cehck Synch

2. **TRANSIENT LINE FAULT WITH FERRO RESONANCE**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A |  | sec |
| SITE END B |  |  |

3. **PERSISTENT LINE FAULT**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A | Close CB 105 to Dead Line Charge & Trips | 15 sec |
| Isol 103 opens | sec |

4. **T1 FAULT AT SITE END A**

|  |  |  |
| --- | --- | --- |
| **LOCATION** | **OPERATION** | **TIME (Seconds)** |
| SITE END A | Close CB105 to Dead Line Charge & Trips | 15 sec |
| Isol 113 opens | sec |
| Close CB 105 to Dead Line Charge | sec |

***NOTES***

1)

|  |  |  |
| --- | --- | --- |
| **Revision & Date** | **Author** | **Reason for revision** |
| Draft |  | First issue. |
|  |  |  |
|  |  |  |

**EXAMPLE**

**CATO Name**

**CATO Transmission Interface Site Specification**

**Guidance Notes Reference: Part 3 – 4.3 Substation Operational Guide Date: xx/xx/2009**

**SUBSTATION OPERATIONAL GUIDE**

**Substation: No1: 132kV**

**Location Details:**

|  |  |  |
| --- | --- | --- |
| **Postal Address:** | **Telephone Nos.** | **Map Ref.** |
|  |  |  |

|  |
| --- |
| **National Grid Interface** |
|  |
| **Generator Interface** |
|  |

**EXAMPLE**

**CATO Name**

**CATO Transmission Interface Site Specification**

**Guidance Notes Reference: Part 3 – 5.1 Automatic Control Systems Date: xx/xx/2009**

**AUTOMATIC CONTROL POLICY**

**Substation: No1: 132/33kV**

**Details of Automatic Control Policy:**

**EXAMPLE**

**CATO Name**

**CATO Transmission Interface Site Specification**

**Guidance Notes Reference: Part 3 – 5.2 Automatic Control Schemes Date: xx/xx/2009**

**AUTOMATIC CONTROL SCHEMES**

**Substation: No1: 132/33kV**

**Details of Automatic Control Schemes (including but not limited to Reactive Capability and Voltage Control Schemes):**

**Appendix D: Abbreviations & Definitions**

***Abbreviations***

BETTA British Electricity Trading and Transmission Arrangements

CATO Competitively Appointed Transmission Owner

CTISS CATO Transmission Interface Site Specification

NGET National Grid Electricity plc

SHETL Scottish Hydro-Electric Transmission Ltd

SIR Supplementary Information Request

SO NGESO

SPT Scottish Power Transmission Ltd

STC SO-TO Code

STCP SO-TO Code Procedure

TO Transmission Owner

***Definitions***

**STC Definitions Used:**

The Company

**Party (or Parties)**

Normal Capability Limit

Operational Capability Limit

Transmission Services

CATO Transmission Interface Site Specification

**Grid Code:**

Operational Diagram

Demand Control

Plant

Apparatus

**Definition used from other STCPs:**

Acceptance Certificate

Decommissioning Report

1. The date the instigator of the request requires a response from the receiving party as to whether the request can be serviced. [↑](#footnote-ref-2)
2. The preferred date by which the instigator of the request requires the information. [↑](#footnote-ref-3)
3. If data provided as part of the response the date from which the data becomes effective. [↑](#footnote-ref-4)
4. The date by which the data will be provided. [↑](#footnote-ref-5)
5. As a minimum, a prefix identifying the company shall be inserted [↑](#footnote-ref-6)