## Version
Date | Version | Details
2024-09-16 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for September 2024. This file will be updated in October 2024 to reflect the full data set.
2024-10-15 | 2 | This file only contains the indicative reporting associated with data for GC0151 for September 2024. This file is updated in October 2024 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Bonnybridge - Bainsford 1 132kV circuit | SPT | 2024-09-02 20:12
Galloper Onshore SVC4 | OFTO | 2024-09-04 09:17 |  | To be confirmed
Hartlepool - Hartmoor 275kV circuit | NGET | 2024-09-06 03:28
Coventry-Nechells circuit, Coventry SGT4 and Nechells SGT4 | NGET | 2024-09-08 01:03
Kemsley - Littlebrook - Rowdown 1 400kV circuit | NGET | 2024-09-08 01:52
Cottam - Keadby 1 400kV Circuit | NGET | 2024-09-11 18:06
Glenluce 132/33kV GT2 | SPT | 2024-09-17 12:14
Killingholme 400kV Main Busbar 5 , Series Reactor 1 | NGET | 2024-09-18 18:14 | V20240918-1
Hams Hall - Willington East 400kV Circuit | NGET | 2024-09-19 10:05
Bustleholm - Nechells 1 275kV circuit | NGET | 2024-09-21 17:05
Iver 400/275 kV SGT5A | NGET | 2024-09-30 00:31

## V20240918-1
Date | Time | Va PU | Vb PU | Vc PU
2024-09-18 | 18:14 | 0.85701 | 1.4385 | 0.5833
2024-09-18 | 18:14 | 1.0253 | 1.3812 | 0.4252
2024-09-18 | 18:14 | 1.1523 | 1.2868 | 0.38832
2024-09-18 | 18:14 | 1.2316 | 1.1707 | 0.49167
2024-09-18 | 18:14 | 1.2616 | 1.0552 | 0.64899
2024-09-18 | 18:14 | 1.2466 | 0.96547 | 0.79976
2024-09-18 | 18:14 | 1.1974 | 0.92174 | 0.91749
2024-09-18 | 18:14 | 1.1304 | 0.92807 | 0.99283
2024-09-18 | 18:14 | 1.0658 | 0.96957 | 1.0248
2024-09-18 | 18:14 | 1.0215 | 1.0227 | 1.0191
2024-09-18 | 18:14 | 1.0075 | 1.0672 | 0.98761
2024-09-18 | 18:14 | 1.0219 | 1.0908 | 0.94655
2024-09-18 | 18:14 | 1.0529 | 1.0897 | 0.91316
2024-09-18 | 18:14 | 1.0856 | 1.0676 | 0.90044
2024-09-18 | 18:14 | 1.1074 | 1.0342 | 0.9123
2024-09-18 | 18:14 | 1.1114 | 1.0022 | 0.9424
2024-09-18 | 18:14 | 1.0976 | 0.98277 | 0.97802
2024-09-18 | 18:14 | 1.0716 | 0.98201 | 1.007
2024-09-18 | 18:14 | 1.043 | 0.99804 | 1.0214
2024-09-18 | 18:14 | 1.0217 | 1.0228 | 1.0189
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0235 | 1.0188
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0215 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0217 | 1.0234 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.0231 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.0229 | 1.0186
2024-09-18 | 18:14 | 1.0217 | 1.0228 | 1.0188
2024-09-18 | 18:14 | 1.0215 | 1.0228 | 1.019
2024-09-18 | 18:14 | 1.0212 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0235 | 1.0188
2024-09-18 | 18:14 | 1.0212 | 1.0236 | 1.0185
2024-09-18 | 18:14 | 1.0215 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0217 | 1.0234 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.0231 | 1.0184
2024-09-18 | 18:14 | 1.0219 | 1.0229 | 1.0186
2024-09-18 | 18:14 | 1.0217 | 1.0228 | 1.0189
2024-09-18 | 18:14 | 1.0215 | 1.0228 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0215 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0218 | 1.0234 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.0219 | 1.0229 | 1.0187
2024-09-18 | 18:14 | 1.0218 | 1.0228 | 1.0189
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.0191
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0192
2024-09-18 | 18:14 | 1.0211 | 1.0234 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0215 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.0235 | 1.0184
2024-09-18 | 18:14 | 1.022 | 1.0232 | 1.0185
2024-09-18 | 18:14 | 1.022 | 1.023 | 1.0187
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0216 | 1.023 | 1.0192
2024-09-18 | 18:14 | 1.0213 | 1.0232 | 1.0192
2024-09-18 | 18:14 | 1.0212 | 1.0234 | 1.0192
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0189
2024-09-18 | 18:14 | 1.0214 | 1.0238 | 1.0187
2024-09-18 | 18:14 | 1.0216 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0219 | 1.0236 | 1.0184
2024-09-18 | 18:14 | 1.022 | 1.0233 | 1.0185
2024-09-18 | 18:14 | 1.022 | 1.0231 | 1.0188
2024-09-18 | 18:14 | 1.0219 | 1.023 | 1.019
2024-09-18 | 18:14 | 1.0216 | 1.023 | 1.0192
2024-09-18 | 18:14 | 1.0214 | 1.0232 | 1.0193
2024-09-18 | 18:14 | 1.0212 | 1.0235 | 1.0192
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.019
2024-09-18 | 18:14 | 1.0213 | 1.0238 | 1.0187
2024-09-18 | 18:14 | 1.0216 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0218 | 1.0236 | 1.0185
2024-09-18 | 18:14 | 1.022 | 1.0233 | 1.0185
2024-09-18 | 18:14 | 1.022 | 1.0231 | 1.0187
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0216 | 1.023 | 1.0192
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0192
2024-09-18 | 18:14 | 1.0211 | 1.0234 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0189
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0214 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0217 | 1.0235 | 1.0183
2024-09-18 | 18:14 | 1.0218 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.023 | 1.0186
2024-09-18 | 18:14 | 1.0217 | 1.0229 | 1.0189
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.023 | 1.0192
2024-09-18 | 18:14 | 1.021 | 1.0233 | 1.0191
2024-09-18 | 18:14 | 1.021 | 1.0235 | 1.0188
2024-09-18 | 18:14 | 1.0212 | 1.0236 | 1.0186
2024-09-18 | 18:14 | 1.0214 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0217 | 1.0234 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.0231 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.0229 | 1.0186
2024-09-18 | 18:14 | 1.0217 | 1.0228 | 1.0188
2024-09-18 | 18:14 | 1.0214 | 1.0228 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.021 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.021 | 1.0235 | 1.0188
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0185
2024-09-18 | 18:14 | 1.0213 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0216 | 1.0234 | 1.0182
2024-09-18 | 18:14 | 1.0218 | 1.0231 | 1.0183
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.0186
2024-09-18 | 18:14 | 1.0216 | 1.0228 | 1.0188
2024-09-18 | 18:14 | 1.0214 | 1.0228 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.021 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.021 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0211 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0214 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0217 | 1.0234 | 1.0183
2024-09-18 | 18:14 | 1.0218 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.023 | 1.0186
2024-09-18 | 18:14 | 1.0217 | 1.0228 | 1.0189
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.0191
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0192
2024-09-18 | 18:14 | 1.0211 | 1.0234 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0215 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.0235 | 1.0183
2024-09-18 | 18:14 | 1.022 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.022 | 1.023 | 1.0186
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.0189
2024-09-18 | 18:14 | 1.0216 | 1.0229 | 1.0191
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0192
2024-09-18 | 18:14 | 1.0212 | 1.0234 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0189
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0215 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.0235 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.022 | 1.023 | 1.0186
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.0189
2024-09-18 | 18:14 | 1.0216 | 1.0229 | 1.0191
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.0234 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0216 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.0235 | 1.0183
2024-09-18 | 18:14 | 1.022 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.022 | 1.023 | 1.0186
2024-09-18 | 18:14 | 1.0219 | 1.0229 | 1.0188
2024-09-18 | 18:14 | 1.0216 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0214 | 1.0231 | 1.0191
2024-09-18 | 18:14 | 1.0212 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0212 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0215 | 1.0236 | 1.0183
2024-09-18 | 18:14 | 1.0218 | 1.0234 | 1.0182
2024-09-18 | 18:14 | 1.022 | 1.0232 | 1.0183
2024-09-18 | 18:14 | 1.022 | 1.023 | 1.0185
2024-09-18 | 18:14 | 1.0218 | 1.0228 | 1.0188
2024-09-18 | 18:14 | 1.0216 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0213 | 1.023 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0235 | 1.0187
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0214 | 1.0236 | 1.0182
2024-09-18 | 18:14 | 1.0217 | 1.0234 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.0232 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.023 | 1.0185
2024-09-18 | 18:14 | 1.0217 | 1.0228 | 1.0187
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.0189
2024-09-18 | 18:14 | 1.0213 | 1.023 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.0189
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0187
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0215 | 1.0236 | 1.0182
2024-09-18 | 18:14 | 1.0217 | 1.0235 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.0232 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.023 | 1.0184
2024-09-18 | 18:14 | 1.0218 | 1.0228 | 1.0187
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.0189
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.0189
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0187
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0184
2024-09-18 | 18:14 | 1.0214 | 1.0237 | 1.0182
2024-09-18 | 18:14 | 1.0217 | 1.0235 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.0232 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.023 | 1.0185
2024-09-18 | 18:14 | 1.0217 | 1.0229 | 1.0188
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0234 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0214 | 1.0237 | 1.0183
2024-09-18 | 18:14 | 1.0217 | 1.0235 | 1.0182
2024-09-18 | 18:14 | 1.0219 | 1.0233 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.023 | 1.0185
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.0188
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0213 | 1.0231 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0213 | 1.0237 | 1.0185
2024-09-18 | 18:14 | 1.0215 | 1.0237 | 1.0183
2024-09-18 | 18:14 | 1.0218 | 1.0235 | 1.0182
2024-09-18 | 18:14 | 1.022 | 1.0232 | 1.0183
2024-09-18 | 18:14 | 1.022 | 1.023 | 1.0185
2024-09-18 | 18:14 | 1.0218 | 1.0229 | 1.0188
2024-09-18 | 18:14 | 1.0216 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0213 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0236 | 1.0188
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0215 | 1.0237 | 1.0183
2024-09-18 | 18:14 | 1.0217 | 1.0235 | 1.0183
2024-09-18 | 18:14 | 1.0219 | 1.0232 | 1.0184
2024-09-18 | 18:14 | 1.0219 | 1.023 | 1.0186
2024-09-18 | 18:14 | 1.0218 | 1.0228 | 1.0188
2024-09-18 | 18:14 | 1.0215 | 1.0229 | 1.019
2024-09-18 | 18:14 | 1.0213 | 1.023 | 1.0191
2024-09-18 | 18:14 | 1.0211 | 1.0233 | 1.019
2024-09-18 | 18:14 | 1.0211 | 1.0235 | 1.0188
2024-09-18 | 18:14 | 1.0212 | 1.0237 | 1.0186
2024-09-18 | 18:14 | 1.0215 | 1.0236 | 1.0184
2024-09-18 | 18:14 | 1.0217 | 1.0234 | 1.0183
2024-09-18 | 18:14 | 1.022 | 1.0167 | 1.0184
2024-09-18 | 18:14 | 1.0222 | 0.98524 | 1.0164
2024-09-18 | 18:14 | 1.0203 | 0.93599 | 1.0124
2024-09-18 | 18:14 | 1.0137 | 0.87895 | 1.0083
2024-09-18 | 18:14 | 1.0013 | 0.82551 | 1.0071
2024-09-18 | 18:14 | 0.98427 | 0.7863 | 1.0107
2024-09-18 | 18:14 | 0.96726 | 0.7666 | 1.0182
2024-09-18 | 18:14 | 0.95653 | 0.76249 | 1.0244
2024-09-18 | 18:14 | 0.95441 | 0.76279 | 1.0243
2024-09-18 | 18:14 | 0.95818 | 0.75446 | 1.0167
2024-09-18 | 18:14 | 0.96303 | 0.72715 | 1.0037
2024-09-18 | 18:14 | 0.96516 | 0.67548 | 0.98826
2024-09-18 | 18:14 | 0.96144 | 0.59986 | 0.97442
2024-09-18 | 18:14 | 0.94962 | 0.50624 | 0.9661
2024-09-18 | 18:14 | 0.9301 | 0.40667 | 0.96485
2024-09-18 | 18:14 | 0.90713 | 0.31972 | 0.96822
2024-09-18 | 18:14 | 0.88687 | 0.26714 | 0.97132
2024-09-18 | 18:14 | 0.87438 | 0.25416 | 0.96998
2024-09-18 | 18:14 | 0.87141 | 0.25369 | 0.96265
2024-09-18 | 18:14 | 0.87575 | 0.22559 | 0.95083
2024-09-18 | 18:14 | 0.88262 | 0.15137 | 0.93734
2024-09-18 | 18:14 | 0.88601 | 0.11005 | 0.92772
2024-09-18 | 18:14 | 0.88388 | 0.096302 | 0.92384
2024-09-18 | 18:14 | 0.87814 | 0.092452 | 0.92433
2024-09-18 | 18:14 | 0.87223 | 0.091227 | 0.9249
2024-09-18 | 18:14 | 0.87009 | 0.090225 | 0.92118
2024-09-18 | 18:14 | 0.87341 | 0.088587 | 0.91207
2024-09-18 | 18:14 | 0.88079 | 0.085596 | 0.90262
2024-09-18 | 18:14 | 0.89089 | 0.080776 | 0.89977
2024-09-18 | 18:14 | 0.90236 | 0.074207 | 0.90623
2024-09-18 | 18:14 | 0.91242 | 0.066158 | 0.91887
2024-09-18 | 18:14 | 0.91736 | 0.057218 | 0.93333
2024-09-18 | 18:14 | 0.91735 | 0.047896 | 0.94553
2024-09-18 | 18:14 | 0.91649 | 0.038686 | 0.95233
2024-09-18 | 18:14 | 0.91929 | 0.030033 | 0.95299
2024-09-18 | 18:14 | 0.92754 | 0.023002 | 0.95026
2024-09-18 | 18:14 | 0.94017 | 0.017498 | 0.94878
2024-09-18 | 18:14 | 0.95506 | 0.013267 | 0.95252
2024-09-18 | 18:14 | 0.96995 | 0.010371 | 0.96222
2024-09-18 | 18:14 | 0.98204 | 0.0088443 | 0.97483
2024-09-18 | 18:14 | 0.98882 | 0.0081922 | 0.98642
2024-09-18 | 18:14 | 0.99066 | 0.00754 | 0.99461
2024-09-18 | 18:14 | 0.99066 | 0.0071423 | 0.9987
2024-09-18 | 18:14 | 0.99208 | 0.0072855 | 0.99989
2024-09-18 | 18:14 | 0.99578 | 0.0075718 | 0.99987
2024-09-18 | 18:14 | 1.0004 | 0.0079536 | 1.0003
2024-09-18 | 18:14 | 1.0041 | 0.0083353 | 1.0017
2024-09-18 | 18:14 | 1.0056 | 0.0087012 | 1.0036
2024-09-18 | 18:14 | 1.0048 | 0.0090352 | 1.0046
2024-09-18 | 18:14 | 1.0021 | 0.0093693 | 1.0041
2024-09-18 | 18:14 | 0.99911 | 0.009767 | 1.0027
2024-09-18 | 18:14 | 0.99726 | 0.010196 | 1.0014
2024-09-18 | 18:14 | 0.99714 | 0.01069 | 1.0006
2024-09-18 | 18:14 | 0.99817 | 0.011119 | 1.0005
2024-09-18 | 18:14 | 0.9996 | 0.04928 | 1.0005
2024-09-18 | 18:14 | 1.0028 | 0.15933 | 0.99992
2024-09-18 | 18:14 | 1.0081 | 0.24293 | 0.9971
2024-09-18 | 18:14 | 1.0141 | 0.28649 | 0.99044
2024-09-18 | 18:14 | 1.0175 | 0.29616 | 0.98156
2024-09-18 | 18:14 | 1.018 | 0.29697 | 0.97377
2024-09-18 | 18:14 | 1.0157 | 0.32069 | 0.97122
2024-09-18 | 18:14 | 1.0129 | 0.38837 | 0.97522
2024-09-18 | 18:14 | 1.0144 | 0.48685 | 0.98357
2024-09-18 | 18:14 | 1.0219 | 0.59017 | 0.99106
2024-09-18 | 18:14 | 1.0338 | 0.6793 | 0.99432
2024-09-18 | 18:14 | 1.0482 | 0.74348 | 0.99244
2024-09-18 | 18:14 | 1.0618 | 0.77895 | 0.98621
2024-09-18 | 18:14 | 1.0716 | 0.79031 | 0.97865
2024-09-18 | 18:14 | 1.0756 | 0.79057 | 0.97503
2024-09-18 | 18:14 | 1.0746 | 0.79572 | 0.98
2024-09-18 | 18:14 | 1.0709 | 0.81805 | 0.99236
2024-09-18 | 18:14 | 1.0681 | 0.8622 | 1.0073
2024-09-18 | 18:14 | 1.0693 | 0.92352 | 1.0208
2024-09-18 | 18:14 | 1.0765 | 0.99087 | 1.0301
2024-09-18 | 18:14 | 1.089 | 1.0503 | 1.0337
2024-09-18 | 18:14 | 1.1023 | 1.0847 | 1.0325
2024-09-18 | 18:14 | 1.1117 | 1.0958 | 1.03
2024-09-18 | 18:14 | 1.1141 | 1.0938 | 1.031
2024-09-18 | 18:14 | 1.1114 | 1.0914 | 1.0379
2024-09-18 | 18:14 | 1.1072 | 1.094 | 1.0492
2024-09-18 | 18:14 | 1.1046 | 1.1003 | 1.0593
2024-09-18 | 18:14 | 1.1041 | 1.107 | 1.0646
2024-09-18 | 18:14 | 1.1041 | 1.1108 | 1.0664
2024-09-18 | 18:14 | 1.1034 | 1.1115 | 1.0668
2024-09-18 | 18:14 | 1.1028 | 1.1104 | 1.0667
2024-09-18 | 18:14 | 1.1031 | 1.1088 | 1.0668
2024-09-18 | 18:14 | 1.1039 | 1.1075 | 1.0683
2024-09-18 | 18:14 | 1.1043 | 1.1071 | 1.0717
2024-09-18 | 18:14 | 1.1042 | 1.1072 | 1.0758
2024-09-18 | 18:14 | 1.1034 | 1.1066 | 1.0775
2024-09-18 | 18:14 | 1.1024 | 1.1051 | 1.076
2024-09-18 | 18:14 | 1.1019 | 1.1022 | 1.0729
2024-09-18 | 18:14 | 1.1024 | 1.0977 | 1.0699
2024-09-18 | 18:14 | 1.1035 | 1.0919 | 1.0678
2024-09-18 | 18:14 | 1.104 | 1.0858 | 1.067
2024-09-18 | 18:14 | 1.1024 | 1.0801 | 1.0671
2024-09-18 | 18:14 | 1.0983 | 1.0748 | 1.0674
2024-09-18 | 18:14 | 1.0925 | 1.0719 | 1.0674
2024-09-18 | 18:14 | 1.0867 | 1.0717 | 1.0665
2024-09-18 | 18:14 | 1.082 | 1.073 | 1.0648
2024-09-18 | 18:14 | 1.0792 | 1.0753 | 1.0631
2024-09-18 | 18:14 | 1.0786 | 1.0772 | 1.0618
2024-09-18 | 18:14 | 1.079 | 1.0778 | 1.0607
2024-09-18 | 18:14 | 1.0795 | 1.0771 | 1.0597
2024-09-18 | 18:14 | 1.0801 | 1.0753 | 1.0592
2024-09-18 | 18:14 | 1.0798 | 1.0729 | 1.0593
2024-09-18 | 18:14 | 1.0778 | 1.0703 | 1.0595
2024-09-18 | 18:14 | 1.0742 | 1.0687 | 1.0592
2024-09-18 | 18:14 | 1.07 | 1.0685 | 1.0576
2024-09-18 | 18:14 | 1.0665 | 1.0694 | 1.0546
2024-09-18 | 18:14 | 1.0648 | 1.0705 | 1.0513
2024-09-18 | 18:14 | 1.0645 | 1.0709 | 1.0488
2024-09-18 | 0.75989 | 1.0645 | 1.07 | 1.0471
2024-09-18 | 0.75989 | 1.0639 | 1.0678 | 1.0461
2024-09-18 | 0.75989 | 1.0621 | 1.065 | 1.0458
2024-09-18 | 0.75989 | 1.0593 | 1.0625 | 1.0458
2024-09-18 | 0.75989 | 1.0558 | 1.0607 | 1.0458
2024-09-18 | 0.75989 | 1.0526 | 1.0603 | 1.0451
2024-09-18 | 0.75989 | 1.0499 | 1.0603 | 1.0434
2024-09-18 | 0.75989 | 1.0479 | 1.0604 | 1.041
2024-09-18 | 0.75989 | 1.047 | 1.0606 | 1.0393
2024-09-18 | 0.75989 | 1.0469 | 1.0603 | 1.0389
2024-09-18 | 0.75989 | 1.0467 | 1.0588 | 1.039
2024-09-18 | 0.75989 | 1.0456 | 1.0564 | 1.039
2024-09-18 | 0.75989 | 1.0438 | 1.0536 | 1.039
2024-09-18 | 0.75989 | 1.0415 | 1.0515 | 1.039
2024-09-18 | 0.75989 | 1.0396 | 1.0506 | 1.0388
2024-09-18 | 0.75989 | 1.0384 | 1.0505 | 1.0383
2024-09-18 | 0.75989 | 1.0375 | 1.0505 | 1.0372
2024-09-18 | 0.75989 | 1.0369 | 1.0505 | 1.0361
2024-09-18 | 0.75989 | 1.0367 | 1.0504 | 1.0355
2024-09-18 | 0.75989 | 1.0368 | 1.0499 | 1.0357
2024-09-18 | 0.75989 | 1.0365 | 1.0488 | 1.0361
2024-09-18 | 0.75989 | 1.0355 | 1.0471 | 1.0364
2024-09-18 | 0.75989 | 1.0338 | 1.0452 | 1.0365
2024-09-18 | 0.75989 | 1.0321 | 1.044 | 1.0365
2024-09-18 | 0.75989 | 1.0313 | 1.0436 | 1.0364
2024-09-18 | 0.75989 | 1.0316 | 1.044 | 1.0361
2024-09-18 | 0.7599 | 1.0323 | 1.044 | 1.0356
2024-09-18 | 0.7599 | 1.0326 | 1.0438 | 1.0352
2024-09-18 | 0.7599 | 1.0327 | 1.0438 | 1.0354
2024-09-18 | 0.7599 | 1.0328 | 1.044 | 1.0361
2024-09-18 | 0.7599 | 1.0327 | 1.0438 | 1.0368
2024-09-18 | 0.7599 | 1.0321 | 1.043 | 1.0372
2024-09-18 | 0.7599 | 1.0312 | 1.0419 | 1.0372
2024-09-18 | 0.7599 | 1.0302 | 1.0409 | 1.0372
2024-09-18 | 0.7599 | 1.0296 | 1.0404 | 1.0373
2024-09-18 | 0.7599 | 1.0296 | 1.0404 | 1.0375
2024-09-18 | 0.7599 | 1.03 | 1.0404 | 1.0376
2024-09-18 | 0.7599 | 1.0304 | 1.0402 | 1.0376
2024-09-18 | 0.7599 | 1.0306 | 1.04 | 1.0377
2024-09-18 | 0.7599 | 1.0307 | 1.0397 | 1.0379
2024-09-18 | 0.7599 | 1.0306 | 1.0392 | 1.0382
2024-09-18 | 0.7599 | 1.0302 | 1.0386 | 1.0383
2024-09-18 | 0.7599 | 1.0296 | 1.0377 | 1.0383
2024-09-18 | 0.7599 | 1.029 | 1.0369 | 1.0383
2024-09-18 | 0.7599 | 1.0289 | 1.0366 | 1.0385
2024-09-18 | 0.7599 | 1.0293 | 1.0367 | 1.0387
2024-09-18 | 0.7599 | 1.03 | 1.0367 | 1.0386
2024-09-18 | 0.7599 | 1.0305 | 1.0365 | 1.0382
2024-09-18 | 0.7599 | 1.0308 | 1.036 | 1.0378
2024-09-18 | 0.7599 | 1.0308 | 1.0356 | 1.0377
2024-09-18 | 0.7599 | 1.0308 | 1.0354 | 1.0378
2024-09-18 | 0.7599 | 1.0306 | 1.0354 | 1.0381
2024-09-18 | 0.7599 | 1.0302 | 1.0351 | 1.0382
2024-09-18 | 0.7599 | 1.0297 | 1.0344 | 1.0382
2024-09-18 | 0.7599 | 1.0293 | 1.0339 | 1.0383
2024-09-18 | 0.7599 | 1.0294 | 1.0339 | 1.0386
2024-09-18 | 0.7599 | 1.0298 | 1.0339 | 1.0387
2024-09-18 | 0.7599 | 1.0302 | 1.0336 | 1.0384
2024-09-18 | 0.7599 | 1.0305 | 1.033 | 1.0378
2024-09-18 | 0.7599 | 1.0306 | 1.0321 | 1.0371
2024-09-18 | 0.7599 | 1.0305 | 1.0314 | 1.0368
2024-09-18 | 0.7599 | 1.0303 | 1.0309 | 1.0368
2024-09-18 | 0.7599 | 1.03 | 1.0307 | 1.0368
2024-09-18 | 0.7599 | 1.0297 | 1.0305 | 1.0368
2024-09-18 | 0.7599 | 1.0295 | 1.0305 | 1.0367
2024-09-18 | 0.7599 | 1.0297 | 1.0307 | 1.0366
2024-09-18 | 0.7599 | 1.0303 | 1.0307 | 1.0362
2024-09-18 | 0.7599 | 1.0308 | 1.0304 | 1.0357
2024-09-18 | 0.7599 | 1.0311 | 1.0298 | 1.035
2024-09-18 | 0.7599 | 1.0312 | 1.0291 | 1.0346
2024-09-18 | 0.7599 | 1.0311 | 1.0287 | 1.0344
2024-09-18 | 0.7599 | 1.0311 | 1.0287 | 1.0345
2024-09-18 | 0.7599 | 1.0309 | 1.0288 | 1.0346
2024-09-18 | 0.7599 | 1.0307 | 1.029 | 1.0346
2024-09-18 | 0.7599 | 1.0305 | 1.0292 | 1.0344
2024-09-18 | 0.7599 | 1.0307 | 1.0294 | 1.0342
2024-09-18 | 0.7599 | 1.0311 | 1.0294 | 1.0339
2024-09-18 | 0.7599 | 1.0315 | 1.0291 | 1.0336
2024-09-18 | 0.7599 | 1.0318 | 1.0286 | 1.0332
2024-09-18 | 0.7599 | 1.0319 | 1.028 | 1.0328
2024-09-18 | 0.7599 | 1.0318 | 1.0277 | 1.0328
2024-09-18 | 0.7599 | 1.0318 | 1.0277 | 1.0328
2024-09-18 | 0.7599 | 1.0316 | 1.0279 | 1.033
2024-09-18 | 0.7599 | 1.0315 | 1.0283 | 1.0329
2024-09-18 | 0.7599 | 1.0315 | 1.0288 | 1.0327
2024-09-18 | 0.7599 | 1.0317 | 1.0291 | 1.0323
2024-09-18 | 0.7599 | 1.0321 | 1.0291 | 1.0318
2024-09-18 | 0.7599 | 1.0326 | 1.0289 | 1.0314
2024-09-18 | 0.7599 | 1.0328 | 1.0284 | 1.0311
2024-09-18 | 0.7599 | 1.0329 | 1.028 | 1.031
2024-09-18 | 0.7599 | 1.0328 | 1.0278 | 1.0312
2024-09-18 | 0.7599 | 1.0327 | 1.0279 | 1.0314
2024-09-18 | 0.7599 | 1.0325 | 1.0283 | 1.0316
2024-09-18 | 0.7599 | 1.0323 | 1.0288 | 1.0315
2024-09-18 | 0.7599 | 1.0322 | 1.0293 | 1.0312
2024-09-18 | 0.7599 | 1.0322 | 1.0296 | 1.0307
2024-09-18 | 0.7599 | 1.0325 | 1.0296 | 1.0301
2024-09-18 | 0.7599 | 1.0329 | 1.0294 | 1.0297
2024-09-18 | 0.7599 | 1.0332 | 1.029 | 1.0295
2024-09-18 | 0.7599 | 1.0333 | 1.0286 | 1.0296
2024-09-18 | 0.7599 | 1.0332 | 1.0284 | 1.0299
2024-09-18 | 0.7599 | 1.033 | 1.0286 | 1.0303
2024-09-18 | 0.7599 | 1.0327 | 1.029 | 1.0305
2024-09-18 | 0.7599 | 1.0324 | 1.0297 | 1.0305
2024-09-18 | 0.7599 | 1.0323 | 1.0302 | 1.0301
2024-09-18 | 0.7599 | 1.0324 | 1.0306 | 1.0296
2024-09-18 | 0.7599 | 1.0327 | 1.0306 | 1.029
2024-09-18 | 0.7599 | 1.0331 | 1.0304 | 1.0286
2024-09-18 | 0.7599 | 1.0334 | 1.0301 | 1.0286
2024-09-18 | 0.7599 | 1.0335 | 1.0297 | 1.0288
2024-09-18 | 0.7599 | 1.0334 | 1.0296 | 1.0292
2024-09-18 | 0.7599 | 1.0331 | 1.0298 | 1.0297
2024-09-18 | 0.7599 | 1.0328 | 1.0302 | 1.0299
2024-09-18 | 0.7599 | 1.0325 | 1.0307 | 1.0299
2024-09-18 | 0.7599 | 1.0323 | 1.0312 | 1.0296
2024-09-18 | 0.7599 | 1.0323 | 1.0315 | 1.0291
2024-09-18 | 0.7599 | 1.0325 | 1.0315 | 1.0286
2024-09-18 | 0.7599 | 1.0328 | 1.0313 | 1.0283
2024-09-18 | 0.7599 | 1.033 | 1.031 | 1.0282
2024-09-18 | 0.7599 | 1.0331 | 1.0307 | 1.0284
2024-09-18 | 0.7599 | 1.033 | 1.0306 | 1.0288
2024-09-18 | 0.7599 | 1.0327 | 1.0306 | 1.0292
2024-09-18 | 0.7599 | 1.0323 | 1.0309 | 1.0295
2024-09-18 | 0.7599 | 1.032 | 1.0313 | 1.0294
2024-09-18 | 0.7599 | 1.0317 | 1.0317 | 1.0291
2024-09-18 | 0.7599 | 1.0316 | 1.0319 | 1.0287
2024-09-18 | 0.7599 | 1.0317 | 1.032 | 1.0282
2024-09-18 | 0.7599 | 1.032 | 1.0318 | 1.0279
2024-09-18 | 0.7599 | 1.0322 | 1.0315 | 1.0278
2024-09-18 | 0.7599 | 1.0323 | 1.0312 | 1.028
2024-09-18 | 0.7599 | 1.0322 | 1.0309 | 1.0283
2024-09-18 | 0.7599 | 1.0319 | 1.0308 | 1.0287
2024-09-18 | 0.7599 | 1.0314 | 1.0309 | 1.029
2024-09-18 | 0.7599 | 1.0308 | 1.0311 | 1.0289
2024-09-18 | 0.7599 | 1.0304 | 1.0314 | 1.0286
2024-09-18 | 0.7599 | 1.0302 | 1.0317 | 1.0281
2024-09-18 | 0.7599 | 1.0303 | 1.0318 | 1.0275
2024-09-18 | 0.7599 | 1.0306 | 1.0315 | 1.0271
2024-09-18 | 0.7599 | 1.0309 | 1.0311 | 1.027
2024-09-18 | 0.7599 | 1.031 | 1.0306 | 1.0272
2024-09-18 | 0.7599 | 1.0309 | 1.0301 | 1.0276
2024-09-18 | 0.7599 | 1.0304 | 1.0299 | 1.028
2024-09-18 | 0.7599 | 1.0298 | 1.0299 | 1.0283
2024-09-18 | 0.7599 | 1.0292 | 1.0302 | 1.0283
2024-09-18 | 0.7599 | 1.0287 | 1.0306 | 1.0279
2024-09-18 | 0.7599 | 1.0286 | 1.0309 | 1.0274
2024-09-18 | 0.7599 | 1.0289 | 1.031 | 1.0268
2024-09-18 | 0.7599 | 1.0294 | 1.0308 | 1.0264
2024-09-18 | 0.7599 | 1.0298 | 1.0303 | 1.0263
2024-09-18 | 0.7599 | 1.03 | 1.0297 | 1.0266
2024-09-18 | 0.7599 | 1.0298 | 1.0293 | 1.0271
2024-09-18 | 0.7599 | 1.0294 | 1.0291 | 1.0276
2024-09-18 | 0.7599 | 1.0288 | 1.0292 | 1.0279
2024-09-18 | 0.7599 | 1.0282 | 1.0295 | 1.0278
2024-09-18 | 0.7599 | 1.0278 | 1.03 | 1.0275
2024-09-18 | 0.7599 | 1.0278 | 1.0303 | 1.027
2024-09-18 | 0.7599 | 1.0282 | 1.0304 | 1.0265
2024-09-18 | 0.7599 | 1.0287 | 1.0301 | 1.0262
2024-09-18 | 0.7599 | 1.0291 | 1.0297 | 1.0262
2024-09-18 | 0.7599 | 1.0293 | 1.0291 | 1.0264
2024-09-18 | 0.7599 | 1.0292 | 1.0287 | 1.0269
2024-09-18 | 0.7599 | 1.0287 | 1.0285 | 1.0274
2024-09-18 | 0.7599 | 1.0282 | 1.0286 | 1.0277
2024-09-18 | 0.7599 | 1.0276 | 1.0289 | 1.0276
2024-09-18 | 0.7599 | 1.0273 | 1.0293 | 1.0273
2024-09-18 | 0.7599 | 1.0274 | 1.0297 | 1.0268
2024-09-18 | 0.7599 | 1.0278 | 1.0298 | 1.0263
2024-09-18 | 0.7599 | 1.0283 | 1.0295 | 1.026
2024-09-18 | 0.7599 | 1.0287 | 1.029 | 1.0259
2024-09-18 | 0.7599 | 1.0289 | 1.0284 | 1.0261
2024-09-18 | 0.7599 | 1.0288 | 1.0279 | 1.0266
2024-09-18 | 0.7599 | 1.0284 | 1.0277 | 1.0271
2024-09-18 | 0.7599 | 1.0277 | 1.0277 | 1.0274
2024-09-18 | 0.7599 | 1.0271 | 1.0281 | 1.0273
2024-09-18 | 0.7599 | 1.0268 | 1.0286 | 1.027
2024-09-18 | 0.7599 | 1.0268 | 1.029 | 1.0264
2024-09-18 | 0.7599 | 1.0272 | 1.0291 | 1.0258
2024-09-18 | 0.7599 | 1.0278 | 1.0288 | 1.0252
2024-09-18 | 0.7599 | 1.0283 | 1.0281 | 1.0251
2024-09-18 | 0.7599 | 1.0286 | 1.0274 | 1.0253
2024-09-18 | 0.7599 | 1.0284 | 1.0267 | 1.0258
2024-09-18 | 0.7599 | 1.0279 | 1.0264 | 1.0264
2024-09-18 | 0.7599 | 1.0271 | 1.0265 | 1.0268
2024-09-18 | 0.7599 | 1.0265 | 1.027 | 1.0268
2024-09-18 | 0.7599 | 1.0261 | 1.0277 | 1.0264
2024-09-18 | 0.7599 | 1.0262 | 1.0283 | 1.0257
2024-09-18 | 0.7599 | 1.0268 | 1.0284 | 1.0249
2024-09-18 | 0.7599 | 1.0276 | 1.0281 | 1.0244
2024-09-18 | 0.7599 | 1.0282 | 1.0274 | 1.0243
2024-09-18 | 0.7599 | 1.0285 | 1.0266 | 1.0247
2024-09-18 | 0.7599 | 1.0283 | 1.0261 | 1.0253
2024-09-18 | 0.7599 | 1.0278 | 1.0259 | 1.026
2024-09-18 | 0.7599 | 1.0271 | 1.0262 | 1.0264
2024-09-18 | 0.7599 | 1.0265 | 1.0268 | 1.0264
2024-09-18 | 0.7599 | 1.0263 | 1.0276 | 1.026
2024-09-18 | 0.7599 | 1.0265 | 1.0281 | 1.0254
2024-09-18 | 0.7599 | 1.0271 | 1.0283 | 1.0247
2024-09-18 | 0.7599 | 1.0279 | 1.028 | 1.0243
2024-09-18 | 0.7599 | 1.0285 | 1.0274 | 1.0243
2024-09-18 | 0.7599 | 1.0288 | 1.0267 | 1.0247
2024-09-18 | 0.7599 | 1.0286 | 1.0262 | 1.0254
2024-09-18 | 0.7599 | 1.0282 | 1.0262 | 1.026
2024-09-18 | 0.7599 | 1.0276 | 1.0265 | 1.0264
2024-09-18 | 0.7599 | 1.0272 | 1.0272 | 1.0264
2024-09-18 | 0.7599 | 1.0271 | 1.0278 | 1.026
2024-09-18 | 0.7599 | 1.0273 | 1.0283 | 1.0255
2024-09-18 | 0.7599 | 1.0278 | 1.0285 | 1.0249
2024-09-18 | 0.7599 | 1.0284 | 1.0282 | 1.0246
2024-09-18 | 0.7599 | 1.029 | 1.0277 | 1.0246
2024-09-18 | 0.7599 | 1.0292 | 1.0272 | 1.0249
2024-09-18 | 0.7599 | 1.0291 | 1.0268 | 1.0254
2024-09-18 | 0.7599 | 1.0287 | 1.0267 | 1.0259
2024-09-18 | 0.7599 | 1.0282 | 1.0269 | 1.0262
2024-09-18 | 0.7599 | 1.0277 | 1.0273 | 1.0262
2024-09-18 | 0.7599 | 1.0274 | 1.0279 | 1.0259
2024-09-18 | 0.7599 | 1.0275 | 1.0283 | 1.0254
2024-09-18 | 0.7599 | 1.0278 | 1.0285 | 1.0248
2024-09-18 | 0.7599 | 1.0283 | 1.0282 | 1.0243
2024-09-18 | 0.7599 | 1.0287 | 1.0277 | 1.0241
2024-09-18 | 0.7599 | 1.0289 | 1.0271 | 1.0243
2024-09-18 | 0.7599 | 1.0288 | 1.0266 | 1.0247
2024-09-18 | 0.7599 | 1.0284 | 1.0263 | 1.0252
2024-09-18 | 0.7599 | 1.0278 | 1.0265 | 1.0255
2024-09-18 | 0.7599 | 1.0272 | 1.0269 | 1.0256
2024-09-18 | 0.7599 | 1.0268 | 1.0274 | 1.0252
2024-09-18 | 0.7599 | 1.0267 | 1.0279 | 1.0246
2024-09-18 | 0.7599 | 1.0269 | 1.028 | 1.0238
2024-09-18 | 0.7599 | 1.0275 | 1.0278 | 1.0232
2024-09-18 | 0.7599 | 1.028 | 1.0272 | 1.023
2024-09-18 | 0.7599 | 1.0282 | 1.0265 | 1.0232
2024-09-18 | 0.7599 | 1.0281 | 1.026 | 1.0237
2024-09-18 | 0.7599 | 1.0276 | 1.0257 | 1.0243
2024-09-18 | 0.7599 | 1.0269 | 1.0258 | 1.0247
2024-09-18 | 0.7599 | 1.0262 | 1.0263 | 1.0247
2024-09-18 | 0.7599 | 1.0258 | 1.027 | 1.0243
2024-09-18 | 0.7599 | 1.0257 | 1.0275 | 1.0237
2024-09-18 | 0.7599 | 1.0261 | 1.0276 | 1.0229
2024-09-18 | 0.7599 | 1.0267 | 1.0274 | 1.0223
2024-09-18 | 0.7599 | 1.0273 | 1.0268 | 1.0222
2024-09-18 | 0.7599 | 1.0276 | 1.0261 | 1.0225
2024-09-18 | 0.7599 | 1.0275 | 1.0255 | 1.0231
2024-09-18 | 0.7599 | 1.027 | 1.0253 | 1.0238
2024-09-18 | 0.7599 | 1.0263 | 1.0256 | 1.0243
2024-09-18 | 0.7599 | 1.0256 | 1.0262 | 1.0243
2024-09-18 | 0.7599 | 1.0253 | 1.0269 | 1.0239
2024-09-18 | 0.7599 | 1.0253 | 1.0274 | 1.0233
2024-09-18 | 0.7599 | 1.0258 | 1.0276 | 1.0226
2024-09-18 | 0.7599 | 1.0265 | 1.0273 | 1.0221
2024-09-18 | 0.7599 | 1.0271 | 1.0268 | 1.0221
2024-09-18 | 0.7599 | 1.0274 | 1.0261 | 1.0225
2024-09-18 | 0.7599 | 1.0273 | 1.0257 | 1.0232
2024-09-18 | 0.7599 | 1.0269 | 1.0255 | 1.0239
2024-09-18 | 0.7599 | 1.0262 | 1.0258 | 1.0244
2024-09-18 | 0.7599 | 1.0256 | 1.0264 | 1.0244
2024-09-18 | 0.7599 | 1.0252 | 1.0271 | 1.0241
2024-09-18 | 0.7599 | 1.0253 | 1.0277 | 1.0234
2024-09-18 | 0.7599 | 1.0258 | 1.0279 | 1.0227
2024-09-18 | 0.7599 | 1.0265 | 1.0276 | 1.0223
2024-09-18 | 0.7599 | 1.0272 | 1.0271 | 1.0223
2024-09-18 | 0.7599 | 1.0275 | 1.0264 | 1.0227
2024-09-18 | 0.7599 | 1.0274 | 1.0259 | 1.0235
2024-09-18 | 0.7599 | 1.0269 | 1.0258 | 1.0242
2024-09-18 | 0.7599 | 1.0262 | 1.0261 | 1.0247
2024-09-18 | 0.7599 | 1.0256 | 1.0267 | 1.0248
2024-09-18 | 0.7599 | 1.0253 | 1.0275 | 1.0244
2024-09-18 | 0.7599 | 1.0254 | 1.028 | 1.0238
2024-09-18 | 0.7599 | 1.0259 | 1.0282 | 1.0231
2024-09-18 | 0.7599 | 1.0267 | 1.028 | 1.0227
2024-09-18 | 0.7599 | 1.0273 | 1.0275 | 1.0227
2024-09-18 | 0.7599 | 1.0277 | 1.0268 | 1.0232
2024-09-18 | 0.7599 | 1.0276 | 1.0263 | 1.0239
2024-09-18 | 0.7599 | 1.0271 | 1.0262 | 1.0247
2024-09-18 | 0.7599 | 1.0265 | 1.0265 | 1.0251
2024-09-18 | 0.7599 | 1.0259 | 1.0271 | 1.0252
2024-09-18 | 0.7599 | 1.0256 | 1.0278 | 1.0249
2024-09-18 | 0.7599 | 1.0257 | 1.0284 | 1.0243
2024-09-18 | 0.7599 | 1.0262 | 1.0286 | 1.0237
2024-09-18 | 0.7599 | 1.0269 | 1.0284 | 1.0233
2024-09-18 | 0.7599 | 1.0276 | 1.0279 | 1.0234
2024-09-18 | 0.7599 | 1.0279 | 1.0273 | 1.0238
2024-09-18 | 0.7599 | 1.0278 | 1.0268 | 1.0244
2024-09-18 | 0.7599 | 1.0274 | 1.0267 | 1.0251
2024-09-18 | 0.7599 | 1.0268 | 1.0269 | 1.0255
2024-09-18 | 0.7599 | 1.0263 | 1.0275 | 1.0256
2024-09-18 | 0.7599 | 1.026 | 1.0281 | 1.0253
2024-09-18 | 0.7599 | 1.0261 | 1.0286 | 1.0248
2024-09-18 | 0.7599 | 1.0266 | 1.0287 | 1.0243
2024-09-18 | 0.7599 | 1.0271 | 1.0286 | 1.024
2024-09-18 | 0.7599 | 1.0277 | 1.0281 | 1.0239
2024-09-18 | 0.7599 | 1.028 | 1.0276 | 1.0243
2024-09-18 | 0.7599 | 1.0279 | 1.0272 | 1.0248
2024-09-18 | 0.7599 | 1.0275 | 1.027 | 1.0253
2024-09-18 | 0.7599 | 1.027 | 1.0271 | 1.0257
2024-09-18 | 0.7599 | 1.0265 | 1.0275 | 1.0258
2024-09-18 | 0.7599 | 1.0262 | 1.0281 | 1.0255
2024-09-18 | 0.7599 | 1.0262 | 1.0285 | 1.025
2024-09-18 | 0.7599 | 1.0265 | 1.0287 | 1.0245
2024-09-18 | 0.7599 | 1.027 | 1.0285 | 1.0241
2024-09-18 | 0.7599 | 1.0275 | 1.028 | 1.024
2024-09-18 | 0.7599 | 1.0278 | 1.0275 | 1.0242
2024-09-18 | 0.7599 | 1.0277 | 1.0269 | 1.0247
2024-09-18 | 0.7599 | 1.0273 | 1.0267 | 1.0252
2024-09-18 | 0.7599 | 1.0268 | 1.0267 | 1.0256
2024-09-18 | 0.7599 | 1.0262 | 1.0271 | 1.0257
2024-09-18 | 0.7599 | 1.0258 | 1.0276 | 1.0254
2024-09-18 | 0.7599 | 1.0258 | 1.0281 | 1.0248
2024-09-18 | 0.7599 | 1.0261 | 1.0283 | 1.0242
2024-09-18 | 0.7599 | 1.0267 | 1.0281 | 1.0237
2024-09-18 | 0.7599 | 1.0272 | 1.0277 | 1.0236
2024-09-18 | 0.7599 | 1.0275 | 1.027 | 1.0238
2024-09-18 | 0.7599 | 1.0275 | 1.0265 | 1.0243
2024-09-18 | 0.7599 | 1.0271 | 1.0263 | 1.025
2024-09-18 | 0.7599 | 1.0265 | 1.0265 | 1.0254
2024-09-18 | 0.7599 | 1.0259 | 1.027 | 1.0255
2024-09-18 | 0.7599 | 1.0256 | 1.0276 | 1.0252
2024-09-18 | 0.7599 | 1.0257 | 1.0281 | 1.0247
2024-09-18 | 0.7599 | 1.0261 | 1.0283 | 1.0241
2024-09-18 | 0.7599 | 1.0267 | 1.0282 | 1.0238
2024-09-18 | 0.7599 | 1.0273 | 1.0277 | 1.0238
2024-09-18 | 0.7599 | 1.0277 | 1.0272 | 1.0241
2024-09-18 | 0.7599 | 1.0276 | 1.0268 | 1.0247
2024-09-18 | 0.7599 | 1.0273 | 1.0267 | 1.0253
2024-09-18 | 0.7599 | 1.0268 | 1.027 | 1.0257
2024-09-18 | 0.7599 | 1.0264 | 1.0275 | 1.0258
2024-09-18 | 0.7599 | 1.0263 | 1.0281 | 1.0256
2024-09-18 | 0.7599 | 1.0264 | 1.0286 | 1.0252
2024-09-18 | 0.7599 | 1.0269 | 1.0287 | 1.0248
2024-09-18 | 0.7599 | 1.0274 | 1.0286 | 1.0245
2024-09-18 | 0.7599 | 1.0279 | 1.0283 | 1.0246
2024-09-18 | 0.7599 | 1.0282 | 1.0279 | 1.0249
2024-09-18 | 0.7599 | 1.0282 | 1.0275 | 1.0254
2024-09-18 | 0.7599 | 1.0279 | 1.0274 | 1.0258
2024-09-18 | 0.7599 | 1.0275 | 1.0276 | 1.0261
2024-09-18 | 0.7599 | 1.0272 | 1.0279 | 1.0262
2024-09-18 | 0.7599 | 1.027 | 1.0284 | 1.026
2024-09-18 | 0.7599 | 1.027 | 1.0288 | 1.0257
2024-09-18 | 0.7599 | 1.0273 | 1.0289 | 1.0252
2024-09-18 | 0.7599 | 1.0277 | 1.0288 | 1.0249
2024-09-18 | 0.7599 | 1.028 | 1.0285 | 1.0248
2024-09-18 | 0.7599 | 1.0283 | 1.028 | 1.0248
2024-09-18 | 0.7599 | 1.0283 | 1.0276 | 1.0251
2024-09-18 | 0.7599 | 1.028 | 1.0273 | 1.0255
2024-09-18 | 0.7599 | 1.0275 | 1.0273 | 1.0258
2024-09-18 | 0.7599 | 1.027 | 1.0275 | 1.0259
2024-09-18 | 0.7599 | 1.0266 | 1.0279 | 1.0257
2024-09-18 | 0.7599 | 1.0264 | 1.0283 | 1.0252
2024-09-18 | 0.7599 | 1.0266 | 1.0285 | 1.0247
2024-09-18 | 0.7599 | 1.027 | 1.0284 | 1.0241
2024-09-18 | 0.7599 | 1.0275 | 1.0279 | 1.0238
2024-09-18 | 0.7599 | 1.0277 | 1.0274 | 1.0239
2024-09-18 | 0.7599 | 1.0277 | 1.0268 | 1.0243
2024-09-18 | 0.7599 | 1.0274 | 1.0265 | 1.0248
2024-09-18 | 0.7599 | 1.0268 | 1.0265 | 1.0252
2024-09-18 | 0.7599 | 1.0262 | 1.0268 | 1.0253
2024-09-18 | 0.7599 | 1.0257 | 1.0273 | 1.025
2024-09-18 | 0.7599 | 1.0256 | 1.0278 | 1.0245
2024-09-18 | 0.7599 | 1.0259 | 1.028 | 1.0238
2024-09-18 | 0.7599 | 1.0264 | 1.0279 | 1.0233
2024-09-18 | 0.7599 | 1.027 | 1.0274 | 1.0231
2024-09-18 | 0.7599 | 1.0273 | 1.0268 | 1.0233
2024-09-18 | 0.7599 | 1.0273 | 1.0263 | 1.0238
2024-09-18 | 0.7599 | 1.0269 | 1.026 | 1.0244
2024-09-18 | 0.7599 | 1.0264 | 1.0262 | 1.0249
2024-09-18 | 0.7599 | 1.0258 | 1.0267 | 1.025
2024-09-18 | 0.7599 | 1.0255 | 1.0273 | 1.0248
2024-09-18 | 0.7599 | 1.0256 | 1.0279 | 1.0242
2024-09-18 | 0.7599 | 1.026 | 1.0281 | 1.0237
2024-09-18 | 0.7599 | 1.0266 | 1.028 | 1.0233
2024-09-18 | 0.7599 | 1.0272 | 1.0275 | 1.0232
2024-09-18 | 0.7599 | 1.0276 | 1.027 | 1.0235
2024-09-18 | 0.7599 | 1.0276 | 1.0266 | 1.0241
2024-09-18 | 0.7599 | 1.0272 | 1.0265 | 1.0248
2024-09-18 | 0.7599 | 1.0267 | 1.0267 | 1.0253
2024-09-18 | 0.7599 | 1.0263 | 1.0273 | 1.0254
2024-09-18 | 0.7599 | 1.0261 | 1.0279 | 1.0251
2024-09-18 | 0.7599 | 1.0262 | 1.0285 | 1.0247
2024-09-18 | 0.7599 | 1.0266 | 1.0287 | 1.0242
2024-09-18 | 0.7599 | 1.0272 | 1.0286 | 1.0239
2024-09-18 | 0.7599 | 1.0278 | 1.0282 | 1.0238
2024-09-18 | 0.7599 | 1.0281 | 1.0276 | 1.0242
2024-09-18 | 0.7599 | 1.0281 | 1.0272 | 1.0247
2024-09-18 | 0.7599 | 1.0278 | 1.0271 | 1.0253
2024-09-18 | 0.7599 | 1.0273 | 1.0273 | 1.0258
2024-09-18 | 0.7599 | 1.0269 | 1.0278 | 1.0259
2024-09-18 | 0.7599 | 1.0266 | 1.0284 | 1.0257
2024-09-18 | 0.7599 | 1.0266 | 1.0289 | 1.0252
2024-09-18 | 0.7599 | 1.027 | 1.0291 | 1.0247
2024-09-18 | 0.7599 | 1.0276 | 1.029 | 1.0243
2024-09-18 | 0.7599 | 1.0281 | 1.0286 | 1.0242
2024-09-18 | 0.7599 | 1.0285 | 1.0281 | 1.0244
2024-09-18 | 0.7599 | 1.0284 | 1.0277 | 1.0249
2024-09-18 | 0.7599 | 1.0281 | 1.0275 | 1.0255
2024-09-18 | 0.7599 | 1.0276 | 1.0276 | 1.0259
2024-09-18 | 0.7599 | 1.0271 | 1.028 | 1.0261
2024-09-18 | 0.7599 | 1.0268 | 1.0286 | 1.0258
2024-09-18 | 0.7599 | 1.0268 | 1.0291 | 1.0254
2024-09-18 | 0.7599 | 1.0271 | 1.0293 | 1.0248
2024-09-18 | 0.7599 | 1.0276 | 1.0292 | 1.0245
2024-09-18 | 0.7599 | 1.0282 | 1.0289 | 1.0243
2024-09-18 | 0.7599 | 1.0285 | 1.0283 | 1.0245
2024-09-18 | 0.7599 | 1.0285 | 1.0279 | 1.025
2024-09-18 | 0.7599 | 1.0282 | 1.0277 | 1.0255
2024-09-18 | 0.7599 | 1.0277 | 1.0278 | 1.0259
2024-09-18 | 0.7599 | 1.0273 | 1.0282 | 1.0261
2024-09-18 | 0.7599 | 1.027 | 1.0287 | 1.0259
2024-09-18 | 0.7599 | 1.0269 | 1.0292 | 1.0255
2024-09-18 | 0.7599 | 1.0272 | 1.0294 | 1.025
2024-09-18 | 0.7599 | 1.0277 | 1.0293 | 1.0246
2024-09-18 | 0.7599 | 1.0282 | 1.029 | 1.0245
2024-09-18 | 0.7599 | 1.0285 | 1.0285 | 1.0246
2024-09-18 | 0.7599 | 1.0285 | 1.0281 | 1.025
2024-09-18 | 0.7599 | 1.0282 | 1.0279 | 1.0255
2024-09-18 | 0.7599 | 1.0278 | 1.0279 | 1.0259
2024-09-18 | 0.7599 | 1.0273 | 1.0283 | 1.026
2024-09-18 | 0.7599 | 1.027 | 1.0287 | 1.0258
2024-09-18 | 0.7599 | 1.0269 | 1.0291 | 1.0254
2024-09-18 | 0.7599 | 1.0271 | 1.0293 | 1.0249
2024-09-18 | 0.7599 | 1.0275 | 1.0293 | 1.0245
2024-09-18 | 0.7599 | 1.028 | 1.0289 | 1.0243
2024-09-18 | 0.7599 | 1.0283 | 1.0284 | 1.0244
2024-09-18 | 0.7599 | 1.0283 | 1.0279 | 1.0248
2024-09-18 | 0.7599 | 1.028 | 1.0276 | 1.0252
2024-09-18 | 0.7599 | 1.0275 | 1.0276 | 1.0256
2024-09-18 | 0.7599 | 1.027 | 1.0279 | 1.0257
2024-09-18 | 0.7599 | 1.0266 | 1.0283 | 1.0255
2024-09-18 | 0.7599 | 1.0264 | 1.0288 | 1.0251
2024-09-18 | 0.7599 | 1.0266 | 1.029 | 1.0245
2024-09-18 | 0.7599 | 1.027 | 1.0289 | 1.0239
2024-09-18 | 0.7599 | 1.0275 | 1.0285 | 1.0237
2024-09-18 | 0.7599 | 1.0279 | 1.0279 | 1.0238
2024-09-18 | 0.7599 | 1.0279 | 1.0274 | 1.0242
2024-09-18 | 0.7599 | 1.0276 | 1.027 | 1.0247
2024-09-18 | 0.7599 | 1.027 | 1.027 | 1.0252
2024-09-18 | 0.7599 | 1.0264 | 1.0274 | 1.0253
2024-09-18 | 0.7599 | 1.0259 | 1.0279 | 1.0251
2024-09-18 | 0.7599 | 1.0258 | 1.0284 | 1.0246
2024-09-18 | 0.7599 | 1.0261 | 1.0287 | 1.024
2024-09-18 | 0.7599 | 1.0266 | 1.0286 | 1.0234
2024-09-18 | 0.7599 | 1.0272 | 1.0282 | 1.0232
2024-09-18 | 0.7599 | 1.0276 | 1.0276 | 1.0234
2024-09-18 | 0.7599 | 1.0276 | 1.027 | 1.0239
2024-09-18 | 0.7599 | 1.0273 | 1.0267 | 1.0245
2024-09-18 | 0.7599 | 1.0267 | 1.0268 | 1.025
2024-09-18 | 0.7599 | 1.0262 | 1.0272 | 1.0252
2024-09-18 | 0.7599 | 1.0258 | 1.0278 | 1.025
2024-09-18 | 0.7599 | 1.0258 | 1.0284 | 1.0245
2024-09-18 | 0.7599 | 1.0261 | 1.0286 | 1.0239
2024-09-18 | 0.7599 | 1.0267 | 1.0286 | 1.0235
2024-09-18 | 0.7599 | 1.0273 | 1.0282 | 1.0234
2024-09-18 | 0.7599 | 1.0277 | 1.0276 | 1.0237
2024-09-18 | 0.7599 | 1.0277 | 1.0272 | 1.0242
2024-09-18 | 0.7599 | 1.0275 | 1.027 | 1.0248
2024-09-18 | 0.7599 | 1.027 | 1.0271 | 1.0252
2024-09-18 | 0.7599 | 1.0265 | 1.0276 | 1.0254
2024-09-18 | 0.7599 | 1.0262 | 1.0281 | 1.0252
2024-09-18 | 0.7599 | 1.0263 | 1.0286 | 1.0248
2024-09-18 | 0.7599 | 1.0266 | 1.0289 | 1.0243
2024-09-18 | 0.7599 | 1.0271 | 1.0288 | 1.0239
2024-09-18 | 0.7599 | 1.0276 | 1.0285 | 1.0238
2024-09-18 | 0.7599 | 1.028 | 1.028 | 1.024
2024-09-18 | 0.7599 | 1.028 | 1.0276 | 1.0244
2024-09-18 | 0.7599 | 1.0278 | 1.0273 | 1.025
2024-09-18 | 0.7599 | 1.0273 | 1.0274 | 1.0254
2024-09-18 | 0.7599 | 1.0268 | 1.0277 | 1.0255
2024-09-18 | 0.7599 | 1.0264 | 1.0282 | 1.0253
2024-09-18 | 0.7599 | 1.0264 | 1.0287 | 1.0249
2024-09-18 | 0.7599 | 1.0266 | 1.029 | 1.0244
2024-09-18 | 0.7599 | 1.027 | 1.0289 | 1.0239
2024-09-18 | 0.7599 | 1.0275 | 1.0285 | 1.0237
2024-09-18 | 0.7599 | 1.0279 | 1.028 | 1.0238
2024-09-18 | 0.7599 | 1.0279 | 1.0274 | 1.0241
2024-09-18 | 0.7599 | 1.0276 | 1.0271 | 1.0246
2024-09-18 | 0.7599 | 1.0271 | 1.027 | 1.025
2024-09-18 | 0.7599 | 1.0265 | 1.0273 | 1.0252
2024-09-18 | 0.7599 | 1.026 | 1.0278 | 1.025
2024-09-18 | 0.7599 | 1.0258 | 1.0283 | 1.0246
2024-09-18 | 0.7599 | 1.026 | 1.0286 | 1.0239
2024-09-18 | 0.7599 | 1.0264 | 1.0285 | 1.0234
2024-09-18 | 0.7599 | 1.0269 | 1.0281 | 1.0231
2024-09-18 | 0.7599 | 1.0273 | 1.0275 | 1.0231
2024-09-18 | 0.7599 | 1.0274 | 1.0269 | 1.0235
2024-09-18 | 0.7599 | 1.0271 | 1.0265 | 1.024
2024-09-18 | 0.7599 | 1.0265 | 1.0264 | 1.0245
2024-09-18 | 0.7599 | 1.0259 | 1.0267 | 1.0247
2024-09-18 | 0.7599 | 1.0254 | 1.0273 | 1.0245
2024-09-18 | 0.7599 | 1.0253 | 1.0278 | 1.024
2024-09-18 | 0.7599 | 1.0255 | 1.0281 | 1.0234
2024-09-18 | 0.7599 | 1.0259 | 1.028 | 1.0229
2024-09-18 | 0.7599 | 1.0265 | 1.0276 | 1.0226
2024-09-18 | 0.7599 | 1.0268 | 1.0271 | 1.0227
2024-09-18 | 0.7599 | 1.0269 | 1.0265 | 1.0231
2024-09-18 | 0.7599 | 1.0266 | 1.0262 | 1.0237
2024-09-18 | 0.7599 | 1.0261 | 1.0262 | 1.0241
2024-09-18 | 0.7599 | 1.0256 | 1.0265 | 1.0243
2024-09-18 | 0.7599 | 1.0251 | 1.027 | 1.0241
2024-09-18 | 0.7599 | 1.025 | 1.0275 | 1.0237
2024-09-18 | 0.7599 | 1.0253 | 1.0278 | 1.0231
2024-09-18 | 0.7599 | 1.0257 | 1.0278 | 1.0226
2024-09-18 | 0.7599 | 1.0262 | 1.0274 | 1.0224
2024-09-18 | 0.7599 | 1.0266 | 1.0269 | 1.0225
2024-09-18 | 0.7599 | 1.0267 | 1.0264 | 1.0229
2024-09-18 | 0.7599 | 1.0264 | 1.0261 | 1.0234
2024-09-18 | 0.7599 | 1.0259 | 1.0261 | 1.0239
2024-09-18 | 0.7599 | 1.0254 | 1.0264 | 1.0241
2024-09-18 | 0.7599 | 1.025 | 1.0269 | 1.0239
2024-09-18 | 0.7599 | 1.0248 | 1.0274 | 1.0235
2024-09-18 | 0.7599 | 1.025 | 1.0277 | 1.0229
2024-09-18 | 0.7599 | 1.0255 | 1.0277 | 1.0224
2024-09-18 | 0.7599 | 1.026 | 1.0273 | 1.0221
2024-09-18 | 0.7599 | 1.0264 | 1.0267 | 1.0222
2024-09-18 | 0.7599 | 1.0265 | 1.0262 | 1.0226
2024-09-18 | 0.7599 | 1.0262 | 1.0258 | 1.0232
2024-09-18 | 0.7599 | 1.0257 | 1.0258 | 1.0237
2024-09-18 | 0.7599 | 1.0251 | 1.0261 | 1.0239
2024-09-18 | 0.7599 | 1.0246 | 1.0266 | 1.0237
2024-09-18 | 0.7599 | 1.0244 | 1.0272 | 1.0232
2024-09-18 | 0.7599 | 1.0246 | 1.0275 | 1.0226
2024-09-18 | 0.7599 | 1.0251 | 1.0275 | 1.022
2024-09-18 | 0.7599 | 1.0257 | 1.0271 | 1.0217
2024-09-18 | 0.7599 | 1.0262 | 1.0264 | 1.0218
2024-09-18 | 0.7599 | 1.0263 | 1.0258 | 1.0223
2024-09-18 | 0.7599 | 1.026 | 1.0254 | 1.0229
2024-09-18 | 0.7599 | 1.0254 | 1.0255 | 1.0235
2024-09-18 | 0.7599 | 1.0248 | 1.0259 | 1.0237
2024-09-18 | 0.7599 | 1.0243 | 1.0265 | 1.0235
2024-09-18 | 0.7599 | 1.0242 | 1.0271 | 1.023
2024-09-18 | 0.7599 | 1.0245 | 1.0275 | 1.0224
2024-09-18 | 0.7599 | 1.0251 | 1.0275 | 1.0218
2024-09-18 | 0.7599 | 1.0258 | 1.0271 | 1.0216
2024-09-18 | 0.7599 | 1.0262 | 1.0265 | 1.0218
2024-09-18 | 0.7599 | 1.0263 | 1.0259 | 1.0223
2024-09-18 | 0.7599 | 1.026 | 1.0256 | 1.023
2024-09-18 | 0.7599 | 1.0255 | 1.0258 | 1.0236
2024-09-18 | 0.7599 | 1.0249 | 1.0262 | 1.0238
2024-09-18 | 0.7599 | 1.0246 | 1.0269 | 1.0237
2024-09-18 | 0.7599 | 1.0246 | 1.0275 | 1.0232
2024-09-18 | 0.7599 | 1.0249 | 1.0278 | 1.0227
2024-09-18 | 0.7599 | 1.0255 | 1.0278 | 1.0223
2024-09-18 | 0.7599 | 1.0261 | 1.0274 | 1.0222
2024-09-18 | 0.7599 | 1.0265 | 1.0269 | 1.0224
2024-09-18 | 0.7599 | 1.0266 | 1.0264 | 1.0228
2024-09-18 | 0.7599 | 1.0263 | 1.0262 | 1.0234
2024-09-18 | 0.7599 | 1.0259 | 1.0262 | 1.0239
2024-09-18 | 0.7599 | 1.0253 | 1.0266 | 1.0241
2024-09-18 | 0.7599 | 1.025 | 1.0271 | 1.024
2024-09-18 | 0.7599 | 1.0249 | 1.0276 | 1.0236
2024-09-18 | 0.7599 | 1.0251 | 1.0279 | 1.0231
2024-09-18 | 0.7599 | 1.0256 | 1.0279 | 1.0226
2024-09-18 | 0.7599 | 1.0261 | 1.0276 | 1.0223
2024-09-18 | 0.7599 | 1.0265 | 1.0271 | 1.0224
2024-09-18 | 0.7599 | 1.0266 | 1.0265 | 1.0228
2024-09-18 | 0.7599 | 1.0263 | 1.0261 | 1.0233
2024-09-18 | 0.7599 | 1.0258 | 1.0261 | 1.0238
2024-09-18 | 0.7599 | 1.0252 | 1.0263 | 1.024
2024-09-18 | 0.7599 | 1.0247 | 1.0268 | 1.0239
2024-09-18 | 0.7599 | 1.0244 | 1.0274 | 1.0234
2024-09-18 | 0.7599 | 1.0246 | 1.0277 | 1.0228
2024-09-18 | 0.7599 | 1.025 | 1.0277 | 1.0222
2024-09-18 | 0.7599 | 1.0256 | 1.0273 | 1.0218
2024-09-18 | 0.7599 | 1.026 | 1.0266 | 1.0218
2024-09-18 | 0.7599 | 1.0261 | 1.026 | 1.0221
2024-09-18 | 0.7599 | 1.0259 | 1.0254 | 1.0227
2024-09-18 | 0.7599 | 1.0253 | 1.0253 | 1.0233
2024-09-18 | 0.7599 | 1.0245 | 1.0256 | 1.0235
2024-09-18 | 0.7599 | 1.0239 | 1.0262 | 1.0234
2024-09-18 | 0.7599 | 1.0237 | 1.0268 | 1.0229
2024-09-18 | 0.7599 | 1.0238 | 1.0272 | 1.0221
2024-09-18 | 0.7599 | 1.0244 | 1.0272 | 1.0214
2024-09-18 | 0.7599 | 1.0251 | 1.0268 | 1.0211
2024-09-18 | 0.7599 | 1.0256 | 1.0261 | 1.0212
2024-09-18 | 0.7599 | 1.0257 | 1.0254 | 1.0216
2024-09-18 | 0.7599 | 1.0254 | 1.025 | 1.0223
2024-09-18 | 0.7599 | 1.0248 | 1.025 | 1.0229
2024-09-18 | 0.7599 | 1.0241 | 1.0254 | 1.0232
2024-09-18 | 0.7599 | 1.0236 | 1.026 | 1.0231
2024-09-18 | 0.7599 | 1.0235 | 1.0267 | 1.0226
2024-09-18 | 0.7599 | 1.0238 | 1.0271 | 1.0219
2024-09-18 | 0.7599 | 1.0244 | 1.0271 | 1.0214
2024-09-18 | 0.7599 | 1.0251 | 1.0267 | 1.0211
2024-09-18 | 0.7599 | 1.0256 | 1.0261 | 1.0213
2024-09-18 | 0.7599 | 1.0258 | 1.0256 | 1.0219
2024-09-18 | 0.7599 | 1.0255 | 1.0253 | 1.0226
2024-09-18 | 0.7599 | 1.025 | 1.0253 | 1.0232
2024-09-18 | 0.7599 | 1.0244 | 1.0258 | 1.0234
2024-09-18 | 0.7599 | 1.024 | 1.0264 | 1.0233
2024-09-18 | 0.7599 | 1.024 | 1.027 | 1.0229
2024-09-18 | 0.7599 | 1.0243 | 1.0274 | 1.0223
2024-09-18 | 0.7599 | 1.0249 | 1.0274 | 1.0219
2024-09-18 | 0.7599 | 1.0256 | 1.0271 | 1.0217
2024-09-18 | 0.7599 | 1.026 | 1.0266 | 1.0219
2024-09-18 | 0.7599 | 1.0262 | 1.0261 | 1.0224
2024-09-18 | 0.7599 | 1.0259 | 1.0258 | 1.023
2024-09-18 | 0.7599 | 1.0255 | 1.0258 | 1.0235