## Embedded Register 04-02-25
Project Name | Customer Name | Connection Site | Stage | MW Connected | MW Increase / Decrease | Cumulative Total Capacity (MW) | MW Effective From | Project Status | HOST TO | Plant Type | Project ID | Project Number
180/181 Clynelish Muir BESS | OPDE UK LIMITED | Brora GSP |  | 0 | 50 | 50 | 2030-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000011zr5AAA | PRO-003597
Abbotshaugh Reserve Power Facility | SP Distribution plc | Bainsford 132/33kV |  | 20 | 0 | 20 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN1QAI | PRO-001213
Abercorn Street Gas | SP Distribution plc | Paisley GSP |  | 22.5 | 0 | 22.5 |  | Built | SPT | Gas Reciprocating | a0l4L0000005ifIQAQ | PRO-000706
Aberdour Solar Farm | SP Distribution plc | Inverkeithing 132/33kV |  | 0 | 25 | 25 | 2026-06-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iZTQAY | PRO-001989
Abernethy GSP (DNO) (Industrial Estate Friarton Road) | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 0.14 | 0.14 | 2023-08-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPIlAAO | PRO-003249
Abhainn Rath & Allt na Lairige Hydro | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 4 | 0 | 4 |  | Built | SHET | Hydro | a0l4L0000005iqXQAQ | PRO-000617
Acharn Biomass Generating Station | Scottish Hydro Electric Power Distribution Plc | Killin GSP |  | 5.6 | 0 | 5.6 |  | Built | SHET | Biomass | a0l4L0000005iqZQAQ | PRO-000615
Achlachan | ACHLACHAN WIND FARM LLP | Mybster 132/33kV Substation |  | 20 | 0 | 20 |  | Built | SHET | Wind Onshore | a0l4L0000005iSZQAY | PRO-000964
Adam Wilson and Sons - Troon CHP | SP Distribution plc | Kilmarnock Town 275/33kV |  | 2.3 | 0 | 2.3 |  | Built | SPT | CHP (Combined Heat and Power) | a0l4L0000005iN2QAI | PRO-001212
AECC (Rowett) | Scottish Hydro Electric Power Distribution Plc | Dyce GSP |  | 4 | 0 | 4 |  | Built | SHET | Biomass | a0l4L0000005iT7QAI | PRO-001002
Aikengall | AIKENGALL COMMUNITY WIND COMPANY LIMITED | Dunbar 132/33kV |  | 48 | 0 | 48 |  | Built | SPT | Wind Onshore | a0l4L0000005iWCQAY | PRO-000289
Allt Cheanna Mhuir Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro | a0l4L0000005iqaQAA | PRO-000614
Allt Ladaidh Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Fort Augustus GSP |  | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro | a0l4L0000005iqdQAA | PRO-000611
Allt Na Moine Generating Station | Scottish Hydro Electric Power Distribution Plc | Broadford GSP |  | 0 | 1.99 | 1.99 | 2028-04-16 | Consents Approved | SHET | Hydro | a0l4L0000005iqpQAA | PRO-000609
Annan Road BESS | SP Distribution plc | Dumfries 132/33kV |  | 0 | 20 | 20 | 2028-04-28 | Scoping | SPT | Energy Storage System | a0l8e000001Ho38AAC | PRO-004059
Arbroath GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 0 | 0.14 | 0.14 | 2023-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000011xwMAAQ | PRO-003479
Ardoch and Over Enoch Wind Farm | SP Distribution plc | East Kilbride South 275/33kV |  | 11.5 | 0 | 11.5 |  | Built | SPT | Wind Onshore | a0l4L0000005ifLQAQ | PRO-000762
Ardtalnaig Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Killin GSP |  | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro | a0l4L0000005iqsQAA | PRO-000606
Ardtrostan Hydro | Scottish Hydro Electric Power Distribution Plc | Killin GSP |  | 0 | 0.1 | 0.1 | 2024-11-30 | Awaiting Consents | SHET | Hydro | a0l8e000000f4iTAAQ | PRO-003863
Ardverikie and Corrour Estate Hydro | Scottish Hydro Electric Power Distribution Plc | Boat of Garten GSP |  | 8.6 | 0 | 8.6 |  | Built | SHET | Hydro | a0l4L0000005iqtQAA | PRO-000605
Arkhill Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Coupar Angus GSP |  | 8.5 | 0 | 8.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iquQAA | PRO-000604
Arran View Battery Storage | SP Distribution plc | Kilwinning GSP |  | 0 | 20 | 20 | 2026-09-30 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005ifNQAQ | PRO-000760
Attadale Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 3.5 | 0 | 3.5 |  | Built | SHET | Hydro | a0l4L0000005iqvQAA | PRO-000603
Auchadaduie Wind Farm | Scottish Hydro Electric Power Distribution Plc | Carradale 1 GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005iSnQAI | PRO-001340
Auchinderran | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iqwQAA | PRO-000602
Auchnasavil Battery Storage | Auchnasavil Battery Storage Ltd | Carradale 1 GSP |  | 0 | 49.9 | 49.9 | 2032-10-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iWmQAI | PRO-002127
Auchteraw Energy Storage | FIELD AUCHTERAW LTD. | Fort Augustus GSP |  | 0 | 49.9 | 49.9 | 2022-12-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iTrQAI | PRO-001658
Aviva Project Progression | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 1.366 | 0 | 1.366 |  | Built | SHET | Energy Storage System | a0l4L0000005iarQAA | PRO-001418
Ayrshire College Hydro | SP Distribution plc | Ayr GSP |  | 0.1 | 0 | 0.1 |  | Built | SPT | Hydro | a0l4L0000005ifPQAQ | PRO-000758
Badachro Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.4 | 0 | 1.4 |  | Built | SHET | Hydro | a0l4L0000005iqzQAA | PRO-000599
Bairds Malt CHP | Scottish Hydro Electric Power Distribution Plc | Inverness GSP |  | 1.2 | 0 | 1.2 |  | Built | SHET | CHP (Combined Heat and Power) | a0l4L0000005iS6QAI | PRO-001296
Balbeggie Avenue BESS | RELAY BALBEGGIE LIMITED | Redhouse GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SPT | Energy Storage System | a0l8e0000010wgeAAA | PRO-002770
Baldovie EfW | Scottish Hydro Electric Power Distribution Plc | Milton of Craigie GSP |  | 9.999 | 0 | 9.999 |  | Built | SHET | Waste | a0l4L0000005ir0QAA | PRO-000598
Balgonie Farm | OPDE UK LIMITED | Aberthaw 132kV Substation |  | 0 | 50 | 50 | 2028-10-31 | Scoping | SHET | Energy Storage System | a0l8e000001HpdFAAS | PRO-004123
Ballochy Solar Farm GSK | GLAXO OPERATIONS LTD | Bridge of Dun GSP |  | 0 | 18 | 18 | 2032-06-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000f8PnAAI | PRO-004033
Balmeanach Wind Farm | BALMEANACH WIND FARM LIMITED | Edinbane GSP |  | 0 | 45 | 45 | 2028-04-16 | Scoping | SHET | Wind Onshore | a0l4L0000005iThQAI | PRO-001438
Balmore WTW | SP Distribution plc | Killermont 132/33kV |  | 0 | 5.145 | 5.145 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005ib5QAA | PRO-002030
Balnacraig Battery Storage | BALNACRAIG BATTERY STORAGE LIMITED | Alness GSP |  | 0 | 49.9 | 49.9 | 2024-03-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iWnQAI | PRO-002244
Balwyllo BESS | BALWYLLO BESS LIMITED | Bridge of Dun GSP |  | 0 | 49.9 | 49.9 | 2032-06-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iXtQAI | PRO-002352
Bankend Rig Extension Wind Farm | SP Distribution plc | Kilmarnock South 275/33kV |  | 0 | 6.9 | 6.9 | 2022-10-31 | Scoping | SPT | Wind Onshore | a0l4L0000005igQQAQ | PRO-000755
Bankend Rig Wind Farm | SP Distribution plc | Kilmarnock Town 275/33kV |  | 14.3 | 0 | 14.3 |  | Built | SPT | Wind Onshore | a0l4L0000005igRQAQ | PRO-000754
Barachander Wind Farm | GREENPOWER (INTERNATIONAL) LTD. | Taynuilt GSP |  | 0 | 66 | 66 | 2034-10-31 | Scoping | SHET | Wind Onshore | a0l8e000000f6u1AAA | PRO-003991
Barr River Hydro | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 1.6 | 0 | 1.6 |  | Built | SHET | Hydro | a0l4L0000005iT8QAI | PRO-001001
Bathgate Hygen IDNO GSP | Eclipse Power Networks Limited | Bathgate Hygen IDNO GSP |  | 0 | 29.9 | 29.9 | 2032-06-30 | Scoping | SPT | Demand;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012jPSAAY | PRO-004673
Bathgate Hygen IDNO GSP | Eclipse Power Networks Limited | Bathgate Hygen IDNO GSP |  | 0 | 29.9 | 119.6 | 2032-06-30 | Scoping | SPT | Demand;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012jPSAAY | PRO-004673
Bathgate Hygen IDNO GSP | Eclipse Power Networks Limited | Bathgate Hygen IDNO GSP |  | 0 | 29.9 | 59.8 | 2032-06-30 | Scoping | SPT | Demand;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012jPSAAY | PRO-004673
Bathgate Hygen IDNO GSP | Eclipse Power Networks Limited | Bathgate Hygen IDNO GSP |  | 0 | 29.9 | 89.7 | 2032-06-30 | Scoping | SPT | Demand;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012jPSAAY | PRO-004673
Bathgate Hygen IDNO GSP | Eclipse Power Networks Limited | Bathgate Hygen IDNO GSP |  | 0 | 29.9 | 149.5 | 2032-06-30 | Scoping | SPT | Demand;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012jPSAAY | PRO-004673
Beinn an Tuirc | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Beinn an Tuirc Substation |  | 30 | 0 | 30 |  | Built | SHET | Wind Onshore | a0l4L0000005iPiQAI | PRO-000848
Beinn Mheadhonach | Wind Harvest Limited | Dunvegan GSP |  | 0 | 21 | 21 | 2028-04-16 | Consents Approved | SHET | Wind Onshore | a0l4L0000005iflQAA | PRO-001506
Beinn Thulabaigh Wind | Scottish Hydro Electric Power Distribution Plc | Stornoway GSP |  | 0 | 6 | 6 | 2033-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005ir1QAA | PRO-000597
Ben Aketil Wind | BEN AKETIL WIND ENERGY LIMITED | Dunvegan GSP |  | 28 | 0 | 28 |  | Built | SHET | Wind Onshore | a0l4L0000005iPjQAI | PRO-000877
Ben Sca | BEN SCA WIND FARM LIMITED | Edinbane GSP |  | 0 | 40.8 | 40.8 | 2028-04-16 | Consents Approved | SHET | Wind Onshore | a0l4L0000005iPvQAI | PRO-000907
Berry BPI Wind Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0 | 10 | 10 | 2028-08-21 | Scoping | SPT | Wind Onshore | a0l8e000001HxvyAAC | PRO-004314
Berryhill Solar Farm | BERRYHILL SOLAR FARM LIMITED | Charleston GSP |  | 0 | 45 | 45 | 2024-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iTuQAI | PRO-001679
Bettyhill Phase 2 Wind Farm | Bettyhill 2 Wind Ltd | Bettyhill 132/33kV Substation |  | 0 | 48 | 48 | 2027-11-01 | Scoping | SHET | Wind Onshore | a0l4L0000005iTcQAI | PRO-002001
Bettyhill Wind Farm | Scottish Hydro Electric Power Distribution Plc | Dounreay GSP |  | 5 | 0 | 5 |  | Built | SHET | Wind Onshore | a0l4L0000005ir2QAA | PRO-000596
Bettyhill Wind Farm Add Cap | Scottish Hydro Electric Power Distribution Plc | Mybster 132/33kV Substation |  | 1 | 0 | 1 |  | Built | SHET | Wind Onshore | a0l4L0000005iP8QAI | PRO-001613
Beyside Portgordons Ltd Generation Station | Scottish Hydro Electric Power Distribution Plc | Keith 1 132/33kV GSP Substation |  | 0 | 1.065 | 1.065 | 2024-03-31 | Scoping | SHET | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iQTQAY | PRO-001886
Binn Ecopark | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 9.9 | 9.9 | 2028-10-31 | Scoping | SHET | Waste | a0l8e000000TPbqAAG | PRO-003442
Binn Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 9.4 | 0 | 9.4 |  | Built | SHET | Wind Onshore | a0l4L0000005ir4QAA | PRO-000594
Blackhill PP | SP Distribution plc | Lesmahagow 132/33kV |  | 0 | 8.4 | 8.4 | 2028-10-31 | Scoping | SPT | Wind Onshore | a0l8e0000011xi8AAA | PRO-003473
Blackpark Battery Storage | BLACKPARK ENERGY STORAGE LIMITED | Nairn GSP |  | 0 | 49.9 | 49.9 | 2022-12-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iRlQAI | PRO-000935
BLINDWELLS FARM BESS | OPDE UK LIMITED | Arbroath GSP |  | 0 | 50 | 50 | 2032-06-30 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005jAMQAY | PRO-002534
Boat of Garten BESS | BOAT OF GARTEN BESS LIMITED | Boat of Garten GSP |  | 0 | 49.9 | 49.9 | 2024-09-30 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iU4QAI | PRO-001739
Boat of Garten GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Boat of Garten GSP |  | 0 | 0.1 | 0.1 | 2023-12-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPOyAAO | PRO-003295
Boothby Road BESS (PI CS) | OPDE UK LIMITED | Fraserburgh 132 kV |  | 0 | 50 | 50 | 2033-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000012kj9AAA | PRO-004747
Bowbeat Windfarm (Emly Bank) | SP Distribution plc | Kaimes 275/33kV |  | 15 | 0 | 15 |  | Built | SPT | Wind Onshore | a0l4L0000005ihKQAQ | PRO-001543
Bowbeat Windfarm (Roughsidehill) | SP Distribution plc | Kaimes 275/33kV |  | 15 | 0 | 15 |  | Built | SPT | Wind Onshore | a0l4L0000005ihLQAQ | PRO-001544
Boyndie Solar | GREENTECH PROJECTS HOLDING UK LIMITED | Macduff GSP |  | 0 | 69.9 | 69.9 | 2029-09-30 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f7CXAAY | PRO-004006
Boyndie Wind | BOYNDIE WIND ENERGY LIMITED | Keith GSP |  | 21 | 0 | 21 |  | Built | SHET | Wind Onshore | a0l4L0000005iPnQAI | PRO-000873
Brackenhills Wind | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 0 | 2.3 | 2.3 | 2023-07-20 | Scoping | SHET | Wind Onshore | a0l4L0000005ir7QAA | PRO-000592
Braco Battery | BRACO ENERGY STORAGE LIMITED | Braco West GSP |  | 0 | 49.9 | 49.9 | 2022-06-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iT3QAI | PRO-000943
Braco West (Formerly Braco) GSP | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 0.12 | 0.12 | 2024-12-30 | Awaiting Consents | SHET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000000TPOzAAO | PRO-003294
Braco West BESS | Braco West BESS Limited | Braco West GSP |  | 0 | 49.9 | 49.9 | 2023-08-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iU9QAI | PRO-001552
Bridgend Wind | SP Distribution plc | Johnstone 132/33kV |  | 0 | 2.5 | 2.5 | 2025-02-28 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iTDQAY | PRO-000996
Broomloan Road BESS | CHECKERS ENERGY LIMITED | Govan 132/33kV |  | 0 | 49.9 | 49.9 | 2026-06-30 | Scoping | SPT | Energy Storage System | a0l4L0000005iXBQAY | PRO-002298
Brotherton Wind Farm | Scottish Hydro Electric Power Distribution Plc | Fiddes GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005iSoQAI | PRO-001341
Brownhill Farm Windfarm | SP Distribution plc | Newarthill 275/33kV |  | 0 | 8.48 | 8.48 | 2024-12-31 | Scoping | SPT | Wind Onshore | a0l4L0000005iv4QAA | PRO-002249
Broxburn Electrical Energy Storage | SP Distribution plc | Broxburn 132/33kV |  | 20 | 0 | 20 |  | Built | SPT | Energy Storage System | a0l4L0000005igeQAA | PRO-000741
Bruach/Crioch Hydro | SP Distribution plc | Strathaven 275/33kV |  | 1.5 | 0 | 1.5 |  | Built | SPT | Hydro | a0l4L0000005igfQAA | PRO-000740
Bruar Hydro | Scottish Hydro Electric Power Distribution Plc | Tummel Bridge GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005irBQAQ | PRO-000588
Buckies Farm BESS | OPDE UK LIMITED | Thurso South GSP |  | 0 | 50 | 50 | 2030-10-30 | Scoping | SHET | Energy Storage System | a0l8e000001HxR3AAK | PRO-004252
Burghmuir Battery | GLENDEVON ENERGY STORAGE LIMITED | Burghmuir GSP |  | 0 | 49.9 | 49.9 | 2022-12-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iTzQAI | PRO-001486
Burghmuir GSP | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 0 | 1.24 | 1.24 | 2024-09-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPP3AAO | PRO-003290
Burghmuir GSP (DNO) Broxden Hub | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 0 | 0.148 | 0.148 | 2024-05-31 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wj9AAA | PRO-002796
Burnbank St Coatbridge BESS | SP Distribution plc | Coatbridge 275/33kV |  | 0 | 29.9 | 29.9 | 2025-10-31 | Scoping | SPT | Energy Storage System | a0l4L0000005iwcQAA | PRO-002203
Burnfoot East | SP Distribution plc | Devonside 132/33kV |  | 10.8 | 0 | 10.8 |  | Built | SPT | Wind Onshore | a0l4L0000005iggQAA | PRO-000739
Burnhead Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 29.5 | 0 | 29.5 |  | Built | SPT | Wind Onshore | a0l4L0000005igiQAA | PRO-000737
Burnside Battery Storage Park | SUNSHINE PROJECT 01 LIMITED | Charleston GSP |  | 0 | 49.9 | 49.9 | 2025-06-30 | Awaiting Consents | SHET | Energy Storage System | a0l8e0000011yXlAAI | PRO-003520
Bush Estate Edinburgh - Project Progression | SP Distribution plc | Kaimes 275/33kV |  | 0 | 2.5 | 2.5 |  | Built | SPT | CHP (Combined Heat and Power);PV Array (Photo Voltaic/solar) | a0l4L0000005ivXQAQ | PRO-002279
Byers Brae Battery Storage | SP Distribution plc | Drumcross 132/33kV |  | 29.9 | 0 | 29.9 |  | Built | SPT | Energy Storage System | a0l4L0000005igjQAA | PRO-000736
Cairds Hill | EDP RENEWABLES UK LIMITED | Keith GSP |  | 0 | 16.8 | 16.8 | 2025-06-30 | Scoping | SHET | Wind Onshore | a0l4L0000005iTaQAI | PRO-001382
Cairnbrogie Wind Farm | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 4.5 | 4.5 | 2025-01-01 | Scoping | SHET | Wind Onshore | a0l4L0000005irQQAQ | PRO-000586
Cairnmore PH3 Wind Farm | Scottish Hydro Electric Power Distribution Plc | Tarland GSP |  | 2.55 | 0 | 2.55 |  | Built | SHET | Wind Onshore | a0l4L0000005irRQAQ | PRO-000585
Cairnstone Estate Solar Wind and Storage | BSR APPLICATIONS LIMITED | Fraserburgh GSP |  | 0 | 60 | 60 | 2033-10-31 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000012kj4AAA | PRO-004746
Calachem RDF CHP Plant | SP Distribution plc | Grangemouth T3&T4 GSP |  | 0 | 28 | 28 | 2021-10-31 | Under Construction/Commissioning | SPT | CHP (Combined Heat and Power) | a0l4L0000005iY2QAI | PRO-001286
Calderwater | CALDER WATER COMMUNITY WIND CO LTD | East Kilbride 275/33kV |  | 39 | 0 | 39 |  | Built | SPT | Wind Onshore | a0l4L0000005iWDQAY | PRO-000290
Caledon Green Gas Generation | SP Distribution plc | Bainsford 132/33kV |  | 0 | 22.5 | 22.5 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN3QAI | PRO-001211
Camieston Farm | SP Distribution plc | Galashiels 132kV Substation |  | 0.5 | 0 | 0.5 |  | Built | SPT | CHP (Combined Heat and Power) | a0l4L0000005iN5QAI | PRO-001209
Camilla Farm | NEXTPOWER EELPOWER CAMILLA LIMITED | Glenniston GSP |  | 0 | 49.95 | 49.95 | 2022-02-15 | Built | SPT | Energy Storage System | a0l4L0000005iQzQAI | PRO-000886
Camilty Wind Farm | SP Distribution plc | Drumcross 132/33kV |  | 0 | 21.6 | 21.6 | 2025-09-30 | Consents Approved | SPT | Wind Onshore | a0l4L0000005igmQAA | PRO-000733
Camster 2 Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation |  | 0 | 38 | 38 | 2024-10-31 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iSaQAI | PRO-000963
Camster Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation |  | 50 | 0 | 50 |  | Built | SHET | Wind Onshore | a0l4L0000005iWGQAY | PRO-000293
Carbrain Gas Reserve Power Facility | SP Distribution plc | Cumbernauld 132/33kV |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN6QAI | PRO-001208
Carey Farm PV | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 9.9 | 9.9 | 2024-05-31 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiTQAQ | PRO-001170
Carlincraig Wind | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 0 | 4.6 | 4.6 | 2023-09-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005irTQAQ | PRO-000583
Carmuirs | SP Distribution plc | Bonnybridge 132/33kV |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005ihoQAA | PRO-000775
Carnbroe EfW | SP Distribution plc | Coatbridge 275/33kV |  | 0 | 29 | 29 | 2024-07-31 | Awaiting Consents | SPT | Waste | a0l4L0000005ihqQAA | PRO-000773
Carron Valley Generating Facility | SP Distribution plc | Stirling 132/33kV |  | 0 | 29.999 | 29.999 | 2029-04-30 | Scoping | SPT | Wind Onshore | a0l4L0000005iwEQAQ | PRO-002277
Carscreugh | SP Distribution plc | Glenluce 132/33kV |  | 15.2 | 0 | 15.2 |  | Built | SPT | Wind Onshore | a0l4L0000005ihrQAA | PRO-000772
Carsebank PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 5 | 5 | 2021-11-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiUQAQ | PRO-001169
Carswell Hill Wind Turbine | SP Distribution plc | Crookston 132/33kV |  | 0.98 | 0 | 0.98 |  | Built | SPT | Wind Onshore | a0l4L0000005ihsQAA | PRO-000771
Castle of Auchry | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005irUQAQ | PRO-000618
Cathkin Energy Storage | CATHKIN ENERGY STORAGE LIMITED | East Kilbride 275/33kV |  | 0 | 49.9 | 49.9 | 2024-07-31 | Scoping | SPT | Energy Storage System | a0l4L0000005iRdQAI | PRO-001925
Causeymire | CAUSEYMIRE WINDFARM LIMITED | Mybster 1 GSP |  | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore | a0l4L0000005iWHQAY | PRO-000294
Ceannacroc Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Ceannacroc GSP |  | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro | a0l4L0000005irVQAQ | PRO-000660
Challoch Solar Farm | SP Distribution plc | Newton Stewart GSP |  | 0 | 16 | 16 | 2028-08-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e0000010x0tAAA | PRO-003041
Charleston GSP (James Hutton Institute PV) | Scottish Hydro Electric Power Distribution Plc | Charleston GSP |  | 0 | 0.75 | 0.75 | 2031-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010xfBAAQ | PRO-003074
Charleston Solar PV | Sonnedix Weston Limited | Charleston GSP |  | 0 | 20 | 20 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iUhQAI | PRO-002333
Clachaig Glen Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Carradale 1 GSP |  | 0 | 47.6 | 47.6 | 2025-04-30 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iPqQAI | PRO-000878
Clachan | SSE GENERATION LIMITED | Clachan GSP |  | 40 | 0 | 40 |  | Built | SHET | Hydro | a0l4L0000005iV5QAI | PRO-000071
Clachan GSP | Scottish Hydro Electric Power Distribution Plc | Clachan GSP |  | 0 | 0.42 | 0.42 | 2025-09-30 | Scoping | SHET | Demand;Hydro | a0l8e000000TPPAAA4 | PRO-003387
Claverhouse Gas Generation | CLAVERHOUSE GENERATION LIMITED | Milton of Craigie GSP |  | 0 | 19.9 | 19.9 | 2026-04-30 | Scoping | SHET | Gas Reciprocating | a0l4L0000005iR5QAI | PRO-001319
Clayfords Energy Storage | Clayfords Energy Storage Ltd | Strichen GSP |  | 0 | 49.9 | 49.9 | 2024-10-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iQcQAI | PRO-001895
Cnoc Morail Wind Farm | QAIR RENEWABLES UK LIMITED | Mybster 132/33kV Substation |  | 0 | 26.4 | 26.4 | 2030-10-30 | Scoping | SHET | Energy Storage System;Wind Onshore | a0l8e000001HrhYAAS | PRO-004212
Collace Solar Farm | SOLAR 2 PROJECT J LIMITED | Coupar Angus GSP |  | 0 | 49.9 | 49.9 | 2028-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iTmQAI | PRO-002061
Colton Solar Farm | SP Distribution plc | Dunfermline 132/33kV |  | 0 | 29.9 | 29.9 | 2023-12-31 | Scoping | SPT | Wind Onshore | a0l4L0000005iNiQAI | PRO-001818
Cordon Farm BESS | ELGIN ENERGY ES CO LIMITED | Abernethy GSP |  | 0 | 30 | 30 | 2033-10-31 | Scoping | SHET | Energy Storage System | a0lJ9000000PDmVIAW | PRO-005011
Cordon Farm PV | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 9.9 | 9.9 | 2024-05-31 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiVQAQ | PRO-001168
Cornabo Wind | Scottish Hydro Electric Power Distribution Plc | Tarland GSP |  | 0 | 2.4 | 2.4 | 2026-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005irWQAQ | PRO-000659
Corrimony | CORRIMONY ENERGY LIMITED | Fasnakyle GSP |  | 11.5 | 0 | 11.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iRHQAY | PRO-001307
Corrour Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Rannoch GSP |  | 5.5 | 0 | 5.5 |  | Built | SHET | Hydro | a0l4L0000005irXQAQ | PRO-000658
Coulags Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro | a0l4L0000005irYQAQ | PRO-000657
Coulin Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.2 | 0 | 1.2 |  | Built | SHET | Hydro | a0l4L0000005irZQAQ | PRO-000656
Coulterfanny PV | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 0.17 | 0.17 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wbtAAA | PRO-002716
Craigannet Wind Turbine | SP Distribution plc | Bonnybridge 132/33kV |  | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore | a0l4L0000005ihvQAA | PRO-000768
Craigton and Spitalhill Wind Farm | SP Distribution plc | Strathleven 132/33kV |  | 0 | 21 | 21 | 2023-09-30 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iTEQAY | PRO-000995
Cruach Glenamachrie Wind Farm | VOLTALIA UK LTD | Taynuilt GSP |  | 0 | 50 | 50 | 2034-10-31 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iXrQAI | PRO-002369
Cruach Mhor Farm | SCOTTISHPOWER RENEWABLES (UK) LIMITED | Cruach Mhor Farm Substation |  | 29 | 0 | 29 |  | Built | SPT | Wind Onshore | a0l4L0000005iQhQAI | PRO-000903
Crystal Rig Wind Farm | CRYSTAL RIG WINDFARM LIMITED | Dunbar 132/33kV |  | 62.5 | 0 | 62.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iWIQAY | PRO-000295
Cullerlie Estate PV | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 8.75 | 8.75 | 2024-05-01 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iiWQAQ | PRO-001167
Culraven Solar Farm | SP Distribution plc | Tongland 132/11kV |  | 0 | 29.9 | 29.9 | 2027-08-26 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iS8QAI | PRO-001294
DENFIELD 20MW BESS | SEAHILLS PROPERTIES LIMITED | Arbroath GSP |  | 0 | 20 | 20 | 2032-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000012j9AAAQ | PRO-004632
Deucheran Hill | RWE RENEWABLES UK ONSHORE WIND LIMITED | Deucheran Hill GSP |  | 15 | 0 | 15 |  | Built | SHET | Wind Onshore | a0l4L0000005iQlQAI | PRO-000899
Deuchries Extension | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 4.7 | 0 | 4.7 |  | Built | SHET | Wind Onshore | a0l4L0000005irbQAA | PRO-000654
Deuchries Wind | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 7.05 | 0 | 7.05 |  | Built | SHET | Wind Onshore | a0l4L0000005iT9QAI | PRO-001000
Dewshill Windfarm | SP Distribution plc | Newarthill 275/33kV |  | 0 | 10.6 | 10.6 | 2026-04-30 | Scoping | SPT | Wind Onshore | a0l8e000001HpDJAA0 | PRO-004115
Diageo Leven | SP Distribution plc | Leven GSP |  | 0 | 0 | 0 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iNtQAI | PRO-001834
Dornich Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Clachan GSP |  | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro | a0l4L0000005ircQAA | PRO-000653
Dounreay | Sun4net Ltd | Dounreay 132kV Converter |  | 0 | 34 | 34 | 2026-07-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iWuQAI | PRO-002318
Doveryard Energy Centre | SP Distribution plc | Kilmarnock South 275/33kV |  | 0 | 25 | 25 | 2025-05-19 | Consents Approved | SPT | Waste | a0l4L0000005ihyQAA | PRO-000765
Dragonhall Farm PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 5 | 0 | 5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ibjQAA | PRO-001432
Drumcross ESS | SP Distribution plc | Drumcross 132/33kV |  | 0 | 29.9 | 29.9 | 2024-12-31 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005ihzQAA | PRO-000764
Drumcross GSP | SP Distribution plc | Drumcross 132/33kV |  | 0 | 20.7 | 20.7 | 2031-09-30 | Scoping | SPT | Wind Onshore | a0l8e000000TP8EAAW | PRO-003137
Drumderg Wind Farm | SSE GENERATION LIMITED | Coupar Angus GSP |  | 32 | 0 | 32 |  | Built | SHET | Wind Onshore | a0l4L0000005iSTQAY | PRO-000970
Drumduff Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 6 | 0 | 6 |  | Built | SPT | Wind Onshore | a0l4L0000005ii0QAA | PRO-000763
Drumgray (Greengairs) | SP Distribution plc | Cumbernauld 132/33kV |  | 0 | 29.9 | 29.9 | 2028-10-27 | Scoping | SPT | Waste | a0l8e000001Hxw3AAC | PRO-004315
Dummuies Wind Farm | DUMMUIES WINDFARM HUNTLY LIMITED | Keith GSP |  | 12.25 | 0 | 12.25 |  | Built | SHET | Wind Onshore | a0l4L0000005iSVQAY | PRO-000968
Dunbar ERF | VIRIDOR ENVIROSCOT LIMITED | Dunbar 132/33kV |  | 36 | 0 | 36 |  | Built | SPT | Waste | a0l4L0000005iPsQAI | PRO-000910
Dunbar Solar PV | SP Distribution plc | Dunbar 132/33kV |  | 0 | 20 | 20 | 2029-04-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000001I31QAAS | PRO-004328
Duniface Farm (Leven Gas) | SP Distribution plc | Leven GSP |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iN9QAI | PRO-001205
Dunns Farm | SP Distribution plc | East Kilbride South 275/33kV |  | 0 | 22.8 | 22.8 | 2027-10-29 | Scoping | SPT | Energy Storage System | a0l8e0000011yBbAAI | PRO-003504
Dunoon Energy Storage | FLEXION ENERGY UK STORAGE LTD | Dunoon GSP |  | 0 | 45 | 45 | 2024-08-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iWpQAI | PRO-002263
Dunoon GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Dunoon GSP |  | 0 | 0.48 | 0.48 | 2025-03-25 | Scoping | SHET | Energy Storage System | a0l4L0000005iY4QAI | PRO-002317
Dunsinane Battery (formerly Lyndhurst) | SUSI EELPOWER DUNSINANE LIMITED | Lyndhurst GSP |  | 0 | 49.9 | 49.9 | 2021-12-01 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iTgQAI | PRO-001052
Dyce Battery Storage | Dyce Battery Storage Limited | Dyce GSP |  | 0 | 49.9 | 49.9 | 2025-10-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iMEQAY | PRO-002332
Dyce Energy Storage Facility | CBS ENERGY STORAGE ASSETS UK LIMITED | Dyce GSP |  | 0 | 30 | 30 | 2024-05-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iNlQAI | PRO-001822
Earlsburn | EARLSBURN WIND ENERGY LIMITED | Bonnybridge 132/33kV |  | 35 | 0 | 35 |  | Built | SPT | Wind Onshore | a0l4L0000005iSzQAI | PRO-000947
East Kilbride South GSP | SP Distribution plc | East Kilbride South 275/33kV |  | 0 | 13.4 | 13.4 | 2033-10-31 | Scoping | SPT | Energy Storage System | a0l8e000000TP8AAAW | PRO-003142
East Mains Generating Plant | SP Distribution plc | Broxburn 132/33kV |  | 0 | 10 | 10 | 2022-12-31 | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iNAQAY | PRO-001204
Easter Drumclair Generator | SP Distribution plc | Bathgate 132/33kV |  | 0 | 6 | 6 | 2022-11-30 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005ii3QAA | PRO-000809
Easter Melrose Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 2.7 | 0 | 2.7 |  | Built | SHET | Wind Onshore | a0l4L0000005irgQAA | PRO-000649
Easter Tolmauds | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005irhQAA | PRO-000648
Edintore Wind Farm | EDINTORE WIND FARM LIMITED | Keith GSP |  | 20.4 | 0 | 20.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iRhQAI | PRO-000939
Edradynate Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Tummel Bridge GSP |  | 1.3 | 0 | 1.3 |  | Built | SHET | Hydro | a0l4L0000005irjQAA | PRO-000646
Elderslie Estate PV | ELGIN ENERGY ES CO LIMITED | Johnstone 132/33kV |  | 0 | 49.9 | 49.9 | 2025-10-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iX6QAI | PRO-002281
Energy Park Fife Wind Farm | SP Distribution plc | Leven GSP |  | 0 | 14 | 14 | 2023-03-01 | Scoping | SPT | Wind Onshore | a0l4L0000005iTGQAY | PRO-000993
Errol PV Generating Station | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 9.9 | 0 | 9.9 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijaQAA | PRO-001160
Erskine Gas Generation | SP Distribution plc | Erskine 132/33kV |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iNBQAY | PRO-001203
Eskart Hydro | Scottish Hydro Electric Power Distribution Plc | Fort Augustus GSP |  | 1.99 | 0 | 1.99 |  | Built | SHET | Hydro | a0l4L0000005irlQAA | PRO-000644
Ewe Hill | SP Distribution plc | Chapelcross GSP |  | 12 | 0 | 12 |  | Built | SPT | Wind Onshore | a0l4L0000005imZQAQ | PRO-000062
Exhibit U Gleneagles Hotel | Scottish Hydro Electric Power Distribution Plc | Braco GSP |  | 0.125 | 0 | 0.125 |  | Built | SHET | CHP (Combined Heat and Power);Demand | a0l8e0000010wSVAAY | PRO-002611
Exhibit U Marywell Works | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 0.19 | 0.19 | 2025-10-31 | Scoping | SHET | CCGT (Combined Cycle Gas Turbine) | a0l8e000000f7p8AAA | PRO-004015
Fairburn Wind Farm | SSE GENERATION LIMITED | Orrin (Fairburn) GSP |  | 40 | 0 | 40 |  | Built | SHET | Wind Onshore | a0l4L0000005iRpQAI | PRO-000931
Fairways Battery Storage | Fairways Battery Storage Ltd | Inverness GSP |  | 0 | 49.9 | 49.9 | 2025-12-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iMWQAY | PRO-002286
Fall of Warness | THE EUROPEAN MARINE ENERGY CENTRE LIMITED | Eday GSP |  | 0 | 22.8 | 22.8 | 2030-05-30 | Scoping | SHET | Tidal | a0l8e000000f40QAAQ | PRO-003812
Fasnakyle Battery Storage | FASNAKYLE BATTERY STORAGE LIMITED | Fasnakyle GSP |  | 0 | 49.9 | 49.9 | 2024-05-31 | Scoping | SHET | Energy Storage System | a0l4L0000005j1jQAA | PRO-002481
Fassfern Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 2.5 | 0 | 2.5 |  | Built | SHET | Hydro | a0l4L0000005irmQAA | PRO-000643
Feddal Estate | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 9.99 | 9.99 | 2024-01-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005irnQAA | PRO-000642
Ferneylea Wind Farm | SP Distribution plc | Dunbar 132/33kV |  | 1.6 | 0 | 1.6 |  | Built | SPT | Wind Onshore | a0l4L0000005ii5QAA | PRO-000807
Fernishaw Farm PV | ELGIN ENERGY ES CO LIMITED | Newarthill 275/33kV |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000001HxQZAA0 | PRO-004246
Ferrymuir Energy Storage | FERRYMUIR ENERGY STORAGE LIMITED | Cupar GSP |  | 0 | 49.9 | 49.9 | 2022-10-31 | Awaiting Consents | SPT | Energy Storage System | a0l4L0000005iSqQAI | PRO-001352
Fetteresso Wind Farm | FETTERESSO WIND LIMITED | Mid Hill GSP |  | 0 | 37 | 37 | 2026-09-30 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iRtQAI | PRO-000927
Flatterton Farm | BIG BATTERY (FLATTERTON FARM) LIMITED | Spango Valley GSP |  | 0 | 50 | 50 | 2027-05-14 | Scoping | SPT | Energy Storage System | a0l8e0000010x1XAAQ | PRO-003048
Fordtown Battery Storage | SUSI EELPOWER FORDTOWN LIMITED | Kintore GSP |  | 0 | 49.9 | 49.9 | 2022-07-01 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iQxQAI | PRO-000888
Forfar Solar - DNO | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 27.8 | 27.8 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iUcQAI | PRO-002444
Forfar WWTW | Scottish Hydro Electric Power Distribution Plc | Burghmuir GSP |  | 0 | 0.2 | 0.2 | 2025-10-31 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l8e000001I31VAAS | PRO-004329
Forrestfield Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 0 | 9 | 9 | 2026-11-29 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005ii9QAA | PRO-000803
Forss Abbey Energy Storage | THE ABBEY GROUP CAMBRIDGESHIRE LIMITED | Dounreay GSP |  | 0 | 49.9 | 49.9 | 2031-06-30 | Scoping | SHET | Energy Storage System | a0l8e000001HrmZAAS | PRO-004222
Forss BP Wind Turbine | Scottish Hydro Electric Power Distribution Plc | Dounreay GSP |  | 0 | 9.8 | 9.8 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l4L0000005irvQAA | PRO-000639
Fraserburgh Energy Plant | FRASERBURGH ENERGY LTD | Fraserburgh GSP |  | 0 | 45 | 45 | 2024-09-20 | Consents Approved | SHET | Energy Storage System | a0l4L0000005j1XQAQ | PRO-001820
Fraserburgh Energy Storage | FLEXION ENERGY UK STORAGE LTD | Fraserburgh GSP |  | 0 | 40 | 40 | 2027-10-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iXYQAY | PRO-002258
Fraserburgh GSP | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 0.2 | 0.2 | 2025-10-31 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e000000TPPUAA4 | PRO-003367
Garbhaig Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005irxQAA | PRO-000637
Gartly Moore | Huntly Development Trust Limited | Gartly Moore GSP |  | 0 | 16 | 16 | 2031-10-31 | Awaiting Consents | SHET | Demand;PV Array (Photo Voltaic/solar);Wind Onshore | a0l8e0000010wjsAAA | PRO-002805
Gawnsmoss Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iryQAA | PRO-000636
Gevens Wind Farm | SP Distribution plc | Glenniston GSP |  | 6.9 | 0 | 6.9 |  | Built | SPT | Wind Onshore | a0l4L0000005iiBQAQ | PRO-000801
Giffnock GSP | SP Distribution plc | Giffnock 275/33kV |  | 0 | 24.8 | 24.8 | 2033-10-31 | Scoping | SPT | Wind Onshore | a0l8e000000TP8vAAG | PRO-003149
Gilliesfaulds | SP Distribution plc | Cupar GSP |  | 0 | 12.5 | 12.5 | 2031-10-31 | Scoping | SPT | Energy Storage System | a0l8e000000TP7OAAW | PRO-003112
Girvan Mains AD Plant | SP Distribution plc | Maybole GSP |  | 0.25 | 0 | 0.25 |  | Built | SPT | Biomass | a0l4L0000005ijBQAQ | PRO-000799
Glasgow Airport | SP Distribution plc | Braehead Park 132/33kV |  | 0 | 5 | 5 | 2026-10-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000ewixAAA | PRO-003680
Glen Affric Generation Station | Scottish Hydro Electric Power Distribution Plc | Fasnakyle GSP |  | 4.28 | 0 | 4.28 |  | Built | SHET | Wind Onshore | a0l4L0000005is1QAA | PRO-000633
Glen Buck Hydro | Scottish Hydro Electric Power Distribution Plc | Fort Augustus GSP |  | 2.05 | 0 | 2.05 |  | Built | SHET | Hydro | a0l4L0000005is2QAA | PRO-000632
Glen Etive Hydro | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 4.82 | 0 | 4.82 |  | Built | SHET | Hydro | a0l4L0000005is4QAA | PRO-000630
Glen Noe Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Taynuilt GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005is5QAA | PRO-000629
Glendale Battery Energy Storage | GIGABOX NO 5 LIMITED | Kintore GSP |  | 0 | 49.9 | 49.9 | 2024-01-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iPJQAY | PRO-001853
Glendoick Garden Centre | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 0.15 | 0.15 | 2024-01-17 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPOsAAO | PRO-003301
Glengolly | ECOCEL ENERGY (STORAGE) LTD | Thurso GSP |  | 0 | 49.9 | 49.9 | 2033-10-31 | Scoping | SHET | Energy Storage System | a0l8e000001Hy9qAAC | PRO-004326
Glenniston Solar | Glenniston Solar Project Ltd | Glenniston 132/33kV |  | 0 | 39 | 39 | 2027-04-30 | Scoping | SPT | Energy Storage System | a0l4L0000005iTKQAY | PRO-001982
Golspie Business Park | Scottish Hydro Electric Power Distribution Plc | Brora GSP |  | 0 | 0.06 | 0.06 | 2024-03-08 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000011yBqAAI | PRO-003507
Golticlay Extension Wind Farm | RWE RENEWABLES UK SWINDON LIMITED | Mybster 2 132/33kV Substation |  | 0 | 55 | 55 | 2026-09-30 | Scoping | SHET | Wind Onshore | a0l4L0000005iRuQAI | PRO-000926
Golticlay Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation | 1 | 0 | 50.07 | 50.07 | 2025-04-30 | Awaiting Consents | SHET | Wind Onshore | a0l4L0000005iUnQAI | PRO-000370-1
Golticlay Wind Farm | RWE RENEWABLES UK ONSHORE WIND LIMITED | Mybster 132/33kV Substation | 2 | 0 | 7.93 | 58 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l4L0000005iUnQAI | PRO-000370-2
Gowanfold Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Fraserburgh GSP |  | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore | a0l4L0000005is8QAA | PRO-000626
Greenscares Wind | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 8 | 8 | 2024-11-30 | Under Construction/Commissioning | SHET | Wind Onshore | a0l4L0000005isCQAQ | PRO-000622
Greenside | Scottish Hydro Electric Power Distribution Plc | St Fergus Gas GSP |  | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore | a0l4L0000005isDQAQ | PRO-000621
Greenside Farm PP | SP Distribution plc | Newarthill 275/33kV |  | 0 | 28.8 | 28.8 | 2026-06-30 | Scoping | SPT | Energy Storage System | a0l8e000000TP7TAAW | PRO-003113
Grudie Bridge | SSE GENERATION LIMITED | Grudie Bridge GSP |  | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro | a0l4L0000005iQnQAI | PRO-000879
GSK Irvine | SP Distribution plc | Kilwinning GSP |  | 23.7 | 0 | 23.7 |  | Built | SPT | PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005iTHQAY | PRO-000992
Halkshill Hydro | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 1.34 | 0 | 1.34 |  | Built | SPT | Hydro | a0l4L0000005ijGQAQ | PRO-000794
Hallyburton (2) | Balance Power Projects Limited | Coupar Angus 2 GSP |  | 0 | 49.9 | 49.9 | 2029-10-31 | Scoping | SHET | Energy Storage System | a0l8e000000f69mAAA | PRO-003959
Hallyburton BESS | Balance Power Projects Limited | Coupar Angus 2 GSP |  | 0 | 49.9 | 49.9 | 2029-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000010wlZAAQ | PRO-002824
Hammars Hill B | Scottish Hydro Electric Power Distribution Plc | Finstown (Orkney) GSP |  | 0 | 8.4 | 8.4 | 2028-06-30 | Consents Approved | SHET | Demand;Wind Onshore | a0l8e000001I31fAAC | PRO-004331
Harelaw Gas Generation | SP Distribution plc | Devol Moor 132/33kV |  | 20 | 0 | 20 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iNDQAY | PRO-001201
Harris Academy | Scottish Hydro Electric Power Distribution Plc | Charleston GSP |  | 0 | 0.13 | 0.13 | 2031-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000ewinAAA | PRO-003679
Hartwood Wind Farm | SP Distribution plc | Newarthill 275/33kV |  | 0 | 18.7 | 18.7 | 2026-03-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iTIQAY | PRO-000991
Hazelside Wind farm | SP Distribution plc | Linnmill GSP |  | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iUJQAY | PRO-000777
Heights Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 0 | 9.8 | 9.8 | 2026-09-30 | Scoping | SPT | Wind Onshore | a0l4L0000005ijIQAQ | PRO-000792
High Holm Farm BESS | SP Distribution plc | Dunfermline 132/33kV |  | 0 | 29.9 | 29.9 | 2031-10-30 | Scoping | SPT | Energy Storage System | a0l8e0000010wcSAAQ | PRO-002722
Highland Meats CHP | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0.13 | 0 | 0.13 |  | Built | SPT | CHP (Combined Heat and Power) | a0l4L0000005iNGQAY | PRO-001198
Hill of Easterton | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore | a0l4L0000005isXQAQ | PRO-000668
Hill of Lybster Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Dounreay GSP |  | 0 | 1.5 | 1.5 | 2023-04-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005isYQAQ | PRO-000667
Hillhead Of Auquhirrie Wind Generating station | Scottish Hydro Electric Power Distribution Plc | Fiddes GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005isZQAQ | PRO-000666
Hillhead of Gask | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 9.5 | 9.5 | 2023-11-30 | Consents Approved | SHET | Wind Onshore | a0l4L0000005idNQAQ | PRO-001664
Holmquarry Road BESS | BIG BATTERY (HOLMQUARRY ROAD) LIMITED | Kilmarnock Town 275/33kV Substation |  | 0 | 60.4 | 60.4 | 2026-04-30 | Scoping | SPT | Energy Storage System | a0l8e0000012i3sAAA | PRO-004602
Hopetoun Newton Solar Farm (dno) | SP Distribution plc | Broxburn 132/33kV |  | 0 | 29.9 | 29.9 | 2024-10-29 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005idnQAA | PRO-002090
Hoprigshiels | SP Distribution plc | Dunbar 132/33kV |  | 7.5 | 0 | 7.5 |  | Built | SPT | Wind Onshore | a0l4L0000005ijJQAQ | PRO-000791
Househill BESS | HOUSEHILL BESS LIMITED | Nairn GSP |  | 0 | 49.9 | 49.9 | 2027-10-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iejQAA | PRO-001499
Houstry (Boulfruich) Wind Farm | BOULFRUICH WIND FARM LIMITED | Dunbeath GSP |  | 14 | 0 | 14 |  | Built | SHET | Wind Onshore | a0l4L0000005iPtQAI | PRO-000909
Howmuir PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 5 | 5 | 2021-11-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijdQAA | PRO-001234
Howpark Wind Farm | SP Distribution plc | Berwick 132/33kV |  | 0 | 16 | 16 | 2024-04-19 | Scoping | SPT | Wind Onshore | a0l4L0000005j1TQAQ | PRO-001567
Hunterston Offshore Wind Turbine Testing Facility | SP Distribution plc | Hunterston Farm 132/33kV |  | 25 | 0 | 25 |  | Built | SPT | Wind Onshore | a0l4L0000005ijKQAQ | PRO-000790
Inchinnan Solar Park North | SP Distribution plc | Erskine 132/33kV |  | 0 | 5 | 5 | 2025-10-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000f3zSAAQ | PRO-003803
Inchinnan Solar Park South | SP Distribution plc | Paisley 132/33kV |  | 0 | 4.3 | 4.3 | 2026-05-29 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000f8JEAAY | PRO-004025
Inverawe | SSE GENERATION LIMITED | Taynuilt GSP |  | 25 | 0 | 25 |  | Built | SHET | Hydro | a0l4L0000005iReQAI | PRO-000882
Inverclyde | SP Distribution plc | Devol Moor 132/33kV |  | 24 | 0 | 24 |  | Built | SPT | Wind Onshore | a0l4L0000005ijMQAQ | PRO-000788
Inverkeithing Gas Generation | SP Distribution plc | Inverkeithing GSP |  | 0 | 20 | 20 | 2024-01-01 | Scoping | SPT | Gas Reciprocating | a0l4L0000005ijNQAQ | PRO-000787
Inverurie Paper Mills | SYLVAMO UK LIMITED | Kintore GSP |  | 7.5 | 0 | 7.5 |  | Built | SHET | Thermal | a0l4L0000005iRfQAI | PRO-000881
Keltie Hydro | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 1 | 0 | 1 |  | Built | SHET | Hydro | a0l4L0000005icIQAQ | PRO-000701
Kempstone Hill Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Fiddes GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005icJQAQ | PRO-000700
Kiachnish Hydro | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005icLQAQ | PRO-000698
Kildrummy Wind Farm | KILDRUMMY WIND FARM LIMITED | Tarland GSP |  | 18.4 | 0 | 18.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iSlQAI | PRO-000952
Kilmux Farm | SP Distribution plc | Leven GSP |  | 0 | 20 | 20 | 2032-05-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iNJQAY | PRO-001195
Kinegar WF | SP Distribution plc | Dunbar 132/33kV |  | 5 | 0 | 5 |  | Built | SPT | Wind Onshore | a0l4L0000005ijPQAQ | PRO-000785
Kinlochleven | KINLOCHLEVEN POWER LTD | Kinlochleven GSP |  | 26 | 0 | 26 |  | Built | SHET | Hydro | a0l4L0000005iQwQAI | PRO-000889
Kintore BESS | Conrad Energy (Developments) II Limited | Kintore GSP |  | 0 | 49.9 | 49.9 | 2031-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005j6tQAA | PRO-002518
Kintore GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 0.15 | 0.15 | 2023-11-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wRmAAI | PRO-002603
Kintore South Fordtown (Leylodge) | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 0 | 50 | 50 | 2027-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iWoQAI | PRO-002248
Kintore South Fordtown Energy Storage | Xrenewable Ltd | Kintore GSP | 1 | 0 | 25 | 25 | 2026-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iY1QAI | PRO-002154-1
Kintore South Fordtown Energy Storage | Xrenewable Ltd | Kintore GSP | 2 | 0 | 50 | 50 | 2029-11-01 | Scoping | SHET | Energy Storage System | a0l4L0000005iY1QAI | PRO-002154-2
Kirkton Solar PV | EEB 19 LIMITED | Peterhead Grange GSP |  | 0 | 35 | 35 | 2024-03-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iQIQAY | PRO-001262
Kirkton Wind Farm | Scottish Hydro Electric Power Distribution Plc | Kintore GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005icMQAQ | PRO-000697
Lairg - Achany Wind Farm | SSE GENERATION LIMITED | Lairg GSP |  | 38 | 0 | 38 |  | Built | SHET | Wind Onshore | a0l4L0000005iR0QAI | PRO-000885
Lairg Phase 2 | Scottish Hydro Electric Power Distribution Plc | Lairg GSP |  | 2.5 | 0 | 2.5 |  | Built | SHET | Wind Onshore | a0l4L0000005icQQAQ | PRO-000693
Land at Kinnell Solar Farm | Scottish Hydro Electric Power Distribution Plc | Bridge of Dun GSP |  | 0 | 9.45 | 9.45 | 2032-06-30 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f4mgAAA | PRO-003864
Land at Nether Farm | SP Distribution plc | Crookston 132/33kV |  | 0 | 4 | 4 | 2025-12-01 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iTLQAY | PRO-000990
Land at Rothienorman | ANESCO LIMITED | Rothienorman GSP |  | 0 | 49.9 | 49.9 | 2024-10-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iTqQAI | PRO-002073
Langlands Business Park | SP Distribution plc | East Kilbride South 275/33kV |  | 0 | 20 | 20 | 2027-10-30 | Scoping | SPT | Energy Storage System | a0l8e0000011xqrAAA | PRO-003476
Langlands Gate | SP Distribution plc | East Kilbride South 275/33kV |  | 0 | 16.5 | 16.5 | 2027-08-31 | Scoping | SPT | Energy Storage System | a0l8e000001HxLiAAK | PRO-004239
Larbrax Wind Farm | SP Distribution plc | Glenluce 132/33kV |  | 0 | 20 | 20 | 2029-11-02 | Scoping | SPT | Wind Onshore | a0l4L0000005ijTQAQ | PRO-000781
Lawmoor Energy Storage Glasgow | LAWMOOR DEVELOPMENTS ENERGY STORAGE LIMITED | St. Andrews Cross GSP |  | 0 | 50 | 50 | 2027-07-23 | Scoping | SPT | Energy Storage System | a0l8e0000012kcsAAA | PRO-004715
Lerwick A | SSE GENERATION LIMITED | Shetland GSP (132kV) |  | 28 | 0 | 28 |  | Built | SHET | Thermal | a0l4L0000005iRmQAI | PRO-000934
Lerwick B | SSE GENERATION LIMITED | Shetland GSP (132kV) |  | 37 | 0 | 37 |  | Built | SHET | Thermal | a0l4L0000005iRnQAI | PRO-000933
Lesmahagow Wind Farm | SP Distribution plc | Linnmill GSP |  | 2.25 | 0 | 2.25 |  | Built | SPT | Wind Onshore | a0l4L0000005ijUQAQ | PRO-000780
Letham Farm BESS | BIG BATTERY (LETHAM FARM) LIMITED | Giffnock 275/33kV |  | 0 | 38 | 38 | 2027-07-30 | Scoping | SPT | Energy Storage System | a0l8e000000TP7YAAW | PRO-003116
Leven GSP | SP Distribution plc | Leven GSP |  | 0 | 20 | 20 | 2032-10-31 | Scoping | SPT | Energy Storage System | a0l8e000000TPOSAA4 | PRO-003327
Levenseat Quarry | SP Distribution plc | Newarthill 275/33kV |  | 11 | 0 | 11 |  | Built | SPT | Wind Onshore | a0l4L0000005ijWQAQ | PRO-000778
Little Gala Wind Farm | SP Distribution plc | Lesmahagow 132/33kV |  | 0 | 29.9 | 29.9 | 2027-10-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005ieXQAQ | PRO-001478
Little Hilton | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore | a0l4L0000005icUQAQ | PRO-000689
Loanhead Farm BESS | OPDE UK LIMITED | Elgin GSP |  | 0 | 50 | 50 | 2030-10-31 | Scoping | SHET | Energy Storage System | a0l8e000000f41OAAQ | PRO-003822
Loch A Bhraoin | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005icVQAQ | PRO-000688
Loch Eilde Mor | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 5 | 0 | 5 |  | Built | SHET | Hydro | a0l4L0000005icWQAQ | PRO-000687
Loch Etive Hydro | Scottish Hydro Electric Power Distribution Plc | Taynuilt GSP |  | 6.8 | 0 | 6.8 |  | Built | SHET | Hydro | a0l4L0000005icXQAQ | PRO-000686
Loch Fergus Solar | Lochfergus Solar LTD | Lochfergus Solar Substation 33kV |  | 0 | 45 | 45 | 2026-04-30 | Consents Approved | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000000f3zrAAA | PRO-003808
Loch Leacann | Scottish Hydro Electric Power Distribution Plc | Port Ann GSP |  | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro | a0l4L0000005icZQAQ | PRO-000684
Lochaber Smelter | SIMEC LOCHABER HYDROPOWER 2 LIMITED | Fort William GSP | 1 | 28.1 | 0 | 28.1 |  | Built | SHET | Hydro | a0l4L0000005iQ6QAI | PRO-001274-1
Lochaber Smelter | SIMEC LOCHABER HYDROPOWER 2 LIMITED | Fort William GSP | 2 | 0 | 51.9 | 80 | 2019-10-31 | Under Construction/Commissioning | SHET | Hydro | a0l4L0000005iQ6QAI | PRO-001274-2
Locharmoss Solar & Battery | SP Distribution plc | Dumfries 132/33kV |  | 0 | 9.96 | 9.96 | 2036-10-30 | Scoping | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000011xvsAAA | PRO-003477
Lochcraigs Farm PV Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 4.75 | 0 | 4.75 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iNMQAY | PRO-001192
Lochend Wind Farm | Scottish Hydro Electric Power Distribution Plc | Thurso South GSP |  | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore | a0l4L0000005icbQAA | PRO-000682
Lochfauld Solar Park | SP Distribution plc | Killermont 132/33kV |  | 0 | 18.4 | 18.4 | 2025-06-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iv7QAA | PRO-002141
Lochluichart Battery Storage | Lochluichart Battery Storage Limited | Grudie Bridge GSP |  | 0 | 49.9 | 49.9 | 2025-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iUTQAY | PRO-002288
Longhill Burn Wind Farm | LONGHILL WIND FARM LLP | Livingston East 132/33kV |  | 0 | 50 | 50 | 2022-10-31 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iPrQAI | PRO-000911
Longpark | LONGPARK WINDFARM LIMITED | Longpark 132kV Substation |  | 38 | 0 | 38 |  | Built | SPT | Wind Onshore | a0l4L0000005iRqQAI | PRO-000930
Lunanhead Battery | LUNANHEAD ENERGY STORAGE LIMITED | Lunanhead GSP |  | 0 | 49.9 | 49.9 | 2022-08-31 | Consents Approved | SHET | Energy Storage System | a0l4L0000005iWdQAI | PRO-000883
Lunanhead GSP DNO | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 5 | 5 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPPgAAO | PRO-003355
Lunanhead Solar Park | RELAY SUTTIESIDE LIMITED | Lunanhead GSP |  | 0 | 30 | 30 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iNSQAY | PRO-001623
Lurg Hill | EDP RENEWABLES UK LIMITED | Keith GSP |  | 0 | 15 | 15 | 2024-05-01 | Consents Approved | SHET | Wind Onshore | a0l4L0000005iQGQAY | PRO-001264
Lurghill Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore | a0l4L0000005idrQAA | PRO-000679
Macduff Battery Storage | Macduff Battery Storage Ltd | Macduff GSP |  | 0 | 49.9 | 49.9 | 2024-04-30 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iWzQAI | PRO-002250
Mains of Dun Solar | GREENTECH PROJECTS HOLDING UK LIMITED | Bridge of Dun GSP |  | 0 | 28 | 28 | 2032-06-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000f7GkAAI | PRO-004007
Marine Energy Test Centre | THE EUROPEAN MARINE ENERGY CENTRE LIMITED | Marine Energy Test Centre |  | 7 | 0 | 7 |  | Built | SHET | Wave | a0l4L0000005iRsQAI | PRO-000928
McQuittiston Farm | SP Distribution plc | Coylton 132/33kV |  | 0 | 29.9 | 29.9 | 2026-05-29 | Scoping | SPT | Energy Storage System | a0l8e000001Hny5AAC | PRO-004049
Meadaple Wind Farm | Scottish Hydro Electric Power Distribution Plc | Rothienorman GSP |  | 0 | 4.3 | 4.3 | 2021-06-01 | Consents Approved | SHET | Wind Onshore | a0l4L0000005idtQAA | PRO-000677
Merkland Burn Hydro (DNO) | Scottish Hydro Electric Power Distribution Plc | Carradale 1 GSP |  | 0 | 0.18 | 0.18 | 2029-10-31 | Scoping | SHET | Demand | a0l8e0000010wSLAAY | PRO-002610
Mid Backhill Wind Farm | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 2.35 | 0 | 2.35 |  | Built | SHET | Wind Onshore | a0l4L0000005idvQAA | PRO-000675
Mid Craigie BESS | WHIRLWIND ENERGY STORAGE LIMITED | Milton of Craigie GSP |  | 0 | 49.9 | 49.9 | 2026-12-31 | Awaiting Consents | SHET | Energy Storage System | a0l8e0000010wbFAAQ | PRO-002709
Mid Hill Wind | MID HILL WIND LIMITED | Mid Hill GSP |  | 75 | 0 | 75 |  | Built | SHET | Wind Onshore | a0l4L0000005iWJQAY | PRO-000296
Mid Whitestones Farm PV | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 9.9 | 9.9 | 2027-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iwtQAA | PRO-002260
Middle Balbeggie 2 | SP Distribution plc | Redhouse GSP |  | 3.75 | 0 | 3.75 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iOSQAY | PRO-001190
Middle Balbegie Wind Farm | SP Distribution plc | Redhouse GSP |  | 6.4 | 0 | 6.4 |  | Built | SPT | Wind Onshore | a0l4L0000005iMbQAI | PRO-000846
Mill Rig Wind Farm | Mill Rig Wind Farm LLP | Kilmarnock South 275/33kV |  | 0 | 36 | 36 | 2024-07-31 | Awaiting Consents | SPT | Wind Onshore | a0l4L0000005iQtQAI | PRO-000892
Millerhill Energy from Waste Plant | SP Distribution plc | Portobello 275/33kV |  | 15 | 0 | 15 |  | Built | SPT | Waste | a0l4L0000005iMcQAI | PRO-000845
Millour Hill Wind Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 24 | 0 | 24 |  | Built | SPT | Wind Onshore | a0l4L0000005iMdQAI | PRO-000844
Milltown Airfield Solar Farm | MILLTOWN AIRFIELD SOLAR PV LIMITED | Elgin GSP |  | 0 | 49.9 | 49.9 | 2025-02-28 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iQ3QAI | PRO-001277
Milton of Craigie GSP | Scottish Hydro Electric Power Distribution Plc | Milton of Craigie GSP |  | 0 | 0.25 | 0.25 | 2025-06-30 | Scoping | SHET | Biomass | a0l8e000000TPPkAAO | PRO-003351
Milton of Fisherie Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Macduff GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005idwQAA | PRO-000674
Monan Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Harris GSP |  | 1.5 | 0 | 1.5 |  | Built | SHET | Wind Onshore | a0l4L0000005idxQAA | PRO-000673
Monashee Farm Windfarm | SP Distribution plc | Berwick 132/33kV |  | 0 | 24 | 24 | 2026-10-01 | Scoping | SPT | Wind Onshore | a0l4L0000005ivRQAQ | PRO-002364
Moor House Wind Farm | SP Distribution plc | Berwick 132/33kV |  | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iMeQAI | PRO-000843
Moorshield Wind Farm | SP Distribution plc | Giffnock 275/33kV |  | 0 | 18 | 18 | 2026-10-31 | Scoping | SPT | Wind Onshore | a0l4L0000005ibrQAA | PRO-001443
Mossmorran Wind Farm | SP Distribution plc | Westfield 132/33kV |  | 4.6 | 0 | 4.6 |  | Built | SPT | Wind Onshore | a0l4L0000005iMfQAI | PRO-000842
Mount Blairy | GREENTECH PROJECTS HOLDING UK LIMITED | Macduff GSP |  | 0 | 35.2 | 35.2 | 2027-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iXTQAY | PRO-002284
Mount Farm | SP Distribution plc | Coylton 132/33kV |  | 0 | 2.5 | 2.5 | 2026-10-31 | Consents Approved | SPT | Wind Onshore | a0l4L0000005iTMQAY | PRO-000989
Muirake Wind Farm | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005iTyQAI | PRO-001485
Muirhall Extension II Wind Farm | SP Distribution plc | Livingston East 132/33kV |  | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore | a0l4L0000005iMiQAI | PRO-000839
Muirhall Wind Farm Extension | SP Distribution plc | Livingston East 132/33kV |  | 7 | 0 | 7 |  | Built | SPT | Wind Onshore | a0l4L0000005iMjQAI | PRO-000838
Nairn BESS | ANESCO LIMITED | Nairn GSP |  | 0 | 29.36 | 29.36 | 2026-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005jAHQAY | PRO-002533
Nairn Road Alpha | SP Distribution plc | Drumcross 132/33kV |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOTQAY | PRO-001189
Nairn Road Bravo | SP Distribution plc | Drumcross 132/33kV |  | 4 | 4 | 8 | 2024-10-31 | Under Construction/Commissioning | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOUQAY | PRO-001188
Nairn Road Generation | SP Distribution plc | Drumcross 132/33kV |  | 0 | 20 | 20 | 2024-01-31 | Awaiting Consents | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOWQAY | PRO-001255
Nathrach Hydro | Scottish Hydro Electric Power Distribution Plc | Kinlochleven GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005idyQAA | PRO-000672
Neilston Community Wind Farm | SP Distribution plc | Crookston 132/33kV |  | 10 | 0 | 10 |  | Built | SPT | Wind Onshore | a0l4L0000005iMlQAI | PRO-000836
NESS Energy Project | EFW NESS LIMITED | Redmoss GSP |  | 16 | 0 | 16 |  | Built | SHET | Waste | a0l4L0000005iR4QAI | PRO-001320
Ness of Quoys | MEYGEN PLC | Ness of Quoys 33kv Substation |  | 14.9 | 0 | 14.9 |  | Built | SHET | Tidal | a0l4L0000005iXgQAI | PRO-000913
Nethermains | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0 | 7.48 | 7.48 | 2023-05-30 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005ibJQAQ | PRO-002045
Netherton Gas Reserve Power Facility | SP Distribution plc | Wishaw 275/132/33kV |  | 19.9 | 0 | 19.9 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iOXQAY | PRO-001254
Nevis Range Hydro | Scottish Hydro Electric Power Distribution Plc | Fort William GSP |  | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro | a0l4L0000005idzQAA | PRO-000671
New Mains of Guynd PV | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 9.5 | 0 | 9.5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijhQAA | PRO-001230
New Mains of Kinblethmont PV | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 5 | 0 | 5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijiQAA | PRO-001229
Newarthill GSP (DNO) | SP Distribution plc | Newarthill 275/33kV |  | 0 | 20 | 20 | 2028-04-28 | Scoping | SPT | Energy Storage System;Wind Onshore | a0lJ9000000blJiIAI | PRO-004795
Newhouse Energy Storage | NEWHOUSE ENERGY STORAGE LIMITED | Burghmuir GSP |  | 0 | 49.9 | 49.9 | 2028-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iNhQAI | PRO-001817
Newton Farm BESS | Apatura Battery Ltd | Clydesmill 275/33kV |  | 0 | 40 | 40 | 2028-10-31 | Scoping | SPT | Energy Storage System | a0l8e000001HnyAAAS | PRO-004050
Newton of Fortrie Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005ie0QAA | PRO-000670
Nisthill Wind Farm | NISTHILL WIND FARM LIMITED | Finstown GSP |  | 0 | 26.4 | 26.4 | 2029-06-30 | Scoping | SHET | Wind Onshore | a0l8e0000011z1dAAA | PRO-003561
North Mains Battery Storage Park | RELAY SUTTIESIDE LIMITED | Lunanhead GSP |  | 0 | 22 | 22 | 2025-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iTsQAI | PRO-001659
Novar | BEAUFORT WIND LIMITED | Alness GSP |  | 18.5 | 0 | 18.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iPgQAI | PRO-000850
Novar 2 Wind Farm | RWE RENEWABLES UK SWINDON LIMITED | Alness GSP |  | 36.8 | 0 | 36.8 |  | Built | SHET | Wind Onshore | a0l4L0000005iShQAI | PRO-000956
Old Greenock Road | SP Distribution plc | Erskine 132/33kV |  | 0 | 29.9 | 29.9 | 2024-10-16 | Consents Approved | SPT | Energy Storage System | a0l4L0000005iMnQAI | PRO-000834
Orchardbank Battery Storage | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 9.99 | 9.99 | 2024-04-20 | Consents Approved | SHET | Energy Storage System | a0l4L0000005ie2QAA | PRO-000730
Orkney Community Wind Farm - Faray | Orkney Islands Council | Eday GSP |  | 0 | 30 | 30 | 2030-05-30 | Scoping | SHET | Wind Onshore | a0l8e000000ewYaAAI | PRO-003674
Orkney Community Wind Farm - Hoy | Orkney Islands Council | Finstown GSP |  | 0 | 30 | 30 | 2028-06-30 | Scoping | SHET | Wind Onshore | a0l8e0000010wSzAAI | PRO-002617
Orkney community wind farm - Quanterness | Orkney Islands Council | Finstown (Orkney) GSP |  | 0 | 30 | 30 | 2028-06-30 | Scoping | SHET | Wind Onshore | a0l8e0000010xfVAAQ | PRO-003078
Orkney Finstown Embedded Generation | Scottish Hydro Electric Power Distribution Plc | Finstown (Orkney) GSP | 1 | 0 | 50 | 50 | 2023-04-30 | Scoping | SHET | Wind Onshore | a0l4L0000005ie3QAA | PRO-000729-1
Orkney Finstown Embedded Generation | Scottish Hydro Electric Power Distribution Plc | Finstown (Orkney) GSP | 2 | 0 | 60 | 110 | 2024-10-31 | Scoping | SHET | Wind Onshore | a0l4L0000005ie3QAA | PRO-000729-2
Over Rankeilour Farms PV Park | SP Distribution plc | Cupar GSP |  | 0 | 29.9 | 29.9 | 2026-10-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000ewYGAAY | PRO-003670
Overton Farm | SP Distribution plc | Devonside 132/33kV |  | 2.35 | 0 | 2.35 |  | Built | SPT | Wind Onshore | a0l4L0000005iMpQAI | PRO-000832
Packhouse Solar | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 0 | 0.18 | 0.18 | 2023-02-28 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000f4mqAAA | PRO-003866
Parkhill Farm PV | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 4.99 | 0 | 4.99 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijjQAA | PRO-001228
Parkhill South Solar Farm | Scottish Hydro Electric Power Distribution Plc | Arbroath GSP |  | 0 | 9.9 | 9.9 | 2024-09-30 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ibLQAQ | PRO-002047
Patrickston Farm | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 9.99 | 9.99 | 2025-06-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijkQAA | PRO-001227
Paul's Hill II Wind Farm | PAUL'S HILL II LIMITED | Glenfarclas GSP |  | 0 | 21 | 21 | 2023-04-05 | Scoping | SHET | Wind Onshore | a0l4L0000005iQvQAI | PRO-000890
Paul's Hill Wind Farm | PAUL'S HILL WIND LIMITED | Glenfarclas GSP |  | 70 | -5.5 | 64.5 | 2022-10-31 | Built | SHET | Wind Onshore | a0l4L0000005iQiQAI | PRO-000902
Pearie Law Wind Farm | SP Distribution plc | Livingston East 132/33kV |  | 19.2 | 0 | 19.2 |  | Built | SPT | Wind Onshore | a0l4L0000005iTNQAY | PRO-000988
Peattie Farm - Coupar Angus | GREENTECH PROJECTS HOLDING UK LIMITED | Peattie Farm 33kV |  | 0 | 22 | 22 | 2029-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wwcAAA | PRO-002989
Penmanshiel Wind Farm | SP Distribution plc | Berwick 132/33kV |  | 28.7 | 0 | 28.7 |  | Built | SPT | Wind Onshore | a0l4L0000005iMrQAI | PRO-000830
Pentland Road | PENTLAND ROAD WINDFARM LIMITED | Stornoway GSP | 1 | 13.8 | 0 | 13.8 |  | Built | SHET | Wind Onshore | a0l4L0000005iUkQAI | PRO-000361-1
Pentland Road | PENTLAND ROAD WINDFARM LIMITED | Stornoway GSP | 2 | 0 | 4.2 | 18 | 2027-03-31 | Under Construction/Commissioning | SHET | Wind Onshore | a0l4L0000005iUkQAI | PRO-000361-2
Persley BESS | ANESCO LIMITED | Persley GSP |  | 0 | 63.3 | 63.3 | 2026-04-30 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iWhQAI | PRO-002445
Peterhead Grange GSP | Scottish Hydro Electric Power Distribution Plc | Peterhead Grange GSP |  | 0 | 0.2 | 0.2 | 2025-10-31 | Scoping | SHET | Wind Onshore | a0l8e000000TPPpAAO | PRO-003346
Pitkevy Battery Storage | PITKEVY BATTERY STORAGE LIMITED | Glenrothes GSP |  | 0 | 49.9 | 49.9 | 2024-07-31 | Scoping | SPT | Energy Storage System | a0l4L0000005iUOQAY | PRO-001799
Pitscandly Farm PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 4.13 | 0 | 4.13 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijlQAA | PRO-001226
PM AB Energy Storage | P&M Energy Ltd | Abernethy GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SHET | Energy Storage System | a0l4L0000005iXHQAY | PRO-002140
PM AB2 Energy Storage | P&M Energy Ltd | Abernethy GSP |  | 0 | 15 | 15 | 2028-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000010xgyAAA | PRO-003082
Port Ann GSP | Scottish Hydro Electric Power Distribution Plc | Port Ann GSP |  | 0 | 1.5 | 1.5 | 2027-04-30 | Scoping | SHET | Demand;Tidal | a0l8e000000TPPrAAO | PRO-003344
Pressock Farm PV | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 5 | 0 | 5 |  | Built | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijmQAA | PRO-001225
Pundeavon Farm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0.9 | 0 | 0.9 |  | Built | SPT | Wind Onshore | a0l4L0000005iMtQAI | PRO-000828
Quixwood Wind Farm | SP Distribution plc | Berwick 132/33kV |  | 24 | 0 | 24 |  | Built | SPT | Wind Onshore | a0l4L0000005iMuQAI | PRO-000827
Rankeilour PV BESS Park | ELGIN ENERGY ES CO LIMITED | Cupar GSP |  | 0 | 49.9 | 49.9 | 2026-10-31 | Scoping | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e0000010wboAAA | PRO-002715
Rannoch | SSE GENERATION LIMITED | Rannoch GSP |  | 44 | 0 | 44 |  | Built | SHET | Hydro | a0l4L0000005iRrQAI | PRO-000929
Redbog | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore | a0l4L0000005ie5QAA | PRO-000727
Redhouse Electrical Energy Storage | SP Distribution plc | Redhouse GSP |  | 16 | 0 | 16 |  | Built | SPT | Energy Storage System | a0l4L0000005iMvQAI | PRO-000826
Redmoss GSP | Scottish Hydro Electric Power Distribution Plc | Redmoss GSP |  | 0 | 8 | 8 | 2026-07-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPPtAAO | PRO-003342
Rhodders Wind Farm | SP Distribution plc | Devonside 132/33kV |  | 12.3 | 0 | 12.3 |  | Built | SPT | Wind Onshore | a0l4L0000005iMwQAI | PRO-000825
Rigifa BESS SEL | SE RIGIFA BESS LTD | Redmoss GSP |  | 0 | 50 | 50 | 2025-03-31 | Scoping | SHET | Energy Storage System | a0l8e0000012jPNAAY | PRO-004672
Rigmuir Windfarm | SP Distribution plc | East Kilbride South 275/33kV |  | 0 | 13.5 | 13.5 | 2024-03-31 | Scoping | SPT | Wind Onshore | a0l8e000000exTRAAY | PRO-003729
River Muick Hydro | Scottish Hydro Electric Power Distribution Plc | Tarland GSP |  | 2 | 0 | 2 |  | Built | SHET | Hydro | a0l4L0000005ie6QAA | PRO-000726
Rosehall | RWE RENEWABLES UK ONSHORE WIND LIMITED | Shin GSP |  | 24.7 | 0 | 24.7 |  | Built | SHET | Wind Onshore | a0l4L0000005iSNQAY | PRO-000917
Rothes (Cairn Uish) Wind Farm | ROTHES WIND LIMITED | Dallas GSP |  | 50.6 | 0 | 50.6 |  | Built | SHET | Wind Onshore | a0l4L0000005iPpQAI | PRO-000871
Rothes II (Cairn Uish II) Wind Farm | ROTHES II LIMITED | Dallas GSP |  | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore | a0l4L0000005iPoQAI | PRO-000872
Rothes III Wind Farm | ROTHES III LIMITED | Dallas GSP |  | 0 | 23 | 23 | 2025-06-30 | Scoping | SHET | Wind Onshore | a0l4L0000005iQkQAI | PRO-000900
Rutherglen Battery | SP Distribution plc | Dalmarnock GSP |  | 0 | 29 | 29 | 2025-10-31 | Scoping | SPT | Energy Storage System | a0l8e000000TP83AAG | PRO-003132
Selms Muir Solar & Battery Storage | SP Distribution plc | Livingston East 132/33kV |  | 0 | 6 | 6 | 2026-07-31 | Scoping | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005ixSQAQ | PRO-001885
Sheriff Faulds 1 | BIG BATTERY (SHERIFF FAULDS FARM 1) LIMITED | Strathaven 275/33kV |  | 0 | 49.4 | 49.4 | 2026-10-30 | Scoping | SPT | Energy Storage System | a0l8e0000010whmAAA | PRO-002783
Shewalton Rd Solar Farm | SP Distribution plc | Kilmarnock South 275/33kV |  | 0 | 5.027 | 5.027 | 2024-10-25 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iwnQAA | PRO-002178
Shilton Lane Energy Storage Facility | GreenGridPower1 Ltd | Erskine 132/33kV |  | 0 | 40 | 40 | 2024-04-26 | Scoping | SPT | Energy Storage System | a0l4L0000005iSIQAY | PRO-001930
Shin | SSE GENERATION LIMITED | Shin GSP |  | 18.6 | 0 | 18.6 |  | Built | SHET | Hydro | a0l4L0000005iTQQAY | PRO-000985
Sneddon Law Wind | SNEDDON LAW COMMUNITY WIND COMPANY LTD | Kilmarnock Town 275/33kV Substation |  | 30 | 0 | 30 |  | Built | SPT | Wind Onshore | a0l4L0000005iXbQAI | PRO-000324
Sorbie Windfarm | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 12.6 | 0 | 12.6 |  | Built | SPT | Wind Onshore | a0l4L0000005iO5QAI | PRO-000820
South Clyde Energy Centre | FORTUM GLASGOW LIMITED | Braehead Park 132/33kV |  | 0 | 45 | 45 | 2025-08-29 | Consents Approved | SPT | Waste | a0l4L0000005iPdQAI | PRO-000853
South Esk Solar Farm | Scottish Hydro Electric Power Distribution Plc | Bridge of Dun GSP |  | 0 | 9.9 | 9.9 | 2026-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005ijpQAA | PRO-001222
Southern Upland Way Farm | QAIR RENEWABLES UK LIMITED | Galashiels 132/33kV |  | 0 | 42 | 42 | 2031-07-31 | Scoping | SPT | Energy Storage System | a0l8e000000f4F4AAI | PRO-003838
Southrigg 2 Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 0 | 8.4 | 8.4 | 2025-10-31 | Scoping | SPT | Wind Onshore | a0l4L0000005iZtQAI | PRO-001393
Speyside CHP | SPEYSIDE RENEWABLE ENERGY PARTNERSHIP LIMITED | Keith GSP |  | 15 | 0 | 15 |  | Built | SHET | CHP (Combined Heat and Power) | a0l4L0000005iQFQAY | PRO-001265
Speyslaw Solar | SPEYSLAW SOLAR LIMITED | Elgin GSP |  | 0 | 20 | 20 | 2025-06-30 | Consents Approved | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iQ2QAI | PRO-001278
Srondoire | Scottish Hydro Electric Power Distribution Plc | Port Ann GSP |  | 5.9 | 0 | 5.9 |  | Built | SHET | Wind Onshore | a0l4L0000005ieBQAQ | PRO-000721
St Fergus Energy Park | Scottish Hydro Electric Power Distribution Plc | St Fergus Gas GSP |  | 0 | 9.7 | 9.7 | 2023-09-08 | Consents Approved | SHET | PV Array (Photo Voltaic/solar);Wind Onshore | a0l4L0000005ibvQAA | PRO-001449
St Fergus Moss | Scottish Hydro Electric Power Distribution Plc | St Fergus Gas GSP |  | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore | a0l4L0000005iU8QAI | PRO-001549
St Fillans | SSE GENERATION LIMITED | St Fillans GSP |  | 16.8 | 0 | 16.8 |  | Built | SHET | Hydro | a0l4L0000005iRxQAI | PRO-000923
Standingfauld Farm PV | Scottish Hydro Electric Power Distribution Plc | Braco West GSP |  | 0 | 9.9 | 9.9 | 2022-09-30 | Under Construction/Commissioning | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iZHQAY | PRO-001379
Steven's Croft | E.ON UK STEVEN'S CROFT LIMITED | Chapelcross GSP |  | 45 | 0 | 45 |  | Built | SPT | Biomass | a0l4L0000005iSWQAY | PRO-000967
Stirches Solar PV | SP Distribution plc | Hawick GSP |  | 0 | 29.97 | 29.97 | 2026-12-31 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iQZQAY | PRO-001892
Stoneywood Mills (Wiggins Teape Stoneywood) | ARJO WIGGINS FINE PAPERS LIMITED | Dyce 132/33kV Substation |  | 12 | 0 | 12 |  | Built | SHET | CHP (Combined Heat and Power) | a0l4L0000005iRDQAY | PRO-001311
Stornoway (Battery Point) | Scottish Hydro Electric Power Distribution Plc | Stornoway GSP |  | 22.3 | 0 | 22.3 |  | Built | SHET | Thermal | a0l4L0000005iTBQAY | PRO-000998
Strathaven South Wind Farm | SP Distribution plc | Linnmill GSP | 1 | 1.8 | 0 | 1.8 |  | Built | SPT | Wind Onshore | a0l4L0000005iOAQAY | PRO-000815-1
Strathaven South Wind Farm | SP Distribution plc | Linnmill GSP | 2 | 0 | 3 | 4.8 | 2024-10-30 | Scoping | SPT | Wind Onshore | a0l4L0000005iOAQAY | PRO-000815-2
Strathaven West | Clean Earth Energy Limited | Strathaven 275/33kV |  | 0 | 85.27 | 85.27 | 2028-10-30 | Scoping | SPT | Wind Onshore | a0l8e000000TPShAAO | PRO-003432
Strathleven GSP | SP Distribution plc | Strathleven GSP |  | 0 | 1.131 | 1.131 | 2026-08-10 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l8e000000TPOkAAO | PRO-003309
Strathruddie Farm Solar & Storage | SP Distribution plc | Westfield 132/33kV |  | 0 | 20 | 20 | 2025-04-25 | Scoping | SPT | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l4L0000005iwhQAA | PRO-002310
Strichen GSP (DNO) | Scottish Hydro Electric Power Distribution Plc | Strichen GSP |  | 0 | 0.249 | 0.249 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e000000TPBaAAO | PRO-003183
Stroupster Wind Farm | STROUPSTER CAITHNESS WIND FARM LIMITED | Thurso GSP |  | 30 | 0 | 30 |  | Built | SHET | Wind Onshore | a0l4L0000005iRKQAY | PRO-001305
Tacher Wind | Clean Earth Energy Limited | Mybster 132/33kV Substation | 1 | 0 | 9.99 | 9.99 | 2025-08-31 | Scoping | SHET | Wind Onshore | a0l8e0000010wgZAAQ | PRO-002769-1
Tacher Wind | Clean Earth Energy Limited | Mybster 132/33kV Substation | 2 | 0 | 2.91 | 12.9 | 2030-08-31 | Scoping | SHET | Wind Onshore | a0l8e0000010wgZAAQ | PRO-002769-2
Tailors Wynd | Scottish Hydro Electric Power Distribution Plc | Lunanhead GSP |  | 0 | 0.968 | 0.968 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000011xUOAAY | PRO-003459
Tangy Wind Argyll | SSE GENERATION LIMITED | Tangy (1) Wind Argyll Substation |  | 19 | 0 | 19 |  | Built | SHET | Wind Onshore | a0l4L0000005iSjQAI | PRO-000954
Taodail Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro | a0l4L0000005if4QAA | PRO-000717
TH Dunbar | FRV TH Powertek Limited | Dunbar 132/33kV |  | 0 | 49.9 | 49.9 | 2028-04-30 | Scoping | SPT | Energy Storage System | a0l8e0000011yP4AAI | PRO-003516
Three Lochs Hydro | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 0 | 2 | 2 | 2024-06-30 | Consents Approved | SHET | Hydro | a0l4L0000005if5QAA | PRO-000716
Threemiletown Solar Farm (dno) | SP Distribution plc | Broxburn 132/33kV |  | 0 | 29.9 | 29.9 | 2024-10-29 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005ikpQAA | PRO-002185
Thurso BESS | Stainland BESS Limited | Thurso South GSP |  | 0 | 49.9 | 49.9 | 2027-06-30 | Scoping | SHET | Energy Storage System | a0l4L0000005iXKQAY | PRO-001967
Tod Hill | SP Distribution plc | Bonnybridge 132/33kV |  | 12 | 0 | 12 |  | Built | SPT | Wind Onshore | a0l4L0000005iODQAY | PRO-000812
Toftinghall 2 BESS | TOFTINGALL WIND LIMITED | Mybster 2 132/33kV Substation |  | 0 | 21 | 21 | 2030-10-31 | Scoping | SHET | Energy Storage System | a0l8e0000011z1sAAA | PRO-003563
Toftinghall Windfarm | SETT WIND DEVELOPMENT LIMITED | Mybster 1 GSP |  | 0 | 25.2 | 25.2 | 2025-08-31 | Awaiting Consents | SHET | Energy Storage System | a0l4L0000005iSdQAI | PRO-000960
Tom Nan Clach | NANCLACH LIMITED | Boat of Garten GSP |  | 41 | 0 | 41 |  | Built | SHET | Wind Onshore | a0l4L0000005iPyQAI | PRO-001235
Tongland | Drax River Hydro Limited | Tongland 132/11kV |  | 33 | 0 | 33 |  | Built | SPT | Hydro | a0l4L0000005iRzQAI | PRO-000921
Tormywheel | TORMYWHEEL WIND FARM LIMITED | Bathgate 132/33kV Substation |  | 37.45 | 0 | 37.45 |  | Built | SPT | Wind Onshore | a0l4L0000005iWFQAY | PRO-000292
Tormywheel Extension WF | SP Distribution plc | Bathgate 132/33kV Substation |  | 0 | 9.4 | 9.4 | 2026-10-29 | Scoping | SPT | Wind Onshore | a0l4L0000005iMLQAY | PRO-002355
Torrance Farm Extension 2 | SP Distribution plc | Bathgate 132/33kV |  | 0 | 21.6 | 21.6 | 2025-09-30 | Scoping | SPT | Wind Onshore | a0l4L0000005iNuQAI | PRO-001835
Torrance Warm Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 9 | 0 | 9 |  | Built | SPT | Wind Onshore | a0l4L0000005iOEQAY | PRO-000869
Torrance Wind Farm Extension | SP Distribution plc | Bathgate 132/33kV |  | 6 | 0 | 6 |  | Built | SPT | Wind Onshore | a0l4L0000005iOFQAY | PRO-000868
Tummel Bridge | SSE GENERATION LIMITED | Tummel Bridge GSP | 1 | 34 | 0 | 34 |  | Built | SHET | Hydro | a0l4L0000005iSxQAI | PRO-000949-1
Tummel Bridge | SSE GENERATION LIMITED | Tummel Bridge GSP | 2 | 0 | 6.46 | 40.46 | 2024-10-31 | Scoping | SHET | Hydro | a0l4L0000005iSxQAI | PRO-000949-2
Tyrie Mains PV | Scottish Hydro Electric Power Distribution Plc | Fraserburgh GSP |  | 0 | 0.17 | 0.17 | 2025-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010wc3AAA | PRO-002717
Warburtons Bellshill | SP Distribution plc | Coatbridge GSP |  | 0 | 1 | 1 | 2023-12-31 | Scoping | SPT | CHP (Combined Heat and Power) | a0l8e000000f4xMAAQ | PRO-003895
Wardpark Alpha Generating Station | SP Distribution plc | Cumbernauld 132/33kV |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iXlQAI | PRO-001287
Wardpark Bravo Generating Station | SP Distribution plc | Glenglass 132/33kV |  | 4 | 0 | 4 |  | Built | SPT | CCGT (Combined Cycle Gas Turbine) | a0l4L0000005iS9QAI | PRO-001293
Water Treatment Works - Glendevon | Scottish Hydro Electric Power Distribution Plc | Abernethy GSP |  | 0 | 0.19 | 0.19 | 2024-09-30 | Scoping | SHET | Hydro;PV Array (Photo Voltaic/solar) | a0l8e000000ewP7AAI | PRO-003663
Wathegar 2 Windfarm | WATHEGAR 2 LIMITED | Mybster 1 GSP |  | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore | a0l4L0000005iSeQAI | PRO-000959
Watson Autos Wind Turbine | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iOGQAY | PRO-000867
Watson Head Wind Farm | SP Distribution plc | Wishaw 275/132/33kV |  | 0 | 8.4 | 8.4 | 2023-12-31 | Built | SPT | Wind Onshore | a0l4L0000005iOHQAY | PRO-000866
Wellbank Solar Farm | GREENTECH PROJECTS HOLDING UK LIMITED | Milton of Craigie GSP |  | 0 | 25 | 25 | 2024-03-01 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l4L0000005iXaQAI | PRO-002101
Welton of Creuchies Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Coupar Angus GSP |  | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore | a0l4L0000005if9QAA | PRO-000712
Wemyss PV Farm | ELGIN ENERGY ES CO LIMITED | Redhouse GSP |  | 0 | 49.9 | 49.9 | 2023-10-01 | Scoping | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iR3QAI | PRO-001258
West Balgersho Farm | Scottish Hydro Electric Power Distribution Plc | Coupar Angus GSP |  | 0 | 9.9 | 9.9 | 2029-10-31 | Scoping | SHET | PV Array (Photo Voltaic/solar) | a0l8e0000010waqAAA | PRO-002705
West Benhar Wind Farm | SP Distribution plc | Drumcross 132/33kV |  | 28.8 | 0 | 28.8 |  | Built | SPT | Wind Onshore | a0l4L0000005iOKQAY | PRO-000863
West Gourdie Battery | FS WEST GOURDIE LIMITED | Charleston GSP |  | 49.9 | 0 | 49.9 |  | Built | SHET | Energy Storage System | a0l4L0000005iTJQAY | PRO-001376
West Pitnacree Solar | GREENTECH PROJECTS HOLDING UK LIMITED | Coupar Angus 2 GSP |  | 0 | 49.8 | 49.8 | 2031-10-31 | Scoping | SHET | Energy Storage System;PV Array (Photo Voltaic/solar) | a0l8e000001HoGCAA0 | PRO-004066
Westfield ERF | SP Distribution plc | Westfield 132/33kV |  | 0 | 25.1 | 25.1 | 2023-04-28 | Built | SPT | Energy Storage System | a0l4L0000005iTeQAI | PRO-001417
Westfield PV Park | SP Distribution plc | Westfield 132/33kV |  | 0 | 29.9 | 29.9 | 2025-12-01 | Consents Approved | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iZqQAI | PRO-001390
Westfield Wind Farm | SP Distribution plc | Westfield 132/33kV |  | 12.5 | 0 | 12.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iONQAY | PRO-000860
Wheedlemont | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 1.7 | 0 | 1.7 |  | Built | SHET | Wind Onshore | a0l4L0000005ifBQAQ | PRO-000710
Woodbank Wind Farm | SP Distribution plc | Leven GSP |  | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore | a0l4L0000005iOPQAY | PRO-000858
Woolfords Wind Farm | SP Distribution plc | Bathgate 132/33kV |  | 0 | 19.8 | 19.8 | 2031-08-29 | Scoping | SPT | Wind Onshore | a0l8e000001Hps8AAC | PRO-004151
Wormit PV Park | SP Distribution plc | Cupar GSP |  | 4 | 0 | 4 |  | Built | SPT | PV Array (Photo Voltaic/solar) | a0l4L0000005iOcQAI | PRO-001249
Wyvis Hydro Generating Station | Scottish Hydro Electric Power Distribution Plc | Grudie Bridge GSP |  | 3.9 | 0 | 3.9 |  | Built | SHET | Hydro | a0l4L0000005ifCQAQ | PRO-000709
Yonderton Wind Generating Station | Scottish Hydro Electric Power Distribution Plc | Keith GSP |  | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore | a0l4L0000005ifDQAQ | PRO-000708
Zebec Biogas | SP Distribution plc | Saltcoats A & B (SPD) GSP |  | 2.5 | 0 | 2.5 |  | Built | SPT | Biomass | a0l4L0000005iOQQAY | PRO-000857
Zenobe Shetland BESS | ZENOBE ENERGY LIMITED | Gremista GSP |  | 0 | 68 | 68 | 2025-06-30 | Scoping | SHET | Energy Storage System | a0l8e0000010x0UAAQ | PRO-003036