## Overall cost
Report Month | 2023-04-01 | 2023-04-30 | 2023-04-01 | Balancing Cost | Balancing Cost Apr 2023
Balancing Mechanism | Trades | Ancillary Services | SO-to-SO | Other | Total
135.8109 | 5.587 | 59.9336 | 0 | -3.5855 | 197.7461

## Total categories
Cost £m | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
Energy Imbalance | 2023-04-30: 1.9254
Operating Reserve | 2023-04-30: 17.0342
STOR | 2023-04-30: 3.0834
Constraints | 2023-04-30: 113.1855
Negative Reserve | 2023-04-30: 1.0192
Fast Reserve | 2023-04-30: 14.4957
Response | 2023-04-30: 21.0049
Other Reserve | 2023-04-30: 1.8661
Reactive | 2023-04-30: 18.6842
Black Start | 2023-04-30: 2.8639
Minor Components | 2023-04-30: 3.2079
Total | 198.3704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume MWh | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
Energy Imbalance | -104756.727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating Reserve | 568792.795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STOR (BM only) | 2369.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraints | 813203.405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Constraint Margin Replacement | 840228.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Negative Reserve | -34107.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fast Reserve (BM only) | 16029.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Response (Absolute- BM only) | 94558.898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minor Components | -249002.355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Energy Imbalance | 2023-04-30: 1.9254
Operating Reserve | 2023-04-30: 17.0342
STOR | 2023-04-30: 3.0834
Constraints | 2023-04-30: 113.1855
Negative Reserve | 2023-04-30: 1.0192
Fast Reserve | 2023-04-30: 14.4957
Response | 2023-04-30: 21.0049
Other Reserve | 2023-04-30: 1.8661
Reactive | 2023-04-30: 18.6842
Black Start | 2023-04-30: 2.8639
Minor Components | 2023-04-30: 3.2079

## Additional Total categories
Cost £m | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
Energy Imbalance | 2023-04-30: 1.9254
Operating Reserve | 2023-04-30: 17.0342
STOR | 2023-04-30: 3.0834
Constraints - E&W | 2023-04-30: 60.057
Constraints - Cheviot | 2023-04-30: 0
Constraints - Scotland | 2023-04-30: 15.1102
Constraints - Ancillary | 2023-04-30: 3.0772
ROCOF | 2023-04-30: 3.31
Constrained Sterilised HR | 2023-04-30: 31.6311
Negative Reserve | 2023-04-30: 1.0192
Fast Reserve | 2023-04-30: 14.4957
Response | 2023-04-30: 21.0049
Other Reserve | 2023-04-30: 1.8661
Reactive | 2023-04-30: 18.6842
Restoration | 2023-04-30: 2.8639
Minor Components | 2023-04-30: 3.2079
Total | 198.3704 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BM total
| 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-29 | 2024-03-31
Cost £m | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
BM - Energy balancing | 2023-04-30: 1.9254
BM - Operating Reserve | 2023-04-30: 9.1776
BM - STOR | 2023-04-30: 0.32035
BM - Constrained Margin | 2023-04-30: 6.6709
BM - Constraints E&W | 2023-04-30: 81.2894
BM - Constraints Cheviot | 2023-04-30: 0
BM - Constraints Scotland | 2023-04-30: 24.7092
BM - Negative Reserve | 2023-04-30: 0.72747
BM - Fast Reserve | 2023-04-30: 1.33
BM - Response | 2023-04-30: 3.5171
BM - Minor Components | 2023-04-30: 6.1435
Volume MW | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
BM - Energy balancing | -104756.727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Operating Reserve | 143373.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - STOR | 2369.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Margin | 411346.195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints E&W | 617929.525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Cheviot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constraints Scotland | 195273.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Negative Reserve | -14239.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Fast Reserve | 16029.294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Response | 94558.898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Minor Components | -249002.355 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## AS Total
Cost £m | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
AS - Response | 2023-04-01: 17.4372
AS - Fast Reserves | 2023-04-01: 13.1657
AS - STOR | 2023-04-01: 2.1894
AS - Other Reserves | 2023-04-01: 1.8661
AS - Black Start | 2023-04-01: 2.8639
AS - Reactive | 2023-04-01: 18.6842
AS - Constraints | 2023-04-01: 3.0772
AS - SO-SO Costs | 2023-04-01: 0.65243
AS - Other Ancillary Cost | 2023-04-01: 0
AS - Outstanding Liabilities | 2023-04-01: 0.023308
Cost £m | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
AS Mandatory Service | 2023-04-01: 19.5126
AS Commercial Service | 2023-04-01: 31.2901
AS Tendered Service | 2023-04-01: 9.1075
AS Miscellaneous Costs | 2023-04-01: 0.023308
Graph Title
Ancillary Services Cost - Apr 2023
Note on B25: Cristian Ebau: Check the formatting for this diagram

## Trades
Volume MWh | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01 | Reporting Month
Buy Volume | 2023-04-01: 128426.5 | 167495.5
Sell Volume | 2023-04-01: 39069
Abs value | 167495.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost £ million | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
Buy Cost | 2023-04-01: 5.7574
Sell Cost | 2023-04-01: 0.71597

## DSR
Cost £m | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
NBM - Frequency Response | 2023-04-01: 0.45593 | 0
NBM - Short-term operating reserve (STOR) | 2023-04-01: 1.9809
NBM - Fast Reserve | 2023-04-01: 5.5873
Cost £m | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
AS - Non BM providers | 2023-04-01: 8.0242
AS - BM providers | 2023-04-01: 37.1508
AS - SO-SO providers | 2023-04-01: 0
AS - Miscellaneous | 2023-04-01: 0
Graph Title
AS Costs By Provider Type - Apr 2023

## SO2SO
| 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-29 | 2024-03-31
Cost £m | 2023-04-30 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
SO-SO Energy Trades | 2023-04-30: 0
SO-SO Margin | 2023-04-30: 0
SO-SO Constrained Margin | 2023-04-30: 0
SO-SO Footroom | 2023-04-30: 0
SO-SO Ramping | 2023-04-30: 0
SO-SO Invoked by External Parties | 2023-04-30: 0
SO-SO Constraints | 2023-04-30: 0
AS - SO-SO Interconnector Capability (Commercial) | 2023-04-30: 0.65243
| 0.65243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
0.65243

## Energy Imbalance
Cost | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
Energy Imbalance | 2023-04-01: 1.9254
Volume MWh | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
Energy Imbalance | -104756.727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Operating Reserve
Cost | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM - Operating Reserve | 2023-04-01: 9.1776
BM - Constrained Operating Reserve | 2023-04-01: 6.6709
Trade - Operating Reserve | 2023-04-01: 1.082
Trade - UTEV | 2023-04-01: 0
Trade - Constrained Operating Reserve | 2023-04-01: 0.10368
SO-SO - Operating Reserve | 2023-04-01: 0
SO-SO - Constrained Operating Reserve | 2023-04-01: 0
Volume | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
BM - Operating Reserve | 143373.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Constrained Operating Reserve | 411346.195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Operating Reserve | 4332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - UTEV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Constrained Operating Reserve | 9741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constrained Operating Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## STOR
| Costs | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
| BM - STOR | 2023-04-30: 0.32035
| AS - BM STOR (Tendered) | 2023-04-30: 0.78212
| AS - NBM STOR availability (Tendered) | 2023-04-30: 1.9809
| AS - NBM STOR utilisation (Tendered) | 2023-04-30: 0
| AS - BM Season/Term Reconciliation (Tendered) | 2023-04-30: 0
| AS - NBM Season/Term Reconciliation (Tendered) | 2023-04-30: 0
|  | 3.0834 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.1025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.9809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MWh | 2023-04-01 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
| AS - NBM STOR utilisation (Tendered) | 2023-04-01: 0
| AS - BM STOR utilisation (Tendered) | 2023-04-01: 853.707
|  | 853.707 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Total | 3.0834
BM | 1.1025
Non-BM | 1.9809
Total Vol | 853.707

## Constraints
Costs | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
AS - BM Intertrip capability (Mandatory - CAP76) | 2023-04-01: 0.12908
AS - BM Intertrip capability (Commercial) | 2023-04-01: 0.01417
AS - BM Intertrip Arming (Commercial) | 2023-04-01: 0.13959
AS - Interconnector Intertrip Arming (Commercial) | 2023-04-01: 0.036033
AS - BM Intertrip - trip (Mandatory and Commercial) | 2023-04-01: 0
AS - BM Constraints Voltage | 2023-04-01: 2.7583
AS - BM Constraints | 2023-04-01: 0
Costs (£m) | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM - Transmission | 97.8678 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 0.83533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 4.8216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 3.2743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 3.3092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Constraints | 2023-04-01: 0
AS Costs | 2023-04-01: 3.0772
Absolute Volume MWh | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM - Transmission | 592777.808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Transmission | 20030.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - Voltage | 71057.482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - Voltage | 61356 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM - ROCOF | 67981.615 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trades - ROCOF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
AS Costs
Graph Title
Constraints - Apr 2023

## Negative Reserves
Costs | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM - Negative reserve | 2023-04-01: 0.72747
Trade - Negative reserve | 2023-04-01: 0.29176
SO-SO - Negative reserve | 2023-04-01: 0
Volumes | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
BM - Negative Reserve | -14239.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade - Negative Reserve | -19868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SO-SO - Negative Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| -34107.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
Volume | 2023-04-30: -34107.16

## Fast Reserve
Costs | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
AS-BM - Fast Reserves | 2023-04-30: 1.33
AS-Hydro Spin Gen No LF (Commercial) | 2023-04-30: 7.5784
AS-BM Optional Fast Reserve (Commercial) | 2023-04-30: 0
AS-NBM Optional Fast Reserve Availability (Commercial) | 2023-04-30: 2.616
AS-NBM Optional Fast Reserve Utilisation (Commercial) | 2023-04-30: 2.9713
AS-BM Firm Fast Reserve (Tendered) | 2023-04-30: 0
AS-NBM Firm Fast Reserve Avail + Nom (Tendered) | 2023-04-30: 0
AS-NBM Firm Fast Reserve Utilisation (Tendered) | 2023-04-30: 0
Total BM | 8.9084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Non-BM | 5.5873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
AS - NBM Firm Fast Reserve availability + nomination (Tendered) | 2023-04-30: 0
AS - BM Firm Fast Reserve availability (Tendered) | 2023-04-30: 0
AS - BM Hydro Spin Gen No LF (Commercial) | 2023-04-30: 0
Reporting Month
BM | 2023-04-30: 8.9084
Non-BM | 2023-04-30: 5.5873

## Response
Costs | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM - Response | 2023-04-01: 3.5171
BM Generator Response (Mandatory) | 2023-04-01: 1.1017
BM Generator Response (Commercial) | 2023-04-01: 0.062657
BM Generator Response Energy (Mandatory) | 2023-04-01: 0.034268
BM Generator Response Energy (Commercial) | 2023-04-01: 0.0080157
Hydro Spin Gen with LF | 2023-04-01: 0
Hydro Pump deload | 2023-04-01: 0
BM Enhanced Frequency Response (Commercial) | 2023-04-01: 0.25333
Interconnector Response (Commercial) | 2023-04-01: 0
NBM Enhanced Frequency Response (Commercial) | 2023-04-01: 0
NBM Demand Side Response (Commerical) | 2023-04-01: 0
Stability | 2023-04-01: 6.9116
FFR Bridging/ FFR Auction/Dynamic Containment | 2023-04-01: 7.7854
BM FFR (Tendered) | 2023-04-01: 0.72103
BM FFR Response Energy (Tendered) | 2023-04-01: 0.15385
NBM FFR (Tendered) | 2023-04-01: 0.45593
| 2023-04-01: 2023-04-01; 2023-07-01: 2023-05-01; 2023-10-01: 2023-06-01; 2024-01-01: 2023-07-01 | 2023-08-01 |  |  | 2023-09-01 |  |  | 2023-10-01 |  |  | 2023-11-01 |  |  | 2023-12-01 |  |  | 2024-01-01 |  |  | 2024-02-01 |  |  | 2024-03-01
Holding volumes (MWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 2023-04-01: 94377.16; 2023-05-01: 53391.16; 2023-06-01: 174244.96
Hydro Spin Gen with LF | 2023-04-01: 0; 2023-05-01: 0; 2023-06-01: 0
Hydro Pump deload | 2023-04-01: 0; 2023-05-01: 0 | [24 empty] | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial)
Interconnector Response (Commercial) | [36 empty] | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | [36 empty] | 61208.55 | 61208.55 | 61208.55
NBM Demand Side Response (Commercial) | 2023-04-01: 0; 2023-05-01: 0; 2023-06-01: 0
Stability | [36 empty] | 0 | 0
BM FFR (Tendered) | 2023-04-01: 113205.67; 2023-05-01: 113205.67; 2023-06-01: 113205.67
NBM FFR (Tendered) | 2023-04-01: 61208.55; 2023-05-01: 61208.55; 2023-06-01: 61208.55
| 268791.38 | 227805.38 | 348659.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2023-04-01: 2023-04-01; 2023-07-01: 2023-05-01; 2023-10-01: 2023-06-01; 2024-01-01: 2023-07-01 | 2023-08-01 |  |  | 2023-09-01 |  |  | 2023-10-01 |  |  | 2023-11-01 |  |  | 2023-12-01 |  |  | 2024-01-01 |  |  | 2024-02-01 |  |  | 2024-03-01
Holding volumes (GWh) | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H | P | S | H
BM Generator Response (Mandatory) | 94.3772 | 53.3912 | 174.245 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Spin Gen with LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro Pump deload | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interconnector Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Enhanced Frequency Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM Demand Side Response (Commercial) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stability | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BM FFR (Tendered) | 113.2057 | 113.2057 | 113.2057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NBM FFR (Tendered) | 61.2086 | 61.2086 | 61.2086 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 107661.718 | 66922.086 | 185466.537 | 150171.685 | 91998.91 | 233097.589 | 104561.591 | 57607.064 | 144299.335 | 151506.822 | 97958.865 | 257625.087

## Reactive
Costs | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
AS-BM Default Utilisation (Mandatory - CVA) | 2023-04-01: 18.394
AS-BM Utilisation (Mandatory - SVA) | 2023-04-01: 0.016913
AS-BM Reactive Utilisation (Commercial) | 2023-04-01: 0
AS-BM Syncronous Compensation ( Commercial) | 2023-04-01: 0.27329
Power Potential ( Commercial) | 2023-04-01: 0
| 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM Default Utilisation (Mandatory - CVA) | 2023-04-01: 3201209.62
BM Reactive Utilisation (Commercial) | 2023-04-01: 0
BM Utilisation (Mandatory - SVA) | 2023-04-01: 2538.99
Power Potential (Commercial)
| 3203748.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reporting Month
3203748.61
6.04

## Black Start
Costs | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM Restoration Availability (Commercial) | 2023-04-01: 2.6111
Interconnector Restoration Availability (Commercial) | 2023-04-01: 0.25286
BM Restoration Test (Commercial) | 2023-04-01: 0
BM Restoration Capital Contributions (Commercial) | 2023-04-01: 0
BM Restoration Feasibility (Commercial) | 2023-04-01: 0
BM Restoration Warming (Commercial) | 2023-04-01: 0
BM Restoration Other (Commercial) | 2023-04-01: 0

## Other Reserves
Costs | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
BM Warming (Commercial) | 2023-04-01: 0.0415
BM Demand Turn Up (Commercial) | 2023-04-01: 0
BM Power Potential (Commercial) | 2023-04-01: 0
NBM Demand Turn Up (Commercial) | 2023-04-01: 0
BM GT Fast Start Availability (Commercial) | 2023-04-01: 0.35552
Hydro Rapid Start And GT Fast Start Utilisation (Commercial) | 2023-04-01: 0
Hydro Optional Spin Pump (Commercial) | 2023-04-01: 1.4691
| 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-03-01
AS-Hydro Optional Spin Pump availability (MWh) | 2023-04-01: 61815.8
AS-Hydro Rapid Start And GT Fast Start utilisation (MWh) | 2023-04-01: 0
AS-BM GT Fast Start Availability number of sites | 2023-04-01: 17
AS-NBM Demand Turn Up utilisation (MWh)
AS-BM Power Potential utilisation (MWh)
AS-BM Demand Turn Up utilisation (MWh)
AS-BM Warming instructions | bar: 2023-04-01

## Minor components
Costs | 2023-04-30 | 2023-05-31 | 2023-06-30 | 2023-07-31 | 2023-08-31 | 2023-09-30 | 2023-10-31 | 2023-11-30 | 2023-12-31 | 2024-01-31 | 2024-02-28 | 2024-03-31
BM - Minor Components | 2023-04-30: 6.1435
SO-SO - Minor Components | 2023-04-30: 0
AS - Minor Components | 2023-04-30: 0
Non-Delivery & Reconciliation | 2023-04-30: -3.5855
Non Delivery | 2023-04-30: -1.181
Reconcilliation | 2023-04-30: -2.4044
\