## Cover
NESO Connections Reform Data Impact Assessment, Data Workbook
About
This workbook contains all the graphs and associated data for the Connections Reform Data Impact Assessment report.
Version History
Date | Version | Notes
2024-12-13 | 1 | Initial release
Legal Notice
This supplemental document, "Connections Reform Data Impact Assessment". For the purposes of this report, the terms “NESO”, “we”, “our”, “us” etc. are used to refer to National Energy System Operator Limited (company number 11014226). NESO has prepared this report pursuant to its statutory duties in good faith, and has endeavoured to prepare the report in a manner which is, as far as reasonably possible, objective, using information collected and compiled from users of the gas and electricity systems in Great Britain, together with its own forecasts of the future development of those systems. While NESO has not sought to mislead any person as to the contents of this report and whilst such contents represent its best view as at the time of publication, readers of this document should not place any reliance in law on the contents of this report. The contents of this report must be considered as illustrative only and no warranty can be or is made as to the accuracy and completeness of such contents, nor shall anything within this report constitute an offer capable of acceptance or form the basis of any contract. Other than in the event of fraudulent misstatement or fraudulent misrepresentation, NESO does not accept any responsibility for any use which is made of the information contained within this report.

## Introduction
Introduction
This workbook is a comprehensive repository of the figures, charts and data that have been used in Impact Assessment Document.
What's Inside:
1. Figures and Charts | Charts and figures showing the primary data analysis as published in the Impact Assessment document
1.1 Protection Clauses | Impact of projects that are deemed to have met the strategic alignment criteria and what deviations these could cause from strategic planning.
1.2 Full queue | Full connections queue compared to 2030 and CP30 2035 max capacitys
1.3 Tx & Dx | The distribution and transmission connected queue (to 2030 & 2035) compared to their respective elements of the CP30 capacities to 2030 and 2035
1.4 Regional | The full queue and the estimated low case “ready” queue with connection dates to 2030 & 2035, compared to the CP30 capacities to 2030 and 2035, split by location
2. Raw Data | Raw data extracts used in the analysis and creation of figures & charts. Some extracts include additional calculated columns integral for the data analysis
3. Mapping Sheets | Auxilliary analysis and mappings used in the analysis and creation of figures & charts

## Assumptions
Assumptions
Impact Assessment Topic | Assumptions | Notes
Full connections queue compared to 2030 and 2035 pathways | Full queue represents our high case queue to 2030 (incl. built capacity) of readiness for projects. This represents that all projects are ‘ready’ and meet the Gate 2 requirements.
| Low case queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) represents the scenario that only respondents to the RFI with land at time of RFI (June 2024) would be ready. | Exception for nuclear, where known Nuclear projects with land was used which is deemed more accurate than RFI.
Exception for offshore wind, where the Crown Estate Land Registry was used to find projects with seabed lease, which is deemed more accurate than RFI.
| Current built capacity is taken from FES24 generation for 2023 and is updated with projects that have been built since 2023. Note this provides a high level of built capacity (117GW) compared to those shown as built in connections registers (76GW). | Exception for nuclear, where current built projects was adjusted to only include Sizewell B, as this is the only currently built project online in 2030.
| The model does not account for projects that will disconnect before 2030/2035. | Projects may not disconnect even when assets reach end of life, new projects could be developed at the same site.
Any implementation of connections reform will need to take into account where projects disconnect from the system.
| Contracted Capacity | Assumed that contracted connection capacity will be the generation capacity of projects, as our dataset does not include generation capacity behind the meter. This is because contracted connection capacity represents maximum instantaneous import/export from network and limited information on any more/less capacity behind the meter.
In the future, decisions regarding individual projects will be based on the specifics of those projects i.e. the information the developer provides regarding their project. We will use this information to consider how the project aligns with the criteria for entry into the reformed queue.
The queue and CP30 technology type has been normalised to the TEC & Dx Register to only 9 categories due to the limitations of distribution data, which already categorises projects into these categories.
| Multi-technology projects | For multi-technology (hybrid) projects, the technology type is aggregated to the plant with the highest typical export capacity. Given there are 241GW of projects listed with more than one technology type (hybrid projects), this categorisation approach potentially overestimates generation and may misestimate storage.
In the future, decisions regarding individual projects will be based on the specifics of those projects i.e. the information the developer provides regarding their project. We will use this information to consider how the project aligns with the criteria for entry into the reformed queue.
| Storage | Refers to Energy Storage System-only projects (with no other technology types represented in this category)
Around 500 transmission generation projects include a storage element; these projects are categorised by the generation technology (i.e., the storage element of those projects is not included in the above data / charts). From import capacity, there could be c.180GW of increased storage capacity in the queue from these projects.
| Queue Visibility | The TEC Register, Interconnector Register, Clean Power 2030 Data Workbook, distribution data, and internal datasets reflect the connection queue. We assume that the technology type, contracted capacity, and connection dates listed are reflective of the project’s characteristics.
Due to time constraints, we were not able to incorporate DRC data or project specific DNO data, instead using aggregated data sources.
Note there is a limitation in our distribution data, which is taken from aggregated distribution workbook, where 67GW (45%) of projects do not have connection dates. For data quality purposes these have been added to our full queue analysis but have not been added in pre-2030 or pre-2035 models.
In reality, the data sources shown will not reflect the entire connection queue but are the most up-to-date and complete data available at the time of the modelling for this report. These sources provide a high-level view of the queue for comparison to CP30. The data will continue to be updated as Connections Reform is implemented.
Assumed CP2030 will drive the need for 2035. These models do not account for if SSEP is driving from 2030 to 2035.
In some graphs ‘other renewables’ shows as higher in the ‘Low case queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity)’ than in the full queue. This is driven because the RFI data has some responses that do not provide detail, and state “Other” as their categorisation. These have been grouped with “Other Renewables”, however these responses in the RFI are larger than that in the full queue.
Transmission and distribution analysis | At transmission level the project categorisation is not constrained by the distribution data. Therefore Figure 29 shows all technology types as listed in CP30 plan, to enable more detailed comparison.
The remainder of assumptions are the same as those in section Full connections queue compared to 2030 and 2035 pathways.
Locational Analysis | Location Analysis by GBR Zone for transmission-connected queue | Current built capacity differs to previous model as is created from projects listed as built or have connection dates in the past that are in the TEC Register. Note that this provides a lower estimate of built capacity than from our previous assumptions (using CP30 estimates).
The current built capacity is included in the full queue and Low case queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) for all graphs.
Projects have been mapped to each region based on their sub-station location. 99.8% of projects were matched to a location.
The remainder of assumptions are the same as those in section: Full connections queue compared to 2030 and 2035 pathways.
| Location Analysis by DNO Region (Distribution-connected Queue) | As mentioned above, the data used provides high level connections per region and for a significant portion (45%) of the distribution queue does not provide the connection dates. These projects have been excluded from our analysis of the queue to 2030.
The 2030 pathways have been mapped to DNO region based off the projects with the largest overlap with each region, however this mapping does not align for all regions.
Current built capacity is based off projects listed as built or have connection dates in the past that are in the Distribution register. Note that this provides a lower estimate of built capacity than from our previous assumptions (using CP30 estimates).
The current built capacity is included in the full queue and Low case queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) queue to 2030 (incl. built capacity) for all graphs.
The remainder of assumptions are the same as those in section: Full connections queue compared to 2030 and 2035 pathways.
2035 pathway | Where possible we use FES24 Holistic transition as the 2035 pathway. Where this is not available at regional level, we use the 2035 data from the highest of the two pathways in from the CP30 pathways for 2035

## 1. Figures & Charts -->
Figures and Charts
Section Name | Sheet Name | Figure title
1.1 Protection Clauses | F.26 | Full queue with project planning status
| F.27 | Transmission queue with project planning status
| F.28 | Distribution queue with project planning status (based off RFI responses)
| F.29 | Full queue with CfDs compared to CP30 capacities
| F.30 | Transmission queue with CfDs compared with CP30 capacities
| F.31 | Distribution queue with CfDs compared with CP30 capacities
| F.32 | Full queue with projects with Capacity Market (CM) Contracts
| F.33 | Transmission queue with projects with Capacity Market (CM) Contracts
| F.34 | Distribution queue with projects with Capacity Market (CM) Contracts
| F.35 | Full queue with RFI respondants under construction due to connect before end of 2026 and projects to connect by end of 2027 and 2028
| F.36 | Tx queue with RFI respondents under construction due to connect before end of 2026 and proejcts due to connect by end of 2027 and 2028
| F.37 | Dx queue with RFI respondents under construction due to connect before end of 2026 and projects due to connect by end of 2027 and 2028
| F.38 | All interconnector and OHA projects that have Ofgem cap and floor or merchant route approval
1.2 Full queue | F.39 | Queue to 2030 compared to CP30 2030 permitted capacities
| F.40 | Queue to 2030, with 20% of capacity accelerated projects from the 2030-2035 queue, compared to CP30 permitted capacities
| F.41 | Queue to 2035 compared to CP30 2035 permitted capacity
| F.42 | Full queue, including beyond 2035, compared to 2035 permitted capacities
| F.43 | Onshore Wind full queue for England & Wales, and Scotland compared to CP30 permitted capacities
1.3 Tx & Dx | F.44 | Distribution queue to 2030 compared to CP30 distribution permitted capacities
| F.45 | Full distribution queue compared to CP30 2035 distribution permitted capacities
| F.46 | Transmission queue to 2030 compared to CP30 transmission permitted capacities
| F.47 | Full transmission queue compared to CP30 2035 permitted capacities
1.4 Regional | F.48 | Regional view (Tx only) for the queue to 2030 (only for solar, batteries, and onshore wind) compared to CP30 2030 permitted capacities
| F.49 | Regional view (Tx only) for the full queue (only for solar, batteries, and onshore wind) compared to CP30 2035 permitted capacities
| F.50-60 | Transmission queue to 2030 and low readiness case to 2030 split by each technology transmission zone against the CP30 2030 permitted capacities
| F.61-71 | Full transmission Queue by technology transmission zone compared to CP30 2035 permitted capacities
| F.72 | High-level zonal view of the distribution-connected queue and low case readiness to 2030 by distribution zone against CP30 permitted capacities to 2030
| F.73 | High-level zonal view (Dx only) of the full queue and ‘low case readiness’ queue by distribution zone against CP30 permitted capacities to 2035
| F.74-81 | Current distribution queue to 2030 by zone compared to CP30 2030 permitted capacities for each of the DNO licence area
| F.82-89 | Full queue compared to CP30 2035 permitted capacitys for distribution zones

## 1.1 Protected projects -->
Section 4: The impact of our proposal to protect certain types of projects
Section Legend
Impact Assessment Figure # | Sheet Name | Figure Title
26 | F.26 | Full queue with project planning status
27 | F.27 | Transmission queue with project planning status
28 | F.28 | Distribution queue with project planning status (based off RFI responses)
29 | F.29 | Full queue with CfDs compared to CP30 capacities
30 | F.30 | Transmission queue with CfDs compared with CP30 capacities
31 | F.31 | Distribution queue with CfDs compared with CP30 capacities
32 | F.32 | Full queue with projects with Capacity Market (CM) Contracts
33 | F.33 | Transmission queue with projects with Capacity Market (CM) Contracts
34 | F.34 | Distribution queue with projects with Capacity Market (CM) Contracts
35 | F.35 | Full queue with RFI respondants under construction due to connect before end of 2026 and projects to connect by end of 2027 and 2028
36 | F.36 | Tx queue with RFI respondents under construction due to connect before end of 2026 and proejcts due to connect by end of 2027 and 2028
37 | F.37 | Dx queue with RFI respondents under construction due to connect before end of 2026 and projects due to connect by end of 2027 and 2028
38 | F.38 | All interconnector and OHA projects that have Ofgem cap and floor or merchant route approval
Assumptions
Assumption | Assumption Detail
Connection Dates and Oversupply | Projects due to connect by the end of 2026 are assumed not to cause oversupply for any CP30 permitted capacities except unabated gas.
Projects due to connect by the end of 2027 are assumed to cause oversupply for batteries and unabated gas.
Projects due to connect by the end of 2028 are assumed to further increase the oversupply for batteries.
Queue Management Milestones | Only projects that have met queue management milestones M2 and M7 and are due to connect by the end of 2026 are considered 'under construction' and meet the protection criteria.
The analysis assumes that RFI responses provide a more comprehensive estimate of projects under construction compared to the Tec Register or Regen information.
RFI Data | The RFI data is not scaled to account for non-respondents, leading to a potential underestimation of projects under construction.
Projects with CM Contracts | Projects with CM contracts are assumed not to cause oversupply for any CP30 permitted capacities except unabated gas.
Projects with CM contracts are assumed to have secured planning consent, hence cumulative figures for these projects and those with planning consents secured are not shown.
Projects with CfDs | Projects with CfDs are assumed to constitute a small proportion (5%) of the full queue.
Projects with CfDs | Projects with CfDs are assumed not to cause oversupply for any CP30 permitted capacities except nuclear.
Projects with CfDs are assumed to have secured planning consent, hence cumulative figures for these projects and those with planning consents secured are not shown.
Planning consents | The analysis includes projects with planning consents secured or applied for, regardless of their connection date, which may extend beyond 2030.
Full Queue Analysis | The analysis assumes that projects with consents approved do not exceed the 2035 permitted capacity for any technology other than unabated gas and nuclear.
The analysis may underestimate the number of projects that will secure planning consents by the ‘go live’ of connections reform (estimated May 2025).
Transmission Level Analysis | The analysis assumes no oversupply of projects with planning consents for solar or onshore wind at the national transmission level, but a small oversupply for batteries.
Transmission Level Analysis | A high proportion of transmission-connected solar and battery projects are assumed to have submitted planning, which could exceed CP30 2030 and 2035 transmission-level permitted capacities if all gain planning consent before ‘go live’.
Distribution Level Analysis | The analysis assumes no oversupply of projects with planning consents for batteries, solar, or onshore wind at the national distribution level.
A high proportion of distribution-connected battery projects are assumed to have submitted planning, which could exceed CP30 2035 distribution-level permitted capacities if all gain planning consent before ‘go live’.

## F.26
Figure 26. Full queue with project planning status
|  | Plant Type | Previously built capacity | Under Construction | Planning consents approved | Planning submitted | Scoping | Column1 | Column12 | Column2 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 4550 | 2470 | 19014.25 | 25493.3853 | 133296.2045 |  |  |  | 27000 | 29000
|  | LDES | 2900 | 0 | 2596 | 2700 | 2995 |  |  |  | 6000 | 10000
|  | Solar | 16940 | 887.01 | 8677.021 | 34998.094 | 161288.2926 |  |  |  | 47000 | 69000
|  | Onshore Wind | 15640 | 355.8 | 4586.17 | 6173.3 | 17768.53 |  |  |  | 29000 | 37000
|  | Offshore Wind | 14800 | 4068 | 19405.25 | 13058 | 61144 |  |  |  | 50000 | 89000
|  | Unabated Gas | 35600 | 0 | 7269.9 | 4820 | 5816 |  |  |  | 35000 | 0
|  | Low carbon dispatchable power | 4300 | 0 | 99 | 941.99 | 24127.8 |  |  |  | 7000 | 25000
|  | Nuclear | 1230 | 3340 | 3340 | 0 | 940 |  |  |  | 4000 | 6000
|  | Interconnectors | 9800 | 1400 | 0 | 4000 | 20380 |  |  |  | 14000 | 24000
|  | Other Renewables | 0 | 0 | 661.945 | 59.588 | 197.59 |  |  |  | 0 | 0
|  | Total | 105760 | 12520.81 | 65649.536 | 92244.3573 | 427953.4171 |  |  |  | 219000 | 289000
#VALUE!
True to assumptions in this section (Dec 24)

## F.27
Figure 27. Transmission queue with project planning status
Includes 'Built' Planning Status
|  | Plant Type | Previously built capacity | Under Construction | Planning consents approved | Planning submitted | Scoping | Column3 | Column2 | Column1 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 3787.965 | 2470 | 9996.8 | 16248.42 | 97648.13 |  |  |  | 15900 | 15900
|  | Solar | 579.695 | 887.01 | 3453.395 | 29533.295 | 141902.6 |  |  |  | 10800 | 17000
|  | Onshore Wind | 9334.38 | 355.8 | 3818.1 | 5404 | 10885.4 |  |  |  | 15900 | 0
|  | Total | 13702.04 | 3712.81 | 17268.295 | 51185.715 | 250436.13 |  |  |  | 42600 | 32900
#VALUE!
True to assumptions in this section (Dec 24)

## F.28
Figure 28. Distribution queue with project planning status (based off RFI responses)
|  | Plant Type | Previously built capacity | Planning consents approved | Planning submitted | Scoping | Column3 | Column2 | Column1 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 4170.34 | 9017.45 | 9244.9653 | 35648.0745 |  |  |  | 11200 | 12800
|  | Solar | 17996.0204 | 5223.626 | 5464.799 | 19385.6926 |  |  |  | 36200 | 52400
|  | Onshore Wind | 5961.46 | 768.07 | 769.3 | 6883.13 |  |  |  | 13200 | 0
|  | Total | 28127.8204 | 15009.146 | 15479.0643 | 61916.8971 |  |  |  | 60600 | 65200
#VALUE!
True to assumptions in this section (Dec 24)

## F.29
Figure 29. Full queue with CfDs compared to CP30 capacities
|  | Plant Type | Previously built capacity | CfDs | Remaining full queue | Column5 | Column6 | Column3 | Column4 | Column1 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 4550 | 0 | 221108.35 | [5 empty] | 27000 | 29000
|  | LDES | 2900 | 0 | 8291 | [5 empty] | 6000 | 10000
|  | Solar | 16940 | 6633.785 | 197384.515 | [5 empty] | 47000 | 69000
|  | Onshore Wind | 15640 | 3346.92 | 22101.38 | [5 empty] | 29000 | 37000
|  | Offshore Wind | 14800 | 15243.73 | 82886.52 | [5 empty] | 50000 | 89000
|  | Unabated Gas | 35600 | 0 | 25072.9 | [5 empty] | 35000 | 0
|  | Low carbon dispatchable power | 4300 | 0 | 24810 | [5 empty] | 7000 | 25000
|  | Nuclear | 1230 | 3287.16 | 5452.84 | [5 empty] | 4000 | 6000
|  | Interconnectors | 9800 | 0 | 25730 | [5 empty] | 14000 | 24000
|  | Other Renewables | 0 | 163.86 | 999.63 | [5 empty] | 0 | 0
|  | Total | 105760 | 28675.455 | 613837.135 | [5 empty] | 219000 | 289000
#VALUE!
True to assumptions in this section (Dec 24)

## F.30
Figure 30. Transmission queue with CfDs compared with CP30 capacities
|  | Plant Type | Previously built capacity | CfDs | Remaining transmission queue | Column1 | Column2 | Column3 | Column4 | Column5 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 3787.965 | 0 | 126463.35 | [5 empty] | 15900 | 15900
|  | Solar | 579.695 | 922.87 | 174853.43 | [5 empty] | 10800 | 17000
|  | Onshore Wind | 9265.38 | 2823.67 | 17708.63 | [5 empty] | 15900 | 0
|  | Total | 13633.04 | 3746.54 | 319025.41 | [5 empty] | 42600 | 32900
#VALUE!
True to assumptions in this section (Dec 24)

## F.31
Figure 31. Distribution queue with CfDs compared with CP30 capacities
|  | Plant Type | Previously built capacity | CfDs | Remaining distribution queue | Column1 | Column2 | Column3 | Column4 | Column5 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 4170.34 | 0 | 94645 | [5 empty] | 11200 | 12800
|  | Solar | 17996.0204 | 5710.915 | 22531.085 | [5 empty] | 36200 | 52400
|  | Onshore Wind | 5961.46 | 523.25 | 4392.75 | [5 empty] | 13200 | 0
|  | Total | 28127.8204 | 6234.165 | 121568.835 | [5 empty] | 60600 | 65200
#VALUE!
True to assumptions in this section (Dec 24)

## F.32
Figure 32. Full queue with projects with Capacity Market (CM) Contracts
| Plant Type | Current built capacity | Projects with CM contracts | Remaining full queue | Blank1 | Blank2 | Blank3 | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 4550 | 13978.009 | 207130.341 |  |  |  | 27000 | 29000
| LDES | 2900 | 0 | 8291 |  |  |  | 6000 | 10000
| Solar | 16940 | 291.503 | 203726.797 |  |  |  | 47000 | 69000
| Onshore Wind | 15640 | 335.57 | 25112.73 |  |  |  | 29000 | 37000
| Offshore Wind | 14800 | 573 | 97557.25 |  |  |  | 50000 | 89000
| Unabated Gas | 35600 | 3620.312 | 21452.588 |  |  |  | 35000 | 0
| Low carbon dispatchable power | 4300 | 0 | 24810 |  |  |  | 7000 | 25000
| Interconnectors | 9800 | 7104 | 18626 |  |  |  | 14000 | 24000
| Other Renewables | 0 | 322.409 | 841.081 |  |  |  | 0 | 0
| Total | 104530 | 26224.803 | 607547.787 |  |  |  | 215000 | 283000
True to assumptions in this section (Dec 24)

## F.33
Figure 33. Transmission queue with projects with Capacity Market (CM) Contracts
| Plant Type | Current built capacity | Tx projects with CM contracts | Remaining full transmission queue | Blank1 | Blank2 | Blank3 | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 3787.965 | 8517.456 | 117945.894 |  |  |  | 15900 | 15900
| Solar | 579.695 | 141.616 | 175634.684 |  |  |  | 10800 | 17000
| Onshore Wind | 9265.38 | 306.77 | 20225.53 |  |  |  | 15900 | 0
| Total | 13633.04 | 8965.842 | 313806.108 |  |  |  | 42600 | 32900
True to assumptions in this section (Dec 24)

## F.34
Figure 34. Distribution queue with projects with Capacity Market (CM) Contracts
| Plant Type | Current built capacity | Dx projects with CM contracts | Remaining full distribution queue | Blank1 | Blank2 | Blank3 | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 4170.34 | 5460.553 | 89184.447 |  |  |  | 11200 | 12800
| Solar | 17996.0204 | 149.887 | 28092.113 |  |  |  | 36200 | 52400
| Onshore Wind | 5961.46 | 28.8 | 4887.2 |  |  |  | 13200 | 0
| Total | 28127.8204 | 5639.24 | 122163.76 |  |  |  | 60600 | 65200
True to assumptions in this section (Dec 24)

## F.35
Figure 35. Full queue with projects due to be connected pre-2026/27
[5 empty] | All projects due to connect before end-of 2027 | All projects due to connect before end-of 2028
|  | Plant Type | Previously built capacity | Projects in construction due to connect before end 2026 | All projects due to connect before end 2027 | All projects due to connect before end 2028 | Remaining full queue | Column1 | Column2 | Column3 | Column4 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 4550 | 4462.2 | 24158.895 | 10896.6 | 186052.855 |  |  |  |  | 27000 | 29000
|  | LDES | 2900 | 0 | 550 | 450 | 7291 |  |  |  |  | 6000 | 10000
|  | Solar | 16940 | 589.73 | 14987.15 | 13710.41 | 175320.74 |  |  |  |  | 47000 | 69000
|  | Onshore Wind | 15640 | 963.66 | 6162.8 | 3450 | 15835.5 |  |  |  |  | 29000 | 37000
|  | Offshore Wind | 14800 | 1300 | 12172 | 9061.25 | 76897 |  |  |  |  | 50000 | 89000
|  | Unabated Gas | 35600 | 0 | 13594.8 | 1759 | 9719.1 |  |  |  |  | 35000 | 0
|  | Low carbon dispatchable power | 4300 | 0 | 0 | 0 | 24810 |  |  |  |  | 7000 | 25000
|  | Nuclear | 1230 | 0 | 2790 | 1670 | 4280 |  |  |  |  | 4000 | 6000
|  | Interconnectors | 9800 | 1400 | 11050 | 1480 | 13200 |  |  |  |  | 14000 | 24000
|  | Other Renewables | 0 | 102.6 | 703.49 | 48 | 412 |  |  |  |  | 0 | 0
|  | Total | 105760 | 8818.19 | 86169.135 | 42525.26 | 513818.195 |  |  |  |  | 219000 | 289000
#VALUE!
True to assumptions in this section (Dec 24)

## F.36
Figure 36. Full queue with projects due to be connected pre-2026/27
|  | Plant Type | Previously built capacity | Projects due to connect before end 2026 | Projects due to connect before end 2027 | Projects due to connect before end 2028 | Remaining full transmission queue | Column1 | Column2 | Column3 | Column4 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 3787.965 | 3980.9 | 16777.895 | 7952.6 | 101732.855 |  |  |  |  | 15900 | 15900
|  | Solar | 579.695 | 49.9 | 10155.15 | 11837.41 | 153783.74 |  |  |  |  | 10800 | 17000
|  | Onshore Wind | 9265.38 | 963.66 | 5338.8 | 3105 | 12088.5 |  |  |  |  | 15900 | 0
|  | Total | 13633.04 | 4994.46 | 32271.845 | 22895.01 | 267605.095 |  |  |  |  | 42600 | 32900
#VALUE!
True to assumptions in this section (Dec 24)

## F.37
Figure 37. Full queue with projects due to be connected pre-2026/27
|  | Plant Type | Previously built capacity | Projects due to connect before end 2026 | Projects due to connect before end 2027 | Projects due to connect before end 2028 | Remaining full distribution queue | Column1 | Column2 | Column3 | Column4 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Batteries | 4170.34 | 481.3 | 7381 | 2944 | 84320 |  |  |  |  | 11200 | 12800
|  | Solar | 17996.0204 | 539.83 | 4832 | 1873 | 21537 |  |  |  |  | 36200 | 52400
|  | Onshore Wind | 5961.46 | 0 | 824 | 345 | 3747 |  |  |  |  | 13200 | 0
|  | Total | 28127.8204 | 1021.13 | 13037 | 5162 | 109604 |  |  |  |  | 60600 | 65200
#VALUE!
True to assumptions in this section (Dec 24)

## F.38
Figure 38. All interconnector and OHA projects that have Ofgem cap and floor or merchant route approval
|  | Plant Type | Previously built capacity | Projects with Ofgem cap and floor or merchant route approval | Remaining full queue | Column1 | Column2 | Column3 | Column4 | CP30 2030 max capacity | CP30 2035 max capacity
|  | Interconnectors | 9800 | 8530 | 17200 |  |  |  |  | 14000 | 24000
#VALUE!
True to assumptions in this section (Dec 24)

## 1.2 Full queue-->
Section Legend
Impact Assessment Figure # | Sheet Name | Figure Title
39 | F.39 | Queue to 2030 compared to CP30 2030 permitted capacities
40 | F.40 | Queue to 2030, with 20% of capacity accelerated projects from the 2030-2035 queue, compared to CP30 permitted capacities
41 | F.41 | Queue to 2035 compared to CP30 2035 permitted capacity
42 | F.42 | Full queue, including beyond 2035, compared to 2035 permitted capacities
43 | F.43 | Onshore Wind full queue for England & Wales, and Scotland compared to CP30 permitted capacities
Assumptions
Assumption | Assumption Detail
Full queue represents our high case of readiness for projects. This represents that all projects are ‘ready’ and meet the Gate 2 requirements.
Low case represents the scenario that only respondents to the RFI with land at time of RFI (June 2024) would be ready. | Exception for nuclear, where known Nuclear projects with land was used which is deemed more accurate than RFI.
Exception for offshore wind, where the Crown Estate Land Registry was used to find projects with seabed lease, which is deemed more accurate than RFI.
Current built capacity is taken from FES24 generation for 2023 and is updated with projects that have been built since 2023. Note this provides a high level of built capacity (117GW) compared to those shown as built in connections registers (76GW). | Exception for nuclear, where current built projects was adjusted to only include Sizewell B, as this is the only currently built project online in 2030.
The model does not account for projects that will disconnect before 2030/2035. Note: | Projects may not disconnect even when assets reach end of life, new projects could be developed at the same site.
Any implementation of connections reform will need to take into account where projects disconnect from the system.
Contracted Capacity | Assumed that contracted connection capacity will be the generation capacity of projects, as our dataset does not include generation capacity behind the meter. This is because contracted connection capacity represents maximum instantaneous import/export from network and limited information on any more/less capacity behind the meter.
In the future, decisions regarding individual projects will be based on the specifics of those projects i.e. the information the developer provides regarding their project. We will use this information to consider how the project aligns with the criteria for entry into the reformed queue.
The queue and CP30 technology type has been normalised to the TEC & Dx Register to only 9 categories due to the limitations of distribution data, which already categorises projects into these categories. | For multi-technology (hybrid) projects, the technology type is aggregated to the plant with the highest typical export capacity. Given there are 241GW of projects listed with more than one technology type (hybrid projects), this categorisation approach potentially overestimates generation and may misestimate storage.
Multi-technology projects
In the future, decisions regarding individual projects will be based on the specifics of those projects i.e. the information the developer provides regarding their project. We will use this information to consider how the project aligns with the criteria for entry into the reformed queue.
Storage | Refers to Energy Storage System-only projects (with no other technology types represented in this category)
Around 500 transmission generation projects include a storage element; these projects are categorised by the generation technology (i.e., the storage element of those projects is not included in the above data / charts). From import capacity, there could be c.180GW of increased storage capacity in the queue from these projects.
Queue Visibility | The TEC Register, Interconnector Register, Clean Power 2030 Data Workbook, distribution data, and internal datasets reflect the connection queue. We assume that the technology type, contracted capacity, and connection dates listed are reflective of the project’s characteristics.
Limitations | Due to time constraints, we were not able to incorporate DRC data or project specific DNO data, instead using aggregated data sources.
Note there is a limitation in our distribution data, which is taken from aggregated distribution workbook, where 67GW (45%) of projects do not have connection dates. For data quality purposes these have been added to our full queue analysis but have not been added in pre-2030 or pre-2035 models.
In reality, the data sources shown will not reflect the entire connection queue but are the most up-to-date and complete data available at the time of the modelling for this report. These sources provide a high-level view of the queue for comparison to CP30. The data will continue to be updated as Connections Reform is implemented.
Assumed CP2030 will drive the need for 2035. These models do not account for if SSEP is driving from 2030 to 2035.
G98 projects which do not need to make a connection application are not included in our queue data: | Our modelling of the CP30 2030 max capacitys in all graphs includes solar projects connected to domestic and small commercial and industrial properties, which we described as micro solar.
Some micro generation projects which are within the scope of the Energy Network Associations (ENA) Engineering Recommendation G98 do not need to apply for a connection with the DNO and therefore are not included in our figures for the current queue.
Data categorisation | For the purposes of connections reform and the Gate 2 criteria or Connections Network Design Methodology, we do not intend to include generation that will not have an impact on the transmission system within the scope of connections reform.
In some graphs ‘other renewables’ shows as higher in the ‘low case’ than in the full queue. This is driven because the RFI data has some responses that do not provide detail, and state “Other” as their categorisation. These have been grouped with “Other Renewables”, however these responses in the RFI are larger than that in the full queue. The RFI follow up was sent which has provided more responses for the queue, which has grown all categories including other renewables.

## F.39
Figure 39. Queue to 2030 compared to CP30 capacities
z
|  | Plant Type | Current built capacity | Queue to 2030 (incl. built capacity) | Low case queue to 2030 (incl. built capacity) | CP30 2030 max capacity
|  | Batteries | 4550 | 65383.195 | 49824.9178 | 27000
|  | LDES | 2900 | 7896 | 4370 | 6000
|  | Solar | 16940 | 71524.07 | 41825.2102 | 47000
|  | Onshore Wind | 15640 | 30319.1 | 33425.53 | 29000
|  | Offshore Wind | 14800 | 50992.25 | 44693.25 | 50000
|  | Unabated Gas | 35600 | 54052.8 | 35600 | 35000
|  | Low carbon dispatchable power | 4300 | 4302 | 4349.99 | 7000
|  | Nuclear | 1230 | 5690 | 5690 | 4000
|  | Interconnectors | 9800 | 28130 | 14100 | 14000
|  | Other Renewables | 0 | 914.49 | 5334.745 | 0
|  | Total | 105760 | 319203.905 | 239213.643 | 219000
#VALUE!
True to assumptions in this section (Dec 24)

## F.40
Figure 40. Queue to 2030, with 20% of capacity accelerated projects from the 2030-2035 queue, compared to CP30 capacities
| Plant Type | Current built capacity | Low case queue to 2030 + 20% of queue to 2035 (incl. built capacity) | Queue to 2030 + 20% of queue to 2035 (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 4550 | 57149.8928 | 78933.827 | 27000 | 29000
| LDES | 2900 | 4370 | 8256 | 6000 | 10000
| Solar | 16940 | 47287.2575 | 91487.476 | 47000 | 69000
| Onshore Wind | 15640 | 34208.594 | 31725 | 29000 | 37000
| Offshore Wind | 14800 | 51107.45 | 60336.65 | 50000 | 89000
| Unabated Gas | 35600 | 35600 | 55024.6 | 35000 | 0
| Low carbon dispatchable power | 4300 | 4389.77 | 8443.6 | 7000 | 25000
| Nuclear | 1230 | 6024 | 6024 | 4000 | 6000
| Interconnectors | 9800 | 14200 | 28730 | 14000 | 24000
| Other Renewables | 0 | 6578.905 | 957.29 | 0 | 0
| Total | 105760 | 260915.8692 | 369918.443 | 219000 | 289000
True to assumptions in this section (Dec 24)

## F.41
Figure 41. Queue to 2035 compared to CP30 2035 max capacity
| Plant Type | Current built capacity | Queue to 2035 (incl. built capacity) | Low case of readiness to 2035 (incl. built capacity) | CP30 2035 max capacity
| Batteries | 4550 | 133136.355 | 86449.7928 | 29000
| LDES | 2900 | 9696 | 4370 | 10000
| Solar | 16940 | 171341.1 | 69135.4464 | 69000
| Onshore Wind | 15640 | 37348.6 | 37340.85 | 37000
| Offshore Wind | 14800 | 97714.25 | 76764.25 | 89000
| Unabated Gas | 35600 | 58911.8 | 35600 | 0
| Low carbon dispatchable power | 4300 | 25010 | 4548.89 | 25000
| Nuclear | 1230 | 7360 | 7360 | 6000
| Interconnectors | 9800 | 31130 | 14600 | 24000
| Other Renewables | 0 | 1128.49 | 11555.545 | 0
| Total | 105760 | 572776.595 | 347724.7741 | 289000
True to assumptions in this section (Dec 24)

## F.42
Figure 42. Full queue, including beyond 2035, compared to CP30 2035 max capacity
| Plant Type | Current built capacity | Remaining Full Queue (incl. built capacity) | Low case of readiness full queue (incl. built capacity) | CP30 2035 max capacity
| Batteries | 4550 | 225658.35 | 108799.3879 | 29000
| LDES | 2900 | 11191 | 4370 | 10000
| Solar | 16940 | 220958.3 | 75403.0343 | 69000
| Onshore Wind | 15640 | 41088.3 | 38015.07 | 37000
| Offshore Wind | 14800 | 112930.25 | 76764.25 | 89000
| Unabated Gas | 35600 | 60672.9 | 35600 | 0
| Low carbon dispatchable power | 4300 | 29110 | 4548.89 | 25000
| Nuclear | 1230 | 9970 | 9970 | 6000
| Interconnectors | 9800 | 35530 | 14600 | 24000
| Other Renewables | 0 | 1163.49 | 12842.493 | 0
| Total | 105760 | 748272.59 | 380913.1252 | 289000
True to assumptions in this section (Dec 24)

## F.43
Figure 43. Onshore Wind full queue for England & Wales, and Scotland compared to CP30 capacities
| Plant Type | Metric | England and Wales | Scotland | Total
| Onshore Wind | Current built capacity | 8455.22 | 7184.78 | 15640
| Onshore Wind | Remaining full queue (incl. built capacity) | 13630.42 | 26731.38 | 40361.8
| Onshore Wind | Low case full queue (incl. built capacity) | 17070.49 | 17739.08 | 34809.57
| Onshore Wind | CP30 2030 max capacity | 8600 | 20500 | 29100
| Onshore Wind | CP30 2035 max capacity | 15800 | 21200 | 37000
True to assumptions in this section (Dec 24)

## 1.3 Dx Queue
Section Legend
Impact Assessment Figure # | Sheet Name | Figure Title
44 | F.44 | Distribution queue to 2030 compared to CP30 distribution permitted capacities
45 | F.45 | Full distribution queue compared to CP30 2035 distribution permitted capacities
46 | F.46 | Transmission queue to 2030 compared to CP30 transmission permitted capacities
47 | F.47 | Full transmission queue compared to CP30 2035 permitted capacities
Assumptions
Assumption
At transmission level the project categorisation is not constrained by the distribution data. Therefore Figure 46 shows all technology types as listed in CP30 plan, to enable more detailed comparison.
The remainder of assumptions are the same as those in section Full connections queue compared to 2030 and CP30 2035 max capacitys

## F.44
Figure 44. Distribution queue to 2030 compared to CP30 distribution capacities
| Plant Type | Current built capacity | Distribution queue to 2030 (incl. built capacity) | Low case distribution queue to 2030 (incl. built capacity) | CP30 2030 max capacity
| Batteries | 4170.34 | 22746.34 | 13036.1498 | 11200
| Solar | 17996.0204 | 27616.0204 | 27757.0406 | 36200
| Onshore Wind | 5961.46 | 7450.46 | 6754.94 | 13200
| Total | 28127.8204 | 57812.8204 | 47548.1304 | 60600
True to assumptions in this section (Dec 24)

## F.45
Figure 45. Distribution queue to 2030 compared to CP30 distribution capacities
| Plant Type | Current built capacity | Remaining full distribution queue (incl. built capacity) | Low case full distribution queue (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 4170.34 | 98815.34 | 22042.8199 | 11200 | 12800
| Solar | 17996.0204 | 46238.0204 | 34040.4966 | 36200 | 52400
| Onshore Wind | 5961.46 | 10877.46 | 7446.08 | 13200 | 0
| Total | 28127.8204 | 155930.8204 | 63529.3965 | 60600 | 65200
True to assumptions in this section (Dec 24)

## F.46
Figure 46. Transmission queue to 2030 compared to CP30 transmission capacities
| Plant Type | Built capacity | Transmission queue to 2030 (incl. built capacity) | Low case transmission queue to 2030 (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 3787.965 | 64621.16 | 35327.165 | 15900 | 15900
| Solar | 579.695 | 55163.765 | 14776.135 | 10800 | 17000
| Onshore Wind | 9265.38 | 23944.48 | 23163.34 | 15900 | 0
| Total | 13633.04 | 143729.405 | 73266.64 | 42600 | 32900
True to assumptions in this section (Dec 24)

## F.47
Figure 47. Transmission queue to 2030 compared to CP30 transmission capacities
| Plant Type | Built capacity | Remaining full transmission queue (incl. built capacity) | Low case full transmission queue (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| Batteries | 3787.965 | 130251.315 | 78841.665 | 15900 | 15900
| Solar | 579.695 | 176355.995 | 40440.933 | 10800 | 17000
| Onshore Wind | 9265.38 | 29797.68 | 26509.34 | 15900 | 0
| Total | 13633.04 | 336404.99 | 145791.938 | 42600 | 32900
True to assumptions in this section (Dec 24)

## 1.4 Regional-->
Section Legend
Impact Assessment Figure # | Sheet Name | Figure Title
48 | F.48 | Regional view (Tx only) for the queue to 2030 (only for solar, batteries, and onshore wind) compared to CP30 2030 permitted capacities
49 | F.49 | Regional view (Tx only) for the full queue (only for solar, batteries, and onshore wind) compared to CP30 2035 permitted capacities
50-60 | F.50-60 | Transmission queue to 2030 and low readiness case to 2030 split by each technology transmission zone against the CP30 2030 permitted capacities
61-71 | F.61-71 | Full transmission Queue by technology transmission zone compared to CP30 2035 permitted capacities
72 | F.72 | High-level zonal view of the distribution-connected queue and low case readiness to 2030 by distribution zone against CP30 permitted capacities to 2030
73 | F.73 | High-level zonal view (Dx only) of the full queue and ‘low case readiness’ queue by distribution zone against CP30 permitted capacities to 2035
74-81 | F.74-81 | Current distribution queue to 2030 by zone compared to CP30 2030 permitted capacities for each of the DNO licence area
82-89 | F.82-89 | Full queue compared to CP30 2035 permitted capacitys for distribution zones
Assumptions
Assumption
As mentioned above, the data used provides high level connections per region and for a significant portion (45%) of the distribution queue does not provide the connection dates. These projects have been excluded from our analysis of the queue to 2030.
The CP30 2030 max capacitys have been mapped to DNO region based off the projects with the largest overlap with each region, however this mapping does not align for all regions.
Current built capacity differs to previous model as is created from projects listed as built or have connection dates in the past that are in the TEC Register. Note that this provides a lower estimate of built capacity than from our previous assumptions (using CP30 estimates).
The current built capacity is included in the full queue and low case for all graphs.
The remainder of assumptions are the same as those in section: Full connections queue compared to 2030 and CP30 2035 max capacitys.

## F.48
Figure 48. High-Level Regional View (Tx Only): Full Queue, Low Case and CP30
Update names
|  | Location (FES Zones) | Current built capacity | Queue to 2030 (incl. built capacity) | Low case queue to 2030 (incl. built capacity) | CP30 2030 max capacity
|  | T1 - N. Scotland | 3250.2 | 14114.7 | 7937.1 | 7500
|  | T2 - S. Scotland | 6181.13 | 36241.03 | 19651.73 | 13300
|  | T3 - N. England | 135.4 | 1956.3 | 933.3 | 1300
|  | T4 - N. Wales, the Mersey and the Humber | 1112.58 | 10540.06 | 10484.68 | 5700
|  | T5 - Midlands | 2816.89 | 21306.88 | 10293.13 | 5300
|  | T6 - Central England | 586.89 | 4234.59 | 2467.69 | 2600
|  | T7 - E. Anglia | 163.5 | 1369.5 | 3281.5 | 300
|  | T8 - S. Wales and the Severn | 878.2 | 9705.2 | 4776.14 | 3300
|  | T9 - S.W. England | 264.9 | 1935.1 | 1297.4 | 700
|  | T10 - S. England | 206.7 | 4706.695 | 656.7 | 300
|  | T11 - South-East England | 613.7 | 9337.4 | 3651.15 | 2300
|  | Total | 16210.09 | 115447.455 | 65430.52 | 42600
True to assumptions in this section (Dec 24)

## F.49
Figure 49. High-Level Regional View (Tx Only): Full Queue
| Location (FES Zones) | Current built capacity | Remaining full queue (incl. built capacity) | Low case full queue (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| T1 - N. Scotland | 3250.2 | 30330.25 | 15551.9 | 7500 | 2700
| T2 - S. Scotland | 6181.13 | 55230.23 | 27348.34 | 13300 | 4700
| T3 - N. England | 135.4 | 12132.2 | 1788.2 | 1300 | 2200
| T4 - N. Wales, the Mersey and the Humber | 1112.58 | 34776.59 | 18501.08 | 5700 | 5900
| T5 - Midlands | 2816.89 | 46752.59 | 15729.13 | 5300 | 6500
| T6 - Central England | 586.89 | 29122.39 | 6257.51 | 2600 | 3800
| T7 - E. Anglia | 163.5 | 12125.3 | 4030.5 | 300 | 1100
| T8 - S. Wales and the Severn | 878.2 | 10579.2 | 4776.14 | 3300 | 2200
| T9 - S.W. England | 264.9 | 5331 | 4093.4 | 700 | 700
| T10 - S. England | 206.7 | 8175.495 | 1985.7 | 300 | 300
| T11 - South-East England | 613.7 | 20189.3 | 4900.15 | 2300 | 2800
| Total | 16210.09 | 264744.545 | 104962.05 | 42600 | 32900
True to assumptions in this section (Dec 24)

## F.50-F.60
Figure 50-60. CP30 by technology against targets for transmission
| Location (FES Zones) | Source | Batteries | Solar | Onshore Wind | Total
| T7 - E. Anglia | Current built capacity | 57 | 106.5 | 0 | 7261.885 | 0
| T7 - E. Anglia | Total queue to 2030 (incl. built capacity) | 957 | 412.5 | 0 | 1369.5
| T7 - E. Anglia | Low case queue to 2030 (incl. built capacity) | 535 | 106.5 | 2640 | 3281.5 | 2640
| T7 - E. Anglia | CP30 2030 max capacity | 200 | 100 | 0 | 300
| T7 - E. Anglia | CP30 2035 max capacity | 200 | 900 | 0 | 1100
| T6 - Central England | Current built capacity | 280 | 306.89 | 0 | 4955.9 | 0
| T6 - Central England | Total queue to 2030 (incl. built capacity) | 958.1 | 3276.49 | 0 | 4234.59
| T6 - Central England | Low case queue to 2030 (incl. built capacity) | 870.9 | 1596.79 | 0 | 2467.69 | 0
| T6 - Central England | CP30 2030 max capacity | 500 | 2100 | 0 | 2600
| T6 - Central England | CP30 2035 max capacity | 500 | 3300 | 0 | 3800
| T5 - Midlands | Current built capacity | 520.9 | 2184.99 | 111 | 6647 | 0
| T5 - Midlands | Total queue to 2030 (incl. built capacity) | 2971.6 | 18118.28 | 217 | 21306.88
| T5 - Midlands | Low case queue to 2030 (incl. built capacity) | 2070.9 | 7511.23 | 711 | 10293.13 | 494
| T5 - Midlands | CP30 2030 max capacity | 1300 | 4000 | 0 | 5300
| T5 - Midlands | CP30 2035 max capacity | 1300 | 5200 | 0 | 6500
| T3 - N. England | Current built capacity | 57 | 78.4 | 0 | 3037.4 | -790
| T3 - N. England | Total queue to 2030 (incl. built capacity) | 563.9 | 1392.4 | 0 | 1956.3
| T3 - N. England | Low case queue to 2030 (incl. built capacity) | 814 | 119.3 | 0 | 933.3 | 0
| T3 - N. England | CP30 2030 max capacity | 800 | 500 | 0 | 1300
| T3 - N. England | CP30 2035 max capacity | 800 | 1400 | 0 | 2200
| T1 - N. Scotland | Current built capacity | 548 | 0 | 2702.2 | 7301.1 | -3405.7
| T1 - N. Scotland | Total queue to 2030 (incl. built capacity) | 4934.9 | 770 | 8409.8 | 14114.7
| T1 - N. Scotland | Low case queue to 2030 (incl. built capacity) | 2093 | 1167 | 4677.1 | 7937.1
| T1 - N. Scotland | CP30 2030 max capacity | 1900 | 100 | 5500 | 7500
| T1 - N. Scotland | CP30 2035 max capacity | 1900 | 800 | 0 | 2700
| T4 - N. Wales, the Mersey and the Humber | Current built capacity | 962.7 | 149.88 | 0 | 25371.3 | -3280.23
| T4 - N. Wales, the Mersey and the Humber | Total queue to 2030 (incl. built capacity) | 4868.9 | 5414.96 | 256.2 | 10540.06
| T4 - N. Wales, the Mersey and the Humber | Low case queue to 2030 (incl. built capacity) | 6039.6 | 1763.88 | 2681.2 | 10484.68 | 2425
| T4 - N. Wales, the Mersey and the Humber | CP30 2030 max capacity | 4200 | 1200 | 300 | 5700
| T4 - N. Wales, the Mersey and the Humber | CP30 2035 max capacity | 4200 | 1700 | 0 | 5900
| T10 - S. England | Current built capacity | 49.9 | 156.8 | 0 | 8819 | 0
| T10 - S. England | Total queue to 2030 (incl. built capacity) | 456.695 | 4250 | 0 | 4706.695
| T10 - S. England | Low case queue to 2030 (incl. built capacity) | 499.9 | 156.8 | 0 | 656.7 | 0
| T10 - S. England | CP30 2030 max capacity | 100 | 200 | 0 | 300
| T10 - S. England | CP30 2035 max capacity | 100 | 200 | 0 | 300
| T2 - S. Scotland | Current built capacity | 1609.55 | 89 | 4482.58 | 5164.5 | -145
| T2 - S. Scotland | Total queue to 2030 (incl. built capacity) | 22213.35 | 3506 | 10521.68 | 36241.03
| T2 - S. Scotland | Low case queue to 2030 (incl. built capacity) | 11237.45 | 239 | 8175.28 | 19651.73 | -2346.4
| T2 - S. Scotland | CP30 2030 max capacity | 3900 | 600 | 8800 | 13300
| T2 - S. Scotland | CP30 2035 max capacity | 3900 | 800 | 0 | 4700
| T9 - S.W. England | Current built capacity | 264.9 | 0 | 0 | 18954.39 | 2600
| T9 - S.W. England | Total queue to 2030 (incl. built capacity) | 660.6 | 1274.5 | 0 | 1935.1
| T9 - S.W. England | Low case queue to 2030 (incl. built capacity) | 1154.9 | 142.5 | 0 | 1297.4 | 0
| T9 - S.W. England | CP30 2030 max capacity | 400 | 300 | 0 | 700
| T9 - S.W. England | CP30 2035 max capacity | 400 | 300 | 0 | 700
| T8 - S. Wales and the Severn | Current built capacity | 389.3 | 260.9 | 228 | 13115.5 | -175
| T8 - S. Wales and the Severn | Total queue to 2030 (incl. built capacity) | 3899.6 | 4802.4 | 1003.2 | 9705.2
| T8 - S. Wales and the Severn | Low case queue to 2030 (incl. built capacity) | 3040.3 | 917.84 | 818 | 4776.14 | -185.2
| T8 - S. Wales and the Severn | CP30 2030 max capacity | 900 | 1100 | 1300 | 3300
| T8 - S. Wales and the Severn | CP30 2035 max capacity | 900 | 1300 | 0 | 2200
| T11 - South-East England | Current built capacity | 156.8 | 456.9 | 0 | 4905.04 | -106
| T11 - South-East England | Total queue to 2030 (incl. built capacity) | 4300.6 | 4536.8 | 0 | 8837.4
| T11 - South-East England | Low case queue to 2030 (incl. built capacity) | 2427.8 | 1223.35 | 0 | 3651.15 | 0
| T11 - South-East England | CP30 2030 max capacity | 1700 | 600 | 0 | 2300
| T11 - South-East England | CP30 2035 max capacity | 1700 | 1100 | 0 | 2800

## F.61-71
Figure 61-71. CP30 by technology against targets for transmission
| Location (FES Zones) | Source | Batteries | Solar | Onshore Wind | Total
| T7 - E. Anglia | Current built capacity | 57 | 106.5 | 0 | 7261.885 | 0
| T7 - E. Anglia | Full queue (incl. built capacity) | 57 | 8631.4 | 0 | 8688.4
| T7 - E. Anglia | Low case full queue (incl. built capacity) | 1035 | 355.5 | 2640 | 4030.5 | 2640
| T7 - E. Anglia | CP30 2030 max capacity | 200 | 100 | 0 | 300
| T7 - E. Anglia | CP30 2035 max capacity | 200 | 900 | 0 | 1100
| T6 - Central England | Current built capacity | 280 | 306.89 | 0 | 4955.9 | 0
| T6 - Central England | Full queue (incl. built capacity) | 8595.2 | 22603.19 | 110 | 31308.39
| T6 - Central England | Low case full queue (incl. built capacity) | 3270.9 | 4936.61 | 0 | 8207.51 | -110
| T6 - Central England | CP30 2030 max capacity | 500 | 2100 | 0 | 2600
| T6 - Central England | CP30 2035 max capacity | 500 | 3300 | 0 | 3800
| T5 - Midlands | Current built capacity | 520.9 | 2184.99 | 111 | 6647 | 0
| T5 - Midlands | Full queue (incl. built capacity) | 9894.6 | 39278.09 | 367 | 49539.69
| T5 - Midlands | Low case full queue (incl. built capacity) | 7147.9 | 13553.208 | 711 | 21412.108 | 344
| T5 - Midlands | CP30 2030 max capacity | 1300 | 4000 | 0 | 5300
| T5 - Midlands | CP30 2035 max capacity | 1300 | 5200 | 0 | 6500
| T3 - N. England | Current built capacity | 57 | 78.4 | 0 | 3037.4 | -790
| T3 - N. England | Full queue (incl. built capacity) | 7879.9 | 8181.2 | 0 | 16061.1
| T3 - N. England | Low case full queue (incl. built capacity) | 2579 | 349.2 | 0 | 2928.2 | 0
| T3 - N. England | CP30 2030 max capacity | 800 | 500 | 0 | 1300
| T3 - N. England | CP30 2035 max capacity | 800 | 1400 | 0 | 2200
| T1 - N. Scotland | Current built capacity | 548 | 0 | 2702.2 | 7301.1 | -3405.7
| T1 - N. Scotland | Full queue (incl. built capacity) | 15128.56 | 5350.29 | 9851.4 | 30330.25
| T1 - N. Scotland | Low case full queue (incl. built capacity) | 5510.4 | 3267 | 6873.5 | 15650.9
| T1 - N. Scotland | CP30 2030 max capacity | 1900 | 100 | 5500 | 7500
| T1 - N. Scotland | CP30 2035 max capacity | 1900 | 800 | 0 | 2700
| T4 - N. Wales, the Mersey and the Humber | Current built capacity | 962.7 | 149.88 | 0 | 25371.3 | -3280.23
| T4 - N. Wales, the Mersey and the Humber | Full queue (incl. built capacity) | 17683.39 | 27768.69 | 342 | 45794.08
| T4 - N. Wales, the Mersey and the Humber | Low case full queue (incl. built capacity) | 15958.4 | 6550.38 | 2846.2 | 25354.98 | 2504.2
| T4 - N. Wales, the Mersey and the Humber | CP30 2030 max capacity | 4200 | 1200 | 300 | 5700
| T4 - N. Wales, the Mersey and the Humber | CP30 2035 max capacity | 4200 | 1700 | 0 | 5900
| T10 - S. England | Current built capacity | 49.9 | 156.8 | 0 | 8819 | 0
| T10 - S. England | Full queue (incl. built capacity) | 5381.09 | 9329.9 | 0 | 14710.99
| T10 - S. England | Low case full queue (incl. built capacity) | 4758.9 | 1268.4 | 0 | 6027.3 | 0
| T10 - S. England | CP30 2030 max capacity | 100 | 200 | 0 | 300
| T10 - S. England | CP30 2035 max capacity | 100 | 200 | 0 | 300
| T2 - S. Scotland | Current built capacity | 1609.55 | 89 | 4482.58 | 5164.5 | -145
| T2 - S. Scotland | Full queue (incl. built capacity) | 31834.35 | 12073.7 | 13968.98 | 57877.03
| T2 - S. Scotland | Low case full queue (incl. built capacity) | 15504.45 | 2983.61 | 8860.28 | 27348.34 | -5108.7
| T2 - S. Scotland | CP30 2030 max capacity | 3900 | 600 | 8800 | 13300
| T2 - S. Scotland | CP30 2035 max capacity | 3900 | 800 | 0 | 4700
| T9 - S.W. England | Current built capacity | 264.9 | 0 | 0 | 18954.39 | 2600
| T9 - S.W. England | Full queue (incl. built capacity) | 2409.7 | 12421.5 | 0 | 14831.2
| T9 - S.W. England | Low case full queue (incl. built capacity) | 1803.9 | 3009.5 | 0 | 4813.4 | 0
| T9 - S.W. England | CP30 2030 max capacity | 400 | 300 | 0 | 700
| T9 - S.W. England | CP30 2035 max capacity | 400 | 300 | 0 | 700
| T8 - S. Wales and the Severn | Current built capacity | 389.3 | 260.9 | 228 | 13115.5 | -175
| T8 - S. Wales and the Severn | Full queue (incl. built capacity) | 12397.19 | 12046.9 | 1003.2 | 25447.29
| T8 - S. Wales and the Severn | Low case full queue (incl. built capacity) | 3686.2 | 1179.84 | 818 | 5684.04 | -185.2
| T8 - S. Wales and the Severn | CP30 2030 max capacity | 900 | 1100 | 1300 | 3300
| T8 - S. Wales and the Severn | CP30 2035 max capacity | 900 | 1300 | 0 | 2200
| T11 - South-East England | Current built capacity | 156.8 | 456.9 | 0 | 4905.04 | -106
| T11 - South-East England | Full queue (incl. built capacity) | 10823.52 | 18426.7 | 0 | 29250.22
| T11 - South-East England | Low case full queue (incl. built capacity) | 3925.8 | 1223.35 | 0 | 5149.15 | 0
| T11 - South-East England | CP30 2030 max capacity | 1700 | 600 | 0 | 2300
| T11 - South-East England | CP30 2035 max capacity | 1700 | 1100 | 0 | 2800

## F.72
Figure 72. High-level regional view of the distribution-connected queue and low case readiness by DNO licence area
| Location (FES Zones) | Current built capacity | Queue to 2030 (incl. built capacity) | Low Case to 2030 (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| D1 - SSEN - SHEPD | 348 | 348 | 9821.675 | 5500 | 2600
| D2 - SP Distribution | 1994 | 8145 | 16913.03 | 4600 | 2700
| D3 - ENWL | 918 | 2485 | 1725.7 | 3100 | 3300
| D4 - NPG | 2413 | 10804 | 12811.396 | 8200 | 8600
| D5 - SPEN Manweb | 486 | 2311 | 4800 | 2900 | 2700
| D6 - NGED | 3942 | 8690 | 22102.3795 | 19300 | 23500
| D7 - SSEN - SEPD | 251 | 251 | 3358 | 5900 | 7600
| D8 - UKPN | 3661 | 10664 | 15508.1975 | 11100 | 14200
| Total | 14013 | 43698 | 87040.378 | 60600 | 65200
True to assumptions in this section (Dec 24)

## F.73
Figure 73. High-level regional view of the distribution-connected queue and low case readiness by DNO licence area
| Location (FES Zones) | Current built capacity | Queue to 2030 (incl. built capacity) | Low Case to 2030 (incl. built capacity) | CP30 2030 max capacity | CP30 2035 max capacity
| D1 - SSEN - SHEPD | 348 | 13270 | 23152.915 | 5500 | 2600
| D2 - SP Distribution | 1994 | 8397 | 23535.34 | 4600 | 2700
| D3 - ENWL | 918 | 8605 | 2972.4 | 3100 | 3300
| D4 - NPG | 2413 | 25987 | 33592.581 | 8200 | 8600
| D5 - SPEN Manweb | 486 | 3661 | 8353.5 | 2900 | 2700
| D6 - NGED | 3942 | 44358 | 46209.6997 | 19300 | 23500
| D7 - SSEN - SEPD | 251 | 14674 | 9451.8 | 5900 | 7600
| D8 - UKPN | 3661 | 22864 | 27548.0565 | 11100 | 14200
| Total | 14013 | 141816 | 174816.2922 | 60600 | 65200
True to assumptions in this section (Dec 24)

## F.74-81
Figure 74-81. CP30 by technology against targets for transmission
| Location (FES Zones) | Source | Batteries | Solar | Onshore Wind | Total
| D3 - ENWL | Current built capacity | 395 | 81 | 0 | 7261.885 | 0
| D3 - ENWL | Queue to 2030 (incl. built capacity) | 1589 | 416 | 38 | 2043
| D3 - ENWL | Low case queue to 2030 (incl. built capacity) | 1749.7 | 636.4 | 144.3 | 2530.4 | 106.3
| D3 - ENWL | CP30 2030 max capacity | 900 | 1500 | 700 | 3100
| D3 - ENWL | CP30 2035 max capacity | 1000 | 2300 | 0 | 3300
| D4 - NPG | Current built capacity | 913 | 601 | 5 | 4955.9 | 0
| D4 - NPG | Queue to 2030 (incl. built capacity) | 6961 | 2835 | 114 | 9910
| D4 - NPG | Low case queue to 2030 (incl. built capacity) | 7531.375 | 5373.416 | 145.69 | 13050.481 | 31.69
| D4 - NPG | CP30 2030 max capacity | 1900 | 4400 | 1900 | 8200
| D4 - NPG | CP30 2035 max capacity | 2100 | 6500 | 0 | 8600
| D6 - NGED | Current built capacity | 846 | 1985 | 124 | 6647 | 0
| D6 - NGED | Queue to 2030 (incl. built capacity) | 2429 | 4890 | 384 | 7703
| D6 - NGED | Low case queue to 2030 (incl. built capacity) | 9965.7754 | 8851.3063 | 1674.92 | 20492.0017 | 1290.92
| D6 - NGED | CP30 2030 max capacity | 3000 | 13900 | 2400 | 19300
| D6 - NGED | CP30 2035 max capacity | 3600 | 19900 | 0 | 23500
| D8 - UKPN | Current built capacity | 1470 | 813 | 4 | 3037.4 | -790
| D8 - UKPN | Queue to 2030 (incl. built capacity) | 5444 | 3840 | 6 | 9290
| D8 - UKPN | Low case queue to 2030 (incl. built capacity) | 6246.1375 | 4000.729 | 4 | 10250.8665 | -2
| D8 - UKPN | CP30 2030 max capacity | 2100 | 8100 | 900 | 11100
| D8 - UKPN | CP30 2035 max capacity | 2400 | 11800 | 0 | 14200
| D2 - SP Distribution | Current built capacity | 734 | 289 | 538 | 7301.1 | -3405.7
| D2 - SP Distribution | Queue to 2030 (incl. built capacity) | 5418 | 929 | 1365 | 7712
| D2 - SP Distribution | Low case queue to 2030 (incl. built capacity) | 3047.7 | 902.63 | 1297.7 | 5248.03
| D2 - SP Distribution | CP30 2030 max capacity | 800 | 1100 | 2700 | 4600
| D2 - SP Distribution | CP30 2035 max capacity | 900 | 1800 | 0 | 2700
| D5 - SPEN Manweb | Current built capacity | 145 | 212 | 0 | 25371.3 | -3280.23
| D5 - SPEN Manweb | Queue to 2030 (incl. built capacity) | 1238 | 691 | 253 | 2182
| D5 - SPEN Manweb | Low case queue to 2030 (incl. built capacity) | 1085.5 | 501.9 | 90 | 1677.4 | -163
| D5 - SPEN Manweb | CP30 2030 max capacity | 400 | 1500 | 1000 | 2900
| D5 - SPEN Manweb | CP30 2035 max capacity | 500 | 2200 | 0 | 2700
| D1 - SSEN - SHEPD | Current built capacity | 191 | 2 | 0 | 8819 | 0
| D1 - SSEN - SHEPD | Queue to 2030 (incl. built capacity) | 191 | 2 | 0 | 193
| D1 - SSEN - SHEPD | Low case queue to 2030 (incl. built capacity) | 4163.6 | 1843.515 | 1245.6 | 7252.715 | 1245.6
| D1 - SSEN - SHEPD | CP30 2030 max capacity | 900 | 1100 | 3500 | 5500
| D1 - SSEN - SHEPD | CP30 2035 max capacity | 900 | 1700 | 0 | 2600
| D7 - SSEN - SEPD | Current built capacity | 188 | 2 | 0 | 5164.5 | -145
| D7 - SSEN - SEPD | Queue to 2030 (incl. built capacity) | 188 | 2 | 0 | 190
| D7 - SSEN - SEPD | Low case queue to 2030 (incl. built capacity) | 188 | 76.9 | 0 | 264.9 | 0
| D7 - SSEN - SEPD | CP30 2030 max capacity | 1200 | 4600 | 100 | 5900
| D7 - SSEN - SEPD | CP30 2035 max capacity | 1400 | 6200 | 0 | 7600
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)

## F.82-89
Figure 82-89: CP30 by technology against targets for transmission
| Location (FES Zones) | Source | Batteries | Solar | Onshore Wind | Total
| D3 - ENWL | Current built capacity | 395 | 81 | 0 | 7261.885 | 0
| D3 - ENWL | Full queue (incl. built capacity) | 6262 | 1533 | 368 | 8163
| D3 - ENWL | Low case full queue (incl. built capacity) | 1749.7 | 636.4 | 144.3 | 2530.4 | -223.7
| D3 - ENWL | CP30 2030 max capacity | 900 | 1500 | 700 | 3100
| D3 - ENWL | CP30 2035 max capacity | 1000 | 2300 | 0 | 3300
| D4 - NPG | Current built capacity | 913 | 601 | 5 | 4955.9 | 0
| D4 - NPG | Full queue (incl. built capacity) | 19786 | 5145 | 162 | 25093
| D4 - NPG | Low case full queue (incl. built capacity) | 7531.375 | 5373.416 | 145.69 | 13050.481 | -16.31
| D4 - NPG | CP30 2030 max capacity | 1900 | 4400 | 1900 | 8200
| D4 - NPG | CP30 2035 max capacity | 2100 | 6500 | 0 | 8600
| D6 - NGED | Current built capacity | 846 | 1985 | 124 | 6647 | 0
| D6 - NGED | Full queue (incl. built capacity) | 28848 | 13463 | 1060 | 43371
| D6 - NGED | Low case full queue (incl. built capacity) | 9965.7754 | 8851.3063 | 1674.92 | 20492.0017 | 614.92
| D6 - NGED | CP30 2030 max capacity | 3000 | 13900 | 2400 | 19300
| D6 - NGED | CP30 2035 max capacity | 3600 | 19900 | 0 | 23500
| D8 - UKPN | Current built capacity | 1470 | 813 | 4 | 3037.4 | -790
| D8 - UKPN | Full queue (incl. built capacity) | 14952 | 6390 | 148 | 21490
| D8 - UKPN | Low case full queue (incl. built capacity) | 6246.1375 | 4000.729 | 4 | 10250.8665 | -144
| D8 - UKPN | CP30 2030 max capacity | 2100 | 8100 | 900 | 11100
| D8 - UKPN | CP30 2035 max capacity | 2400 | 11800 | 0 | 14200
| D2 - SP Distribution | Current built capacity | 734 | 289 | 538 | 7301.1 | -3405.7
| D2 - SP Distribution | Full queue (incl. built capacity) | 5905 | 836 | 1223 | 7964
| D2 - SP Distribution | Low case full queue (incl. built capacity) | 3047.7 | 902.63 | 1297.7 | 5248.03
| D2 - SP Distribution | CP30 2030 max capacity | 800 | 1100 | 2700 | 4600
| D2 - SP Distribution | CP30 2035 max capacity | 900 | 1800 | 0 | 2700
| D5 - SPEN Manweb | Current built capacity | 145 | 212 | 0 | 25371.3 | -3280.23
| D5 - SPEN Manweb | Full queue (incl. built capacity) | 2629 | 650 | 253 | 3532
| D5 - SPEN Manweb | Low case full queue (incl. built capacity) | 1085.5 | 501.9 | 90 | 1677.4 | -163
| D5 - SPEN Manweb | CP30 2030 max capacity | 400 | 1500 | 1000 | 2900
| D5 - SPEN Manweb | CP30 2035 max capacity | 500 | 2200 | 0 | 2700
| D1 - SSEN - SHEPD | Current built capacity | 191 | 2 | 0 | 8819 | 0
| D1 - SSEN - SHEPD | Full queue (incl. built capacity) | 9710 | 1105 | 2300 | 13115
| D1 - SSEN - SHEPD | Low case full queue (incl. built capacity) | 4163.6 | 1843.515 | 1245.6 | 7252.715 | -1054.4
| D1 - SSEN - SHEPD | CP30 2030 max capacity | 900 | 1100 | 3500 | 5500
| D1 - SSEN - SHEPD | CP30 2035 max capacity | 900 | 1700 | 0 | 2600
| D7 - SSEN - SEPD | Current built capacity | 188 | 2 | 0 | 5164.5 | -145
| D7 - SSEN - SEPD | Full queue (incl. built capacity) | 11435 | 3105 | 73 | 14613
| D7 - SSEN - SEPD | Low case full queue (incl. built capacity) | 188 | 76.9 | 0 | 264.9 | -73
| D7 - SSEN - SEPD | CP30 2030 max capacity | 1200 | 4600 | 100 | 5900
| D7 - SSEN - SEPD | CP30 2035 max capacity | 1400 | 6200 | 0 | 7600
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)
True to assumptions in this section (Dec 24)