## Version
Date | Version | Details
2025-01-15 | 1 | This file only contains the indicative reporting associated with draft data for GC0151 for January 2025. This file will be updated in February 2025 to reflect the full data set.
2025-02-14 | 2 | This file only contains the indicative reporting associated with data for GC0151 for January 2025. This file is updated in February 2025 to reflect the full data set.

## Transmission Faults (GC0151)
Location | Network Operator | Date Time | Voltage Trace (Refer to sheet) | Notes
Chapelcross - Dumfries 1 132kV circuit | SPT | 2025-01-02 03:26
Greater Gabbard Onshore 132kV SVC3 | OFTO | 2025-01-04 05:59 |  | To be confirmed
Heysham - Hutton - Penwortham 400kV Circuit | NGET | 2025-01-05 04:59
Kinardochy 275kV MSCDN1 275kV Circuit | SHETL | 2025-01-08 08:25
Dewar Place 275kV/33kV SGT2 | SPT | 2025-01-08 09:14
Fleet 400/132kV SGT4A Trip & Bramley - Feet 2 400kV circuit | NGET | 2025-01-09 02:07
Hunterston Convertor Station - Hunterston East 2 400kV Circuit | SPT | 2025-01-12 12:47
Burbo Bank Onshore SGT2 | OFTO | 2025-01-13 01:28
Ratcliffe On Soar - Staythorpe Circuit Quad Booster | NGET | 2025-01-19 09:52
Blackhillock HVDC Converter | SHETL | 2025-01-24 00:28
Fort William GT2 132kV | SHETL | 2025-01-24 05:15
Coylton - Auchencrosh / Markhill 275kV circuit | SPT | 2025-01-24 06:46
Torness - Innerwick/Dunbar 1 132kV circuit | SPT | 2025-01-24 08:34
Coylton - New Cumnock 2 275kV circuit | SPT | 2025-01-24 09:55
Coylton - New Cumnock 2 275kV circuit | SPT | 2025-01-24 10:06
Gretna - Hawick 132kV | SPT | 2025-01-24 10:26
Spennymoor - Stella West 1 400kV circuit | NGET | 2025-01-24 10:40
Inveraray – An Suidhe 132kV circuit | SHETL | 2025-01-24 10:55
Strathaven - Coalburn 400kV circuit | SPT | 2025-01-24 11:38
Moffat SCE 400kV | SPT | 2025-01-24 11:38
Crossaig-Carradale 2 132kV circuit | SHETL | 2025-01-24 12:01
Crossaig-Carradale 2 132kV circuit | SHETL | 2025-01-24 12:09
Crarae - Port Ann - Crossaig 132kV circuit | SHETL | 2025-01-24 12:29
Hunterston East - Neilston 1 400kV circuit | SPT | 2025-01-24 12:34
Devol Moor - Neilston 400kV circuit | SPT | 2025-01-24 12:45
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 12:47
Melgarve – Denny North 400kV circuit | SHETL | 2025-01-24 12:59
Denny North - Melgarve 400kV circuit | SPT | 2025-01-24 12:59
Braehead Park - Erskine 2 - Devol Moor 132kV circuit | SPT | 2025-01-24 13:06
Inveraray – Sloy North 132kV | SHETL | 2025-01-24 13:10
Lambhill - West George Street - Port Dundas 1 275kV circuit | SPT | 2025-01-24 13:16
Cockenzie - Eccles 2 400kV circuit | SPT | 2025-01-24 13:20
Devol Moor - Neilston 400kV circuit | SPT | 2025-01-24 13:22
Kincardine - Currie 275kV circuit | SPT | 2025-01-24 13:26
Killin – St Fillans 132kV circuit | SHETL | 2025-01-24 13:53
Hunterston East - Neilston 1 400kV circuit | SPT | 2025-01-24 13:53
Hunterston - Kilmarnock South 1 | SPT | 2025-01-24 13:55
Hunterston East - Neilston 1 400kV circuit | SPT | 2025-01-24 13:57
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 14:08
Inveraray – Sloy North 132kV circuit | SHETL | 2025-01-24 14:11
Cockenzie - Eccles 2 400kV circuit | SPT | 2025-01-24 14:15
Kincardine - Currie 275kV circuit | SPT | 2025-01-24 14:18
Melgarve – Denny North 400kV circuit | SHETL | 2025-01-24 14:22
Denny North - Melgarve 400kV circuit | SPT | 2025-01-24 14:22
Melgarve – Denny North 400kV circuit | SHETL | 2025-01-24 14:27
Denny North - Melgarve 400kV circuit | SPT | 2025-01-24 14:27
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 14:30
Melgarve – Denny North 400kV circuit | SHETL | 2025-01-24 14:31
Denny North - Melgarve 400kV circuit | SPT | 2025-01-24 14:31
Denny North - Bonnybridge 3 275kV circuit | SPT | 2025-01-24 14:32
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 14:40
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 14:41
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 14:53
Inverary - Ardkinglas - Inverarnan - Sloy 132kV circuit | SHETL | 2025-01-24 15:00
Killin – St Fillans 132kV circuit | SHETL | 2025-01-24 15:05
Windyhill - Whistlefield - Dunoon - Sloy East 1 132kV circuit | SHETL/SPT | 2025-01-24 15:11
Windyhill - Whistlefield - Dunoon - Sloy East 1 132kV circuit | SHETL/SPT | 2025-01-24 15:14
Dalmally - Cruachan 1 275kV circuit | SPT | 2025-01-24 15:23
Bonnybridge - Stirling - Westfield 132kV circuit | SPT | 2025-01-24 15:49
Alyth MSCDN1 275kV | SHETL | 2025-01-24 15:51
Clydesmill - Longannet 275kV circuit | SPT | 2025-01-24 15:51
Inveraray Taynuilt West Nant 132kV circuit | SHETL | 2025-01-24 15:56
Inveraray Taynuilt East Fernoch T 132kV circuit | SHETL | 2025-01-24 15:56
Cockenzie - Eccles 2 400kV circuit | SPT | 2025-01-24 15:59
Inveraray Taynuilt East Fernoch T 132kV circuit | SHETL | 2025-01-24 16:01
Inveraray Taynuilt East Fernoch T 132kV circuit | SHETL | 2025-01-24 16:02
Cockenzie - Eccles 2 400kV circuit | SPT | 2025-01-24 16:03
Cockenzie - Eccles 2 400kV circuit | SPT | 2025-01-24 16:35
Inveraray Taynuilt East Fernoch T 132kV circuit | SHETL | 2025-01-24 17:32
Denny North - Bonnybridge 3 275kV circuit | SPT | 2025-01-24 17:58
Connahs Quay - Legacy - Trawsfynydd 2 400kV circuit | NGET | 2025-01-24 18:00
Connahs Quay - Legacy - Trawsfynydd 1 400kV circuit | NGET | 2025-01-24 18:00
Carntyne - Parkhead 1 | SPT | 2025-01-24 18:06
Connahs Quay - Legacy - Trawsfynydd 1 & 2 400kV circuits | NGET | 2025-01-24 19:05
Tomatin - Farr No 1 132kV circuit | SHETL | 2025-01-24 22:57
Tomatin- Boat of Garten No 2 132kV circuit | SHETL | 2025-01-24 23:16
Strathaven - Torness 400kV circuit | SPT | 2025-01-25 14:43
Abham - Exeter - Langauge 1 400kV & Abham 400/132kV SGT2 circuit | NGET | 2025-01-26 18:40
Gretna SC1 | SPT | 2025-01-27 14:04