## Slide 1: Voltage Mersey
Provider Availability Notifications
January 2025

## Slide 2
Background
Providers need to notify us of any periods where they will have an outage, planned maintenance, or they will be unavailable to provide their contacted service for a period of time, as per the Commercial Contractual arrangement for Voltage Mersey (Static Reactive Power Service Agreement).
Overview of the provider notification process
Providers are required to follow different processes dependant on the amount of notice being given to the NESO
This is summarised in slides 3-5
3 months prior to the start of contract year
Less than 24 hours ahead
12 months to 24 hours ahead
Providers are required to submit a Planned Maintenance Programme
The Network Planning team will review
This is explained further in slide 3
Providers are required to submit any details of Unplanned Outages or Reduction in Capability
The forms can be submitted to the Control Room via fax or email
This is explained further in slide 5
Providers are required to submit any details of Planned Outages or Reduction in Capability
This information can be submitted via eNAMS or by populating a standardised template/proforma and returning it to the NESO via email
This is explained further in slide 4
Overview
Notice period prior to Delivery

## Slide 3: Planned Outages (Maintenance Programme)
Summary
As per section 3.8 of the Static Reactive Power Service Agreement – providers are required to submit a Planned Maintenance Programme prior to the start of each contract year.
This Planned Maintenance Programme should not be later than three (3) months prior to the start of contract year
Contractual Information
3.8.1 - Not later than three (3) months prior to the start of each Contract Year, the Provider shall provide to the Company notice and the programme (“Planned Maintenance Programme”) of the Settlement Periods in that Contract Year during which the Provider proposes to withdraw the Facility from service for a maintenance (including the duration of the outage) (“Planned Maintenance Periods").
3.8.2 - Following a request by the Company, the Parties shall meet to discuss (both Parties acting reasonably and in good faith) any changes the Company may reasonably require to the Planned Maintenance Programme.
Process for Provider Notifications
Via email – Providers can send a Maintenance Plan to the following email address prior to the start of each Contract Year ​
    England & Wales: tranreq@nationalenergyso.com
  The NESO Network Planning team will utilise the information provided to update the eNAMS system accordingly
  If necessary, NESO may contact the provider to discuss/agree any required changes to the proposed outage dates
3 months prior to the start of contract year

## Slide 4: Planned Outages/ Reduction in Capability
Summary
As per section 3.2 of the Static Reactive Power Service Agreement– providers are required to make the NESO aware of any notification of unavailability as soon as possible
Contractual Information
3..2.1- If at any time the Provider becomes aware that the Facility no longer has or will no longer have the Contracted Absorption Capacity it shall prompt} notify the Company that the Facility is Unavailable.
3.2.2 - Each notification by the Provider that the Facility is Unavailable pursuant to Clause 3.2.1 shall be accompanied by an explanation in reasonable detail of the reasons for the Facility being Unavailable and, for the avoidance of doubt, the Provider may only declare the Facility Unavailable for reasons of safety or reasons relating to the technical capability of the Facility or where the Facility is to be withdrawn from service for the purposes of a Planned Maintenance Period.
Process for Provider Notifications
Providers have 2 options for submitting this information to NESO :-​
Via eNAMS – providers can request access to eNAMS (a NESO planning tool) and add information about their outages​
Via email – alternatively, providers are required to complete a template/proforma (attached) and send it to the following email addresses​
    England & Wales: tranreq@nationalenergyso.com
  The NESO Network Planning team will review the template/proforma, and utilise the information provided to update the eNAMS system accordingly
12 months to 24 hours ahead

## Slide 5: Unplanned Outages / Reduction in Capability
Summary
As per section 3.2 of the Static Reactive Power Service Agreement – providers are required to make the NESO aware of any notification of unavailability as soon as possible
Contractual Information
3..2.1- If at any time the Provider becomes aware that the Facility no longer has or will no longer have the Contracted Absorption Capacity it shall prompt} notify the Company that the Facility is Unavailable (including, for the avoidance of doubt, in respect of any Planned Maintenance Periods) by facsimile or email in the form set out in Schedule 6, Part A (Forms) and the Provider shall thereafter promptly notify the Company by facsimile or email in the form set out in Schedule 6, Part B (forms) when the Contracted Absorption Capacity is restored.
3.2.2 - Each notification by the Provider that the Facility is Unavailable pursuant to Clause 3.2.1 shall be accompanied by an explanation in reasonable detail of the reasons for the Facility being Unavailable and, for the avoidance of doubt, the Provider may only declare the Facility Unavailable for reasons of safety or reasons relating to the technical capability of the Facility or where the Facility is to be withdrawn from service for the purposes of a Planned Maintenance Period.
Process for Provider Notifications
In this instance, given the short timescales, provider notifications have to be sent directly to NESO’s Control Room and Network Planning Team
2 forms are available to cover the different scenarios (these are all available in Schedule 6 of the Voltage Mersey Contract, and also attached)
Once completed the relevant form either needs to be sent via Facsimile or email as per the below :-
    Facsimile number: 01926 656613
    Email address: ctr1.ccta@uk.nationalenergyso.com and tranreq@nationalenergyso.com
Provider will also need to place a phone call to the control room if they become partially or fully unavailable in control timescales, in addition to following up with an email / fax in a reasonable timeframe afterwards.
    CTSEN: 08448 920 366
  The NESO Network Planning team will review the forms, and utilise the information provided to update the eNAMS system accordingly
  To understand the impact of reductions in capability providers should refer to Schedule 2– Payments of their Static Reactive Power Service Agreement .
Less than 24 hours ahead