## Slide 1: Stability Phase 2
Provider Availability Notifications
February 2025

## Slide 2: Overview
Background
As per the Commercial Contractual arrangements for Stability Phase 2 (Stability Pathfinder Agreement – Phase 2) – providers are required to notify the NESO of any :-
  Outages; OR
  Periods where a Facility is no longer, or will no longer be, capable of providing the full Contracted Capability
High Level overview of the provider notification process
Providers are required to follow different processes dependant on the amount of notice being given to the NESO
This is summarised in the diagram below but further detail regarding each point is covered across slides 3-6
From 12 months+ to 24 hours ahead
Less than 24 hours ahead
Real Time Data
Notice period prior to Delivery
Delivery
12 months’ ahead
Providers can submit an annual Maintenance Plan
This can be modified by the provider up to 28 days prior to the impacted period
Further detail is outlined on Slide 3
Providers are required to provide detail of any Planned Outages or reductions in capability
This can be provided via the eNAMS tool or by populating a standardised template/proforma and returning it to the NESO via email
Further detail is outlined on Slide 4
Providers are required to provide detail of any unplanned Outages or reductions in capability
Providers are required to populate a form (there are 4 available to cover different scenarios) and return this to NESO’s Control Room
Further detail is outlined on Slide 5
Battery providers are required to provide the NESO with a series of real time data signals
Further detail is outlined on Slide 6

## Slide 3: Planned Outages (Maintenance Plan)
Summary
As per section 4.10 of the Stability Pathfinder Agreement – Phase 2 – providers are required to submit a Maintenance Plan prior to the start of each contract year.
This Maintenance Plan can include up to a maximum of 15 days of planned outage for a single contract year
Contractual Information
Maintenance of the Facility
4.10 - The Provider shall, prior to the commencement of each Contract Year, notify the Company in writing by such means as the Company may reasonably require of the dates and times of all planned maintenance and inspection periods applicable to the Facility (“Maintenance Plan”) for the forthcoming Contract Year (except that for the first Contract Year, the Maintenance Plan shall be applicable for the purposes of this Agreement only for that part of the Contract Year commencing on the Service Commencement Date). The Provider may propose modifications to the Maintenance Plan from time to time during the Contract Year on no less than twenty-eight (28) days notice. The Maintenance Plan may include up to a maximum of fifteen (15) days of planned outages in any Contract Year (to be reduced on a pro rata basis if the Maintenance Plan covers a period of less than twelve (12) calendar months).
Process for Provider Notifications
Providers can send a Maintenance Plan to the following email addresses at the start of each Contract Year
    trscotland@uk.nationalenergyso.com and box.placement.scotland@nationalenergyso.com
  Within fourteen (14) day`s NESO will notify the provider of agreement or any objections/feedback to the Maintenance Plan. If no response is received within 14 days the provider can assume that the plan has been accepted
  The NESO Network Planning team will utilise the information provided to update the eNAMS system accordingly
12 months’ ahead

## Slide 4: Planned Outages / Reduction in Capability
Summary
As per section 4.3 of the Stability Pathfinder Agreement – Phase 2 – providers are required to make the NESO aware of any outages or reductions in capability as soon as possible
There are different processes for this depending on the level of notice being provided. If a provider is giving NESO less that 24 hours notice – please see the following slide
Contractual Information
4.3. - The Provider shall, without delay on becoming aware that the Facility is no longer, or will no longer be, capable of providing to the full extent the Contracted Inertia Capability, Contracted Reactive Capability and the Contracted SCL Capability (including by reason of Force Majeure or, in the case of a GBGF-S Facility, by reason of the Facility being Unavailable due to the provision of a Permitted Service) promptly notify the Company by facsimile in the form set out in Schedule H (“Redeclaration”).
Process for Provider Notifications
Providers have 2 options for submitting this information to NESO :-
Via eNAMS – providers can request access to eNAMS (a NESO planning tool) and add information about their outages
Via email – alternatively, providers are required to complete a template/proforma and send it to the following email addresses
    trscotland@uk.nationalenergyso.com and box.placement.scotland@nationalenergyso.com
  With option 2 – the completed template/proforma will be reviewed by NESO’s Network Planning team and the information will be added to eNAMS on the providers behalf
  To understand the impact of reductions in capability providers should refer to Schedule F – Payments (Section A) of their Stability Pathfinder Agreement
From 12 months+ to 24 hours ahead

## Slide 5: Unplanned Outages / Reduction in Capability
Summary
As per section 4.3 of the Stability Pathfinder Agreement – Phase 2 – providers are required to make the NESO aware of any outages or reductions in capability as soon as possible
This slide covers the scenario where a provider is unable to give NESO a minimum of 24 hours notice
Contractual Information
4.3. - The Provider shall, without delay on becoming aware that the Facility is no longer, or will no longer be, capable of providing to the full extent the Contracted Inertia Capability, Contracted Reactive Capability and the Contracted SCL Capability (including by reason of Force Majeure or, in the case of a GBGF-S Facility, by reason of the Facility being Unavailable due to the provision of a Permitted Service) promptly notify the Company by facsimile in the form set out in Schedule H (“Redeclaration”).
Less than 24 hours ahead
Process for Provider Notifications
In this instance, given the short timescales, provider notifications have to be sent directly to NESO’s Control Room
4 forms are available to cover the different scenarios (these are all available in Schedule H of the Pathfinder Agreement)
FORM A - STABILITY COMPENSATION SERVICE FAX FORM FOR REDECLARATION OF INERTIA CAPABILITY​
FORM B - STABILITY COMPENSATION SERVICE FAX FORM FOR REDECLARATION OF SCL CAPABILITY​
FORM C - STABILITY COMPENSATION SERVICE FAX FORM FOR REDECLARATION OR RESTORATION OF REACTIVE CAPABILITY​
FORM D - STABILITY COMPENSATION SERVICE FAX FORM FOR RESTORATION NOTICE
Once completed the relevant form either needs to be sent via Facsimile or email as per the below :-
    Facsimile number: 01926 656613
    Email address: ctr1.ccta@uk.nationalenergyso.com
  To understand the impact of reductions in capability providers should refer to Schedule F – Payments (Section A) of their Stability Pathfinder Agreement

## Slide 6: Real Time Data
Summary
Battery providers are required to set up a series of signals to ensure that the NESO have visibility of real time availability data
This data will be accessible and visible to the NESO’s Control Room
Data Signals Required
The required data signals (and accompanying description) are outlined in the table below
These signals will be set up and tested (with the support of the NESO’s iEMS/SCADA team) in advance of commercial operation commencing
Real Time Data
Data Item | Description
Response Timing | Time taken for site to respond to instruction from NESO
Inertia - MW.s available | Current inertia available at the site
SCL - MVA available | Current SCL available at the site
Number of inverters available | Number of inverters currently available for the site
Inverters availability % | Percentage of inverters available. Number of available / total number of inverters
Grid operating mode | Whether the site is in Grid Forming mode (1) or Grid Following mode (0)