## Menu
Electricity Ten Year Statement (ETYS) 2012
Chapter 2 - Charts & Data Tables
Figure
2.3.1 | Peak Outturn & Forecast
2.4.1 | Slow Progression Installed Capacity Mix
2.4.2 | Gone Green Installed Capacity Mix
2.4.3 | Accelerated Growth Installed Capacity Mix
2.4.4 | Contracted Background Capacity Mix
2.5.1 | Contracted Background vs Existing Scenarios
2.5.2 | 20% Scenario Plant Margins
2.5.3 | Sceanrio De-Rated Plant Margins
2.5.4 | Gone Green Wind Sensitivities
2.6.1 | Renewables Contracted Background by Stage
2.6.2 | Offshore Wind Contracted vs Sceanrios
2.6.5 | Onshore Wind Contracted vs Scenarios
2.6.6 | Marine Contracted vs Sceanrios
2.6.7 | Biomass Contracted vs Sceanrios
2.9.1 | Slow Progression Embedded Generation
2.9.2 | Gone Green Embedded Generation
2.9.3 | Accelerated Growth Embedded Generation

## Fig2.3.1
Figure 2.3.1 | Peak Outturn & Forecast |  |  |  | Back To Menu
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Actual Outturn | 59.688 | 57.795 | 60.069 | 58.594 | 58.524 | 59.5 | 56.3
Slow Progression | [6 empty] | 56.308 | 56.8918 | 57.4809 | 57.9373 | 57.8759 | 58.1481 | 57.944 | 57.7203 | 57.7058 | 57.7522 | 57.4479 | 57.3886 | 57.35 | 57.432 | 57.2819 | 57.1923 | 57.1052 | 57.0212 | 56.6876 | 56.6489 | 56.5811 | 56.468
Gone Green | [6 empty] | 56.308 | 57.7 | 57.7068 | 57.673 | 57.5908 | 57.4171 | 57.4831 | 57.3399 | 57.4462 | 57.6321 | 57.6888 | 58.0065 | 58.1962 | 58.4079 | 58.5113 | 58.8065 | 59.1518 | 59.6997 | 60.1122 | 60.6868 | 60.7965 | 61.152
Accelerated Growth | [6 empty] | 56.308 | 57.5837 | 58.1046 | 58.585 | 58.7895 | 59.0516 | 59.0306 | 58.821 | 58.8383 | 58.5107 | 58.3854 | 58.5618 | 58.7734 | 59.4194 | 60.2702 | 61.2554 | 62.3584 | 63.5539 | 64.5488 | 65.7022 | 66.5439 | 67.557

## Fig2.4.1
Slow Progression Installed Capacity Mix |  | Back To Menu
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 9946 | 9946 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 8791 | 9991 | 10454 | 9251 | 10921 | 10921 | 12591 | 11510 | 10692
Coal | 24965 | 21006 | 21006 | 19800 | 19800 | 19800 | 19800 | 19800 | 17853 | 16885 | 13316 | 8734 | 6794 | 5818 | 5818 | 5818 | 3831 | 3831 | 3831 | 3831 | 3831
Gas / CHP | 31472 | 32429 | 34259 | 36021 | 37002 | 37138 | 36633 | 36798 | 37909 | 38648 | 41393 | 46017 | 48017 | 48017 | 48017 | 48017 | 48017 | 47282 | 45842 | 46842 | 47842
Offshore Wind | 2242 | 3139 | 3531 | 3735 | 4160 | 4330 | 4980 | 5230 | 6075 | 6875 | 8695 | 10775 | 12770 | 14270 | 16180 | 17180 | 18320 | 18820 | 18820 | 18820 | 18820
Onshore Wind | 3105.6 | 3392.3 | 3736.7 | 4018.4 | 4380.4 | 4743.7 | 5636.9 | 6575.8 | 7293.7 | 7733.5 | 8046 | 8375 | 8505 | 8550 | 8595 | 8650 | 8705 | 8750 | 8795 | 8840 | 8885
Other Renewables | 1912.68 | 2264.68 | 2264.68 | 1222.68 | 1542.68 | 1542.68 | 1542.68 | 1542.68 | 1648.68 | 1648.68 | 1648.68 | 1938.68 | 1938.68 | 1948.68 | 1948.68 | 1977.68 | 2007.68 | 2045.68 | 2111.68 | 2174.68 | 2224.68
Interconnector | 4188 | 4188 | 4188 | 4188 | 4188 | 4188 | 4188 | 4188 | 5188 | 5188 | 5188 | 5188 | 5188 | 6588 | 6588 | 6588 | 6588 | 6588 | 6588 | 6588 | 6588
Other (Oil / Pumped) | 7329 | 6654 | 6654 | 3559 | 3491 | 3491 | 3491 | 3491 | 3451 | 3401 | 3350 | 3333 | 3333 | 3282 | 3282 | 3282 | 3248 | 3248 | 3248 | 3248 | 3248
Total | 85160.28 | 83018.98 | 85095.38 | 82000.08 | 84020.08 | 84689.38 | 85727.58 | 87081.48 | 88874.38 | 89835.18 | 91092.68 | 93816.68 | 95336.68 | 98464.68 | 100882.68 | 100763.68 | 101637.68 | 101485.68 | 101826.68 | 101853.68 | 102130.68
Demand | 56891.8157 | 57480.8536 | 57937.2888 | 57875.9249 | 58148.1421 | 57943.977 | 57720.2608 | 57705.8023 | 57752.2485 | 57447.9376 | 57388.5524 | 57350.0095 | 57432.0425 | 57281.9118 | 57192.288 | 57105.2356 | 57021.2195 | 56687.5792 | 56648.9248 | 56581.1 | 56468
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 9.946 | 9.946 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 8.791 | 9.991 | 10.454 | 9.251 | 10.921 | 10.921 | 12.591 | 11.51 | 10.692
Coal | 24.965 | 21.006 | 21.006 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 17.853 | 16.885 | 13.316 | 8.734 | 6.794 | 5.818 | 5.818 | 5.818 | 3.831 | 3.831 | 3.831 | 3.831 | 3.831
Gas / CHP | 31.472 | 32.429 | 34.259 | 36.021 | 37.002 | 37.138 | 36.633 | 36.798 | 37.909 | 38.648 | 41.393 | 46.017 | 48.017 | 48.017 | 48.017 | 48.017 | 48.017 | 47.282 | 45.842 | 46.842 | 47.842
Offshore Wind | 2.242 | 3.139 | 3.531 | 3.735 | 4.16 | 4.33 | 4.98 | 5.23 | 6.075 | 6.875 | 8.695 | 10.775 | 12.77 | 14.27 | 16.18 | 17.18 | 18.32 | 18.82 | 18.82 | 18.82 | 18.82
Onshore Wind | 3.1056 | 3.3923 | 3.7367 | 4.0184 | 4.3804 | 4.7437 | 5.6369 | 6.5758 | 7.2937 | 7.7335 | 8.046 | 8.375 | 8.505 | 8.55 | 8.595 | 8.65 | 8.705 | 8.75 | 8.795 | 8.84 | 8.885
Other Renewables | 1.9127 | 2.2647 | 2.2647 | 1.2227 | 1.5427 | 1.5427 | 1.5427 | 1.5427 | 1.6487 | 1.6487 | 1.6487 | 1.9387 | 1.9387 | 1.9487 | 1.9487 | 1.9777 | 2.0077 | 2.0457 | 2.1117 | 2.1747 | 2.2247
Interconnector | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 5.188 | 5.188 | 5.188 | 5.188 | 5.188 | 6.588 | 6.588 | 6.588 | 6.588 | 6.588 | 6.588 | 6.588 | 6.588
Other (Oil / Pumped) | 7.329 | 6.654 | 6.654 | 3.559 | 3.491 | 3.491 | 3.491 | 3.491 | 3.451 | 3.401 | 3.35 | 3.333 | 3.333 | 3.282 | 3.282 | 3.282 | 3.248 | 3.248 | 3.248 | 3.248 | 3.248
Total | 85.1603 | 83.019 | 85.0954 | 82.0001 | 84.0201 | 84.6894 | 85.7276 | 87.0815 | 88.8744 | 89.8352 | 91.0927 | 93.8167 | 95.3367 | 98.4647 | 100.8827 | 100.7637 | 101.6377 | 101.4857 | 101.8267 | 101.8537 | 102.1307
Demand | 56.8918 | 57.4809 | 57.9373 | 57.8759 | 58.1481 | 57.944 | 57.7203 | 57.7058 | 57.7522 | 57.4479 | 57.3886 | 57.35 | 57.432 | 57.2819 | 57.1923 | 57.1052 | 57.0212 | 56.6876 | 56.6489 | 56.5811 | 56.468
TOT RENEW | 7.2603 | 8.796 | 9.5324 | 8.9761 | 10.0831 | 10.6164 | 12.1596 | 13.3485 | 15.0174 | 16.2572 | 18.3897 | 21.0887 | 23.2137 | 24.7687 | 26.7237 | 27.8077 | 29.0327 | 29.6157 | 29.7267 | 29.8347 | 29.9297
% Renewables | 8.525% | 10.6% | 11.2% | 10.95% | 12% | 12.54% | 14.18% | 15.33% | 16.9% | 18.1% | 20.19% | 22.48% | 24.35% | 25.15% | 26.49% | 27.6% | 28.56% | 29.18% | 29.19% | 29.29% | 29.31%
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
SP Existing | 85.1601 | 81.4831 | 82.8231 | 78.9041 | 78.8361 | 76.6661 | 76.1611 | 75.7561 | 73.5401 | 70.0411 | 66.6661 | 62.0671 | 57.7921 | 56.7651 | 55.5581 | 54.3551 | 52.3341 | 51.5991 | 50.1591 | 50.1591 | 50.1591
| 75377.08 | 71700.08 | 73040.08 | 69121.08 | 69053.08 | 66883.08 | 66378.08 | 65973.08 | 63757.08 | 60258.08 | 56883.08 | 52284.08 | 48009.08 | 46982.08 | 45775.08 | 44572.08 | 42551.08 | 41816.08 | 40376.08 | 40376.08 | 40376.08
| 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783 | 9783
| 85160.08 | 81483.08 | 82823.08 | 78904.08 | 78836.08 | 76666.08 | 76161.08 | 75756.08 | 73540.08 | 70041.08 | 66666.08 | 62067.08 | 57792.08 | 56765.08 | 55558.08 | 54355.08 | 52334.08 | 51599.08 | 50159.08 | 50159.08 | 50159.08
| 85.1601 | 81.4831 | 82.8231 | 78.9041 | 78.8361 | 76.6661 | 76.1611 | 75.7561 | 73.5401 | 70.0411 | 66.6661 | 62.0671 | 57.7921 | 56.7651 | 55.5581 | 54.3551 | 52.3341 | 51.5991 | 50.1591 | 50.1591 | 50.1591

## Fig2.4.2
Gone Green Installed Capacity Mix |  | Back To Menu
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 9946 | 9946 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 9456 | 11126 | 12326 | 11661 | 10451 | 12121 | 13321 | 14991 | 13910 | 13910 | 13910 | 13092 | 14762
Coal | 24735 | 20776 | 20776 | 19800 | 19800 | 19800 | 19800 | 19800 | 17853 | 16885 | 13316 | 11018 | 11018 | 10042 | 5818 | 5818 | 10102 | 10102 | 10102 | 12042 | 12042
Gas / CHP | 31472 | 32074 | 33904 | 34856 | 35184 | 34340 | 33183 | 35329 | 34773 | 34773 | 37033 | 39433 | 40693 | 40693 | 42693 | 42693 | 39185 | 39185 | 39185 | 39185 | 37805 | 3301 | 6333
Offshore Wind | 2242 | 3389 | 3955 | 4330 | 4857 | 7092 | 10272 | 13392 | 16692 | 19099 | 21873 | 24387 | 27182 | 29842 | 32374 | 33906 | 34906 | 35906 | 36406 | 36906 | 37406
Onshore Wind | 3105.6 | 3392.3 | 3809.2 | 4523.7 | 5383.9 | 6899.6 | 8121.5 | 8763.5 | 8933.5 | 9108.5 | 9300.5 | 9575.5 | 9850.5 | 10125.5 | 10360.5 | 10595.5 | 10830.5 | 11065.5 | 11300.5 | 11555.5 | 11810.5
Other Renewables | 1912.68 | 2264.68 | 2414.68 | 2114.68 | 2434.68 | 2733.68 | 3032.68 | 3132.68 | 3268.68 | 3268.68 | 3587.68 | 3617.68 | 3694.68 | 3868.18 | 4117.68 | 4227.68 | 4357.68 | 4487.68 | 4619.68 | 4739.68 | 4859.68 | 1356 | 2947
Interconnector | 4188 | 4188 | 4188 | 4188 | 4188 | 4188 | 5188 | 5188 | 6588 | 6588 | 6588 | 6588 | 6588 | 7588 | 7588 | 8588 | 8588 | 8588 | 8588 | 8588 | 8588
Other (Oil / Pumped) | 7329 | 6654 | 6654 | 3559 | 3559 | 3559 | 3559 | 3559 | 3519 | 3469 | 3418 | 3384 | 3384 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350
Total | 84930.28 | 82683.98 | 85156.88 | 82827.38 | 84862.58 | 88068.28 | 92612.18 | 98620.18 | 101083.18 | 104317.18 | 107442.18 | 109664.18 | 112861.18 | 117629.68 | 119622.18 | 124169.18 | 125229.18 | 126594.18 | 127461.18 | 129458.18 | 130623.18
Demand | 57700 | 57706.7787 | 57672.9793 | 57590.7585 | 57417.1232 | 57483.0754 | 57339.8697 | 57446.2326 | 57632.1064 | 57688.7837 | 58006.5412 | 58196.2354 | 58407.8775 | 58511.2692 | 58806.5054 | 59151.8316 | 59699.7006 | 60112.1593 | 60686.7852 | 60796.5 | 61152
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 9.946 | 9.946 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 11.126 | 12.326 | 11.661 | 10.451 | 12.121 | 13.321 | 14.991 | 13.91 | 13.91 | 13.91 | 13.092 | 14.762
Coal | 24.735 | 20.776 | 20.776 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 17.853 | 16.885 | 13.316 | 11.018 | 11.018 | 10.042 | 5.818 | 5.818 | 10.102 | 10.102 | 10.102 | 12.042 | 12.042
Gas / CHP | 31.472 | 32.074 | 33.904 | 34.856 | 35.184 | 34.34 | 33.183 | 35.329 | 34.773 | 34.773 | 37.033 | 39.433 | 40.693 | 40.693 | 42.693 | 42.693 | 39.185 | 39.185 | 39.185 | 39.185 | 37.805
Offshore Wind | 2.242 | 3.389 | 3.955 | 4.33 | 4.857 | 7.092 | 10.272 | 13.392 | 16.692 | 19.099 | 21.873 | 24.387 | 27.182 | 29.842 | 32.374 | 33.906 | 34.906 | 35.906 | 36.406 | 36.906 | 37.406
Onshore Wind | 3.1056 | 3.3923 | 3.8092 | 4.5237 | 5.3839 | 6.8996 | 8.1215 | 8.7635 | 8.9335 | 9.1085 | 9.3005 | 9.5755 | 9.8505 | 10.1255 | 10.3605 | 10.5955 | 10.8305 | 11.0655 | 11.3005 | 11.5555 | 11.8105
Other Renewables | 1.9127 | 2.2647 | 2.4147 | 2.1147 | 2.4347 | 2.7337 | 3.0327 | 3.1327 | 3.2687 | 3.2687 | 3.5877 | 3.6177 | 3.6947 | 3.8682 | 4.1177 | 4.2277 | 4.3577 | 4.4877 | 4.6197 | 4.7397 | 4.8597
Interconnector | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 5.188 | 5.188 | 6.588 | 6.588 | 6.588 | 6.588 | 6.588 | 7.588 | 7.588 | 8.588 | 8.588 | 8.588 | 8.588 | 8.588 | 8.588
Other (Oil / Pumped) | 7.329 | 6.654 | 6.654 | 3.559 | 3.559 | 3.559 | 3.559 | 3.559 | 3.519 | 3.469 | 3.418 | 3.384 | 3.384 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35 | 3.35
Total | 84.9303 | 82.684 | 85.1569 | 82.8274 | 84.8626 | 88.0683 | 92.6122 | 98.6202 | 101.0832 | 104.3172 | 107.4422 | 109.6642 | 112.8612 | 117.6297 | 119.6222 | 124.1692 | 125.2292 | 126.5942 | 127.4612 | 129.4582 | 130.6232
Demand | 57.7 | 57.7068 | 57.673 | 57.5908 | 57.4171 | 57.4831 | 57.3399 | 57.4462 | 57.6321 | 57.6888 | 58.0065 | 58.1962 | 58.4079 | 58.5113 | 58.8065 | 59.1518 | 59.6997 | 60.1122 | 60.6868 | 60.7965 | 61.152
TOT RENEW | 7.2603 | 9.046 | 10.1789 | 10.9684 | 12.6756 | 16.7253 | 21.4262 | 25.2882 | 28.8942 | 31.4762 | 34.7612 | 37.5802 | 40.7272 | 43.8357 | 46.8522 | 48.7292 | 50.0942 | 51.4592 | 52.3262 | 53.2012 | 54.0762
% Renewables | 8.549% | 10.94% | 11.95% | 13.24% | 14.94% | 18.99% | 23.14% | 25.64% | 28.58% | 30.17% | 32.35% | 34.27% | 36.09% | 37.27% | 39.17% | 39.24% | 40% | 40.65% | 41.05% | 41.1% | 41.4%
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
GG Existing | 84.9303 | 80.8983 | 82.2383 | 78.2093 | 78.0673 | 76.2373 | 75.0803 | 74.9253 | 70.9723 | 69.9543 | 66.3343 | 62.0673 | 58.9173 | 57.5223 | 53.2983 | 53.2983 | 47.9143 | 47.9143 | 47.9143 | 47.9143 | 47.9143
| 75147.08 | 71115.08 | 72455.08 | 68426.08 | 68284.08 | 66454.08 | 65297.08 | 65142.08 | 61189.08 | 60171.08 | 56551.08 | 52284.08 | 49134.08 | 47739.08 | 43515.08 | 43515.08 | 38131.08 | 38131.08 | 38131.08 | 38131.08 | 38131.08
| 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2 | 9783.2
| 84930.28 | 80898.28 | 82238.28 | 78209.28 | 78067.28 | 76237.28 | 75080.28 | 74925.28 | 70972.28 | 69954.28 | 66334.28 | 62067.28 | 58917.28 | 57522.28 | 53298.28 | 53298.28 | 47914.28 | 47914.28 | 47914.28 | 47914.28 | 47914.28
| 84.9303 | 80.8983 | 82.2383 | 78.2093 | 78.0673 | 76.2373 | 75.0803 | 74.9253 | 70.9723 | 69.9543 | 66.3343 | 62.0673 | 58.9173 | 57.5223 | 53.2983 | 53.2983 | 47.9143 | 47.9143 | 47.9143 | 47.9143 | 47.9143

## Fig2.4.3
Accelerated Growth Installed Capacity Mix |  | Back To Menu
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 9946 | 9946 | 9456 | 9456 | 9456 | 9456 | 9456 | 7046 | 8716 | 7581 | 9251 | 9370 | 11040 | 13840 | 15510 | 17110 | 16362 | 16362 | 16362 | 17962 | 17962
Coal | 24735 | 20776 | 20776 | 19800 | 19800 | 19800 | 19800 | 19800 | 19800 | 18832 | 15316 | 13018 | 13018 | 12042.5 | 12042.5 | 12042.5 | 12042.5 | 12042.5 | 12042.5 | 12842.5 | 12842.5
Gas / CHP | 31472 | 32074 | 31932 | 34714 | 35184 | 34340 | 33183 | 35329 | 34033 | 34503 | 35453 | 37853 | 36403 | 34753 | 34753 | 34345 | 36345 | 36345 | 36345 | 36345 | 36965
Offshore Wind | 2242 | 3389 | 4125 | 4607 | 5702 | 8992 | 13728 | 18524 | 23720 | 29082 | 33622 | 36992 | 40317 | 42842 | 44742 | 45742 | 46742 | 47742 | 48742 | 49742 | 50742
Onshore Wind | 3105.6 | 3392.3 | 3809.2 | 4744.9 | 5997 | 7706 | 8804.75 | 9129.75 | 9229.75 | 9446.75 | 9546.75 | 9821.75 | 10056.75 | 10691.75 | 11326.75 | 11961.75 | 12396.75 | 12831.75 | 12866.75 | 13101.75 | 13336.75
Other Renewables | 1920.68 | 1972.68 | 2422.68 | 2742.68 | 2742.68 | 3347.68 | 3754.68 | 3949.68 | 4183.68 | 4757.68 | 4941.18 | 5230.68 | 5430.68 | 5950.68 | 6150.68 | 6350.68 | 6570.68 | 6990.68 | 7400.68 | 7550.68 | 7700.68
Interconnector | 4188 | 4188 | 4188 | 4188 | 4188 | 4188 | 5188 | 5188 | 6588 | 6588 | 7588 | 7588 | 8588 | 8588 | 11588 | 11588 | 11588 | 11588 | 11588 | 11588 | 11588
Other (Oil / Pumped) | 7329 | 6654 | 6654 | 3559 | 3559 | 3559 | 3559 | 3559 | 4159 | 4109 | 4018 | 3984 | 3984 | 3950 | 3950 | 3950 | 3950 | 3950 | 3950 | 3950 | 3950
Total | 84938.28 | 82391.98 | 83362.88 | 83811.58 | 86628.68 | 91388.68 | 97473.43 | 102525.43 | 110429.43 | 114899.43 | 119735.93 | 123857.43 | 128837.43 | 132657.93 | 140062.93 | 143089.93 | 145996.93 | 147851.93 | 149296.93 | 153081.93 | 155086.93
Demand | 57583.7144 | 58104.5819 | 58585.005 | 58789.5128 | 59051.6439 | 59030.5559 | 58820.9801 | 58838.2747 | 58510.6501 | 58385.4223 | 58561.8025 | 58773.3769 | 59419.3919 | 60270.1938 | 61255.4144 | 62358.4325 | 63553.8991 | 64548.7545 | 65702.2209 | 66543.9 | 67557
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 9.946 | 9.946 | 9.456 | 9.456 | 9.456 | 9.456 | 9.456 | 7.046 | 8.716 | 7.581 | 9.251 | 9.37 | 11.04 | 13.84 | 15.51 | 17.11 | 16.362 | 16.362 | 16.362 | 17.962 | 17.962 | 8.016
Coal | 24.735 | 20.776 | 20.776 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 18.832 | 15.316 | 13.018 | 13.018 | 12.0425 | 12.0425 | 12.0425 | 12.0425 | 12.0425 | 12.0425 | 12.8425 | 12.8425
Gas / CHP | 31.472 | 32.074 | 31.932 | 34.714 | 35.184 | 34.34 | 33.183 | 35.329 | 34.033 | 34.503 | 35.453 | 37.853 | 36.403 | 34.753 | 34.753 | 34.345 | 36.345 | 36.345 | 36.345 | 36.345 | 36.965
Offshore Wind | 2.242 | 3.389 | 4.125 | 4.607 | 5.702 | 8.992 | 13.728 | 18.524 | 23.72 | 29.082 | 33.622 | 36.992 | 40.317 | 42.842 | 44.742 | 45.742 | 46.742 | 47.742 | 48.742 | 49.742 | 50.742
Onshore Wind | 3.1056 | 3.3923 | 3.8092 | 4.7449 | 5.997 | 7.706 | 8.8048 | 9.1297 | 9.2297 | 9.4467 | 9.5467 | 9.8217 | 10.0567 | 10.6918 | 11.3268 | 11.9618 | 12.3968 | 12.8317 | 12.8667 | 13.1017 | 13.3368
Other Renewables | 1.9207 | 1.9727 | 2.4227 | 2.7427 | 2.7427 | 3.3477 | 3.7547 | 3.9497 | 4.1837 | 4.7577 | 4.9412 | 5.2307 | 5.4307 | 5.9507 | 6.1507 | 6.3507 | 6.5707 | 6.9907 | 7.4007 | 7.5507 | 7.7007
Interconnector | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 4.188 | 5.188 | 5.188 | 6.588 | 6.588 | 7.588 | 7.588 | 8.588 | 8.588 | 11.588 | 11.588 | 11.588 | 11.588 | 11.588 | 11.588 | 11.588
Other (Oil / Pumped) | 7.329 | 6.654 | 6.654 | 3.559 | 3.559 | 3.559 | 3.559 | 3.559 | 4.159 | 4.109 | 4.018 | 3.984 | 3.984 | 3.95 | 3.95 | 3.95 | 3.95 | 3.95 | 3.95 | 3.95 | 3.95
Total | 84.9383 | 82.392 | 83.3629 | 83.8116 | 86.6287 | 91.3887 | 97.4734 | 102.5254 | 110.4294 | 114.8994 | 119.7359 | 123.8574 | 128.8374 | 132.6579 | 140.0629 | 143.0899 | 145.9969 | 147.8519 | 149.2969 | 153.0819 | 155.0869
Demand | 57.5837 | 58.1046 | 58.585 | 58.7895 | 59.0516 | 59.0306 | 58.821 | 58.8383 | 58.5107 | 58.3854 | 58.5618 | 58.7734 | 59.4194 | 60.2702 | 61.2554 | 62.3584 | 63.5539 | 64.5488 | 65.7022 | 66.5439 | 67.557
TOT RENEW | 7.2683 | 8.754 | 10.3569 | 12.0946 | 14.4417 | 20.0457 | 26.2874 | 31.6034 | 37.1334 | 43.2864 | 48.1099 | 52.0444 | 55.8044 | 59.4844 | 62.2194 | 64.0544 | 65.7094 | 67.5644 | 69.0094 | 70.3944 | 71.7794
% Renewables | 8.557% | 10.62% | 12.42% | 14.43% | 16.67% | 21.93% | 26.97% | 30.82% | 33.63% | 37.67% | 40.18% | 42.02% | 43.31% | 44.84% | 44.42% | 44.77% | 45.01% | 45.7% | 46.22% | 45.98% | 46.28%
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
AG Existing | 84.9383 | 80.9063 | 80.2743 | 78.0753 | 78.0753 | 76.2453 | 75.0883 | 72.5233 | 69.4323 | 66.0793 | 62.4723 | 56.6643 | 55.2143 | 48.6988 | 48.6988 | 48.2908 | 43.5888 | 43.5888 | 43.5888 | 43.5888 | 43.5888
| 75147.08 | 71115.08 | 70483.08 | 68284.08 | 68284.08 | 66454.08 | 65297.08 | 62732.08 | 59641.08 | 56288.08 | 52681.08 | 46873.08 | 45423.08 | 38907.58 | 38907.58 | 38499.58 | 33797.58 | 33797.58 | 33797.58 | 33797.58 | 33797.58
| 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2 | 9791.2
| 84938.28 | 80906.28 | 80274.28 | 78075.28 | 78075.28 | 76245.28 | 75088.28 | 72523.28 | 69432.28 | 66079.28 | 62472.28 | 56664.28 | 55214.28 | 48698.78 | 48698.78 | 48290.78 | 43588.78 | 43588.78 | 43588.78 | 43588.78 | 43588.78
| 84.9383 | 80.9063 | 80.2743 | 78.0753 | 78.0753 | 76.2453 | 75.0883 | 72.5233 | 69.4323 | 66.0793 | 62.4723 | 56.6643 | 55.2143 | 48.6988 | 48.6988 | 48.2908 | 43.5888 | 43.5888 | 43.5888 | 43.5888 | 43.5888

## Fig2.4.4
Contracted Background Capacity Mix |  | Back To Menu
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 10561 | 10561 | 10561 | 10561 | 10561 | 12231 | 15551 | 15551 | 20021 | 24561 | 25761 | 28961 | 28961 | 30561 | 30561 | 30561 | 30561 | 30561 | 30561 | 30561 | 30561
Coal | 27571 | 27020 | 27020 | 27020 | 22097 | 21327 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189 | 22189
Gas / CHP | 33768.7 | 33768.7 | 37720.7 | 39741.7 | 42977.7 | 43347.7 | 45797.7 | 47597.7 | 47597.7 | 47597.7 | 47597.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7 | 48421.7
Offshore Wind | 3580.3 | 4397.3 | 5864.3 | 9782.3 | 13888.3 | 21847.3 | 27671.3 | 34586.3 | 38546.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3 | 39646.3
Onshore Wind | 3329.6 | 4867.65 | 5864.95 | 6573.55 | 8139.35 | 10892.55 | 12378.55 | 12378.55 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45 | 12492.45
Other Renewables | 1626.1 | 2091.1 | 2091.1 | 2490.1 | 2628.6 | 2911.1 | 3297.1 | 3932.1 | 4552.1 | 4852.1 | 5152.1 | 5452.1 | 5752.1 | 5752.1 | 5752.1 | 5752.1 | 5752.1 | 5752.1 | 5752.1 | 5752.1 | 5752.1
Interconnector | 4122 | 4122 | 4122 | 4122 | 4122 | 4122 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522 | 6522
Other (Oil / Pumped) | 6380 | 6380 | 6380 | 6380 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744 | 2744
Total | 90938.7 | 93207.75 | 99624.05 | 106670.65 | 107157.95 | 119422.65 | 136150.65 | 145500.65 | 154664.55 | 160604.55 | 162104.55 | 166428.55 | 166728.55 | 168328.55 | 168328.55 | 168328.55 | 168328.55 | 168328.55 | 168328.55 | 168328.55 | 168328.55
Demand | 57700 | 57706.7787 | 57672.9793 | 57590.7585 | 57417.1232 | 57483.0754 | 57339.8697 | 57446.2326 | 57632.1064 | 57688.7837 | 58006.5412 | 58196.2354 | 58407.8775 | 58511.2692 | 58806.5054 | 59151.8316 | 59699.7006 | 60112.1593 | 60686.7852 | 60796.5 | 61152
Fuel Type | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Nuclear | 10.561 | 10.561 | 10.561 | 10.561 | 10.561 | 12.231 | 15.551 | 15.551 | 20.021 | 24.561 | 25.761 | 28.961 | 28.961 | 30.561 | 30.561 | 30.561 | 30.561 | 30.561 | 30.561 | 30.561 | 30.561
Coal | 27.571 | 27.02 | 27.02 | 27.02 | 22.097 | 21.327 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189 | 22.189
Gas / CHP | 33.7687 | 33.7687 | 37.7207 | 39.7417 | 42.9777 | 43.3477 | 45.7977 | 47.5977 | 47.5977 | 47.5977 | 47.5977 | 48.4217 | 48.4217 | 48.4217 | 48.4217 | 48.4217 | 48.4217 | 48.4217 | 48.4217 | 48.4217 | 48.4217
Offshore Wind | 3.5803 | 4.3973 | 5.8643 | 9.7823 | 13.8883 | 21.8473 | 27.6713 | 34.5863 | 38.5463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463 | 39.6463
Onshore Wind | 3.3296 | 4.8677 | 5.865 | 6.5736 | 8.1394 | 10.8925 | 12.3786 | 12.3786 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924 | 12.4924
Other Renewables | 1.6261 | 2.0911 | 2.0911 | 2.4901 | 2.6286 | 2.9111 | 3.2971 | 3.9321 | 4.5521 | 4.8521 | 5.1521 | 5.4521 | 5.7521 | 5.7521 | 5.7521 | 5.7521 | 5.7521 | 5.7521 | 5.7521 | 5.7521 | 5.7521
Interconnector | 4.122 | 4.122 | 4.122 | 4.122 | 4.122 | 4.122 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522 | 6.522
Other (Oil / Pumped) | 6.38 | 6.38 | 6.38 | 6.38 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744 | 2.744
Total | 90.9387 | 93.2078 | 99.624 | 106.6706 | 107.1579 | 119.4227 | 136.1507 | 145.5007 | 154.6645 | 160.6045 | 162.1045 | 166.4286 | 166.7286 | 168.3286 | 168.3286 | 168.3286 | 168.3286 | 168.3286 | 168.3286 | 168.3286 | 168.3286
Demand | 57.7 | 57.7068 | 57.673 | 57.5908 | 57.4171 | 57.4831 | 57.3399 | 57.4462 | 57.6321 | 57.6888 | 58.0065 | 58.1962 | 58.4079 | 58.5113 | 58.8065 | 59.1518 | 59.6997 | 60.1122 | 60.6868 | 60.7965 | 61.152

## Fig2.5.1
Contracted Background Vs Existing Sceanrios |  |  |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Existing | 88.6829 | 88.1319 | 88.1319 | 88.1319 | 79.5729 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149 | 77.9149
Under Construction | 1.2085 | 1.8599 | 2.0652 | 2.0652 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362 | 2.2362
Consents Approved | 0.4033 | 1.6253 | 6.2053 | 10.1935 | 12.9885 | 13.6637 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937 | 14.7937
Awaiting Consents | 0.284 | 1.0656 | 2.0202 | 2.8449 | 4.7313 | 6.1033 | 7.4253 | 9.2453 | 9.2453 | 9.2453 | 9.2453 | 10.0693 | 10.0693 | 10.0693 | 10.0693 | 10.0693 | 10.0693 | 10.0693 | 10.0693 | 10.0693 | 10.0693
Without Consents | 0 | 0.165 | 0.8415 | 3.0752 | 7.2691 | 19.1446 | 33.4206 | 40.9506 | 50.1145 | 56.0545 | 57.5545 | 61.0545 | 61.3545 | 62.9545 | 62.9545 | 62.9545 | 62.9545 | 62.9545 | 62.9545 | 62.9545 | 62.9545
GG Existing | 84.9303 | 80.8983 | 82.2383 | 78.2093 | 78.0673 | 76.2373 | 75.0803 | 74.9253 | 70.9723 | 69.9543 | 66.3343 | 62.0673 | 58.9173 | 57.5223 | 53.2983 | 53.2983 | 47.9143 | 47.9143 | 47.9143 | 47.9143 | 47.9143
SP Existing | 85.1601 | 81.4831 | 82.8231 | 78.9041 | 78.8361 | 76.6661 | 76.1611 | 75.7561 | 73.5401 | 70.0411 | 66.6661 | 62.0671 | 57.7921 | 56.7651 | 55.5581 | 54.3551 | 52.3341 | 51.5991 | 50.1591 | 50.1591 | 50.1591
AG Existing | 84.9383 | 80.9063 | 80.2743 | 78.0753 | 78.0753 | 76.2453 | 75.0883 | 72.5233 | 69.4323 | 66.0793 | 62.4723 | 56.6643 | 55.2143 | 48.6988 | 48.6988 | 48.2908 | 43.5888 | 43.5888 | 43.5888 | 43.5888 | 43.5888
GG Demand | 57.7 | 57.7068 | 57.673 | 57.5908 | 57.4171 | 57.4831 | 57.3399 | 57.4462 | 57.6321 | 57.6888 | 58.0065 | 58.1962 | 58.4079 | 58.5113 | 58.8065 | 59.1518 | 59.6997 | 60.1122 | 60.6868 | 60.7965 | 61.152

## Fig2.5.2
20% Scenario Plant Margins |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Slow Progression | 33.4% | 26.35% | 27.73% | 21.72% | 23.34% | 24.05% | 23.79% | 24.21% | 22.91% | 23.19% | 21.98% | 22.82% | 21.77% | 22.55% | 23.72% | 21.95% | 21.67% | 21.2% | 21.81% | 21.93% | 22.59%
Gone Green | 31.13% | 24.86% | 27.6% | 21.94% | 23.56% | 22.8% | 21.99% | 26% | 21.72% | 22.96% | 22.81% | 21.68% | 21.72% | 23.18% | 21.48% | 23.93% | 22.6% | 22.08% | 21.2% | 23.09% | 23.1%
Accelerated Growth | 31.41% | 23.5% | 22.28% | 20.33% | 20.79% | 20.85% | 20.5% | 20.78% | 23.98% | 22.82% | 21.47% | 22.16% | 21.84% | 21.47% | 22.78% | 22.97% | 23.09% | 21.95% | 20.51% | 22.91% | 22.3%

## Fig2.5.3
Sceanrio De-Rated Plant Margins |  | Back To Menu
Gone Green | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Total de-rated capacity | 65750.1536 | 62683.8796 | 64093.1116 | 61401.2816 | 62090.1176 | 61945.6036 | 61551.2956 | 63872.2056 | 62091.9156 | 62914.3156 | 63377.1156 | 63323.8756 | 63904.6256 | 64834.9806 | 64348.7856 | 66031.6456 | 66137.8856 | 66282.1856 | 66387.1856 | 67741.1856 | 68145.9856
Demand | 57700 | 57706.7787 | 57672.9793 | 57590.7585 | 57417.1232 | 57483.0754 | 57339.8697 | 57446.2326 | 57632.1064 | 57688.7837 | 58006.5412 | 58196.2354 | 58407.8775 | 58511.2692 | 58806.5054 | 59151.8316 | 59699.7006 | 60112.1593 | 60686.7852 | 60796.5 | 61152
De-rated margin | 13.95% | 8.625% | 11.13% | 6.617% | 8.139% | 7.763% | 7.345% | 11.19% | 7.738% | 9.058% | 9.259% | 8.811% | 9.411% | 10.81% | 9.425% | 11.63% | 10.78% | 10.26% | 9.393% | 11.42% | 11.44%
Slow Progression | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Total de-rated capacity | 65950.2536 | 63172.8296 | 64431.8416 | 61564.8676 | 62727.9276 | 62958.0916 | 62642.1976 | 62897.9596 | 62392.3916 | 62343.9456 | 61783.6656 | 62388.6456 | 62305.8456 | 62617.9256 | 63311.7256 | 62443.8756 | 62293.6856 | 61710.3856 | 61987.2856 | 62059.6856 | 62486.3856
Demand | 56891.8157 | 57480.8536 | 57937.2888 | 57875.9249 | 58148.1421 | 57943.977 | 57720.2608 | 57705.8023 | 57752.2485 | 57447.9376 | 57388.5524 | 57350.0095 | 57432.0425 | 57281.9118 | 57192.288 | 57105.2356 | 57021.2195 | 56687.5792 | 56648.9248 | 56581.1 | 56468
De-rated margin | 15.92% | 9.902% | 11.21% | 6.374% | 7.876% | 8.653% | 8.527% | 8.998% | 8.035% | 8.523% | 7.659% | 8.786% | 8.486% | 9.315% | 10.7% | 9.349% | 9.246% | 8.861% | 9.424% | 9.683% | 10.66%
Accelerated Growth | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Total de-rated capacity | 65757.1136 | 62429.8396 | 62398.0316 | 61863.9576 | 62474.7256 | 62691.0956 | 62505.3756 | 63040.2556 | 64610.9856 | 64223.9256 | 63938.9306 | 64709.0456 | 65304.5956 | 66060.2906 | 67836.0906 | 69121.9306 | 70750.8506 | 71012.6506 | 71238.9506 | 73550.2506 | 74300.9506
Demand | 57583.7144 | 58104.5819 | 58585.005 | 58789.5128 | 59051.6439 | 59030.5559 | 58820.9801 | 58838.2747 | 58510.6501 | 58385.4223 | 58561.8025 | 58773.3769 | 59419.3919 | 60270.1938 | 61255.4144 | 62358.4325 | 63553.8991 | 64548.7545 | 65702.2209 | 66543.9 | 67557
De-rated margin | 14.19% | 7.444% | 6.509% | 5.23% | 5.797% | 6.201% | 6.264% | 7.142% | 10.43% | 10% | 9.182% | 10.1% | 9.905% | 9.607% | 10.74% | 10.85% | 11.32% | 10.01% | 8.427% | 10.53% | 9.983%

## Fig2.5.4
Gone Green Wind Sensitivities |  | Back To Menu
Gone Green | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Total de-rated capacity | 65750.1536 | 62683.8796 | 64093.1116 | 61401.2816 | 62090.1176 | 61945.6036 | 61551.2956 | 63872.2056 | 62091.9156 | 62914.3156 | 63377.1156 | 63323.8756 | 63904.6256 | 64834.9806 | 64348.7856 | 66031.6456 | 66137.8856 | 66282.1856 | 66387.1856 | 67741.1856 | 68145.9856
Demand | 57700 | 57706.7787 | 57672.9793 | 57590.7585 | 57417.1232 | 57483.0754 | 57339.8697 | 57446.2326 | 57632.1064 | 57688.7837 | 58006.5412 | 58196.2354 | 58407.8775 | 58511.2692 | 58806.5054 | 59151.8316 | 59699.7006 | 60112.1593 | 60686.7852 | 60796.5 | 61152
Wind @ 8% | 13.95% | 8.625% | 11.13% | 6.617% | 8.139% | 7.763% | 7.345% | 11.19% | 7.738% | 9.058% | 9.259% | 8.811% | 9.411% | 10.81% | 9.425% | 11.63% | 10.78% | 10.26% | 9.393% | 11.42% | 11.44%
Wind @ 20% | 15.06% | 10.03% | 12.75% | 8.461% | 10.28% | 10.68% | 11.19% | 15.81% | 13.07% | 14.93% | 15.71% | 15.81% | 17.02% | 19% | 18.14% | 20.66% | 19.98% | 19.64% | 18.83% | 18.83% | 18.83%
Wind @ 40% | 16.92% | 12.39% | 15.44% | 11.54% | 13.85% | 15.55% | 17.61% | 23.53% | 21.97% | 24.7% | 26.46% | 27.49% | 29.7% | 32.67% | 32.68% | 35.71% | 35.3% | 35.27% | 34.55% | 34.55% | 34.55%
Wind @ 60% | 18.77% | 14.74% | 18.13% | 14.61% | 17.41% | 20.42% | 24.03% | 31.24% | 30.86% | 34.48% | 37.2% | 39.16% | 42.38% | 46.33% | 47.21% | 50.75% | 50.62% | 50.9% | 50.27% | 50.27% | 50.27%
Wind @ 80% | 20.62% | 17.09% | 20.82% | 17.69% | 20.98% | 25.29% | 30.44% | 38.95% | 39.75% | 44.26% | 47.95% | 50.83% | 55.06% | 59.99% | 61.75% | 65.8% | 65.94% | 66.52% | 65.99% | 65.99% | 65.99%
Wind @ 0% | 13.21% | 7.685% | 10.05% | 5.387% | 6.712% | 5.816% | 4.778% | 8.101% | 4.181% | 5.146% | 4.959% | 4.142% | 4.339% | 5.343% | 3.611% | 5.612% | 4.655% | 4.013% | 3.104% | 3.104% | 3.104%

## Fig2.6.1
Renewables Contracted Background by Stage |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Existing | 8.2152 | 8.2152 | 8.2152 | 8.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152 | 7.2152
Under Construction | 0.6335 | 1.2849 | 1.4482 | 1.4482 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192 | 1.6192
Consents Approved | 0.4033 | 1.6253 | 2.2953 | 4.2625 | 5.1115 | 5.3167 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967 | 5.4967
Awaiting Consents | 0.284 | 1.0656 | 2.0202 | 2.8449 | 3.9312 | 4.5152 | 4.9752 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953 | 4.9953
Without Consents | 0 | 0.165 | 0.8415 | 3.0752 | 6.7791 | 16.9846 | 24.0406 | 31.5706 | 36.2645 | 37.6645 | 37.9645 | 38.2645 | 38.5645 | 38.5645 | 38.5645 | 38.5645 | 38.5645 | 38.5645 | 38.5645 | 38.5645 | 38.5645
Gone Green | 7.2603 | 9.046 | 10.1789 | 10.9684 | 12.6756 | 16.7253 | 21.4262 | 25.2882 | 28.8942 | 31.4762 | 34.7612 | 37.5802 | 40.7272 | 43.8357 | 46.8522 | 48.7292 | 50.0942 | 51.4592 | 52.3262 | 53.2012 | 54.0762
Slow Progression | 7.2603 | 8.796 | 9.5324 | 8.9761 | 10.0831 | 10.6164 | 12.1596 | 13.3485 | 15.0174 | 16.2572 | 18.3897 | 21.0887 | 23.2137 | 24.7687 | 26.7237 | 27.8077 | 29.0327 | 29.6157 | 29.7267 | 29.8347 | 29.9297
Accelerated Growth | 7.2683 | 8.754 | 10.3569 | 12.0946 | 14.4417 | 20.0457 | 26.2874 | 31.6034 | 37.1334 | 43.2864 | 48.1099 | 52.0444 | 55.8044 | 59.4844 | 62.2194 | 64.0544 | 65.7094 | 67.5644 | 69.0094 | 70.3944 | 71.7794

## Fig2.6.2
Offshore Wind Contracted vs Sceanrios |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Offshore Wind Existing | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373 | 3.0373
Offshore Wind Under Construction | 0.543 | 0.936 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078 | 1.078
Offshore Wind Consented | 0 | 0.424 | 0.799 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076 | 2.076
Offshore Wind Awaiting Consents | 0 | 0 | 0.45 | 0.95 | 1.85 | 2.15 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45 | 2.45
Offshore Wind Scoping | 0 | 0 | 0.5 | 2.641 | 5.847 | 13.506 | 19.03 | 25.945 | 29.905 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005 | 31.005
Slow Progression | 2.242 | 3.139 | 3.531 | 3.735 | 4.16 | 4.33 | 4.98 | 5.23 | 6.075 | 6.875 | 8.695 | 10.775 | 12.77 | 14.27 | 16.18 | 17.18 | 18.32 | 18.82 | 18.82 | 18.82 | 18.82
Gone Green | 2.242 | 3.389 | 3.955 | 4.33 | 4.857 | 7.092 | 10.272 | 13.392 | 16.692 | 19.099 | 21.873 | 24.387 | 27.182 | 29.842 | 32.374 | 33.906 | 34.906 | 35.906 | 36.406 | 36.906 | 37.406
Accelerated Growth | 2.242 | 3.389 | 4.125 | 4.607 | 5.702 | 8.992 | 13.728 | 18.524 | 23.72 | 29.082 | 33.622 | 36.992 | 40.317 | 42.842 | 44.742 | 45.742 | 46.742 | 47.742 | 48.742 | 49.742 | 50.742

## Fig2.6.5
Onshore Wind Contracted vs Scenarios |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Onshore Wind Existing | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038 | 2.6038
Onshore Wind Under Construction | 0.0905 | 0.3489 | 0.3702 | 0.3702 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412 | 0.5412
Onshore Wind Consented | 0.3513 | 0.8493 | 1.1443 | 1.4445 | 2.2935 | 2.4987 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787 | 2.6787
Onshore Wind Awaiting Conents | 0.284 | 1.0656 | 1.5701 | 1.8948 | 2.0812 | 2.3552 | 2.5053 | 2.5053 | 2.5053 | 2.5053 | 2.5053 | 2.5053 | 2.5053 | 2.5053 | 2.51 | 2.51 | 2.51 | 2.51 | 2.51 | 2.51 | 2.51
Onshore Wind Scoping | 0 | 0 | 0.1765 | 0.2602 | 0.6196 | 2.8936 | 4.0496 | 4.0496 | 4.1635 | 4.1635 | 4.1635 | 4.1635 | 4.1635 | 4.1635 | 4.16 | 4.16 | 4.16 | 4.16 | 4.16 | 4.16 | 4.16
Slow Progression | 3.1056 | 3.3923 | 3.7367 | 4.0184 | 4.3804 | 4.7437 | 5.6369 | 6.5758 | 7.2937 | 7.7335 | 8.046 | 8.375 | 8.505 | 8.55 | 8.595 | 8.65 | 8.705 | 8.75 | 8.795 | 8.84 | 8.885
Gone Green | 3.1056 | 3.3923 | 3.8092 | 4.5237 | 5.3839 | 6.8996 | 8.1215 | 8.7635 | 8.9335 | 9.1085 | 9.3005 | 9.5755 | 9.8505 | 10.1255 | 10.3605 | 10.5955 | 10.8305 | 11.0655 | 11.3005 | 11.5555 | 11.8105
Accelerated Growth | 3.1056 | 3.3923 | 3.8092 | 4.7449 | 5.997 | 7.706 | 8.8048 | 9.1297 | 9.2297 | 9.4467 | 9.5467 | 9.8217 | 10.0567 | 10.6918 | 11.3268 | 11.9618 | 12.3968 | 12.8317 | 12.8667 | 13.1017 | 13.3368

## Fig2.6.6
Marine Contracted vs Sceanrios |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Onshore Wind Existing | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | 0.007
Onshore Wind Under Construction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Onshore Wind Consented | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Onshore Wind Awaiting Conents | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04
Onshore Wind Scoping | 0 | 0 | 0 | 0.009 | 0.1475 | 0.42 | 0.796 | 1.411 | 2.031 | 2.331 | 2.631 | 2.931 | 3.231 | 3.231 | 3.231 | 3.231 | 3.231 | 3.231 | 3.231 | 3.231 | 3.231
Slow Progression | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.049 | 0.079 | 0.117 | 0.183 | 0.246 | 0.296
Gone Green | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.049 | 0.079 | 0.156 | 0.3295 | 0.579 | 0.689 | 0.819 | 0.949 | 1.081 | 1.201 | 1.321
Accelerated Growth | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.115 | 0.223 | 0.378 | 0.4415 | 0.731 | 0.931 | 1.451 | 1.651 | 1.851 | 2.071 | 2.491 | 2.901 | 3.051 | 3.201

## Fig2.6.7
Biomass Contracted vs Sceanrios |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Onshore Wind Existing | 1.097 | 1.552 | 1.552 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622 | 1.622
Onshore Wind Under Construction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Onshore Wind Consented | 0.052 | 0.342 | 0.342 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732 | 0.732
Onshore Wind Awaiting Conents | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Onshore Wind Scoping | 0 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165 | 0.165
Slow Progression | 0.787 | 1.139 | 1.139 | 0.097 | 0.417 | 0.417 | 0.417 | 0.417 | 0.517 | 0.517 | 0.517 | 0.807 | 0.807 | 0.807 | 0.807 | 0.807 | 0.807 | 0.807 | 0.807 | 0.807 | 0.807
Gone Green | 0.787 | 1.139 | 1.289 | 0.989 | 1.309 | 1.608 | 1.907 | 2.007 | 2.127 | 2.127 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417 | 2.417
Accelerated Growth | 0.795 | 0.847 | 1.297 | 1.617 | 1.617 | 2.212 | 2.619 | 2.719 | 2.839 | 3.258 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378 | 3.378

## Fig2.9.1
Slow Progression Embedded Generation |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Wind | 2.2285 | 2.3221 | 2.4199 | 2.5039 | 2.5347 | 2.6011 | 2.6745 | 2.746 | 2.7878 | 2.8593 | 2.9177 | 2.9431 | 2.941 | 2.8875 | 2.8875 | 2.8875 | 2.8875 | 2.8875 | 2.8875 | 2.89 | 2.89
Hydro | 0.5432 | 0.5452 | 0.5472 | 0.5492 | 0.5512 | 0.5532 | 0.5552 | 0.5572 | 0.5592 | 0.5612 | 0.5632 | 0.5652 | 0.5672 | 0.5692 | 0.5712 | 0.5732 | 0.5752 | 0.5772 | 0.5792 | 0.58 | 0.59
CHP | 3.856 | 3.838 | 3.8216 | 3.8764 | 3.8593 | 3.844 | 3.8336 | 3.825 | 3.8184 | 3.8079 | 3.7968 | 3.7849 | 3.7723 | 3.7589 | 3.7448 | 3.7275 | 3.7094 | 3.6915 | 3.6739 | 3.65 | 3.63
Biomass | 2.0742 | 2.0623 | 2.0231 | 2.0113 | 2.0417 | 2.1035 | 2.0274 | 1.9942 | 1.9686 | 1.9953 | 2.0158 | 2.0681 | 2.0516 | 2.0718 | 2.1169 | 2.1579 | 2.1904 | 2.211 | 2.226 | 2.25 | 2.27
Marine | 0.0128 | 0.015 | 0.0173 | 0.02 | 0.0232 | 0.0274 | 0.0321 | 0.0379 | 0.045 | 0.0551 | 0.0672 | 0.0824 | 0.0986 | 0.115 | 0.1312 | 0.1485 | 0.1654 | 0.1828 | 0.2 | 0.21 | 0.23

## Fig2.9.2
Gone Green Embedded Generation |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Wind | 2.2771 | 2.4675 | 2.6997 | 2.904 | 3.1237 | 3.345 | 3.6352 | 3.9255 | 4.2174 | 4.5077 | 4.7987 | 5.0913 | 5.3853 | 5.6291 | 5.8512 | 6.0475 | 6.2129 | 6.341 | 6.4248 | 6.53 | 6.64
Hydro | 0.5502 | 0.5592 | 0.5682 | 0.5772 | 0.5862 | 0.5952 | 0.6042 | 0.6132 | 0.6222 | 0.6312 | 0.6402 | 0.6492 | 0.6582 | 0.6672 | 0.6762 | 0.6852 | 0.6942 | 0.7032 | 0.7122 | 0.72 | 0.73
CHP | 4.0785 | 4.1715 | 4.2685 | 4.4387 | 4.524 | 4.6115 | 4.7061 | 4.8029 | 4.9019 | 4.9933 | 5.0821 | 5.1683 | 5.2519 | 5.3329 | 5.4139 | 5.4889 | 5.5639 | 5.6389 | 5.7139 | 5.79 | 5.87
Biomass | 2.0862 | 2.1143 | 2.1461 | 2.2343 | 2.3647 | 2.5265 | 2.5504 | 2.6172 | 2.6916 | 2.8233 | 2.9488 | 3.1061 | 3.1946 | 3.3148 | 3.4649 | 3.6049 | 3.7175 | 3.8076 | 3.8727 | 3.9 | 3.91
Marine | 0.0148 | 0.0189 | 0.0237 | 0.03 | 0.043 | 0.058 | 0.077 | 0.099 | 0.12 | 0.142 | 0.165 | 0.188 | 0.213 | 0.24 | 0.269 | 0.299 | 0.331 | 0.365 | 0.4 | 0.43 | 0.46

## Fig2.9.3
Accelerated Growth Embedded Generation |  | Back To Menu
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Wind | 2.3085 | 2.5201 | 2.9254 | 3.4988 | 3.9862 | 4.4021 | 4.8093 | 5.3126 | 5.7079 | 6.0883 | 6.5311 | 6.9093 | 7.4406 | 7.8475 | 8.2457 | 8.6377 | 9.0049 | 9.3597 | 9.6589 | 9.96 | 10.26
Hydro | 0.5572 | 0.5732 | 0.5892 | 0.6052 | 0.6212 | 0.6372 | 0.6532 | 0.6692 | 0.6852 | 0.7012 | 0.7172 | 0.7332 | 0.7492 | 0.7652 | 0.7812 | 0.7972 | 0.8132 | 0.8292 | 0.8452 | 0.87 | 0.89
CHP | 4.1405 | 4.2845 | 4.4817 | 4.8046 | 5.0447 | 5.289 | 5.5475 | 5.8008 | 6.0488 | 6.2815 | 6.509 | 6.7365 | 6.964 | 7.1915 | 7.419 | 7.635 | 7.851 | 8.067 | 8.283 | 8.503 | 8.72
Biomass | 2.0962 | 2.1493 | 2.2361 | 2.4043 | 2.6147 | 2.8565 | 2.9604 | 3.1072 | 3.2616 | 3.4733 | 3.6788 | 3.9211 | 4.0946 | 4.3048 | 4.5449 | 4.7699 | 4.965 | 5.1226 | 5.2478 | 5.3878 | 5.5278
Marine | 0.0177 | 0.0352 | 0.0754 | 0.12 | 0.1854 | 0.2604 | 0.337 | 0.417 | 0.5 | 0.588 | 0.685 | 0.796 | 0.92 | 1.05 | 1.166 | 1.27 | 1.364 | 1.458 | 1.55 | 1.65 | 1.74