## Index
Index
Residuals
Averages
Table 1 - Generation Wider Tariffs
Table 2 - Local Substation Tariffs
Table 3 - Local Circuit Tariffs
Table 4 - Offshore Local Tariffs
Table 5 - Demand Tariffs
Table 6 - Contracted and Modelled TEC
Table 7 - Allowed Revenues
Table 8 - Charging Bases
Table 9 - Interconectors
Table 10 - Generation and Demand Revenue Proportions
Table 11 - Residual Calculation
Table 12 - Variation in Generation Zonal Tariffs
Table 13 - Change in HH Demand Tariffs
Table 14 - NHH Demand Tariff Changes
Table 15 - Impact of change in allowed revenue
Table 16 - Impact of 1% decrease in demand
App B NGET
App B SPT
App B SHET
App B OFTO
Table 21 - Generation TEC Changes
Table 22 - Demand Profiles
Table 23 - Wider Generation Tariffs with Longannet
Table 24 - Demand tariffs with Longannet
Figure 1 - Geographical Distribution of Average Triad Demand
Figure 2 - Generation Changes
Figure 3 - HH Demand Tariff Changes
Figure 4 - Change in NHH Tariff

## Residual
Residual | 2016/17 May Forecast | 2016/17 July Forecast | Change
Generation | 1.5 | 0.21253 | -1.2874
Demand | 44.8857 | 47.7665 | 2.8808
Average Tariff | 2016/17 May Forecast | 2016/17 July Forecast | Change
Generation (£/kW) | 7.4026 | 6.7921 | -0.6105 | N.B. These generation average tariffs include local tariffs
HH Demand (£/kW) | 45.311 | 48.1734 | 2.8624
NHH Demand (p/kWh) | 6.2792 | 6.2917 | 0.012566

## Tables 1 - 5
Table 1 - Generation Wider Tariffs
|  | System Peak | Shared Year Round | Not Shared Year Round | Residual | Conventional 70% | Intermittent 30%
Zone | Zone Name | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW)
1 | North Scotland | -2.6245 | 10.0179 | 6.7289 | 0.21253 | 11.3295 | 9.9468
2 | East Aberdeenshire | -1.5495 | 3.8104 | 6.7289 | 0.21253 | 8.0593 | 8.0845
3 | Western Highlands | -2.7939 | 7.8685 | 6.7289 | 0.21253 | 9.6554 | 9.302
4 | Skye and Lochalsh | -6.7658 | 7.8685 | 7.9667 | 0.21253 | 6.9213 | 10.5398
5 | Eastern Grampian and Tayside | -2.8898 | 6.5307 | 6.4388 | 0.21253 | 8.333 | 8.6105
6 | Central Grampian | -0.42205 | 6.3169 | 6.3429 | 0.21253 | 10.5552 | 8.4505
7 | Argyll | -1.2514 | 4.0162 | 10.5844 | 0.21253 | 12.3569 | 12.0018
8 | The Trossachs | -0.82916 | 4.0162 | 5.2059 | 0.21253 | 7.4006 | 6.6233
9 | Stirlingshire and Fife | -2.5525 | 1.7062 | 4.6877 | 0.21253 | 3.5421 | 5.4121
10 | South West Scotlands | -1.3457 | 3.8638 | 5.0229 | 0.21253 | 6.5944 | 6.3946
11 | Lothian and Borders | 0.34209 | 3.8638 | 2.2581 | 0.21253 | 5.5174 | 3.6298
12 | Solway and Cheviot | -1.338 | 2.2209 | 2.4074 | 0.21253 | 2.8366 | 3.2862
13 | North East England | 0.75629 | 2.1121 | -0.67499 | 0.21253 | 1.7723 | 0.17116
14 | North Lancashire and The Lakes | 1.7292 | 2.1121 | 2.2135 | 0.21253 | 5.6337 | 3.0597
15 | South Lancashire, Yorkshire and Humber | 4.4371 | 1.3744 | 0 | 0.21253 | 5.6117 | 0.62484
16 | North Midlands and North Wales | 3.9219 | 0.49134 | 0 | 0.21253 | 4.4783 | 0.35993
17 | South Lincolnshire and North Norfolk | 2.2691 | 0.40806 | 0 | 0.21253 | 2.7673 | 0.33495
18 | Mid Wales and The Midlands | 1.4163 | 0.72492 | 0 | 0.21253 | 2.1363 | 0.43
19 | Anglesey and Snowdon | 4.6777 | 1.9165 | 0 | 0.21253 | 6.2317 | 0.78747
20 | Pembrokeshire | 8.9038 | -2.4019 | 0 | 0.21253 | 7.435 | -0.50804
21 | South Wales & Gloucester | 6.2632 | -2.4698 | 0 | 0.21253 | 4.7469 | -0.5284
22 | Cotswold | 3.0806 | 3.1306 | -5.5506 | 0.21253 | -0.066039 | -4.3989
23 | Central London | -2.6385 | 3.1306 | -5.0872 | 0.21253 | -5.3218 | -3.9355
24 | Essex and Kent | -3.5468 | 3.1306 | 0 | 0.21253 | -1.1428 | 1.1517
25 | Oxfordshire, Surrey and Sussex | -1.0738 | -1.3875 | 0 | 0.21253 | -1.8326 | -0.20373
26 | Somerset and Wessex | -1.1243 | -2.4664 | 0 | 0.21253 | -2.6383 | -0.52738
27 | West Devon and Cornwall | 0.1505 | -3.7787 | 0 | 0.21253 | -2.282 | -0.92108
Table 2 - Local Substation Tariffs
[8 empty] | Substation Rating | Connection Type | Local Substation Tariff (£/kW)
[10 empty] | 132kV | 275kV | 400kV
[8 empty] | <1320 MW | No redundancy | 0.1819 | 0.10406 | 0.074976
[8 empty] | <1320 MW | Redundancy | 0.40071 | 0.24792 | 0.18031
[8 empty] | >=1320 MW | No redundancy |  | 0.32627 | 0.23596
[8 empty] | >=1320 MW | Redundancy |  | 0.53565 | 0.39098
Table 3 - Local Circuit Tariffs
[13 empty] | Substation Name | (£/kW) | Substation Name | (£/kW) | Substation Name | (£/kW)
[13 empty] | Achruach | 3.8871 | Deanie | 2.5797 | Kilbraur | 1.0487
[13 empty] | Afton | 2.1058 | Dersalloch | 3.8646 | Kilgallioch | 0.95351
[13 empty] | Aigas | 0.59254 | Didcot | 0.4644 | Kilmorack | 0.17893
[13 empty] | Aikengall II | 1.4191 | Dinorwig | 2.178 | Langage | 0.5957
[13 empty] | An Suidhe | 0.85159 | Dudgeon Offshore Wind Farm | -0.33782 | Lochay | 0.33154
[13 empty] | Arecleoch | 3.2193 | Dumnaglass | 3.2796 | Luichart | 1.0293
[13 empty] | Baglan Bay | 0.65513 | Dunlaw Extension | 5.3785 | Marchwood | 0.067786
[13 empty] | Beinneun Wind Farm | -4.444 | Edinbane | 6.2017 | Margee | 0.86162
[13 empty] | Black Craig | 1.1103 | Ewe Hill | 4.7552 | Mark Hill | 0.79326
[13 empty] | Black Law | 0.90589 | Fallago | 0.16639 | Millennium Wind | 4.4219e-16
[13 empty] | Blacklaw Extension | 1.9892 | Farr Windfarm | 2.1703 | Mossford | 1.7959
[13 empty] | Bodelwyddan | 0.10068 | Ffestiniogg | 0.2296 | Nant | -1.1127
[13 empty] | Brochloch | 1.079 | Finlarig | 0.2901 | Neilston | -2.1607
[13 empty] | Carraig Gheal | 3.9851 | Foyers | 0.6923 | Newfield | 3.5327
[13 empty] | Carrington | -0.0015418 | Glendoe | 1.6665 | Rhigos | 0.11412
[13 empty] | Clyde (North) | 0.099357 | Glenmoriston | 1.1976 | Rocksavage | 0.015996
[13 empty] | Clyde (South) | 0.1149 | Gordonbush | 1.1775 | Saltend | 0.30185
[13 empty] | Coalburn | 0.059803 | Griffin Wind | 1.7177 | South Humber Bank | 0.37459
[13 empty] | Corriegarth | 2.2965 | Hadyard Hill | 2.5077 | Spalding | 0.24779
[13 empty] | Corriemoillie | 2.4905 | Harestanes | 4.809 | Strathy Wind | 5.1355
[13 empty] | Coryton | 0.048956 | Hartlepool | 0.54263 | Ulzieside | 9.4968
[13 empty] | Cruachan | 1.6106 | Hedon | 0.17739 | Whitelee | 0.096152
[13 empty] | Crystal Rig | 0.30201 | Hornsea | 0.13642 | Whitelee Extension | 0.2673
[13 empty] | Culligran | 1.5703 | Invergarry | 1.2854
Table 4 - Offshore Local Tariffs
[19 empty] | Offshore Generator | Tariff Component (£/kW)
[20 empty] | Substation | Circuit | ETUoS
[19 empty] | Barrow | 7.33 | 38.3505 | 0.9523
[19 empty] | Greater Gabbard | 13.7429 | 31.5798 | 0
[19 empty] | Gunfleet | 15.8637 | 14.5641 | 2.7221
[19 empty] | Gwynt Y Mor | 16.7366 | 16.4877 | 0
[19 empty] | Lincs | 13.6986 | 54.9202 | 0
[19 empty] | London Array | 9.325 | 31.7603 | 0
[19 empty] | Ormonde | 22.6604 | 42.2142 | 0.33641
[19 empty] | Robin Rigg East | -0.41919 | 27.7676 | 8.6064
[19 empty] | Robin Rigg West | -0.41919 | 27.7676 | 8.6064
[19 empty] | Sheringham Shoal | 21.8939 | 25.6764 | 0.55813
[19 empty] | Walney 1 | 19.557 | 38.9477 | 0
[19 empty] | Walney 2 | 19.4148 | 39.2909 | 0
Table 5 - Demand Tariffs
[23 empty] | Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh)
[23 empty] | 1 | Northern Scotland | 44.5106 | 5.6268
[23 empty] | 2 | Southern Scotland | 43.9893 | 6.3854
[23 empty] | 3 | Northern | 45.5844 | 6.5238
[23 empty] | 4 | North West | 44.3125 | 5.6728
[23 empty] | 5 | Yorkshire | 43.7965 | 6.2416
[23 empty] | 6 | N Wales & Mersey | 43.7296 | 6.0664
[23 empty] | 7 | East Midlands | 46.5661 | 6.2009
[23 empty] | 8 | Midlands | 47.4114 | 6.1972
[23 empty] | 9 | Eastern | 48.5363 | 6.3481
[23 empty] | 10 | South Wales | 44.0345 | 6.1298
[23 empty] | 11 | South East | 51.1153 | 6.5241
[23 empty] | 12 | London | 53.7523 | 6.8277
[23 empty] | 13 | Southern | 51.866 | 6.3119
[23 empty] | 14 | South Western | 50.3764 | 6.612

## Tables 6 - 11
Table 6 - Contracted and Modelled TEC
(GW) | 2015/16 | 2016/17 Initial forecast | 2016/17 May Forecast | 2016/17 July Forecast
Contracted TEC | 78.7397 | 88.5137 | 81.7342 | 79.6562
Modelled TEC | 78.7397 | 82.9117 | 79.0704 | 71.7677
Table 7 - Allowed Revenues
[5 empty] | £m Nominal | 2015/16 TNUoS Revenue | 2016/17 TNUoS Revenue
[6 empty] | Jan 2015 Final | Jan 2015 Initial View | May 2015 Update | Jul 2015 Update
National Grid
[5 empty] | Price controlled revenue | 1780.6536 | 1953.7604 | 1936.9506 | 1938.8147
[5 empty] | Less income from connections | 44.9552 | 48.2883 | 44.9552 | 44.9552
[5 empty] | Income from TNUoS | 1735.6984 | 1905.4722 | 1891.9954 | 1893.8595
Scottish Power Transmission
[5 empty] | Price controlled revenue | 306.41 | 320.9905 | 303.1342 | 302.3497
[5 empty] | Less income from connections | 10.7454 | 10.4868 | 8.9237 | 8.9006
[5 empty] | Income from TNUoS | 295.6646 | 310.5037 | 294.2105 | 293.4491
SHE Transmission
[5 empty] | Price controlled revenue | 341.6798 | 343.0413 | 333.6129 | 328.9754
[5 empty] | Less income from connections | 3.4725 | 3.565 | 3.5132 | 3.5041
[5 empty] | Income from TNUoS | 338.2073 | 339.4763 | 330.0997 | 325.4713
[5 empty] | Offshore | 248.357 | 269.0847 | 265.5844 | 259.3303
[5 empty] | Network Innovation Competition | 18.7607 | 48.4439 | 40.5 | 40.5
[5 empty] | Total to Collect from TNUoS | 2636.6879 | 2872.9808 | 2822.3899 | 2812.6103
[10 empty] | Data for Fig 1 |  |  |  | Figure 1 - Geographical Distribution of Average Triad Demand
[10 empty] | Zone | Zone Name | 2015/16 | 2016/17
[10 empty] | 1 | Northern Scotland | 1.1253 | 0.97614
[10 empty] | 2 | Southern Scotland | 3.6834 | 3.4203
[10 empty] | 3 | Northern | 2.3552 | 2.1581
[10 empty] | 4 | North West | 4.2215 | 4.0267
[10 empty] | 5 | Yorkshire | 4.0614 | 3.7813
[10 empty] | 6 | N Wales & Mersey | 2.8548 | 2.5738
[10 empty] | 7 | East Midlands | 4.8403 | 4.5861
[10 empty] | 8 | Midlands | 4.4241 | 4.2348
[10 empty] | 9 | Eastern | 6.2652 | 6.0113
[10 empty] | 10 | South Wales | 1.871 | 1.7576
[10 empty] | 11 | South East | 3.7498 | 3.482
[10 empty] | 12 | London | 4.8716 | 4.69
[10 empty] | 13 | Southern | 5.6097 | 5.2929
[10 empty] | 14 | South Western | 2.4668 | 2.3321
[11 empty] | Total | 52.4 | 49.323
Table 8 - Charging Bases
[15 empty] | Charging Base | 2015/16 | 2016/17
[15 empty] | Generation (GW) | 71.5 | 67.455
[15 empty] | Total Average Triad (GW) | 52.4 | 49.323
[15 empty] | HH Demand Average Triad (GW) | 15 | 14.1883
[15 empty] | NHH Demand (4pm-7pm TWh) | 27.4 | 26.5579
Table 9 - Interconectors
[18 empty] | Interconnector | Site | Interconnected System | Generation Zone | Transport Model (Generation MW) Peak | Transport Model (Generation MW) Year Round | Charging Base (Generation MW)
[18 empty] | IFA Interconnector | Sellindge 400kV | France | 24 | 0 | 2000 | 0
[18 empty] | ElecLink | Sellindge 400kV | France | 24 | 0 | 1000 | 0
[18 empty] | Britned | Grain 400kV | Netherlands | 24 | 0 | 1200 | 0
[18 empty] | East - West | Deesside 400kV | Republic of Ireland | 16 | 0 | 505 | 0
[18 empty] | Moyle | Auchencrosh 275kV | Northern Ireland | 10 | 0 | 295 | 0
Table 10 - Generation and Demand Revenue Proportions
[27 empty] | 2015/16 | 2016/17
[25 empty] | CAPEC | Limit on generation tariff (€/MWh) | 2.5 | 2.5
[25 empty] | y | Error Margin | 6.4% | 7%
[25 empty] | ER | Exchange Rate (€/£) | 1.22 | 1.36
[25 empty] | MAR | Total Revenue (£m) | 2636.6879 | 2812.6103
[25 empty] | GO | Gerneration Output (TWh) | 319.6 | 268
[25 empty] | G | % of revenue from generation | 23.2% | 16.29%
[25 empty] | D | % of revenue from demand | 76.8% | 83.71%
[25 empty] | G.R | Revenue recovered from generation (£m) | 611.7116 | 458.1618
[25 empty] | D.R | Revenue recovered from demand (£m) | 2024.9763 | 2354.4485
Table 11 - Residual Calculation
[31 empty] | 2015/16 | 2016/17
[29 empty] | RG | Generator residual tariff (£/kW) | 4.8075 | 0.21253
[29 empty] | RD | Demand residual tariff (£/kW) | 35.635 | 47.7665
[29 empty] | G | Proportion of revenue recovered from generation (%) | 23.2% | 16.29%
[29 empty] | D | Proportion of revenue recovered from demand (%) | 76.8% | 83.71%
[29 empty] | R | Total TNUoS revenue (£m) | 2636.6879 | 2812.6103
[29 empty] | ZG | Revenue recovered from the locational element of generator tariffs (£m) | 47.6399 | 213.0805
[29 empty] | ZD | Revenue recovered from the locational element of demand tariffs (£m) | 157.7046 | -1.5406
[29 empty] | O | Revenue recovered from offshore local tariffs (£m) | 186.581 | 198.1248
[29 empty] | LG | Revenue recovered from onshore local substation tariffs (£m) | 20.1298 | 17.8815
[29 empty] | SG | Revenue recovered from onshore local circuit tariffs (£m) | 13.7974 | 14.7388
[29 empty] | BG | Generator charging base (GW) | 71.4641 | 67.455
[29 empty] | BD | Demand charging base (GW) | 52.4 | 49.323

## Tables 12 - 14
Table 12 - Variation in Generation Zonal Tariffs
Wider Generation Tariffs (£/kW) | [8 empty] | Figure 2 - Generation Changes
|  | Conventional 70% |  |  | Intermittent 30% |  |  | Change in Residual (£/kW)
Zone | Zone Name | 2016/17 May Forecast (£/kW) | 2016/17 July Forecast (£/kW) | Change (£/kW) | 2016/17 May Forecast (£/kW) | 2016/17 July Forecast (£/kW) | Change (£/kW)
1 | North Scotland | 22.2169 | 11.3295 | -10.8874 | 13.5176 | 9.9468 | -3.5708 | -1.2874
2 | East Aberdeenshire | 18.763 | 8.0593 | -10.7037 | 11.5861 | 8.0845 | -3.5016 | -1.2874
3 | Western Highlands | 20.2862 | 9.6554 | -10.6307 | 12.5931 | 9.302 | -3.2911 | -1.2874
4 | Skye and Lochalsh | 14.2918 | 6.9213 | -7.3705 | 12.3541 | 10.5398 | -1.8144 | -1.2874
5 | Eastern Grampian and Tayside | 18.6084 | 8.333 | -10.2754 | 11.8775 | 8.6105 | -3.2669 | -1.2874
6 | Central Grampian | 20.3308 | 10.5552 | -9.7756 | 11.6875 | 8.4505 | -3.2371 | -1.2874
7 | Argyll | 21.0271 | 12.3569 | -8.6702 | 14.3646 | 12.0018 | -2.3628 | -1.2874
8 | The Trossachs | 16.4141 | 7.4006 | -9.0134 | 9.4463 | 6.6233 | -2.823 | -1.2874
9 | Stirlingshire and Fife | 15.5994 | 3.5421 | -12.0573 | 8.7499 | 5.4121 | -3.3377 | -1.2874
10 | South West Scotland | 15.0982 | 6.5944 | -8.5038 | 9.1029 | 6.3946 | -2.7083 | -1.2874
11 | Lothian and Borders | 11.7084 | 5.5174 | -6.191 | 5.2717 | 3.6298 | -1.6419 | -1.2874
12 | Solway and Cheviot | 10.12 | 2.8366 | -7.2835 | 6.4617 | 3.2862 | -3.1755 | -1.2874
13 | North East England | 8.5921 | 1.7723 | -6.8198 | 4.0493 | 0.17116 | -3.8781 | -1.2874
14 | North Lancs and The Lakes | 7.2351 | 5.6337 | -1.6014 | 4.3246 | 3.0597 | -1.265 | -1.2874
15 | South Lancs, Yorks and Humber | 6.126 | 5.6117 | -0.51431 | 1.8842 | 0.62484 | -1.2594 | -1.2874
16 | North Midlands and North Wales | 4.8994 | 4.4783 | -0.42106 | 1.5472 | 0.35993 | -1.1872 | -1.2874
17 | South Lincs and North Norfolk | 2.9442 | 2.7673 | -0.17691 | 1.4372 | 0.33495 | -1.1022 | -1.2874
18 | Mid Wales and The Midlands | 2.4841 | 2.1363 | -0.34775 | 1.456 | 0.43 | -1.026 | -1.2874
19 | Anglesey and Snowdon | 7.3504 | 6.2317 | -1.1186 | 2.1241 | 0.78747 | -1.3366 | -1.2874
20 | Pembrokeshire | 6.4689 | 7.435 | 0.96609 | 0.22172 | -0.50804 | -0.72976 | -1.2874
21 | South Wales | 3.5324 | 4.7469 | 1.2144 | 0.19316 | -0.5284 | -0.72157 | -1.2874
22 | Cotswold | -1.7307 | -0.066039 | 1.6647 | -4.6958 | -4.3989 | 0.29691 | -1.2874
23 | Central London | -5.2435 | -5.3218 | -0.078274 | -2.9637 | -3.9355 | -0.9718 | -1.2874
24 | Essex and Kent | -1.0018 | -1.1428 | -0.14104 | 2.2542 | 1.1517 | -1.1025 | -1.2874
25 | Oxfordshire, Surrey and Sussex | -1.7292 | -1.8326 | -0.10342 | 0.78695 | -0.20373 | -0.99068 | -1.2874
26 | Somerset and Wessex | -3.6995 | -2.6383 | 1.0612 | 0.20496 | -0.52738 | -0.73234 | -1.2874
27 | West Devon and Cornwall | -5.0621 | -2.282 | 2.7801 | -0.50438 | -0.92108 | -0.41669 | -1.2874
Figure 3 - HH Demand Tariff Changes
Table 13 - Change in HH Demand Tariffs
[9 empty] | Zone | Zone Name | 2016/17 May Forecast (£/kW) | 2016/17 July Forecast (£/kW) | Change (£/kW) | Change in Residual (£/kW)
[9 empty] | 1 | Northern Scotland | 29.3411 | 44.5106 | 15.1694 | 2.8808
[9 empty] | 2 | Southern Scotland | 31.4035 | 43.9893 | 12.5858 | 2.8808
[9 empty] | 3 | Northern | 37.3812 | 45.5844 | 8.2032 | 2.8808
[9 empty] | 4 | North West | 40.9189 | 44.3125 | 3.3936 | 2.8808
[9 empty] | 5 | Yorkshire | 41.6675 | 43.7965 | 2.129 | 2.8808
[9 empty] | 6 | N Wales & Mersey | 41.2802 | 43.7296 | 2.4494 | 2.8808
[9 empty] | 7 | East Midlands | 44.8451 | 46.5661 | 1.7211 | 2.8808
[9 empty] | 8 | Midlands | 45.6237 | 47.4114 | 1.7876 | 2.8808
[9 empty] | 9 | Eastern | 46.9715 | 48.5363 | 1.5648 | 2.8808
[9 empty] | 10 | South Wales | 44.0898 | 44.0345 | -0.055293 | 2.8808
[9 empty] | 11 | South East | 49.6526 | 51.1153 | 1.4627 | 2.8808
[9 empty] | 12 | London | 51.9548 | 53.7523 | 1.7975 | 2.8808
[9 empty] | 13 | Southern | 51.0016 | 51.866 | 0.86441 | 2.8808 | Table 14
[9 empty] | 14 | South Western | 51.3018 | 50.3764 | -0.92549 | 2.8808
[15 empty] | Table 14 - NHH Demand Tariff Changes |  |  |  |  | Figure 4 - Change in NHH Tariff
[15 empty] | Zone | Zone Name | 2016/17 May Forecast (p/kWh) | 2016/17 July Forecast (p/kWh) | Change (p/kWh)
[15 empty] | 1 | Northern Scotland | 4.3387 | 5.6268 | 1.2881
[15 empty] | 2 | Southern Scotland | 4.5705 | 6.3854 | 1.8149
[15 empty] | 3 | Northern | 5.0541 | 6.5238 | 1.4697
[15 empty] | 4 | North West | 5.7656 | 5.6728 | -0.09275
[15 empty] | 5 | Yorkshire | 6.1025 | 6.2416 | 0.13914
[15 empty] | 6 | N Wales & Mersey | 6.7873 | 6.0664 | -0.72082
[15 empty] | 7 | East Midlands | 6.2255 | 6.2009 | -0.024644
[15 empty] | 8 | Midlands | 6.5287 | 6.1972 | -0.33156
[15 empty] | 9 | Eastern | 6.447 | 6.3481 | -0.098909
[15 empty] | 10 | South Wales | 6.367 | 6.1298 | -0.23722
[15 empty] | 11 | South East | 6.7242 | 6.5241 | -0.20011
[15 empty] | 12 | London | 7.1205 | 6.8277 | -0.29286
[15 empty] | 13 | Southern | 7.1572 | 6.3119 | -0.84529
[15 empty] | 14 | South Western | 6.9185 | 6.612 | -0.30643

## Tables 15 - 16
Table 15 - Impact of change in allowed revenue
£50m increase in revenue recovered from TNUoS tariffs
Change in Generation Tariffs (£/kW) | 0
Change in HH Demand Tariffs (£/kW) | 1.0137
Change in NHH Demand Tariffs (p/kWh) | 0.14432
Table 16 - Impact of 1% decrease in demand
|  | Change in Demand |  | Change in Tariff
|  | Peak Demand (MW) | 493.2302
|  | HH Demand (MW) | 141.8826 | HH Tariff (£/kW) | -0.47263
|  | NHH Demand (TWh) | 0.26558 | NHH Tariff (£/kWh) | -0.052318

## Table 17 - App A NG
Table 17 - National Grid Revenue Forecast
National Grid Revenue Forecast |  |  |  | Updated: | 2015-07-03
Description |  | Licence Term | Special Condition | Applicable to | Yr t-1 | Yr t | Yr t+1 | Notes
Regulatory Year |  |  |  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI | [6 empty] | 0 | April to March average
RPI Actual |  | RPIAt | 3A |  |  |  | 0 | Office of National Statistics
Assumed Interest Rate |  | It | 3A |  | 0.5% | 0.7% | 1.125% | Bank of England Base Rate
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 3A | ALL | 1443.829 | 1475.593 | 1571.387 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 3A | ALL | -5.5 | -114.4 | -100 | Determined by Ofgem/Licensee forecast
RPI True Up | A3 | TRUt | 3A | ALL | -0.52729 | 4.7019 | -19.9214 | Licensee Actual/Forecast
Prior Calendar Year RPI Forecast |  | GRPIFc-1 | 3A | ALL | 3.1% | 2.5% | 1.1% | HM Treasury Forecast then 2.8%
Current Calendar Year RPI Forecast |  | GRPIFc | 3A | ALL | 3.1% | 2.4% | 2.4% | HM Treasury Forecast then 2.8%
Next Calendar Year RPI forecast |  | GRPIFc+1 | 3A | ALL | 3% | 3.2% | 3% | HM Treasury Forecast then 2.8%
RPI Forecast | A4 | RPIFt | 3A | ALL | 1.2051 | 1.2267 | 1.238 | Using HM Treasury Forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 3A | ALL | 1732.6948 | 1675.4788 | 1796.9144
Pass-Through Business Rates | B1 | RBt | 3B | ALL |  | 1.2353 | 1.5062 | Licensee Actual/Forecast
Temporary Physical Disconnection | B2 | TPDt | 3B | ALL | 0.14395 | 0.012338 | 0.090845 | Licensee Actual/Forecast
Licence Fee | B3 | LFt | 3B | NG |  | 2.0207 | 2.7043 | Licensee Actual/Forecast
Inter TSO Compensation | B4 | ITCt | 3B | NG |  | 3.8222 | 2.6854 | Licensee Actual/Forecast
Termination of Bilateral Connection Agreements | B5 | TERMt | 3B | NG | 0 | 0 | 0 | Does not affect TNUoS
SP Transmission Pass-Through | B6 | TSPt | 3B | NG | 312.1791 | 295.6646 | 293.4491 | 14/15 & 15/16 Charge setting. Later from TSP Calculation.
SHE Transmission Pass-Through | B7 | TSHt | 3B | NG | 213.9595 | 338.2073 | 325.4713 | 14/15 & 15/16 Charge setting. Later from TSH Calculation.
Offshore Transmission Pass-Through | B8 | TOFTOt | 3B | NG | 218.3804 | 248.357 | 259.3303 | 14/15 & 15/16 Charge setting. Later from OFTO Calculation.
Embedded Offshore Pass-Through | B9 | OFETt | 3B | NG | 0.43734 | 0.64942 | 0.66252 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2+B3+B4+B5+B6+B7+B8+B9] | B | PTt | 3B | ALL | 745.1003 | 889.9689 | 885.9
Reliability Incentive Adjustment | C1 | RIt | 3C | ALL |  | 2.3616 | 3.9365 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt | 3D | ALL |  | 8.6931 | 9.6866 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 3E | ALL |  | 2.8092 | 2.7307 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt | 3F | ALL |  | 0 | 0 | Only includes EDR awarded to licensee to date
Outputs Incentive Revenue [C=C1+C2+C3+C4] | C | OIPt | 3A | ALL | 0 | 13.8638 | 16.3539
Network Innovation Allowance | D | NIAt | 3H | ALL | 10.916 | 10.5555 | 11.3206 | Licensee Actual/Forecast/Budget
Network Innovation Competition | E | NICFt | 3I | NG | 17.8492 | 18.7607 | 40.5 | Sum of NICF awards determined by Ofgem/Forecast by National Grid
Future Environmental Discretionary Rewards | F | EDRt | 3F | ALL |  |  | 3 | Sum of future EDR awards forecast by National Grid
Transmission Investment for Renewable Generation | G | TIRGt | 3J | ALL | 15.9973 | 15.699 | -0.54093 | Licensee Actual/Forecast
Scottish Site Specific Adjustment | H | DISt | 3A | NG | 1.9849 | 0.791 | 0 | Licensee Actual/Forecast
Scottish Terminations Adjustment | I | TSt | 3A | NG | -0.28187 | 0.10155 | 0 | Licensee Actual/Forecast
Correction Factor | K | -Kt | 3A | ALL |  | 56.4238 | 104.1175 | Calculated by Licensee
Maximum Revenue [M= A+B+C+D+E+F+G+H+I+K] | M | TOt |  | ALL | 2524.2607 | 2681.6431 | 2857.5655
Termination Charges | B5 |  |  | NG | 0 | 0 | 0
Pre-vesting connection charges | P |  |  | ALL | 46.9542 | 44.9552 | 44.9552 | Licensee Actual/Forecast
TNUoS Collected Revenue [T=M-B5-P] | T |  |  | NG | 2477.3066 | 2636.6879 | 2812.6103
Forecast percentage change to Maximum Revenue M |  |  |  | NG | 0% | 6.235% | 6.56%
Forecast percentage change to TNUoS Collected Revenue T |  |  |  | NG | 0% | 6.434% | 6.672%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments to all Transmission Owners are inlcuded in National Grid Maximum Revenue and are included here
2013/14 and 2014/15 pass through to other networks is based on forecast at time of tariff setting

## Table 18 - App A SPT
Table 18 - SP Transmission Revenue Forecast
Scottish Power Transmission Revenue Forecast |  |  |  | Updated: | 2015-04-07
Description |  | Licence Term | Special Condition | Applicable to | Yr t-1 | Yr t | Yr t+1 | Notes
Regulatory Year |  |  |  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI | [6 empty] | 0 | April to March average
RPI Actual |  | RPIAt |  |  |  |  | 0 | Office of National Statistics
Assumed Interest Rate |  | It |  |  | 0.5% | 0.7% | 1.5% | 0%
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 3A | ALL | 236.95 | 258.633 | 244.7 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 3A | ALL | 6.2 | -20.3 | -20.2 | Determined by Ofgem/Licensee forecast
RPI True Up | A3 | TRUt | 3A | ALL | -0.1 | 0.9 | -3.7 | Licensee Actual/Forecast
RPI Forecast | A4 | RPIFt | 3A | ALL | 1.2051 | 1.2266 | 1.238 | National Grid forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 3A | ALL | 292.8996 | 293.4432 | 273.3504
Pass-Through Business Rates | B1 | RBt | 3B | ALL |  | -19.0694 | -4.268 | Licensee Actual/Forecast
Temporary Physical Disconnection | B2 | TPDt | 3B | ALL | 0 | 0 | 0 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2] | B | PTt | 3B | ALL | 0 | -19.0694 | -4.268
Reliability Incentive Adjustment | C1 | RIt | 3C | ALL |  | 2.5823 | 1.1625 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt | 3D | ALL |  | 1.8871 | 0.58127 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 3E | ALL |  | -0.19864 | 0 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt | 3F | ALL |  | 0 | 0 | Only includes EDR awarded to licensee to date
Financial Incentive for Timely Connections Output | C5 | -CONADJt | 3G | SP, SHE |  | 0 | 0 | Licensee Actual/Forecast/Budget
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 3A | ALL | 0 | 4.2708 | 1.7438
Network Innovation Allowance | D | NIAt | 3H | ALL | 1 | 1.1918 | 0.77502 | Licensee Actual/Forecast/Budget
Transmission Investment for Renewable Generation | G | TIRGt | 3J | ALL | 29.2 | 18 | 30.5547 | Licensee Actual/Forecast
Correction Factor | K | -Kt | 3A | ALL |  | 8.6408 | 0.19376 | Calculated by Licensee
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt |  | ALL | 323.0996 | 306.4772 | 302.3497
Excluded Services | P | EXCt |  | SP, SHE | 7.7 | 8 | 9.6999 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt |  | SP, SHE | 18.5 | 18.8 | 18.6005 | Pre & Post BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSPt |  | NG | 312.2996 | 295.6772 | 293.4491 | General System Charge
Forecast percentage change to TNUoS Collected Revenue T |  |  |  | ALL | 0% | -5.323% | -0.7535%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SPT Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SPT offers this data without prejudice and cannot be held responsible for any loss that might be attributed to the use of this data. SPT does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; and we also include forecasts for anticipated future Ofgem determinations in respect of the Iteration adjustment reflecting our latest view of totex, changes to allowed totex and cost of debt.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.
Data taken from April 2015 submission under STCP24-1.

## Table 19 - App A SHETL
Table 19 - SHE Transmission Revenue Forecast
SHE Transmission Revenue Forecast |  |  |  | Updated: | 2015-07-03
Description |  | Licence Term | Special Condition | Applicable to | Yr t-1 | Yr t | Yr t+1 | Notes
Regulatory Year |  |  |  |  | 2014/15 | 2015/16 | 2016/17
Actual RPI | [6 empty] | 0 | April to March average
RPI Actual |  | RPIAt |  |  |  |  | 0 | Office of National Statistics
Assumed Interest Rate |  | It |  |  | 0.5% | 0.5% | 0.5% | 0
Opening Base Revenue Allowance (2009/10 prices) | A1 | PUt | 3A | ALL | 111.5154 | 124.139 | 123.6345 | From Licence
Price Control Financial Model Iteration Adjustment | A2 | MODt | 3A | ALL | 8.7 | 85.16 | 88.96 | Forecast of cummulativce MOD impacts, excl non approved
RPI True Up | A3 | TRUt | 3A | ALL | -0.043 | 0.523 | -2.574 | Licensee Actual/Forecast
RPI Forecast | A4 | RPIFt | 3A | ALL | 1.2051 | 1.2267 | 1.238 | National Grid forecast
Base Revenue [A=(A1+A2+A3)*A4] | A | BRt | 3A | ALL | 144.8197 | 257.3886 | 260.0054
Pass-Through Business Rates | B1 | RBt | 3B | ALL | 0 | -0.697 | -16.1001 | RBt rebate received in 2014/15, pass through in 2016/17
Temporary Physical Disconnection | B2 | TPDt | 3B | ALL | 0 | 0.555 | 0.13708 | Licensee Actual/Forecast
Pass-Through Items [B=B1+B2] | B | PTt | 3B | ALL | 0 | -0.142 | -15.963
Reliability Incentive Adjustment | C1 | RIt | 3C | ALL |  | 1.179 | 0.18911 | Licensee Actual/Forecast/Budget
Stakeholder Satisfaction Adjustment | C2 | SSOt | 3D | ALL |  | 1.605 | 1.9791 | Licensee Actual/Forecast/Budget
Sulphur Hexafluoride (SF6) Gas Emissions Adjustment | C3 | SFIt | 3E | ALL |  | -0.114 | -0.0080045 | Licensee Actual/Forecast/Budget
Awarded Environmental Discretionary Rewards | C4 | EDRt | 3F | ALL |  | 0 | 0 | Only includes EDR awarded to licensee to date
Financial Incentive for Timely Connections Output | C5 | -CONADJt | 3G | SP, SHE |  | 0 | 0 | Licensee Actual/Forecast/Budget
Outputs Incentive Revenue [C=C1+C2+C3+C4+C5] | C | OIPt | 3A | ALL | 0 | 2.67 | 2.1602
Network Innovation Allowance | D | NIAt | 3H | ALL | 1.257 | 1.745 | 1.746 | Licensee Actual/Forecast
Transmission Investment for Renewable Generation | G | TIRGt | 3J | ALL | 72.159 | 81.221 | 80.2264 | Excludes Asset Adjusting Events impacts
Compensatory Payments Adjustment | J | SHCPt | 3C | SHE | 0 | 0.399 | 0 | Licensee Actual/Forecast/Budget
Correction Factor | K | -Kt | 3A | ALL |  | -1.7 | 0.80045 | Latest Forecast
Maximum Revenue (M= A+B+C+D+G+J+K] | M | TOt |  | ALL | 218.2357 | 341.5816 | 328.9754
Excluded Services | P | EXCt |  | SP, SHE | 0 | 0 | 0 | Post BETTA Connection Charges
Site Specifc Charges | S | EXSt |  | SP, SHE | 3.465 | 3.472 | 3.5041 | Post-Vesting, Pre-BETTA Connection Charges
TNUoS Collected Revenue (T=M+P-S) | T | TSHt |  | NG | 214.7707 | 338.1096 | 325.4713 | General System Charge
Forecast percentage change to TNUoS Collected Revenue T |  |  |  | ALL | 0% | 57.43% | -3.738%
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of SHET Maximum Revenue
Commentary
All reasonable care has been taken in the preparation of these illustrative tables and the data therein. SHET offers these data without prejudice and cannot be held responsible for any loss that might be attributed to the use of these data. SHET does not accept or assume responsibility for the use of this information by any person or any person to whom this information is shown or any person to whom this information otherwise becomes available.
The base revenue forecasts for the RIIO-ET1 period (2014/15 to 2018/19, inclusive) reflect the figures authorised by Ofgem in the the RIIO-ET1 Final Proposals.
Within the bounds of commercial confidentiality, this forecast provides as much information as possible.
This forecast contains as much information as can be currently made available. Generally, allowances determined by Ofgem are shown; whilst those for which Ofgem determinations are expected are not.
This respects commercial confidentiality and disclosure considerations.
Note that actual revenues may vary from those currently forecast.
All £ figures are in money of the day
Information provided in £m to one decimal place
Assumptions
It is assumed that there will be one set of price changes per year effective on 1st April.
Data taken from December 2014 submission under STCP24-1 adjusted for inflation.

## Table 20 - App B OFTO
Table 20 - Offshore Revenues
Offshore Transmission Revenue Forecast | 2015-05-29 |  |  | Notes
Description | Yr t-1 | Yr t | Yr t+1
Regulatory Year | 2014/15 | 2015/16 | 2016/17
Barrow | 5.4759 | 5.6051 | 5.6758 | Current revenues plus indexation
Gunfleet | 6.8532 | 7.0145 | 7.1039 | Current revenues plus indexation
Walney 1 | 12.4911 | 12.7864 | 12.9466 | Current revenues plus indexation
Robin Rigg | 7.7095 | 7.8914 | 7.9906 | Current revenues plus indexation
Walney 2 | 12.927 | 13.2322 | 13.3996 | Current revenues plus indexation
Sheringham Shoal | 18.9241 | 19.4989 | 19.7459 | Current revenues plus indexation
Ormonde | 11.5705 | 11.8431 | 11.9945 | Current revenues plus indexation
Greater Gabbard | 25.9995 | 26.6193 | 26.9458 | Current revenues plus indexation
London Array | 37.573 | 39.2121 | 37.9641 | Current revenues plus indexation
Thanet | 78.8567 | 17.5171 | 17.6794 | Current revenues plus indexation
Lincs |  | 25.5634 | 25.4305 | Current revenues plus indexation
Gwynt y mor |  | 26.2836 | 25.6257 | Current revenues plus indexation
West of Duddon Sands |  | 35.29 | 46.8279 | National Grid Forecast
Humber Gateway |  |  |  | National Grid Forecast
Westermost Rough |  |  |  | National Grid Forecast
Offshore Transmission Pass-Through (B7) | 218.3804 | 248.357 | 259.3303
Notes:
All monies are nominal 'money of the day' prices unless stated otherwise
Licensee forecasts and budgets are subject to change especially where they are influenced by external stakeholders
Greyed out cells are either calculated or not applicable in the year concerned due to the way the licence formula are constructed
NIC payments are not included as they do not form part of OFTO Maximum Revenue

## Table 21 - 22
Table 21 - Generation TEC Changes
Station | Agreement Type | Node | Zone | TEC Register 03/12/2014 | TEC Register 13/04/2015 | MW Change
Cour Wind Farm | BCA | CRSS10 | 7 | 23 | 20.5 | -2.5
Freasdail | BCA | CRSS10 | 7 | 0 | 27.5 | 27.5
Littlebrook | BCA | LITT40 | 24 | 800 | 0 | -800
Marchwood | BCA | MAWO40 | 26 | 900 | 920 | 20
Strathy North and South Wind | BCA | STRW12 | 1 | 226 | 200.25 | -25.75
Glenchamber Wind Farm | BEGA | GLLU1Q | 10 | 0 | 25.3 | 25.3
Moy Wind Farm | BEGA | INVE10 | 7 | 0 | 60 | 60
Total | 0 | 0 | 0 | 1949 | 1253.55 | -695.45
Note: Stations less than 100MW with Bilateral Embedded Generation Agreements are not chargeable.
Table 22 - Demand Profiles
[9 empty] | May Forecast |  |  |  | July Forecast
[7 empty] | Zone | Zone Name | Locational Model Demand (MW) | Tariff model Peak Demand (MW) | Tariff Model HH Demand (MW Pre-P272) | Tariff model NHH Demand (TWh Pre-P272 | Locational Model Demand (MW) | Tariff model Peak Demand (MW) | Tariff Model HH Demand (MW) | Tariff model NHH Demand (TWh)
[7 empty] | 1 | Northern Scotland | 848.0304 | 1092.8334 | -88.6138 | 0.79686 | 642.1196 | 976.1385 | 24.831 | 0.75252
[7 empty] | 2 | Southern Scotland | 3337.2586 | 3572.5015 | 950.552 | 1.794 | 3285.7486 | 3420.2662 | 838.567 | 1.7785
[7 empty] | 3 | Northern | 2635.6142 | 2285.2965 | 456.8322 | 1.3368 | 2635.6142 | 2158.1167 | 220.1099 | 1.3542
[7 empty] | 4 | North West | 4009.2708 | 4093.3706 | 1140.4221 | 2.0803 | 4009.2708 | 4026.724 | 1344.3284 | 2.0953
[7 empty] | 5 | Yorkshire | 4581.5721 | 3938.9073 | 1132.6455 | 1.9093 | 4581.5721 | 3781.3357 | 996.8243 | 1.9538
[7 empty] | 6 | N Wales & Mersey | 2091.7042 | 2770.2019 | 583.215 | 1.3396 | 2091.7042 | 2573.7715 | 721.7417 | 1.335
[7 empty] | 7 | East Midlands | 4966.07 | 4696.1085 | 1480.4312 | 2.2959 | 4966.07 | 4586.1028 | 1472.1152 | 2.3385
[7 empty] | 8 | Midlands | 4414.44 | 4291.7579 | 1168.84 | 2.1696 | 4414.44 | 4234.8102 | 1344.516 | 2.2112
[7 empty] | 9 | Eastern | 5583.1586 | 6078.5464 | 1468.7402 | 3.325 | 5583.1586 | 6011.3276 | 1544.789 | 3.415
[7 empty] | 10 | South Wales | 1920.4772 | 1813.7925 | 522.3217 | 0.88989 | 1920.4772 | 1757.5674 | 488.8817 | 0.91138
[7 empty] | 11 | South East | 3609.4278 | 3638.3357 | 811.341 | 2.0637 | 3609.4278 | 3481.9507 | 789.6874 | 2.1093
[7 empty] | 12 | London | 4660.6473 | 4725.478 | 1966.9268 | 1.9923 | 4660.6473 | 4689.9719 | 2092.5294 | 2.0449
[7 empty] | 13 | Southern | 5995.2158 | 5443.0951 | 1517.1316 | 2.7759 | 5995.2158 | 5292.8527 | 1811.6527 | 2.8606
[7 empty] | 14 | South Western | 2517.6433 | 2392.1255 | 497.1884 | 1.3885 | 2517.6433 | 2332.0851 | 497.6904 | 1.3976
[7 empty] | Total |  | 51170.5303 | 50832.3507 | 13607.9737 | 26.1575 | 50913.1095 | 49323.0209 | 14188.2641 | 26.5579

## Table 23 - 24
Table 23 - Wider Generation Tariffs with Longannet
|  | System Peak | Shared Year Round | Not Shared Year Round | Residual | Conventional 70% | Intermittent 30%
Zone | Zone Name | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW) | Tariff (£/kW)
1 | North Scotland | 4.3418 | 14.9352 | 6.2656 | 0.44495 | 21.5069 | 11.1911
2 | East Aberdeenshire | 5.4422 | 8.7852 | 6.2656 | 0.44495 | 18.3023 | 9.3461
3 | Western Highlands | 4.1562 | 12.7647 | 6.2656 | 0.44495 | 19.802 | 10.54
4 | Skye and Lochalsh | 0.18378 | 12.7647 | 7.4967 | 0.44495 | 17.0607 | 11.7711
5 | Eastern Grampian and Tayside | 3.8935 | 11.4133 | 5.9726 | 0.44495 | 18.3004 | 9.8415
6 | Central Grampian | 5.6749 | 11.0622 | 5.815 | 0.44495 | 19.6783 | 9.5786
7 | Argyll | 5.1505 | 8.6502 | 10.0228 | 0.44495 | 21.6734 | 13.0628
8 | The Trossachs | 4.7308 | 8.6502 | 4.623 | 0.44495 | 15.8539 | 7.663
9 | Stirlingshire and Fife | 4.7338 | 7.5289 | 4.3715 | 0.44495 | 14.8205 | 7.0751
10 | South West Scotlands | 3.5146 | 8.6569 | 4.3715 | 0.44495 | 14.3908 | 7.4135
11 | Lothian and Borders | 3.5411 | 8.6569 | 0.30113 | 0.44495 | 10.347 | 3.3431
12 | Solway and Cheviot | 2.3699 | 5.0316 | 3.0928 | 0.44495 | 9.4297 | 5.0472
13 | North East England | 4.2295 | 2.3383 | 1.5047 | 0.44495 | 7.8159 | 2.6511
14 | North Lancashire and The Lakes | 2.3683 | 2.3383 | 1.9357 | 0.44495 | 6.3858 | 3.0822
15 | South Lancashire, Yorkshire and Humber | 4.4756 | 0.40395 | 0 | 0.44495 | 5.2033 | 0.56614
16 | North Midlands and North Wales | 3.1411 | 0.16094 | 0 | 0.44495 | 3.6987 | 0.49323
17 | South Lincolnshire and North Norfolk | 1.1508 | 0.021589 | -1.2559e-16 | 0.44495 | 1.6109 | 0.45143
18 | Mid Wales and The Midlands | 0.51649 | 0.37498 | 0 | 0.44495 | 1.2239 | 0.55745
19 | Anglesey and Snowdon | 4.6191 | 1.5327 | 0 | 0.44495 | 6.1369 | 0.90476
20 | Pembrokeshire | 7.4767 | -3.2938 | 0 | 0.44495 | 5.616 | -0.54318
21 | South Wales & Gloucester | 4.8766 | -3.3161 | 0 | 0.44495 | 3.0003 | -0.54988
22 | Cotswold | 1.7276 | 2.6736 | -5.8996 | 0.44495 | -1.8554 | -4.6525
23 | Central London | -3.7542 | 2.6736 | -5.0976 | 0.44495 | -6.5353 | -3.8506
24 | Essex and Kent | -4.6682 | 2.6736 | 0 | 0.44495 | -2.3517 | 1.247
25 | Oxfordshire, Surrey and Sussex | -2.2047 | -1.9093 | 0 | 0.44495 | -3.0963 | -0.12784
26 | Somerset and Wessex | -2.3585 | -3.1385 | 0 | 0.44495 | -4.1105 | -0.49659
27 | West Devon and Cornwall | -1.9187 | -5.3063 | 0 | 0.44495 | -5.1881 | -1.1469
Table 24 - Demand tariffs with Longannet
[8 empty] | Zone | Zone Name | HH Demand Tariff (£/kW) | NHH Demand Tariff (p/kWh)
[8 empty] | 1 | Northern Scotland | 32.9608 | 4.1668
[8 empty] | 2 | Southern Scotland | 34.0591 | 4.944
[8 empty] | 3 | Northern | 40.2158 | 5.7555
[8 empty] | 4 | North West | 43.9153 | 5.622
[8 empty] | 5 | Yorkshire | 44.7523 | 6.3778
[8 empty] | 6 | N Wales & Mersey | 44.2552 | 6.1394
[8 empty] | 7 | East Midlands | 47.7774 | 6.3622
[8 empty] | 8 | Midlands | 48.4319 | 6.3306
[8 empty] | 9 | Eastern | 50.179 | 6.563
[8 empty] | 10 | South Wales | 46.4006 | 6.4592
[8 empty] | 11 | South East | 52.849 | 6.7454
[8 empty] | 12 | London | 55.431 | 7.0409
[8 empty] | 13 | Southern | 53.6416 | 6.528
[8 empty] | 14 | South Western | 53.0514 | 6.9631